## RT2-1-2021 Pricing
RT2-1-2021 SUPPLY, DELIVERY, INSTALLATION, COMMISSIONING AND MAINTENANCE OF MEDICAL EQUIPMENT TO THE STATE FOR THE PERIOD 01 DECEMBER 2021 TO 30 NOVEMBER 2024
RT2-1-2021 MEDICAL EQUIPMENT CONTRACT PRICING WITH REPLACEMENT ACCESSORIES
CATEGORY 1: ANAESTHESIA EQUIPMENT
# | RT2-01-19
1 | Item Number: RT2-01-19
2 | Item Name: PATIENT WARMER
3 | Suppliers' Name | Tara Healthcare
3.1 | Make/Brand | Eternal
3.2 | Model | Warm 6200 (Recommended for Theater use only)
3.3 | Country of Origin | China
3.4 | Lead time | 8 Weeks
3.5 | Standard Accessories & Consumables (Starter Pack) | Qty
3.5.1 | Paeds Mattress | 1
3.5.2 | Adult Mattress | 1
3.5.3 | Mobile Stand with at least 4 castors and 2 fitted with brakes (Complete for mounting the unit securely) | 1
4 | Warranty (2-year): Year 1 and Year 2
4.1 | Warranty Entails: A 2-year warranty against poor workmanship and latent defects and parts. This must be all inclusive and include, BUT NOT LIMITED TO, amongst others, ALL PARTS (including Batteries), Labour, Traveling and Accommodation. The 2-year warranty must also include all quality check, quality assurance requirements, Preventative/Corrective Maintenance/Calibrations, Software updates and upgrades to be included. This 2-year warranty will commence after formal Commissioning and handover of the equipment.
5 | Unit Price(Inclusive of VAT, Standard Accessories & Consumables, and 2-year Warranty) | 87250
6 | Post Warranty 5 Year Comprehensive Maintenance
| Year 3 | 9865
| Year 4 | 9865
| Year 5 | 9865
| Year 6 | 13490
| Year 7 | 13490
| Total Maintenance Cost: | 56575
6.1 | Maintenance Entails: A Fully Comprehensive 5-year Preventative Maintenance/Service and Corrective Maintenance/Repair contract covering all equipment, hardware and software. This contract would cover, but not be limited to the following: ALL PARTS (including Batteries), labour, travelling, accommodation, service and repair. The 5-year Maintenance Plan must also include all quality check, quality assurance requirements, calibrations , Software updates and upgrades.This contract will commence after the 2-year warranty period has expired.
7 | Estimated Life-span |  | 10 Years
8 | Replacement Accessories & Consumables | Unit of measure
RT2-01-19a | Paeds Mattress | ea | 27500
RT2-01-19b | Adult Mattress | ea | 27500
RT2-01-19c | Mobile Stand with at least 4 castors and 2 fitted with brakes (Complete for mounting the unit securely) | ea | 6950
RT2-01-19d | Gynaecology mattress | ea | 27500
RT2-01-19e | Full Body Blanket | ea | 27500
RT2-01-19f | Overbody/Torso/Leg Blanket | ea | 27500
RT2-01-19g | Shoulder Blanket | ea | 27500
RT2-01-19h | Re-usable Cover | ea | 2650
RT2-01-19i | Disposbale Cover | ea | 293.55
# | RT2-01-21
1 | Item Number: RT2-01-21
2 | Item Name: THROMBOELASTOGRAM
3 | Suppliers' Name | Vertice Healthcare |  | Ilex South Africa
3.1 | Make/Brand | Haemonetics |  | Werfen
3.2 | Model | TEG6s |  | Rotem Sigma
3.3 | Country of Origin | USA |  | Italy
3.4 | Lead time | 4-6 Weeks |  | 4-6 Weeks
3.5 | Standard Accessories & Consumables(Starter Pack) | Qty |  | Qty
3.5.1 | Disposable Assay Cartridge | 1 |  | 1
3.5.2 | Disposable quality control Cartridge (level1,level 2 or equivalent) | 1 |  | 1
3.5.3 | Vial with lyophilized biological material for the quality control cartridge. | 1 |  | 1
3.5.4 | Pipettes or equivalent for blood sample. | 1 |  | 1
3.5.5 | Trolley | 1 |  | 1
4 | Warranty (2-year): Year 1 and Year 2
4.1 | Warranty Entails: A 2-year warranty against poor workmanship and latent defects and parts. This must be all inclusive and include, BUT NOT LIMITED TO, amongst others, ALL PARTS (including Batteries), Labour, Traveling and Accommodation. The 2-year warranty must also include all quality check, quality assurance requirements, Preventative Maintenance/Calibrations, Software updates and upgrades to be included. This 2-year warranty will commence after formal Commissioning and handover of the equipment.
5 | Unit Price(Inclusive of VAT, Standard Accessories & Consumables, and 2-year Warranty) | 560390 |  | 567035
6 | Post Warranty 5 Year Comprehensive Maintenance
| Year 3 | 0 |  | 27600
| Year 4 | 0 |  | 27600
| Year 5 | 53960.3 |  | 27600
| Year 6 | 57015.71 |  | 27600
| Year 7 | 60255.67 |  | 27600
| Total Maintenance Cost: | 171231.68 |  | 138000
6.1 | Maintenance Entails: A Fully Comprehensive 5-year Preventative Maintenance/Service and Corrective Maintenance/Repair contract covering all equipment, hardware and software. This contract would cover, but not be limited to the following: ALL PARTS (including Batteries), labour, travelling, accommodation, service and repair. The 5-year Maintenance Plan must also include all quality check, quality assurance requirements, calibrations , Software updates and upgrades. This contract will commence after the 2-year warranty period has expired.
7 | Estimated Life-span |  | 10 Years |  | 10 Years
8 | Replacement Accessories & Consumables | Unit of measure |  | Unit of measure
RT2-01-21a | Disposable Assay Cartridge |  | 18055 |  | 20271
RT2-01-21b | Disposable quality control Cartridge (level1,level 2 or equivalent) |  | 18742 |  | 5497
RT2-01-21c | Vial with lyophilized biological material for the quality control cartridge. |  |  |  | 8590
RT2-01-21d | Pipettes or equivalent for blood sample.
RT2-01-21e | Trolley
# | RT2-01-22
1 | Item Number: RT2-01-22
2 | Item Name: CEREBRAL OXIMETER, ADVANCED
3 | Suppliers' Name | Rhyzotherm
3.1 | Make/Brand | Masimo
3.2 | Model | Root with Radical 7, Sedline & O3
3.3 | Country of Origin | USA
3.4 | Lead time | 6-8 Weeks
3.5 | Standard Featured parameters
3.5.1 | Peripheral pulse oximetry (Sp O2)
3.5.2 | Pulse rate (PR)
3.5.3 | Perfusion index (Oi)
3.5.4 | Capnography (Et CO2)
3.5.5 | Fractional CO2 (FiCO2)
3.5.6 | Brain function monitoring
3.5.7 | Near infrared Oximetry (Regional oximetry)
3.6 | Standard Accessories & Consumables(Starter Pack) | Qty
3.6.1 | DC-I, Adult Reusable Sensor, 3 ft., Non-Sterile | 1
3.6.2 | DCI-P, Pediatric Reusable Sensor, 3 ft., Non-Sterile | 1
3.6.3 | DB-I, Adult Reusable Soft Finger Sensor, 3 ft., Non-Sterile | 1
3.6.4 | TC-I, Reusable Tip-Clip Ear Sensor, 3 ft., Non-Sterile | 1
3.6.5 | Y-I, Multisite Reusable sensor, 3 ft., Non-Sterile | 1
3.6.6 | TF-I, Reusable Transflectance Forehead sensor, 3 ft., Non-Sterile | 1
3.6.7 | Patient Cable, MD20-12, 20-pin Patient Cable, 12 ft | 1
3.6.8 | Dual Cable MD20-12 | 1
3.6.9 | EEG Sensor, Adult, Non-Sterile | 1
3.6.10 | EEG Sensor, Pediatric, Non-Sterile | 1
3.6.11 | O3 Regional Oximetry Sensors, Adult | 1
3.6.12 | O3 Regional Oximetry Sensors, Pediatric | 1
3.6.13 | O3 Regional Oximetry Sensors, Infant/Neonatal | 1
3.6.14 | Adult/Pediatric Airway Adapter Set 3m | 1
3.6.15 | Infant/Neonatal, Airway Adapter Set | 1
3.6.16 | Adult Nasal CO2 Cannula | 1
3.6.17 | Infant Nasal CO2 Cannula | 1
3.6.18 | Adult Nasal CO2 Cannula with O2 | 1
3.6.19 | Pediatric Nasal CO2 Cannula with O2 | 1
4 | Warranty (2-year): Year 1 and Year 2
4.1 | Warranty Entails: A 2-year warranty against poor workmanship and latent defects and parts. This must be all inclusive and include, BUT NOT LIMITED TO, amongst others, ALL PARTS (including Batteries, Flow sensors and Oxygen sensor), Labour, Traveling and Accommodation. The 2-year warranty must also include all quality check, quality assurance requirements, Preventative Maintenance/Calibrations, Software updates and upgrades to be included. This 2-year warranty will commence after formal Commissioning and handover of the equipment. This 2-year warranty will commence after formal Commissioning and handover of the equipment.
5 | Unit Price (Inclusive of VAT, Standard Accessories & Consumables, and 2-year Warranty) | 204442.4
6 | Post Warranty 5 Year Comprehensive Maintenance
| Year 3 | 6164
| Year 4 | 6780.4
| Year 5 | 7458.44
| Year 6 | 8204.28
| Year 7 | 9024.7
| Total Maintenance Cost: | 37631.82
6.1 | Maintenance Entails: A Fully Comprehensive 5-year Preventative Maintenance/Service and Corrective Maintenance/Repair contract covering all equipment, hardware and software. This contract would cover, but not be limited to the following: ALL PARTS (including Batteries, Flow sensors and Oxygen sensor), labour, travelling, accommodation, service and repair. The 5-year Maintenance Plan must also include all quality check, quality assurance requirements, calibrations , Software updates and upgrades.This contract will commence after the 2-year warranty period has expired.
7 | Estimated Life-span |  | 10
8 | Replacement Accessories & Consumables | Unit of measure
RT2-01-22a | DC-I, Adult Reusable Sensor, 3 ft., Non-Sterile | ea | 4180
RT2-01-22b | DCI-P, Pediatric Reusable Sensor, 3 ft., Non-Sterile | ea | 4275
RT2-01-22c | DB-I, Adult Reusable Soft Finger Sensor, 3 ft., Non-Sterile | ea | 4370
RT2-01-22d | TC-I, Reusable Tip-Clip Ear Sensor, 3 ft., Non-Sterile | ea | 4560
RT2-01-22e | Y-I, Multisite Reusable sensor, 3 ft., Non-Sterile | ea | 4560
RT2-01-22f | TF-I, Reusable Transflectance Forehead sensor, 3 ft., Non-Sterile | ea | 5320
RT2-01-22g | Patient Cable, MD20-12, 20-pin Patient Cable, 12 ft. | ea | 4151
RT2-01-22h | Dual Cable MD20-12 | ea | 12825
RT2-01-22i | EEG Sensor, Adult, Non-Sterile | Pk of 25 | 11875
RT2-01-22i | EEG Sensor, Pediatric, Non-Sterile | Pk of 25 | 13775
RT2-01-22j | O3 Regional Oximetry Sensors, Adult | Pk of 20 | 25175
RT2-01-22k | O3 Regional Oximetry Sensors, Pediatric | Pk of 20 | 25175
RT2-01-22l | O3 Regional Oximetry Sensors, Infant/Neonatal | Pk of 20 | 28500
RT2-01-22m | Adult/Pediatric Airway Adapter Set 3m | Pk of 25 | 11780
RT2-01-22n | Infant/Neonatal, Airway Adapter Set | Pk of 25 | 11780
RT2-01-22o | Adult Nasal CO2 Cannula | Pk of 25 | 8313
RT2-01-22p | Infant Nasal CO2 Cannula | Pk of 25 | 9738
RT2-01-22q | Adult Nasal CO2 Cannula with O2 | Pk of 25 | 9025
RT2-01-22r | Pediatric Nasal CO2 Cannula with O2 | Pk of 25 | 9025
RT2-01-22s | Pleth Variability Index (PVI) Parameter (License) | ea | 24000
RT2-01-22t | Total Hemoglobin (SpHb) Parameter (License) | ea | 73600
RT2-01-22u | Carboxyhemoglobin (SpCO) Parameter (License) | ea | 63750
RT2-01-22v | Methemoglobin (SpMet) Parameter (License) | ea | 63750
RT2-01-22x | Rainbow® Acoustic Monitoring (RRa™) Parameter (License) | ea | 26250
RT2-01-22y | Acoustic Respiration Cloth Sensor, Adult/Pediatric Sensor, (RRa), Single Patient Use, Non-Sterile | Pk of 10 | 7125
RT2-01-22z | Acoustic Respiration Cloth Sensor, Inf/Neo, Acoustic Respiration Infant/Neonatal Sensor | Pk of 10 | 9025
RT2-01-22aa | Acoustic Respiration Cloth Sensor, Adult/Pediatric Adhesive Sensors, (RRa), Single Patient Use, Non-Sterile | Pk of 10 | 7125
RT2-01-22ab | Acoustic Respiration Cloth Sensor, Short Term Monitoring Adult / Pediatric Adhesive Sensors, (RRa), Single Patient Use, Non-Sterile | Pk of 10 | 5510
RT2-01-22ac | Neo, Adult/Neonatal Disposable Sensor, SpHb, SpMet, SpO2 | Pk of 10 | 22800
CATEGORY 2: VENTILATION
# | RT2-02-03
1 | Item Number: RT2-02-03
2 | Item Name: VENTILATOR, NEGATIVE PRESSURE
3 | Suppliers' Name | Mbuso Medical
3.1 | Make/Brand | Hayek
3.2 | Model | RTX
3.3 | Country of Origin | United Kingdom
3.4 | Lead time | 8-10 Weeks
3.5 | Standard Accessories & Consumables (Starter Pack) | Qty
3.5.1 | Cuirasses (Adult size) | 1
3.5.2 | Cuirasses (Paeds size) | 1
3.5.3 | Patient circuit (Pk of 5) | 1 x pk
3.5.4 | Test Plug | 1
3.5.5 | Airway Tubing (Clear) | 1
3.5.6 | Sensor Tubing (Blue) | 1
3.5.7 | Cuirass Straps Adults | 1
3.5.8 | Cuirass Straps Paediatric | 1
3.5.9 | Stand | 1
4 | Warranty (2-year): Year 1 and Year 2
4.1 | Warranty Entails: A 2-year warranty against poor workmanship and latent defects and parts. This must be all inclusive and include, BUT NOT LIMITED TO, amongst others, ALL PARTS (including Batteries), Labour, Traveling and Accommodation. The 2-year warranty must also include all quality check, quality assurance requirements, Preventative/Corrective Maintenance/Calibrations, Software updates and upgrades to be included. This 2-year warranty will commence after formal Commissioning and handover of the equipment.
5 | Unit Price(Inclusive of VAT, Standard Accessories & Consumables, and 2-year Warranty) | 533816.56
6 | Post Warranty 5 Year Comprehensive Maintenance
| Year 3 | 19364.87
| Year 4 | 20817.23
| Year 5 | 22378.53
| Year 6 | 23385.56
| Year 7 | 23970.2
| Total Maintenance Cost: | 109916.39
6.1 | Maintenance Entails: A Fully Comprehensive 5-year Preventative Maintenance/Service and Corrective Maintenance/Repair contract covering all equipment, hardware and software. This contract would cover, but not be limited to the following: ALL PARTS (including Batteries), labour, travelling, accommodation, service and repair. The 5-year Maintenance Plan must also include all quality check, quality assurance requirements, calibrations , Software updates and upgrades.This contract will commence after the 2-year warranty period has expired.
7 | Estimated Life-span |  | 10 Years
8 | Replacement Accessories & Consumables | Unit of measure
RT2-02-03a | Cuirasses (Adult size) | 1 | 17122.31
RT2-02-03b | Cuirasses (Paeds size) | 1 | 13,754,7
RT2-02-03c | Patient circuit | Pk of 5 | 9784.2
RT2-02-03d | Test Plug | 1 | 1375.47
RT2-02-03e | Airway Tubing (Clear) | 1 | 229.25
RT2-02-03f | Sensor Tubing (Blue) | 1 | 229.25
RT2-02-03g | Cuirass Straps Adults | 1 | 1421.32
RT2-02-03h | Cuirass Straps Paediatric | 1 | 458.49
RT2-02-03i | Stand | 1 | 17560.17
# | RT2-02-04
1 | Item Number: RT2-02-04
2 | Item Name: OXYGEN HIGH FLOW THERAPY UNIT
3 | Suppliers' Name | Bestech Medical |  | Mbuso Medical |  | Class Three Medical |  | SSEM Mthembu Medical (Offer 2) |  | Respiratory Care Africa (Offer 1) |  | Respiratory Care Africa (Offer 6) |  | SSEM Mthembu Medical (Offer 4) |  | SSEM Mthembu Medical (Offer 3) |  | Respiratory Care Africa (Offer 2) |  | Respiratory Care Africa (Offer 3) |  | Respiratory Care Africa (Offer 4)
3.1 | Make/Brand | Heyer |  | Micomme |  | Comen |  | BMC |  | Fisher&Paykel |  | Fisher&Paykel |  | BMC |  | BMC |  | Fisher&Paykel |  | Fisher&Paykel |  | Fisher&Paykel
3.2 | Model | NeoHif i7 |  | OH-70C |  | NF5 |  | H80M |  | Airvo 2 |  | MyAirvo 2 |  | H80C |  | H80A |  | Airvo 3 |  | Airvo 3 NIV |  | Airvo 3 Junior
3.3 | Country of Origin | China |  | China |  | China |  | China |  | New Zealand |  | New Zealand |  | China |  | China |  | New Zealand |  | Newzealand |  | Newzealand
3.4 | Lead time | 3-5 Weeks |  | 8-10 Weeks |  | 2-8 Weeks |  | 6-8 Weeks |  | 17 weeks |  | 17 Weeks |  | 6-8 Weeks |  | 6-8 Weeks |  | 17 weeks |  | 17 Weeks |  | 17 Weeks
3.5 | Standard Accessories & Consumables(Starter Pack) | Qty |  | Qty |  | Qty |  | Qty |  | Qty |  | Qty |  | Qty |  | Qty |  | Qty |  | Qty |  | Qty
3.5.1 | Auto-fill chamber | [6 empty] | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1
3.5.2 | Heating tube | [6 empty] | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1
3.5.3 | Elbow kit | [6 empty] | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1
3.5.4 | Tracheal interface | [6 empty] | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1
3.5.5 | Air filter | [6 empty] | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1
3.5.6 | Small Nasal Cannula | [6 empty] | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1
3.5.7 | Medium Nasal Cannula | [6 empty] | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1
3.5.8 | Large Nasal Cannula | [6 empty] | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1
3.5.9 | Oxygen inlet hose | [6 empty] | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1 |  | 1
4 | Warranty (2-year): Year 1 and Year 2
4.1 | Warranty Entails: A 2-year warranty against poor workmanship and latent defects and parts. This must be all inclusive and include, BUT NOT LIMITED TO, amongst others, ALL PARTS (including Batteries), Labour, Traveling and Accommodation. The 2-year warranty must also include all quality check, quality assurance requirements, Preventative Maintenance/Calibrations, Software updates and upgrades to be included. This 2-year warranty will commence after formal Commissioning and handover of the equipment.
5 | Unit Price(Inclusive of VAT, Standard Accessories & Consumables, and 2-year Warranty) | 54865.92 |  | 57204.3 |  | 64425.76 |  | 74810.91 |  | 79837.15 |  | 79837.15 |  | 88728.21 |  | 93156.68 |  | 157924.43 |  | 200771.66 |  | 226804.27
6 | Post Warranty 5 Year Comprehensive Maintenance
| Year 3 | 0 |  | 17673.71 |  | 1886.86 |  |  | 2693.76 |  | 0 |  | 0 |  | 2693.76 |  | 2693.76 |  | 0 |  | 0 |  | 0
| Year 4 | 0 |  | 18027.19 |  | 2169.98 |  |  | 2693.76 |  | 0 |  | 0 |  | 2693.76 |  | 2693.76 |  | 15259.59 |  | 15259.59 |  | 15259.59
| Year 5 | 0 |  | 18387.73 |  | 3176.2 |  |  | 2693.76 |  | 0 |  | 0 |  | 2693.76 |  | 2693.76 |  | 0 |  | 0 |  | 0
| Year 6 | 0 |  | 18755.48 |  | 3652.63 |  |  | 2693.76 |  | 0 |  | 0 |  | 2693.76 |  | 2693.76 |  | 15523.36 |  | 15523.36 |  | 15523.36
| Year 7 | 0 |  | 19130.59 |  | 4200.65 |  |  | 2693.76 |  | 0 |  | 0 |  | 2693.76 |  | 2693.76 |  | 0 |  | 0 |  | 0
| Total Maintenance Cost: | 0 |  | 91974.7 |  | 15086.32 |  |  | 13468.8 |  | 0 |  | 0 |  | 13468.8 |  | 13468.8 |  | 30782.95 |  | 30782.95 |  | 30782.95
6.1 | Maintenance Entails: A Fully Comprehensive 5-year Preventative Maintenance/Service and Corrective Maintenance/Repair contract covering all equipment, hardware and software. This contract would cover, but not be limited to the following: ALL PARTS (including Batteries), labour, travelling, accommodation, service and repair. The 5-year Maintenance Plan must also include all quality check, quality assurance requirements, calibrations , Software updates and upgrades. This contract will commence after the 2-year warranty period has expired.
7 | Estimated Life-span |  | 10 Years |  | 10 Years |  | 10 Years
8 | Replacement Accessories & Consumables | Unit of measure |  | Unit of measure |  | Unit of measure |  | Unit of measure |  | Unit of measure |  | Unit of measure |  | Unit of measure |  | Unit of measure |  | Unit of measure |  | Unit of measure |  | Unit of measure
RT2-02-04a | Battery | ea |  | ea | 4784 | ea | 2102.9 | ea |  | ea | N/A | ea | N/A | ea |  | ea |  | ea | N/A | ea | N/A | ea | N/A
RT2-02-04b | Auto-fill chamber | ea | 514.56 | ea | 215 | ea | 198.46 | ea | 1255.8 | ea | N/A | ea | N/A | ea | 1255.8 | ea | 1255.8 | ea | N/A | ea | N/A | ea | N/A
RT2-02-04c | Heating tube | ea | 1293.12 | ea | 745.2 | ea | 882.87 | ea | 1255.8 | ea | 2020.57 | ea | 2020.57 | ea | 1255.8 | ea | 1255.8 | ea | 2020.57 | ea | 2020.57 | ea | 2020.57
RT2-02-04d | Elbow kit | ea | 216 | ea | 198.72 | ea | 420.38 | ea | 1255.8 | ea | N/A | ea | N/A | ea | 1255.8 | ea | 1255.8 | ea | N/A | ea | N/A | ea | N/A
RT2-02-04e | Tracheal interface | ea | 1080 | ea | 211.6 | ea | 859.6 | ea | 439.3 | ea | 556.26 | ea | 556.26 | ea | 439.3 | ea | 439.3 | ea | 556.26 | ea | 556.26 | ea | 556.26
RT2-02-04f | Air filter | ea | 148.8 | ea | 362.75 | ea | 310.35 | ea | 70.4 | ea | 1120.92 | ea | 1120.92 | ea | 70.4 | ea | 70.4 | ea | 939.8 | ea | 939.8 | ea | 939.8
RT2-02-04g | Small Nasal Cannula | ea | 280.32 | ea | 561.67 | ea | 8.43 | ea | 490.12 | ea | 607.17 | ea | 607.17 | ea | 490.12 | ea | 490.12 | ea | 607.17 | ea | 607.17 | ea | 607.17
RT2-02-04h | Medium Nasal Cannula | ea | 280.32 | ea | 561.67 | ea | 8.52 | ea | 490.12 | ea | 607.17 | ea | 607.17 | ea | 490.12 | ea | 490.12 | ea | 607.17 | ea | 607.17 | ea | 607.17
RT2-02-04i | Large Nasal Cannula | ea | 283.2 | ea | 561.67 | ea | 7.87 | ea | 490.12 | ea | 607.17 | ea | 607.17 | ea | 490.12 | ea | 490.12 | ea | 607.17 | ea | 607.17 | ea | 607.17
RT2-02-04j | Oxygen inlet hose |  |  | ea | 1288 | ea | 447.87 | ea | 1100 | ea | 1142.71 | ea | 1142.71 | ea | 1100 | ea | 1100 | ea | 1142.71 | ea | 1142.71 | ea | 1142.71
# | RT2-02-17
1 | Item Number: RT2-02-17
2 | Item Name: ELECTRICAL IMPEDANCE TOMOGRAPHY, LUNG IMAGING
3 | Suppliers' Name | Mbuso Medical
3.1 | Make/Brand | Timpel Medical
3.2 | Model
3.3 | Country of Origin | Netherlands
3.4 | Lead time | 8-10 Weeks
3.5 | Standard Accessories & Consumables(Starter Pack) | Qty
3.5.1 | Electrode belt, disposable, small | 1
3.5.2 | Electrode belt, disposable, medium | 1
3.5.3 | Electrode belt, disposable, large | 1
3.5.4 | Patient cable, small | 1
3.5.5 | Patient cable, medium | 1
3.5.6 | Patient cable, large | 1
3.5.7 | Electrode belt, re-usable, medium | 1
3.5.8 | Electrode belt, re-usable, large | 1
3.5.9 | Electrodes (Pk of 100) | 1
4 | Warranty (2-year): Year 1 and Year 2
4.1 | Warranty Entails: A 2-year warranty against poor workmanship and latent defects and parts. This must be all inclusive and include, BUT NOT LIMITED TO, amongst others, ALL PARTS (including Batteries), Labour, Traveling and Accommodation. The 2-year warranty must also include all quality check, quality assurance requirements, Preventative Maintenance/Calibrations, Software updates and upgrades to be included. This 2-year warranty will commence after formal Commissioning and handover of the equipment. This 2-year warranty will commence after formal Commissioning and handover of the equipment.
5 | Unit Price (Inclusive of VAT, Standard Accessories & Consumables, and 2-year Warranty) | 1052719.73
6 | Post Warranty 5 Year Comprehensive Maintenance
| Year 3 | 17673.71
| Year 4 | 18027.19
| Year 5 | 18387.73
| Year 6 | 18755.48
| Year 7 | 19130.59
| Total Maintenance Cost: | 91974.7
6.1 | Maintenance Entails: A Fully Comprehensive 5-year Preventative Maintenance/Service and Corrective Maintenance/Repair contract covering all equipment, hardware and software. This contract would cover, but not be limited to the following: ALL PARTS (including Batteries, Flow sensors and Oxygen sensor), labour, travelling, accommodation, service and repair. The 5-year Maintenance Plan must also include all quality check, quality assurance requirements, calibrations , Software updates and upgrades.This contract will commence after the 2-year warranty period has expired.
7 | Estimated Life-span |  | 10
8 | Replacement Accessories & Consumables | Unit of measure
RT2-02-17a | Electrode belt, disposable, small | 1 | 22615.06
RT2-02-17b | Electrode belt, disposable, medium | 1 | 22615.06
RT2-02-17c | Electrode belt, disposable, large | 1 | 22615.06
RT2-02-17d | Patient cable, small | 1 | 8232.7
RT2-02-17e | Patient cable, medium | 1 | 8232.7
RT2-02-17f | Patient cable, large | 1 | 6370.02
RT2-02-17g | Electrode belt, re-usable, medium | 1 | 26204.24
RT2-02-17h | Electrode belt, re-usable, large | 1 | 86351.88
RT2-02-17i | Electrodes (Pk of 100) | set
CATEGORY 3: PEADIATRIC CARE EQUIPMENT
# | RT2-03-01
1 | Item Number: RT2-03-01
2 | Item Name: APNEA MONITOR, IMPEDANCE SENSOR
3 | Suppliers' Name | SSEM Mthembu Medical
3.1 | Make/Brand | Schulte Elektronik
3.2 | Model
3.3 | Country of Origin | Germany
3.4 | Lead time | 4-8 Weeks
3.5 | Standard Accessories & Consumables (Starter Pack) | Qty
3.5.1 | Sensor | 1
3.5.2 | Rechargeable battery | set
3.5.3 | Patient main cable | 1
3.5.4 | Bag | 1
4 | Warranty (2-year): Year 1 and Year 2
4.1 | Warranty Entails: A 2-year warranty against poor workmanship and latent defects and parts. This must be all inclusive and include, BUT NOT LIMITED TO, amongst others, ALL PARTS (including Batteries), Labour, Traveling and Accommodation. The 2-year warranty must also include all quality check, quality assurance requirements, Preventative/Corrective Maintenance/Calibrations, Software updates and upgrades to be included. This 2-year warranty will commence after formal Commissioning and handover of the equipment.
5 | Unit Price(Inclusive of VAT, Standard Accessories & Consumables, and 2-year Warranty) | 77681
6 | Post Warranty 5 Year Comprehensive Maintenance
| Year 3 | 1080.71
| Year 4 | 1156.36
| Year 5 | 1237.31
| Year 6 | 1323.92
| Year 7 | 1416.59
| Total Maintenance Cost: | 6214.89
Maintenance Entails: A Fully Comprehensive 5-year Preventative Maintenance/Service and Corrective Maintenance/Repair contract covering all equipment, hardware and software. This contract would cover, but not be limited to the following: ALL PARTS (including Batteries), labour, travelling, accommodation, service and repair. The 5-year Maintenance Plan must also include all quality check, quality assurance requirements, calibrations , Software updates and upgrades.This contract will commence after the 2-year warranty period has expired.
7 | Estimated Life-span |  | 10 Years
8 | Replacement Accessories & Consumable | Unit of measure
RT2-03-01a | Sensor | 1 | 2989.08
RT2-03-01b | Rechargeable battery (set) | 1 | 600
RT2-03-01c | Patient main cable | 1 | 3658
RT2-03-01d | Bag | 1 | 1398
# | RT2-03-06
1 | Item Number: RT2-03-06
2 | Item Name: RADIANT WARMER-INCUBATOR COMBINATION UNIT (with Suction & Resuscitator)
3 | Suppliers' Name | Respiratory Care Africa |  | Medhold Medical (Offer 2) |  | Medhold Medical (Offer 1)
3.1 | Make/Brand | Atom |  | GE Healthcare |  | GE Healthcare
3.2 | Model | Dual Incu i |  | Giraffe Omnibed Carestation with Star |  | Giraffe Omnibed Carestation with LRP
3.3 | Country of Origin | Japan |  | USA |  | USA
3.4 | Lead time | 21 Weeks |  | 8-12 Weeks |  | 8-12 Weeks
3.5 | Standard Accessories & Consumables(Starter Pack) | Qty |  | Qty |  | Qty
3.5.1 | Temperature probe | 1 |  | 1 |  | 1
3.5.2 | Disposable skin temp probes, box of 10 | 1 |  | 1 |  | 1
3.5.3 | IV pole | 1 |  | 1 |  | 1
3.5.4 | Shelf for monitor | 1 |  | 1 |  | 1
3.5.5 | Instrument tray | 1 |  | 1 |  | 1
3.5.6 | Battery | 1 |  | 1 |  | 1
4 | Warranty (2-year): Year 1 and Year 2
4.1 | Warranty Entails: A 2-year warranty against poor workmanship and latent defects and parts. This must be all inclusive and include, BUT NOT LIMITED TO, amongst others, ALL PARTS (including Batteries), Labour, Traveling and Accommodation. The 2-year warranty must also include all quality check, quality assurance requirements, Preventative Maintenance/Calibrations, Software updates and upgrades to be included. This 2-year warranty will commence after formal Commissioning and handover of the equipment.
5 | Unit Price(Inclusive of VAT, Standard Accessories & Consumables, and 2-year Warranty) | 437334.09 |  | 661991.23 |  | 807748.79
6 | Post Warranty 5 Year Comprehensive Maintenance
| Year 3 | 13622.4 |  | 20062.39 |  | 19715.13
| Year 4 | 14784.03 |  | 13316.36 |  | 12915.13
| Year 5 | 16047.22 |  | 15050.2 |  | 14123.04
| Year 6 | 17421.11 |  | 34506.19 |  | 33434.86
| Year 7 | 19800.99 |  | 21453.66 |  | 19597.09
| Total Maintenance Cost: | 81675.75 |  | 104388.8 |  | 99785.25
Maintenance Entails: A Fully Comprehensive 5-year Preventative Maintenance/Service and Corrective Maintenance/Repair contract covering all equipment, hardware and software. This contract would cover, but not be limited to the following: ALL PARTS (including Batteries), labour, travelling, accommodation, service and repair. The 5-year Maintenance Plan must also include all quality check, quality assurance requirements, calibrations , Software updates and upgrades. This contract will commence after the 2-year warranty period has expired.
7 | Estimated Life-span |  | 10 Years |  | 10 Years
3.5 | Replacement Accessories & Consumables | Unit of measure |  | Unit of measure |  | Unit of measure
RT2-03-06a | Temperature probe | ea | 5169.41 | ea | 1244.56 | ea | 1244.56
RT2-03-06b | Disposable skin temp probes | Pk of 10 | 11115.62 | Pk of 10 | 2984.8 | Pk of 10 | 2984.8
RT2-03-06c | IV pole | ea | 11433.21 | ea | 2223.33 | ea | 2223.33
RT2-03-06d | Shelf for monitor | ea | 15897.6 | ea | 2606.67 | ea | 2606.67
RT2-03-06e | Instrument tray | ea | 15897.6 | ea | 5302.22 | ea | 5302.22
RT2-03-06f | Battery | ea | 1173.87 | ea | 135 | ea | 135
# | RT2-03-14
1 | Item Number: RT2-03-14
2 | Item Name: NEONATAL COOLING DEVICE
3 | Suppliers' Name | SSEM Mthembu Medical (Offer 1) |  | SSEM Mthembu Medical (Offer 2)
3.1 | Make/Brand | Comen |  | Comen
3.2 | Model | P3 |  | P6
3.3 | Country of Origin | China |  | China
3.4 | Lead time | 4-8 Weeks |  | 4-8 Weeks
3.5 | Standard Accessories & Consumables(Starter Pack) | Qty |  | Qty
3.5.1 | Reusable Rectal probe | 1 |  | 1
3.5.2 | Reusable Skin probe | 1 |  | 1
3.5.3 | Connecting hose -2meter | 1 |  | 1
3.5.4 | Mattress of approximately 30 X 45 cm | 1 |  | 1
3.5.5 | Mattress of approximately 50 X 90 cm | 1 |  | 1
3.5.6 | Wrap around mattress | 1 |  | 1
3.5.7 | 5 litre coolant fluid with filing hose | 1 |  | 1
3.5.8 | Mobile Stand | 1 |  | 1
4 | Warranty (2-year): Year 1 and Year 2
4.1 | Warranty Entails: A 2-year warranty against poor workmanship and latent defects and parts. This must be all inclusive and include, BUT NOT LIMITED TO, amongst others, ALL PARTS (including Batteries), Labour, Traveling and Accommodation. The 2-year warranty must also include all quality check, quality assurance requirements, Preventative Maintenance/Calibrations, Software updates and upgrades to be included. This 2-year warranty will commence after formal Commissioning and handover of the equipment. This 2-year warranty will commence after formal Commissioning and handover of the equipment.
5 | Unit Price (Inclusive of VAT, Standard Accessories & Consumables, and 2-year Warranty) | 313910.44 |  | 353285.52
6 | Post Warranty 5 Year Comprehensive Maintenance
| Year 3 | 2457.26 |  | 2457.26
| Year 4 | 28258.64 |  | 28258.64
| Year 5 | 2813.33 |  | 2813.33
| Year 6 | 3010.26 |  | 3010.26
| Year 7 | 3220.98 |  | 3220.98
| Total Maintenance Cost: | 39760.47 |  | 39760.47
Maintenance Entails: A Fully Comprehensive 5-year Preventative Maintenance/Service and Corrective Maintenance/Repair contract covering all equipment, hardware and software. This contract would cover, but not be limited to the following: ALL PARTS (including Batteries, Flow sensors and Oxygen sensor), labour, travelling, accommodation, service and repair. The 5-year Maintenance Plan must also include all quality check, quality assurance requirements, calibrations , Software updates and upgrades.This contract will commence after the 2-year warranty period has expired.
7 | Estimated Life-span |  | 10 |  | 10
8 | Replacement Accessories & Consumables | Unit of measure |  | Unit of measure
RT2-03-14a | Reusable Rectal probe | ea | 460 | ea | 460
RT2-03-14b | Reusable Skin probe | ea | 460 | ea | 460
RT2-03-14c | Connecting hose -2meter | ea | 6000 | ea | 6000
RT2-03-14d | Mattress of approximately 30 X 45 cm | ea | 2100 | ea | 2100
RT2-03-14e | Mattress of approximately 50 X 90 cm | ea | 2100 | ea | 2100
RT2-03-14f | Wrap around mattress | ea | 1400 | ea | 1400
RT2-03-14g | 5 litre coolant fluid | ea | 500 | ea | 500
RT2-03-14h | Mobile Stand | ea |  | ea
RT2-03-14i | Water filing/drainage hose | ea | 460 | ea | 460
# | RT2-03-16
1 | Item Number: RT2-03-16
2 | Item Name: VEIN VIEWER
3 | Suppliers' Name | Evotec Electronics |  |  | (Subject to clinical trial)
3.1 | Make/Brand | ZD Medical
3.2 | Model | ZD-JM-260-04
3.3 | Country of Origin | China
3.4 | Lead time | 4-6 Weeks
3.5 | Standard Accessories & Consumables(Starter Pack) | Qty
3.5.1 | Stand | 1
3.5.2 | Battery | 1
4 | Warranty (2-year): Year 1 and Year 2
4.1 | Warranty Entails: A 2-year warranty against poor workmanship and latent defects and parts. This must be all inclusive and include, BUT NOT LIMITED TO, amongst others, ALL PARTS (including Batteries), Labour, Traveling and Accommodation. The 2-year warranty must also include all quality check, quality assurance requirements, Preventative Maintenance/Calibrations, Software updates and upgrades to be included. This 2-year warranty will commence after formal Commissioning and handover of the equipment. This 2-year warranty will commence after formal Commissioning and handover of the equipment.
5 | Unit Price (Inclusive of VAT, Standard Accessories & Consumables, and 2-year Warranty) | 61180
6 | Post Warranty 5 Year Comprehensive Maintenance
| Year 3 | 2800
| Year 4 | 3080
| Year 5 | 3390
| Year 6 | 3730
| Year 7 | 4100
| Total Maintenance Cost: | 17100
Maintenance Entails: A Fully Comprehensive 5-year Preventative Maintenance/Service and Corrective Maintenance/Repair contract covering all equipment, hardware and software. This contract would cover, but not be limited to the following: ALL PARTS (including Batteries, Flow sensors and Oxygen sensor), labour, travelling, accommodation, service and repair. The 5-year Maintenance Plan must also include all quality check, quality assurance requirements, calibrations , Software updates and upgrades.This contract will commence after the 2-year warranty period has expired.
7 | Estimated Life-span |  | 10
8 | Replacement Accessories & Consumables | Unit of measure
RT2-03-16a | Battery | 1 | 322
CATEGORY 5: GENERAL MEDICAL EQUIPMENT
# | RT2-05-02
1 | Item Number: RT2-05-02
2 | Item Name: Bloodgas Analyzer, Cartridge Type
3 | Suppliers' Name | The Scientific Group |  | Ilex South Africa
3.1 | Make/Brand | Nova Biomedical |  | Werfen
3.2 | Model | Prime CCS Comp |  | Gem 5000
3.3 | Country of Origin | USA |  | Italy
3.4 | Lead time | 4-8 Weeks |  | 4-6 Weeks
3.5 | Standard Accessories & Consumables (Starter Pack) | Qty |  | Qty
3.5.1 | Thermal printing paper x 10 | 10 |  | 10
3.5.2 | 2 KVA online UPS | 1 |  | 1
3.5.3 | A starter pack consumables/accessories must be supplied with the initial supply and unit must be operational (for atleast 30 days) after commissioning |  | 30 days plus worth of consumables /accessories |  | 30 days plus worth of consumables /accessories
4 | Warranty (2-year): Year 1 and Year 2
4.1 | Warranty Entails: A 2-year warranty against poor workmanship and latent defects and parts. This must be all inclusive and include, BUT NOT LIMITED TO, amongst others, ALL PARTS (including Batteries), Labour, Traveling and Accommodation. The 2-year warranty must also include all quality check, quality assurance requirements, Preventative/Corrective Maintenance/Calibrations, Software updates and upgrades to be included. This 2-year warranty will commence after formal Commissioning and handover of the equipment.
7 | Unit Price(Inclusive of VAT, Standard Accessories & Consumables, and 2-year Warranty) | 260508.7 |  | 423115
8 | Post Warranty 5 Year Comprehensive Maintenance
| Year 3 | 42280.56 |  | 7590
| Year 4 | 43212.28 |  | 7590
| Year 5 | 58015.15 |  | 7590
| Year 6 | 52186.56 |  | 7590
| Year 7 | 48928.44 |  | 7590
| Total Maintenance Cost: | 244622.99 |  | 37950
Maintenance Entails: A Fully Comprehensive 5-year Preventative Maintenance/Service and Corrective Maintenance/Repair contract covering all equipment, hardware and software. This contract would cover, but not be limited to the following: ALL PARTS (including Batteries), labour, travelling, accommodation, service and repair. The 5-year Maintenance Plan must also include all quality check, quality assurance requirements, calibrations , Software updates and upgrades.This contract will commence after the 2-year warranty period has expired.
9 | Estimated Life-span |  | 10 Years |  | 7 Years
8 | Replacement Accessories & Consumables | Unit of measure |  | Unit of measure
RT2-05-02a | Thermal printing paper | Pk of 10 | 790.08 | Pk of 10 | 106
RT2-05-02b | 2 KVA online UPS | ea | 8688.89 | ea | 5750
RT2-05-02c | Quality control | ea | 4177.95 | ea | 1634
RT2-05-02d | Cartridge (300 test) | ea | 13167 | ea | 11876
RT2-05-02e | Cartridge (400 test) | ea | 14378 | ea | 13521
RT2-05-02f | Cartridge (600 test) | ea | 22702 | ea | 16629
# | RT2-05-12
1 | Item Number: RT2-05-12
2 | Item Name: INFUSION PUMP, Neonatal
3 | Suppliers' Name | Ecomed Medical
3.1 | Make/Brand | Mindray
3.2 | Model | Benefusion eVP ex
3.3 | Country of Origin | China
3.4 | Lead time | 8 Weeks
3.5 | Standard Accessories & Consumables(Starter Pack) | Qty
4 | Warranty (2-year): Year 1 and Year 2
4.1 | Warranty Entails: A 2-year warranty against poor workmanship and latent defects and parts. This must be all inclusive and include, BUT NOT LIMITED TO, amongst others, ALL PARTS (including Batteries), Labour, Traveling and Accommodation. The 2-year warranty must also include all quality check, quality assurance requirements, Preventative Maintenance/Calibrations, Software updates and upgrades to be included. This 2-year warranty will commence after formal Commissioning and handover of the equipment.
5 | Unit Price(Inclusive of VAT, Standard Accessories & Consumables, and 2-year Warranty) | 15405.4
6 | Post Warranty 5 Year Comprehensive Maintenance
| Year 3 | 1120
| Year 4 | 1120
| Year 5 | 1120
| Year 6 | 1120
| Year 7 | 1120
| Total Maintenance Cost: | 5600
Maintenance Entails: A Fully Comprehensive 5-year Preventative Maintenance/Service and Corrective Maintenance/Repair contract covering all equipment, hardware and software. This contract would cover, but not be limited to the following: ALL PARTS (including Batteries), labour, travelling, accommodation, service and repair. The 5-year Maintenance Plan must also include all quality check, quality assurance requirements, calibrations , Software updates and upgrades. This contract will commence after the 2-year warranty period has expired.
9 | Estimated Life-span |  | 10 Years
8 | Replacement Accessories & Consumables | Unit of measure
RT2-05-12a | Clear fluids (Primary administration set) minimum 3 needle free access ports | Pk of 100 | 6630.9
RT2-05-12b | Blood administration sets | Pk of 100 | 3692.65
RT2-05-12c | TPN sets (with filter) | Pk of 100 | 5202.6
RT2-05-12d | Light resistant (sensetive) sets | Pk of 100 | 6310.05
RT2-05-12e | Low sorb sets | Pk of 100 | 7748.7
RT2-05-12f | Burette sets | Pk of 100 | 8536.45
RT2-05-12g | Secondary infusion sets (Rider/ Piggy bag set) | Pk of 100 | 2933.65
RT2-05-12h | Triport/Tripot needle free access | ea | 7200.15
RT2-05-12i | Dosing error software (UPGRADE) | ea | 1605.4
RT2-05-12j | Capablity for labeling drug names for display on the pump (UPGRADE) | ea | 1221.3
RT2-05-12k | Docking/stackable station - 4 slots/tiles/ports | ea | 18152.75
RT2-05-12l | Docking/stackable station - 6 slots/tiles/ports | ea | 24794
RT2-05-12m | Docking/stackable station - 8 slots/tiles/ports | ea | 44275
# | RT2-05-13
1 | Item Number: RT2-05-13
2 | Item Name: INFUSION PUMP, Adult
3 | Suppliers' Name | Class Three Medical (Offer 1) |  | Fresenius Kabi |  | Class Three Medical (Offer 2) |  | Class Three Medical (Offer 3)
3.1 | Make/Brand | Kelymed |  | Fresenius Kabi |  | Comen |  | Comen
3.2 | Model | KL-8052N |  | Agilia VP MC |  | ME600 |  | M500
3.3 | Country of Origin | China |  | France |  | China |  | China
3.4 | Lead time | 2-8 Weeks |  | 4 Weeks |  | 2-8 Weeks |  | 2-8 Weeks
3.5 | Standard Accessories & Consumables(Starter Pack) | Qty |  | Qty |  | Qty |  | Qty
4 | Warranty (2-year): Year 1 and Year 2
4.1 | Warranty Entails: A 2-year warranty against poor workmanship and latent defects and parts. This must be all inclusive and include, BUT NOT LIMITED TO, amongst others, ALL PARTS (including Batteries), Labour, Traveling and Accommodation. The 2-year warranty must also include all quality check, quality assurance requirements, Preventative Maintenance/Calibrations, Software updates and upgrades to be included. This 2-year warranty will commence after formal Commissioning and handover of the equipment. This 2-year warranty will commence after formal Commissioning and handover of the equipment.
5 | Unit Price (Inclusive of VAT, Standard Accessories & Consumables, and 2-year Warranty) | 11881.96 |  | 12477.5 |  | 13564.98 |  | 19694
6 | Post Warranty 5 Year Comprehensive Maintenance
| Year 3 | 2716.9 |  | 0 |  | 2716.9 |  | 2716.9
| Year 4 | 3552.61 |  | 0 |  | 3552.61 |  | 3552.61
| Year 5 | 3981.71 |  | 1800 |  | 3981.71 |  | 3981.71
| Year 6 | 4713.86 |  | 0 |  | 4713.86 |  | 4713.86
| Year 7 | 5510.81 |  | 1800 |  | 5510.81 |  | 5510.81
| Total Maintenance Cost: | 20475.89 |  | 3600 |  | 20475.89 |  | 20475.89
Maintenance Entails: A Fully Comprehensive 5-year Preventative Maintenance/Service and Corrective Maintenance/Repair contract covering all equipment, hardware and software. This contract would cover, but not be limited to the following: ALL PARTS (including Batteries, Flow sensors and Oxygen sensor), labour, travelling, accommodation, service and repair. The 5-year Maintenance Plan must also include all quality check, quality assurance requirements, calibrations , Software updates and upgrades.This contract will commence after the 2-year warranty period has expired.
9 | Estimated Life-span |  | 10 |  | 10 |  | 10 |  | 10
8 | Replacement Accessories & Consumables | Unit of measure |  | Unit of measure |  | Unit of measure |  | Unit of measure
RT2-05-13a | Clear fluids (Primary administration set) minimum 3 needle free access ports | Pk of 100 |  | Pk of 100 | 78.2 | Pk of 100 |  | Pk of 100
RT2-05-13b | Blood administration sets | Pk of 100 | 1911.34 | Pk of 100 | 57.5 | Pk of 100 | 1911.34 | Pk of 100 | 1911.34
RT2-05-13c | TPN sets (with filter) | Pk of 100 | 3609.85 | Pk of 100 | 92 | Pk of 100 | 3609.85 | Pk of 100 | 3609.85
RT2-05-13d | Light resistant (sensetive) sets | Pk of 100 | 1911.34 | Pk of 100 | 80.5 | Pk of 100 | 1911.34 | Pk of 100 | 1911.34
RT2-05-13e | Low sorb sets | Pk of 100 | 1911.34 | Pk of 100 | 78.2 | Pk of 100 | 1911.34 | Pk of 100 | 1911.34
RT2-05-13f | Burette sets | Pk of 100 | 2770.06 | Pk of 100 | 138 | Pk of 100 | 2770.06 | Pk of 100 | 2770.06
RT2-05-13g | Secondary infusion sets (Rider/ Piggy bag set) | Pk of 100 | 1630.87 | Pk of 100 | 19.2078 | Pk of 100 | 1630.87 | Pk of 100 | 1630.87
RT2-05-13h | Triport/Tripot needle free access | ea | 115.84 | ea |  | ea | 115.84 | ea | 115.84
RT2-05-13i | Dosing error software (UPGRADE) | ea | 4136.98 | ea |  | ea | 4136.98 | ea | 4136.98
RT2-05-13j | Capablity for labeling drug names for display on the pump (UPGRADE) | ea |  | ea |  | ea |  | ea
RT2-05-13k | Docking/stackable station - 4 slots/tiles/ports | ea | 19570.36 | ea | 7475 | ea | 33029.91 | ea | 33029.91
RT2-05-13l | Docking/stackable station - 6 slots/tiles/ports | ea | 21001 | ea | 8625 | ea | 50044.86 | ea | 50044.86
RT2-05-13m | Docking/stackable station - 8 slots/tiles/ports | ea | 28760.25 | ea |  | ea | 58152.3 | ea | 58152.3
# | RT2-05-35
1 | Item Number: RT2-05-35
2 | Item Name: Haemoglobin Meter
3 | Suppliers' Name | Obsidian Health |  | Hemocue SA |  | Tara Healthcare (Offer 1) |  | Tara Healthcare (Offer 2)
3.1 | Make/Brand | Microbiomed |  | Hemocue |  | StatStrip |  | StatStrip
3.2 | Model | Veri-Q Hb Mate |  | Hb 801 |  | HnH Xpress 2 |  | HnH Connect
3.3 | Country of Origin | Korea |  | Sweden |  | USA |  | USA
3.4 | Lead time | 4 Weeks |  | 4-6 Weeks |  | 21 days |  | 21 days
3.5 | Standard Accessories & Consumables(Starter Pack) | Qty |  | Qty |  | Qty |  | Qty
3.5.1 | Battery | ea |  | ea |  | ea |  | ea
3.5.2 | Cuvette/Strip (Pk of 50) | Pk of 50 |  | Pk of 50 |  | Pk of 50 |  | Pk of 50
3.5.3 | Adapter/ Charging station | ea |  | ea |  | ea |  | ea
4 | Warranty (2-year): Year 1 and Year 2
4.1 | Warranty Entails: A 2-year warranty against poor workmanship and latent defects and parts. This must be all inclusive and include, BUT NOT LIMITED TO, amongst others, ALL PARTS (including Batteries), Labour, Traveling and Accommodation. The 2-year warranty must also include all quality check, quality assurance requirements, Preventative Maintenance/Calibrations, Software updates and upgrades to be included. This 2-year warranty will commence after formal Commissioning and handover of the equipment. This 2-year warranty will commence after formal Commissioning and handover of the equipment.
5 | Unit Price (Inclusive of VAT, Standard Accessories & Consumables, and 2-year Warranty) | 2134 |  | 5183.05 |  | 7503.75 |  | 17854.5
6 | Post Warranty 5 Year Comprehensive Maintenance
| Year 3 | 0 |  | 0 |  | 498 |  | 755.98
| Year 4 | 0 |  | 0 |  | 498 |  | 755.98
| Year 5 | 0 |  | 258.01 |  | 498 |  | 755.98
| Year 6 | 0 |  | 278.66 |  | 498 |  | 755.98
| Year 7 | 0 |  | 300.6 |  | 498 |  | 755.98
| Total Maintenance Cost: | 0 |  | 837.27 |  | 2490 |  | 3779.9
Maintenance Entails: A Fully Comprehensive 5-year Preventative Maintenance/Service and Corrective Maintenance/Repair contract covering all equipment, hardware and software. This contract would cover, but not be limited to the following: ALL PARTS (including Batteries, Flow sensors and Oxygen sensor), labour, travelling, accommodation, service and repair. The 5-year Maintenance Plan must also include all quality check, quality assurance requirements, calibrations , Software updates and upgrades.This contract will commence after the 2-year warranty period has expired.
9 | Estimated Life-span |  | 5 |  | 7-10 yrs |  | 8 |  | 8
8 | Replacement Accessories & Consumables | Unit of measure |  | Unit of measure |  | Unit of measure |  | Unit of measure
RT2-05-35a | Battery | ea |  | ea | 310.33 | ea | 15.95 | ea | 4552.75
RT2-05-35b | Cuvette/Strip | Pk of 50 | 590 | Pk of 50 | 575.59 | Pk of 50 | 488.75 | Pk of 50 | 488.75
# | RT2-05-36
1 | Item Number: RT2-05-36
2 | Item Name: RIPPLE MATTRESS SYSTEM (180kg), Overlay
3 | Suppliers' Name | Sanbonani Holdings
3.1 | Make/Brand | Apex Medical
3.2 | Model | Domus 4
3.3 | Country of Origin | Taiwan
3.4 | Lead time | 10 Weeks
3.5 | Standard Accessories & Consumables(Starter Pack) | Qty
3.5.1 | Complete Mattress connected to a pump | ea
4 | Warranty (2-year): Year 1 and Year 2
4.1 | Warranty Entails: A 2-year warranty against poor workmanship and latent defects and parts. This must be all inclusive and include, BUT NOT LIMITED TO, amongst others, ALL PARTS (including Batteries), Labour, Traveling and Accommodation. The 2-year warranty must also include all quality check, quality assurance requirements, Preventative Maintenance/Calibrations, Software updates and upgrades to be included. This 2-year warranty will commence after formal Commissioning and handover of the equipment.
5 | Unit Price(Inclusive of VAT, Standard Accessories & Consumables, and 2-year Warranty) | 15442.63
6 | Post Warranty 5 Year Comprehensive Maintenance
| Year 3 | 4920
| Year 4 | 5313.6
| Year 5 | 5738.69
| Year 6 | 6312.56
| Year 7 | 6817.56
| Total Maintenance Cost: | 29102.41
Maintenance Entails: A Fully Comprehensive 5-year Preventative Maintenance/Service and Corrective Maintenance/Repair contract covering all equipment, hardware and software. This contract would cover, but not be limited to the following: ALL PARTS (including Batteries), labour, travelling, accommodation, service and repair. The 5-year Maintenance Plan must also include all quality check, quality assurance requirements, calibrations , Software updates and upgrades. This contract will commence after the 2-year warranty period has expired.
7 | Estimated Life-span |  | 10 Years
8 | Replacement Accessories & Consumables | Unit of measure
RT2-05-36a | Mattress Cell | ea | 618.3
RT2-05-36b | Mattress | ea | 9861.81
RT2-05-36c | Mattress cover | ea | 3662.96
RT2-05-36d | Pump | ea | 9095.79
# | RT2-05-37
1 | Item Number: RT2-05-37
2 | Item Name: RIPPLE MATTRESS SYSTEM (270kg), Overlay
3 | Suppliers' Name | Sanbonani Holdings
3.1 | Make/Brand | Apex Medical
3.2 | Model | Domus Auto
3.3 | Country of Origin | Taiwan
3.4 | Lead time | 10 Weeks
3.5 | Standard Accessories & Consumables(Starter Pack) | Qty
3.5.1 | Complete Mattress connected to a pump | ea
4 | Warranty (2-year): Year 1 and Year 2
4.1 | Warranty Entails: A 2-year warranty against poor workmanship and latent defects and parts. This must be all inclusive and include, BUT NOT LIMITED TO, amongst others, ALL PARTS (including Batteries), Labour, Traveling and Accommodation. The 2-year warranty must also include all quality check, quality assurance requirements, Preventative Maintenance/Calibrations, Software updates and upgrades to be included. This 2-year warranty will commence after formal Commissioning and handover of the equipment.
5 | Unit Price(Inclusive of VAT, Standard Accessories & Consumables, and 2-year Warranty) | 19044.53
6 | Post Warranty 5 Year Comprehensive Maintenance
| Year 3 | 4920
| Year 4 | 5313.6
| Year 5 | 5738.69
| Year 6 | 6312.56
| Year 7 | 6817.56
| Total Maintenance Cost: | 29102.41
Maintenance Entails: A Fully Comprehensive 5-year Preventative Maintenance/Service and Corrective Maintenance/Repair contract covering all equipment, hardware and software. This contract would cover, but not be limited to the following: ALL PARTS (including Batteries), labour, travelling, accommodation, service and repair. The 5-year Maintenance Plan must also include all quality check, quality assurance requirements, calibrations , Software updates and upgrades. This contract will commence after the 2-year warranty period has expired.
7 | Estimated Life-span |  | 10 Years
8 | Replacement Accessories & Consumables | Unit of measure
RT2-05-37a | Mattress Cell | ea | 760.72
RT2-05-37b | Mattress | ea | 16656.04
RT2-05-37c | Mattress cover | ea | 6103.1
RT2-05-37d | Pump | ea | 10322.26
# | RT2-05-38
1 | Item Number: RT2-05-38
2 | Item Name: RIPPLE MATTRESS SYSTEM (180kg), Replacement
3 | Suppliers' Name | Sanbonani Holdings
3.1 | Make/Brand | Apex Medical
3.2 | Model | Pro-care Auto 5"
3.3 | Country of Origin | Taiwan
3.4 | Lead time | 10 Weeks
3.5 | Standard Accessories & Consumables(Starter Pack) | Qty
3.5.1 | Complete Mattress connected to a pump
4 | Warranty (2-year): Year 1 and Year 2
4.1 | Warranty Entails: A 2-year warranty against poor workmanship and latent defects and parts. This must be all inclusive and include, BUT NOT LIMITED TO, amongst others, ALL PARTS (including Batteries), Labour, Traveling and Accommodation. The 2-year warranty must also include all quality check, quality assurance requirements, Preventative Maintenance/Calibrations, Software updates and upgrades to be included. This 2-year warranty will commence after formal Commissioning and handover of the equipment.
5 | Unit Price(Inclusive of VAT, Standard Accessories & Consumables, and 2-year Warranty) | 32628.9
6 | Post Warranty 5 Year Comprehensive Maintenance
| Year 3 | 4920
| Year 4 | 5313.6
| Year 5 | 5738.69
| Year 6 | 6312.56
| Year 7 | 6817.56
| Total Maintenance Cost: | 29102.41
Maintenance Entails: A Fully Comprehensive 5-year Preventative Maintenance/Service and Corrective Maintenance/Repair contract covering all equipment, hardware and software. This contract would cover, but not be limited to the following: ALL PARTS (including Batteries), labour, travelling, accommodation, service and repair. The 5-year Maintenance Plan must also include all quality check, quality assurance requirements, calibrations , Software updates and upgrades. This contract will commence after the 2-year warranty period has expired.
7 | Estimated Life-span |  | 10 Years
8 | Replacement Accessories & Consumables | Unit of measure
RT2-05-38a | Mattress Cell | ea | 757.1
RT2-05-38b | Mattress | ea | 12113.56
RT2-05-38c | Mattress cover | ea | 4499.32
RT2-05-38d | Pump | ea | 12113.56
# | RT2-05-39
1 | Item Number: RT2-05-39
2 | Item Name: RIPPLE MATTRESS SYSTEM (270kg), Replacement
3 | Suppliers' Name | Sanbonani Holdings
3.1 | Make/Brand | Apex Medical
3.2 | Model | Pro-care Auto 8"
3.3 | Country of Origin | Taiwan
3.4 | Lead time | 10 Weeks
3.5 | Standard Accessories & Consumables(Starter Pack) | Qty
3.5.1 | Complete Mattress connected to a pump
4 | Warranty (2-year): Year 1 and Year 2
4.1 | Warranty Entails: A 2-year warranty against poor workmanship and latent defects and parts. This must be all inclusive and include, BUT NOT LIMITED TO, amongst others, ALL PARTS (including Batteries), Labour, Traveling and Accommodation. The 2-year warranty must also include all quality check, quality assurance requirements, Preventative Maintenance/Calibrations, Software updates and upgrades to be included. This 2-year warranty will commence after formal Commissioning and handover of the equipment.
5 | Unit Price(Inclusive of VAT, Standard Accessories & Consumables, and 2-year Warranty) | 39952.4
6 | Post Warranty 5 Year Comprehensive Maintenance
| Year 3 | 4920
| Year 4 | 5313.6
| Year 5 | 5738.69
| Year 6 | 6312.56
| Year 7 | 6817.56
| Total Maintenance Cost: | 29102.41
Maintenance Entails: A Fully Comprehensive 5-year Preventative Maintenance/Service and Corrective Maintenance/Repair contract covering all equipment, hardware and software. This contract would cover, but not be limited to the following: ALL PARTS (including Batteries), labour, travelling, accommodation, service and repair. The 5-year Maintenance Plan must also include all quality check, quality assurance requirements, calibrations , Software updates and upgrades. This contract will commence after the 2-year warranty period has expired.
7 | Estimated Life-span |  | 10 Years
8 | Replacement Accessories & Consumables | Unit of measure
RT2-05-39a | Mattress Cell | ea | 775
RT2-05-39b | Mattress | ea | 19956.01
RT2-05-39c | Mattress cover | ea | 7736.35
RT2-05-39d | Pump | ea | 19956.01
# | RT2-05-40
1 | Item Number: RT2-05-40
2 | Item Name: Deep Vein Thrombosis (DVT) Pump
3 | Suppliers' Name | Genvera Medical Technology |  | Class Three Medical
3.1 | Make/Brand | Vesoflow SQS |  | Comen
3.2 | Model | Vesoflow M13-4 |  | SCD 600
3.3 | Country of Origin | Taiwan |  | China
3.4 | Lead time | 2-8 Weeks |  | 2-8 Weeks
3.5 | Standard Accessories & Consumables(Starter Pack) | Qty
3.5.1 | Standard foot cuff
3.5.2 | Large foot cuff
3.5.3 | Small leg sleeve
3.5.4 | Medium leg sleeve
3.5.5 | Large leg sleeve
4 | Warranty (2-year): Year 1 and Year 2
4.1 | Warranty Entails: A 2-year warranty against poor workmanship and latent defects and parts. This must be all inclusive and include, BUT NOT LIMITED TO, amongst others, ALL PARTS (including Batteries), Labour, Traveling and Accommodation. The 2-year warranty must also include all quality check, quality assurance requirements, Preventative Maintenance/Calibrations, Software updates and upgrades to be included. This 2-year warranty will commence after formal Commissioning and handover of the equipment.
5 | Unit Price(Inclusive of VAT, Standard Accessories & Consumables, and 2-year Warranty) | 18915.89 |  | 18916.25
6 | Post Warranty 5 Year Comprehensive Maintenance
| Year 3 | 2661.98 |  | 1996.97
| Year 4 | 2861.27 |  | 2396.35
| Year 5 | 3110.65 |  | 2636
| Year 6 | 3991.9 |  | 3031.4
| Year 7 | 4180.68 |  | 3637.69
| Total Maintenance Cost: | 16806.48 |  | 13698.41
Maintenance Entails: A Fully Comprehensive 5-year Preventative Maintenance/Service and Corrective Maintenance/Repair contract covering all equipment, hardware and software. This contract would cover, but not be limited to the following: ALL PARTS (including Batteries), labour, travelling, accommodation, service and repair. The 5-year Maintenance Plan must also include all quality check, quality assurance requirements, calibrations , Software updates and upgrades. This contract will commence after the 2-year warranty period has expired.
9 | Estimated Life-span |  | 10 Years |  | 10 Years
3.5 | Replacement Accessories & Consumables | Unit of measure
RT2-05-40a | Standard foot cuff | ea | 780.06 | ea | 425.37
RT2-05-40b | Large foot cuff | ea | 780.06 | ea | 425.37
RT2-05-40c | Small leg sleeve | ea | 780.06 | ea | 425.37
RT2-05-40d | Medium leg sleeve | ea | 780.06 | ea | 425.37
RT2-05-40e | Large leg sleeve | ea | 780.06 | ea | 425.37
RT2-05-40f | Battery | ea | 1650 | ea | 2101.87
# | RT2-05-43 |  |  | (Subject to clinical trial)
1 | Item Number: RT2-05-43
2 | Item Name: Infra-red Thermometer, Digital
3 | Suppliers' Name |  | Mbuso Medical
3.1 | Make/Brand |  | Yonker
3.2 | Model |  | YK-IRT4
3.3 | Country of Origin |  | China
3.4 | Lead time |  | 2-8 Weeks
3.5 | Standard Accessories & Consumables(Starter Pack)
3.5.1
4 | Warranty (2-year): Year 1 and Year 2
4.1 | Warranty Entails: A 2-year warranty against poor workmanship and latent defects and parts. This must be all inclusive and include, BUT NOT LIMITED TO, amongst others, ALL PARTS (including Batteries), Labour, Traveling and Accommodation. The 2-year warranty must also include all quality check, quality assurance requirements, Preventative Maintenance/Calibrations, Software updates and upgrades to be included. This 2-year warranty will commence after formal Commissioning and handover of the equipment.
5 | Unit Price(Inclusive of VAT, Standard Accessories & Consumables, and 2-year Warranty) |  | 263.38
# | RT2-05-44
1 | Item Number: RT2-05-44
2 | Item Name: SYRINGE DRIVER, Neonatal
3 | Suppliers' Name | Ecomed Medical
3.1 | Make/Brand | Mindray
3.2 | Model | Benefusion eSP ex
3.3 | Country of Origin | China
3.4 | Lead time | 8 Weeks
3.5 | Standard Accessories & Consumables(Starter Pack) | Qty
3.5.1
4 | Warranty (2-year): Year 1 and Year 2
4.1 | Warranty Entails: A 2-year warranty against poor workmanship and latent defects and parts. This must be all inclusive and include, BUT NOT LIMITED TO, amongst others, ALL PARTS (including Batteries), Labour, Traveling and Accommodation. The 2-year warranty must also include all quality check, quality assurance requirements, Preventative Maintenance/Calibrations, Software updates and upgrades to be included. This 2-year warranty will commence after formal Commissioning and handover of the equipment.
5 | Unit Price(Inclusive of VAT, Standard Accessories & Consumables, and 2-year Warranty) | 15182.3
6 | Post Warranty 5 Year Comprehensive Maintenance
| Year 3 | 1120
| Year 4 | 1120
| Year 5 | 1120
| Year 6 | 1120
| Year 7 | 1120
| Total Maintenance Cost: | 5600
Maintenance Entails: A Fully Comprehensive 5-year Preventative Maintenance/Service and Corrective Maintenance/Repair contract covering all equipment, hardware and software. This contract would cover, but not be limited to the following: ALL PARTS (including Batteries), labour, travelling, accommodation, service and repair. The 5-year Maintenance Plan must also include all quality check, quality assurance requirements, calibrations , Software updates and upgrades. This contract will commence after the 2-year warranty period has expired.
7 | Estimated Life-span |  | 10 Years
8 | Replacement Accessories & Consumables | Unit of measure
RT2-05-44a | Extension sets Clear Fluid (Straight) | Pk of 100 | 2768.05
RT2-05-44b | Extension sets (Spiral) | Pk of 100 | 3387.9
RT2-05-44c | Extension sets (Light resistant/sensitive) | Pk of 100 | 3067.05
RT2-05-44d | Extension sets Low Sorb | Pk of 100 | 3653.55
RT2-05-44e | Extension sets Blood | Pk of 100 | 2181.55
RT2-05-44f | Neonatal Closed blood set with Filter | Pk of 100 | 3515.55
RT2-05-44g | Compatible Syringes LUER LOCK Size: 2ml | Pk of 10 | 14.95
RT2-05-44h | Compatible Syringes LUER LOCK Size: 3ml | Pk of 10 | 11.5
RT2-05-44i | Compatible Syringes LUER LOCK Size: 5ml | Pk of 10 | 12.65
RT2-05-44j | Compatible Syringes LUER LOCK Size: 10ml | Pk of 10 | 20.7
RT2-05-44k | Compatible Syringes LUER LOCK Size: 20ml | Pk of 10 | 33.35
RT2-05-44l | Compatible Syringes LUER LOCK Size: 30ml | Pk of 10 | 98.9
RT2-05-44m | Compatible Syringes LUER LOCK Size: 50ml | Pk of 10 | 83.95
RT2-05-44n | Compatible Syringes LUER LOCK Size: 60ml | Pk of 10 | 83.95
RT2-05-44o | Mobile Docking station (4 Slots) | ea | 18152.75
RT2-05-44p | Mobile Docking stations (6 Slots) | ea | 24794
# | RT2-05-45
1 | Item Number: RT2-05-45
2 | Item Name: SYRINGE DRIVER, Adult
3 | Suppliers' Name | Fresenius Kabi SA |  | Class Three Medical (Offer 3) |  | Ecomed Medical |  | Evotec Electronics |  | Class Three Medical (Offer 1) |  | Duromed
3.1 | Make/Brand | Fresenius Kabi |  | Comen |  | Mindray |  | Hunan CS Beyond |  | Kellymed |  | Codan Argus
3.2 | Model | Agilia SP MC |  | M300 |  | Benefusion eSP |  | Semi-1 |  | M200 |  | A616S Plus
3.3 | Country of Origin | France |  | China |  | China |  | China |  | China |  | Swirzeland
3.4 | Lead time | 4 Weeks |  | 2-8 Weeks |  | 8 Weeks |  | 4-6 Weeks |  | 2-8 Weeks |  | 8 Weeks
3.5 | Standard Accessories & Consumables(Starter Pack)
3.5.1
4 | Warranty (2-year): Year 1 and Year 2
4.1 | Warranty Entails: A 2-year warranty against poor workmanship and latent defects and parts. This must be all inclusive and include, BUT NOT LIMITED TO, amongst others, ALL PARTS (including Batteries), Labour, Traveling and Accommodation. The 2-year warranty must also include all quality check, quality assurance requirements, Preventative Maintenance/Calibrations, Software updates and upgrades to be included. This 2-year warranty will commence after formal Commissioning and handover of the equipment. This 2-year warranty will commence after formal Commissioning and handover of the equipment.
5 | Unit Price (Inclusive of VAT, Standard Accessories & Consumables, and 2-year Warranty) | 12017.5 |  | 13176.9 |  | 14441.7 |  | 16732.5 |  | 19347.96 |  | 38985
6 | Post Warranty 5 Year Comprehensive Maintenance
| Year 3 | 0 |  | 2716.9 |  | 1120 |  | 920 |  | 2716.9 |  | 1035
| Year 4 | 0 |  | 3552.61 |  | 1120 |  | 1012 |  | 3552.61 |  | 0
| Year 5 | 1500 |  | 3981.71 |  | 1120 |  | 1115.5 |  | 3981.71 |  | 1207.5
| Year 6 | 0 |  | 4713.86 |  | 1120 |  | 1230.5 |  | 4713.86 |  | 0
| Year 7 | 1500 |  | 5510.81 |  | 1120 |  | 1357 |  | 5510.81 |  | 1380
| Total Maintenance Cost: | 3000 |  | 20475.89 |  | 5600 |  | 5635 |  | 20475.89 |  | 3622.5
Maintenance Entails: A Fully Comprehensive 5-year Preventative Maintenance/Service and Corrective Maintenance/Repair contract covering all equipment, hardware and software. This contract would cover, but not be limited to the following: ALL PARTS (including Batteries, Flow sensors and Oxygen sensor), labour, travelling, accommodation, service and repair. The 5-year Maintenance Plan must also include all quality check, quality assurance requirements, calibrations , Software updates and upgrades.This contract will commence after the 2-year warranty period has expired.
7 | Estimated Life-span |  | 10 |  | 10 yrs |  | 10 |  | 6-8 yrs |  | 10 |  | 10
8 | Replacement Accessories & Consumables | Unit of measure |  | Unit of measure |  | Unit of measure |  | Unit of measure |  | Unit of measure |  | Unit of measure
RT2-05-45a | Extension sets Clear Fluid (Straight) - 100/box | Pk of 100 | 14.2444 | Pk of 100 | 637.1 | Pk of 100 | 2768.05 | Pk of 100 | 3047.5 | Pk of 100 | 637.1 | Pk of 100 | N/A
RT2-05-45b | Extension sets (Spiral)- 100/box | Pk of 100 |  | Pk of 100 | 637.1 | Pk of 100 | 3387.9 | Pk of 100 |  | Pk of 100 | 637.1 | Pk of 100 | N/A
RT2-05-45c | Extension sets (Light resistant/sensitive)- 100/box | Pk of 100 | 16.0118 | Pk of 100 | 1061.82 | Pk of 100 | 3067.05 | Pk of 100 |  | Pk of 100 | 1061.82 | Pk of 100 | N/A
RT2-05-45d | Extension sets Low Sorb- 100/box | Pk of 100 | 16.9234 | Pk of 100 |  | Pk of 100 | 3653.55 | Pk of 100 |  | Pk of 100 |  | Pk of 100 | N/A
RT2-05-45e | Extension sets Blood- 100/box | Pk of 100 |  | Pk of 100 | 1061.82 | Pk of 100 | 2181.55 | Pk of 100 |  | Pk of 100 | 1061.82 | Pk of 100 | N/A
RT2-05-45f | Neonatal Closed blood set with Filter - 100/box | Pk of 100 |  | Pk of 100 |  | Pk of 100 | 3515.55 | Pk of 100 |  | Pk of 100 |  | Pk of 100 | N/A
RT2-05-45g | Compatible Syringes LUER LOCK Size: 2ml (Pk of 10) | Pk of 10 |  | Pk of 10 | 361.03 | Pk of 10 | 14.95 | Pk of 10 | 299 | Pk of 10 | 361.03 | Pk of 10 | N/A
RT2-05-45h | Compatible Syringes LUER LOCK Size: 3ml (Pk of 10) | Pk of 10 |  | Pk of 10 | 361.03 | Pk of 10 | 11.5 | Pk of 10 | 128.8 | Pk of 10 | 361.03 | Pk of 10 | N/A
RT2-05-45i | Compatible Syringes LUER LOCK Size: 5ml (Pk of 10) | Pk of 10 |  | Pk of 10 | 51.89 | Pk of 10 | 12.65 | Pk of 10 | 138 | Pk of 10 | 51.89 | Pk of 10 | N/A
RT2-05-45j | Compatible Syringes LUER LOCK Size: 10ml (Pk of 10) | Pk of 10 |  | Pk of 10 | 51.89 | Pk of 10 | 20.7 | Pk of 10 | 230 | Pk of 10 | 51.89 | Pk of 10 | N/A
RT2-05-45k | Compatible Syringes LUER LOCK Size: 20ml (Pk of 10) | Pk of 10 |  | Pk of 10 | 67.2 | Pk of 10 | 33.35 | Pk of 10 | 161 | Pk of 10 | 67.2 | Pk of 10 | N/A
RT2-05-45l | Compatible Syringes LUER LOCK Size: 30ml (Pk of 10) | Pk of 10 |  | Pk of 10 | 84.96 | Pk of 10 | 98.9 | Pk of 10 |  | Pk of 10 | 84.96 | Pk of 10 | N/A
RT2-05-45m | Compatible Syringes LUER LOCK Size: 50ml (Pk of 10) | Pk of 10 | 14.4118 | Pk of 10 | 169.09 | Pk of 10 | 83.95 | Pk of 10 | 345 | Pk of 10 | 169.09 | Pk of 10 | N/A
RT2-05-45n | Compatible Syringes LUER LOCK Size: 60ml (Pk of 10) | Pk of 10 | 16.1 | Pk of 10 | 169.09 | Pk of 10 | 83.95 | Pk of 10 | 322 | Pk of 10 | 169.09 | Pk of 10 | N/A
RT2-05-45o | Mobile Docking station (4 Slots) | ea | 7475 | ea | 19570.36 | ea | 18152.75 | ea |  | ea | 19570.36 | ea | 22942.5
RT2-05-45p | Mobile Docking station (6 Slots) | ea | 8625 | ea | 21001 | ea | 24794 | ea |  | ea | 21001 | ea | 28980
RT2-05-45q | Mobile Docking station (8 Slots) | ea |  | ea | 28760.25 | ea | 44275 | ea |  | ea | 28760.25 | ea | 37674
CATEGORY 7: ORTHOPAEDIC EQUIPMENT
# | RT2-07-11
1 | Item Number: RT2-07-11
2 | Item Name: Arthroscopic Shaver, with Irrigation System
3 | Suppliers' Name | Stryker South Africa |  | Medhold Medical
3.1 | Make/Brand: Shaver | Stryker |  | Conmed
3.2 | Model | Crossfire 2 console |  | D4000A
3.3 | Country of Origin | USA |  | USA
3.1 | Make/Brand: Irrigation System | Stryker |  | Conmed
3.2 | Model | Crossflow |  | Crystalview
3.3 | Country of Origin | USA |  | USA
3.4 | Lead time | 4-6 Weeks |  | 8 Weeks
3.5 | Standard Accessories & Consumables (Starter Pack) | Qty |  | Qty
3.5.1 | Handpiece with cable | 1 |  | 1
3.5.2 | Foot pedal | 1 |  | 1
3.5.3 | Irrigation stand | 1 |  | 1
3.5.4 | Set of irrigation lines | 1 set |  | 1 set
3.5.5 | Set of irrigation clips | 1 set |  | 1 set
3.5.6 | Shaver handpiece cleaning brush | 1 |  | 1
3.5.7 | Shaver blade cleaning brush | 1 |  | 1
3.5.8 | Different sizes of disposable blades | 1 each |  | 1 each
3.5.9
4 | Warranty (2-year): Year 1 and Year 2
4.1 | Warranty Entails: A 2-year warranty against poor workmanship and latent defects and parts. This must be all inclusive and include, BUT NOT LIMITED TO, amongst others, ALL PARTS (including Batteries), Labour, Traveling and Accommodation. The 2-year warranty must also include all quality check, quality assurance requirements, Preventative/Corrective Maintenance/Calibrations, Software updates and upgrades to be included. This 2-year warranty will commence after formal Commissioning and handover of the equipment.
7 | Unit Price(Inclusive of VAT, Standard Accessories & Consumables, and 2-year Warranty) | 259749.44 |  | 259763.65
8 | Post Warranty 5 Year Comprehensive Maintenance
| Year 3 | 13064 |  | 15574.66
| Year 4 | 13847.84 |  | 16664.25
| Year 5 | 14678.71 |  | 17831.42
| Year 6 | 15559.38 |  | 19079.63
| Year 7 | 16492.95 |  | 20415.2
| Total Maintenance Cost: | 73642.88 |  | 89565.16
Maintenance Entails: A Fully Comprehensive 5-year Preventative Maintenance/Service and Corrective Maintenance/Repair contract covering all equipment, hardware and software. This contract would cover, but not be limited to the following: ALL PARTS (including Batteries), labour, travelling, accommodation, service and repair. The 5-year Maintenance Plan must also include all quality check, quality assurance requirements, calibrations , Software updates and upgrades.This contract will commence after the 2-year warranty period has expired.
9 | Estimated Life-span |  | 8-10 yrs Years |  | 10 Years
CATEGORY 9: NEURO EQUIPMENT (Neurology & Neurosurgery)
# | RT2-09-08
1 | Item Number: RT2-09-08
2 | Item Name: Neuro Drill
3 | Suppliers' Name | B Braun Medical |  | Medhold Medical
3.1 | Make/Brand | Aesculap |  | Conmed
3.2 | Model | Elan 4 |  | Coolflex System
3.3 | Country of Origin | Germany |  | USA
3.4 | Lead time | 8-12 Weeks |  | 8 Weeks
3.5 | Standard Accessories & Consumables (Starter Pack) | Qty |  | Qty
3.5.1 | Electro Foot pedal | 1 |  | 1
3.5.2 | High speed motor with motor cable (minimum 80.000 rpm) and at least 2.5 or above motor cable that is autoclavable) | 1 |  | 1
3.5.3 | Electro Perforator with coupling | 1 |  | 1
3.5.4 | Electro Craniotome and multifunction hand piece (2 ring) | 1 |  | 1
3.5.5 | Disposable irrigation tube set for Irrigation pump and adapters | 1 |  | 1
3.5.6 | Reusable or disposable spray Nozzles, please specify. | 1 |  | 1
3.5.7 | Holder for ring burs | 1 |  | 1
3.5.8 | Holder for craniotome attachments | 1 |  | 1
3.5.9 | Electro low speed with Intra coupling | 1 |  | 1
3.5.10 | Holder for saw blades | 1 |  | 1
3.5.11 | Trolleys with drawers, IV pole for irrigation pump and Electro control unit. | 1 |  | 1
3.5.12 | Standard attachment for neuro and must come standard with nozzles | 1 |  | 1
3.5.13 | High power attachment for spine must also come standard with the nozzle | 1 |  | 1
3.5.14 | Both the micro saws i.e. electro micro surgical saw and electro micro reciprocating saw. Each saw must come standard with the nozzles | 1 |  | 1
3.5.15 | Standard Electro surgical saw and Electro reciprocating saw. Each saw must come standard with the nozzles. | 1 |  | 1
3.5.16 | Sterilization Trays and Cases tray where all accessories can be placed for cleaning | 1 |  | 1
3.5.17 | The following High speed hand pieces including the spray nozzle for spine must supplied with the unit | 1 |  | 1
Length (cm) ¦¦ Quantity:
3.5.17.1 | 7 cm ¦¦ 3 units | 3 |  | 3
3.5.17.2 | 12 cm ¦¦ 3 units | 3 |  | 3
3.5.17.3 | 17 cm ¦¦ 3 units | 3 |  | 3
3.5.18 | Burs for Micro hand pieces
Description ¦¦ Diameter
3.5.18.1 | Spinal (Rosen) Burr ¦¦ 1.0 mm | 3 |  | 3
3.5.18.2 | Spinal (Rosen) Burr ¦¦ 3.0 mm | 3 |  | 3
3.5.18.3 | Spinal (Rosen) Burr ¦¦ 5.0 mm | 3 |  | 3
3.5.18.4 | Spinal (Rosen) Burr (Soft Cut) ¦¦ 4.0 mm | 3 |  | 3
3.5.18.5 | Diamond Burrs ¦¦ 0.6 mm | 3 |  | 3
3.5.18.6 | Diamond Burrs ¦¦ 1.0 mm | 3 |  | 3
3.5.18.7 | Diamond Burrs, coarse ¦¦ 3.0 mm | 3 |  | 3
3.5.18.8 | Diamond Burrs, coarse ¦¦ 5.0 mm | 3 |  | 3
3.5.18.9 | Neuro cutter ¦¦ 2.0 mm | 3 |  | 3
3.5.18.10 | Pin Cutter ¦¦ 1.0 mm | 3 |  | 3
3.5.18.11 | Twist drills ¦¦ 1.5 mm | 3 |  | 3
3.5.18.12 | Twist drills ¦¦ 2.0 mm | 3 |  | 3
4 | Warranty (2-year): Year 1 and Year 2
4.1 | Warranty Entails: A 2-year warranty against poor workmanship and latent defects and parts. This must be all inclusive and include, BUT NOT LIMITED TO, amongst others, ALL PARTS (including Batteries), Labour, Traveling and Accommodation. The 2-year warranty must also include all quality check, quality assurance requirements, Preventative/Corrective Maintenance/Calibrations, Software updates and upgrades to be included. This 2-year warranty will commence after formal Commissioning and handover of the equipment.
5 | Unit Price(Inclusive of VAT, Standard Accessories & Consumables, and 2-year Warranty) | 713993.28 |  | 810569.65
6 | Post Warranty 5 Year Comprehensive Maintenance
| Year 3 | 46266.76 |  | 43757.25
| Year 4 | 49968.11 |  | 46820.25
| Year 5 | 53965.55 |  | 50097.67
| Year 6 | 58282.8 |  | 53604.51
| Year 7 | 62945.42 |  | 57356.85
| Total Maintenance Cost: | 271428.64 |  | 251636.53
6.1 | Maintenance Entails: A Fully Comprehensive 5-year Preventative Maintenance/Service and Corrective Maintenance/Repair contract covering all equipment, hardware and software. This contract would cover, but not be limited to the following: ALL PARTS (including Batteries), labour, travelling, accommodation, service and repair. The 5-year Maintenance Plan must also include all quality check, quality assurance requirements, calibrations , Software updates and upgrades.This contract will commence after the 2-year warranty period has expired.
7 | Estimated Life-span |  | 15 yrs Years |  | 7 Years
8 | Replacement Accessories & Consumables | Unit of measure |  | Unit of measure
RT2-09-08a | Spray nozzle 7 cm | Pk of 3 | 36882.6938 | Pk of 3
RT2-09-08b | Spray nozzle 12 cm | Pk of 3 | 39510.2138 | Pk of 3
RT2-09-08c | Spray nozzle 17 cm | Pk of 3 | 44142.4315 | Pk of 3
RT2-09-08d | Spinal (Rosen) Burr ¦¦ 1.0 mm | Pk of 3 | 1459.7392 | Pk of 3 | 7453.11
RT2-09-08e | Spinal (Rosen) Burr ¦¦ 3.0 mm | Pk of 3 | 1459.7392 | Pk of 3 | 6907.76
RT2-09-08f | Spinal (Rosen) Burr ¦¦ 5.0 mm | Pk of 3 | 1459.7392 | Pk of 3 | 7634.89
RT2-09-08g | Spinal (Rosen) Burr (Soft Cut) ¦¦ 4.0 mm | Pk of 3 | 1459.7392 | Pk of 3 | 7089.54
RT2-09-08h | Diamond Burrs ¦¦ 0.6 mm | Pk of 3 | 1840.5408 | Pk of 3 | 6907.76
RT2-09-08i | Diamond Burrs ¦¦ 1.0 mm | Pk of 3 | 1840.5408 | Pk of 3 | 6907.76
RT2-09-08j | Diamond Burrs, coarse ¦¦ 3.0 mm | Pk of 3 | 1654.3723 | Pk of 3 | 8543.81
RT2-09-08k | Diamond Burrs, coarse ¦¦ 5.0 mm | Pk of 3 | 1654.3723 | Pk of 3 | 9270.94
RT2-09-08l | Neuro cutter ¦¦ 2.0 mm | Pk of 3 | 1459.7392 | Pk of 3 | 7998.46
RT2-09-08n | Twist drills ¦¦ 1.5 mm | Pk of 3 | 1459.7392 | Pk of 3 | 9578.75
RT2-09-08o | Twist drills ¦¦ 2.0 mm | Pk of 3 | 1840.5408 | Pk of 3 | 9578.75
# | RT2-09-09
1 | Item Number: RT2-09-09
2 | Item Name: Amplitude EEG
3 | Suppliers' Name | SSEM Mthembu Medical |  | Respiratory Care Africa (Offer 1)
3.1 | Make/Brand: Shaver | Nihon Kohden |  | Natus
3.2 | Model | EEG 1250 |  | CFM Olympic Brainz Monitor
3.3 | Country of Origin | Japan |  | USA
3.4 | Lead time | 6-8 Weeks |  | 10 Weeks
3.5 | Standard Accessories & Consumables (Starter Pack)
3.5.1 | Electrodes
3.5.2 | Trunk cable
3.5.3 | Junction box
3.5.4 | Purpose-built trolley
3.5.5 | Camera Attachment bracket
4 | Warranty (2-year): Year 1 and Year 2
4.1 | Warranty Entails: A 2-year warranty against poor workmanship and latent defects and parts. This must be all inclusive and include, BUT NOT LIMITED TO, amongst others, ALL PARTS (including Batteries), Labour, Traveling and Accommodation. The 2-year warranty must also include all quality check, quality assurance requirements, Preventative/Corrective Maintenance/Calibrations, Software updates and upgrades to be included. This 2-year warranty will commence after formal Commissioning and handover of the equipment.
7 | Unit Price(Inclusive of VAT, Standard Accessories & Consumables, and 2-year Warranty) | 678038.44 |  | 767453.46
8 | Post Warranty 5 Year Comprehensive Maintenance
| Year 3 | 13800 |  | 9673.45
| Year 4 | 13800 |  | 10517.72
| Year 5 | 13800 |  | 11437.98
| Year 6 | 13800 |  | 12441.33
| Year 7 | 13800 |  | 13535.53
| Total Maintenance Cost: | 69000 |  | 57606.01
Maintenance Entails: A Fully Comprehensive 5-year Preventative Maintenance/Service and Corrective Maintenance/Repair contract covering all equipment, hardware and software. This contract would cover, but not be limited to the following: ALL PARTS (including Batteries), labour, travelling, accommodation, service and repair. The 5-year Maintenance Plan must also include all quality check, quality assurance requirements, calibrations , Software updates and upgrades.This contract will commence after the 2-year warranty period has expired.
9 | Estimated Life-span |  | 8-10 yrs Years |  | 10 Years
8 | Replacement Accessories & Consumables | Unit of measure |  | Unit of measure
RT2-09-09a | Electrodes | ea | 1323.972 | ea | 526.71
RT2-09-09b | Trunk cable | ea | 15612.77
RT2-09-09c | Junction box | ea | 41559.804 | ea | 97055.47
RT2-09-09d | Purpose-built trolley | ea | 80689.428 | ea | 66682.92
RT2-09-09e | Camera mounting facility/bracket | ea | 10171.98
CATEGORY 11: ADVANCED HOSPITAL FURNITURE
# | RT2-11-03
1 | Item Number: RT2-11-03
2 | Item Name: Delivery Bed, Electric
3 | Suppliers' Name | Arjohuntleigh SA |  | Respiratory Care Africa
3.1 | Make/Brand: Shaver | Arjo |  | Hill-Rom
3.2 | Model | Prioma Birthing Bed |  | Affinity 4
3.3 | Country of Origin | China |  | USA
3.4 | Lead time | 8 Weeks |  | 10 Weeks
3.5 | Supplied Standard with the following items and feaures:
3.5.1 | Mattress
3.5.2 | Mattress Cover
3.5.3 | Accessories storage trolley / system
3.5.4 | Adjustable leg rests
3.5.5 | IV Rod –height adjustable
3.5.6 | Hand grips
3.5.7 | High foot supports
3.5.8 | Low foot supports
3.5.9 | Fixed, heavy duty safety sides
3.5.10 | Bed control unit / remote handset
3.5.11 | Removable step
4 | Warranty (2-year): Year 1 and Year 2
4.1 | Warranty Entails: A 2-year warranty against poor workmanship and latent defects and parts. This must be all inclusive and include, BUT NOT LIMITED TO, amongst others, ALL PARTS (including Batteries), Labour, Traveling and Accommodation. The 2-year warranty must also include all quality check, quality assurance requirements, Preventative/Corrective Maintenance/Calibrations, Software updates and upgrades to be included. This 2-year warranty will commence after formal Commissioning and handover of the equipment.
5 | Unit Price(Inclusive of VAT, Standard Accessories & Consumables, and 2-year Warranty) | 97175 |  | 477249.19
6 | Post Warranty 5 Year Comprehensive Maintenance
| Year 3 | 0 |  | 0
| Year 4 | 0 |  | 0
| Year 5 | 0 |  | 0
| Year 6 | 0 |  | 0
| Year 7 | 0 |  | 0
| Total Maintenance Cost: | 0 |  | 0
6.1 | Maintenance Entails: A Fully Comprehensive 5-year Preventative Maintenance/Service and Corrective Maintenance/Repair contract covering all equipment, hardware and software. This contract would cover, but not be limited to the following: ALL PARTS (including Batteries), labour, travelling, accommodation, service and repair. The 5-year Maintenance Plan must also include all quality check, quality assurance requirements, calibrations , Software updates and upgrades.This contract will commence after the 2-year warranty period has expired.
7 | Estimated Life-span |  | 8-10 yrs Years |  | 10 Years
8 | Replacement Accessories & Consumables | Unit of measure |  | Unit of measure
RT2-11-03a | Mattress | ea | 13052.5 | ea | 31601.0858
RT2-11-03b | Mattress Cover | ea | 9200 | ea | 28563.3312
CATEGORY 13: Equipment that might require building alteration
# | RT2-13-05
1 | Item Number: RT2-13-05
2 | Item Name: Dialysis Machine (CRRT)
3 | Suppliers' Name | Jalo Enterprise |  | B Braun Medical
3.1 | Make/Brand | SWS |  | B Braun
3.2 | Model | SWS 5000A |  | Omni
3.3 | Country of Origin | China |  | Germany
3.4 | Lead time | 6-8 Weeks |  | 8-12 Weeks
3.5 | Standard Accessories & Consumables (Starter Pack)
3.5.1
4 | Warranty (2-year): Year 1 and Year 2
4.1 | Warranty Entails: A 2-year warranty against poor workmanship and latent defects and parts. This must be all inclusive and include, BUT NOT LIMITED TO, amongst others, ALL PARTS (including Batteries), Labour, Traveling and Accommodation. The 2-year warranty must also include all quality check, quality assurance requirements, Preventative/Corrective Maintenance/Calibrations, Software updates and upgrades to be included. This 2-year warranty will commence after formal Commissioning and handover of the equipment.
5 | Unit Price(Inclusive of VAT, Standard Accessories & Consumables, and 2-year Warranty) | 264691.3 |  | 345000
6 | Post Warranty 5 Year Comprehensive Maintenance
| Year 3 | 17899.04 |  | 26108
| Year 4 | 20674.85 |  | 27935.56
| Year 5 | 21715.33 |  | 29891.05
| Year 6 | 23230.25 |  | 31983.42
| Year 7 | 24624.07 |  | 34222.26
| Total Maintenance Cost: | 108143.54 |  | 150140.29
6.1 | Maintenance Entails: A Fully Comprehensive 5-year Preventative Maintenance/Service and Corrective Maintenance/Repair contract covering all equipment, hardware and software. This contract would cover, but not be limited to the following: ALL PARTS (including Batteries), labour, travelling, accommodation, service and repair. The 5-year Maintenance Plan must also include all quality check, quality assurance requirements, calibrations , Software updates and upgrades.This contract will commence after the 2-year warranty period has expired.
7 | Estimated Life-span |  | 15 yrs Years |  | 7 Years
# | RT2-13-06
1 | Item Number: RT2-13-06
2 | Item Name: Intermittent Hemodialysis
3 | Suppliers' Name | B Braun Medical (Offer 1) |  | B Braun Medical (Offer 2) |  | Jalo Enterprise |  | B Braun Medical (Offer 3) |  | B Braun Medical (Offer 4)
3.1 | Make/Brand: Shaver | B Braun |  | B Braun |  | SWS |  | B Braun |  | B Braun
3.2 | Model | Dialog + |  | Dialog + HDF |  | SWS 6000 |  | Dialog iQ |  | Dialog iQ HDF
3.3 | Country of Origin | Germany |  | Germany |  | China |  | Germany |  | Germany
3.4 | Lead time | 8-12 Weeks |  | 8-12 Weeks |  | 6-8 Weeks |  | 8-12 Weeks |  | 8-12 Weeks
3.5 | Standard Accessories & Consumables (Starter Pack)
3.5.1
4 | Warranty (2-year): Year 1 and Year 2
4.1 | Warranty Entails: A 2-year warranty against poor workmanship and latent defects and parts. This must be all inclusive and include, BUT NOT LIMITED TO, amongst others, ALL PARTS (including Batteries), Labour, Traveling and Accommodation. The 2-year warranty must also include all quality check, quality assurance requirements, Preventative/Corrective Maintenance/Calibrations, Software updates and upgrades to be included. This 2-year warranty will commence after formal Commissioning and handover of the equipment.
7 | Unit Price(Inclusive of VAT, Standard Accessories & Consumables, and 2-year Warranty) | 163300 |  | 202400 |  | 225462.1 |  | 281750 |  | 312800
8 | Post Warranty 5 Year Comprehensive Maintenance
| Year 3 | 12412 |  | 15236.8 |  | 16624.04 |  | 20972 |  | 23283.2
| Year 4 | 13280.84 |  | 16303.38 |  | 17621.48 |  | 22440.04 |  | 24913.02
| Year 5 | 14210.5 |  | 17444.61 |  | 18678.77 |  | 24010.84 |  | 26656.94
| Year 6 | 15205.23 |  | 18665.74 |  | 19799.5 |  | 25691.6 |  | 28522.92
| Year 7 | 16269.69 |  | 19972.34 |  | 20987.47 |  | 27490.01 |  | 30519.53
| Total Maintenance Cost: | 71378.26 |  | 87622.87 |  | 93711.26 |  | 120604.49 |  | 133895.61
Maintenance Entails: A Fully Comprehensive 5-year Preventative Maintenance/Service and Corrective Maintenance/Repair contract covering all equipment, hardware and software. This contract would cover, but not be limited to the following: ALL PARTS (including Batteries), labour, travelling, accommodation, service and repair. The 5-year Maintenance Plan must also include all quality check, quality assurance requirements, calibrations , Software updates and upgrades.This contract will commence after the 2-year warranty period has expired.
9 | Estimated Life-span |  | 8-10 yrs Years |  | 10 Years |  | 10 Years |  | 8-10 yrs Years |  | 10 Years
# | RT2-13-07
1 | Item Number: RT2-13-07
2 | Item Name: Mobile RO System
3 | Suppliers' Name | Jalo Enterprise
3.1 | Make/Brand | DWA
3.2 | Model | HemoRO 3000 (70L)
3.3 | Country of Origin | China
3.4 | Lead time | 6-8 Weeks
3.5 | Standard Accessories & Consumables (Starter Pack)
3.5.1
4 | Warranty (2-year): Year 1 and Year 2
4.1 | Warranty Entails: A 2-year warranty against poor workmanship and latent defects and parts. This must be all inclusive and include, BUT NOT LIMITED TO, amongst others, ALL PARTS (including Batteries), Labour, Traveling and Accommodation. The 2-year warranty must also include all quality check, quality assurance requirements, Preventative/Corrective Maintenance/Calibrations, Software updates and upgrades to be included. This 2-year warranty will commence after formal Commissioning and handover of the equipment.
5 | Unit Price(Inclusive of VAT, Standard Accessories & Consumables, and 2-year Warranty) | 243424.99
6 | Post Warranty 5 Year Comprehensive Maintenance
| Year 3 | 138757.38
| Year 4 | 147082.82
| Year 5 | 155907.79
| Year 6 | 165262.26
| Year 7 | 175178
| Total Maintenance Cost: | 782188.25
6.1 | Maintenance Entails: A Fully Comprehensive 5-year Preventative Maintenance/Service and Corrective Maintenance/Repair contract covering all equipment, hardware and software. This contract would cover, but not be limited to the following: ALL PARTS (including Batteries), labour, travelling, accommodation, service and repair. The 5-year Maintenance Plan must also include all quality check, quality assurance requirements, calibrations , Software updates and upgrades.This contract will commence after the 2-year warranty period has expired.
7 | Estimated Life-span |  | 10 Years
# | RT2-13-08
1 | Item Number: RT2-13-08
2 | Item Name: Complete RO Plant
3 | Suppliers' Name | Jalo Enterprise
3.1 | Make/Brand | DWA
3.2 | Model | ModulaS (up to 20 stations)
3.3 | Country of Origin | China
3.4 | Lead time | 6-8 Weeks
3.5 | Standard Accessories & Consumables (Starter Pack)
3.5.1
4 | Warranty (2-year): Year 1 and Year 2
4.1 | Warranty Entails: A 2-year warranty against poor workmanship and latent defects and parts. This must be all inclusive and include, BUT NOT LIMITED TO, amongst others, ALL PARTS (including Batteries), Labour, Traveling and Accommodation. The 2-year warranty must also include all quality check, quality assurance requirements, Preventative/Corrective Maintenance/Calibrations, Software updates and upgrades to be included. This 2-year warranty will commence after formal Commissioning and handover of the equipment.
5 | Unit Price(Inclusive of VAT, Standard Accessories & Consumables, and 2-year Warranty) | 1461926.2
6 | Post Warranty 5 Year Comprehensive Maintenance
| Year 3 | 429227.39
| Year 4 | 454981.03
| Year 5 | 482279.89
| Year 6 | 511216.69
| Year 7 | 541889.69
| Total Maintenance Cost: | 2419594.69
6.1 | Maintenance Entails: A Fully Comprehensive 5-year Preventative Maintenance/Service and Corrective Maintenance/Repair contract covering all equipment, hardware and software. This contract would cover, but not be limited to the following: ALL PARTS (including Batteries), labour, travelling, accommodation, service and repair. The 5-year Maintenance Plan must also include all quality check, quality assurance requirements, calibrations , Software updates and upgrades.This contract will commence after the 2-year warranty period has expired.
7 | Estimated Life-span |  | 10 Years
CATEGORY 14: ENT EQUIPMENT
# | RT2-14-08
1 | Item Number: RT2-14-08
2 | Item Name: Neuro Drill
3 | Suppliers' Name | Carl Zeiss |  | B Braun Medical
3.1 | Make/Brand | Zeiss |  | Aesculap
3.2 | Model | Tivato 700 |  | AEOS Robotic Assisted Digital Surgical Microscope
3.3 | Country of Origin | Germany |  | Germany
3.4 | Lead time | 22 Weeks |  | 8 Weeks
3.5 | Standard Accessories & Consumables (Starter Pack)
3.5.1
4 | Warranty (2-year): Year 1 and Year 2
4.1 | Warranty Entails: A 2-year warranty against poor workmanship and latent defects and parts. This must be all inclusive and include, BUT NOT LIMITED TO, amongst others, ALL PARTS (including Batteries), Labour, Traveling and Accommodation. The 2-year warranty must also include all quality check, quality assurance requirements, Preventative/Corrective Maintenance/Calibrations, Software updates and upgrades to be included. This 2-year warranty will commence after formal Commissioning and handover of the equipment.
5 | Unit Price(Inclusive of VAT, Standard Accessories & Consumables, and 2-year Warranty) | 2242500 |  | 5724809.38
6 | Post Warranty 5 Year Comprehensive Maintenance
| Year 3 | 254518 |  | 300552.49
| Year 4 | 271896.8 |  | 315580.12
| Year 5 | 302183.2 |  | 331359.12
| Year 6 | 335947.2 |  | 347927.08
| Year 7 | 358606.8 |  | 365323.43
| Total Maintenance Cost: | 1523152 |  | 1660742.24
6.1 | Maintenance Entails: A Fully Comprehensive 5-year Preventative Maintenance/Service and Corrective Maintenance/Repair contract covering all equipment, hardware and software. This contract would cover, but not be limited to the following: ALL PARTS (including Batteries), labour, travelling, accommodation, service and repair. The 5-year Maintenance Plan must also include all quality check, quality assurance requirements, calibrations , Software updates and upgrades.This contract will commence after the 2-year warranty period has expired.
7 | Estimated Life-span |  | 15 yrs Years |  | 7 Years
# | RT2-14-09
1 | Item Number: RT2-14-09
2 | Item Name: ENT Microscope, Advanced
3 | Suppliers' Name | Carl Zeiss |  | B Braun Medical
3.1 | Make/Brand: Shaver | Zeiss |  | Aesculap
3.2 | Model | Tivato 700 |  | AEOS Robotic Assisted Digital Surgical Microscope
3.3 | Country of Origin | Germany |  | Germany
3.4 | Lead time | 22 Weeks |  | 8 Weeks
3.5 | Standard Accessories & Consumables (Starter Pack)
3.5.1 | Electrodes
3.5.2 | Trunk cable
3.5.3 | Junction box
3.5.4 | Purpose-built trolley
3.5.5 | Camera Attachment bracket
4 | Warranty (2-year): Year 1 and Year 2
4.1 | Warranty Entails: A 2-year warranty against poor workmanship and latent defects and parts. This must be all inclusive and include, BUT NOT LIMITED TO, amongst others, ALL PARTS (including Batteries), Labour, Traveling and Accommodation. The 2-year warranty must also include all quality check, quality assurance requirements, Preventative/Corrective Maintenance/Calibrations, Software updates and upgrades to be included. This 2-year warranty will commence after formal Commissioning and handover of the equipment.
7 | Unit Price(Inclusive of VAT, Standard Accessories & Consumables, and 2-year Warranty) | 2817500 |  | 8085395.9
8 | Post Warranty 5 Year Comprehensive Maintenance
| Year 3 | 254518 |  | 424483.28
| Year 4 | 271896.8 |  | 445707.45
| Year 5 | 302183.2 |  | 467992.82
| Year 6 | 335947.2 |  | 491392.42
| Year 7 | 358606.8 |  | 515962.09
| Total Maintenance Cost: | 1523152 |  | 2345538.06
Maintenance Entails: A Fully Comprehensive 5-year Preventative Maintenance/Service and Corrective Maintenance/Repair contract covering all equipment, hardware and software. This contract would cover, but not be limited to the following: ALL PARTS (including Batteries), labour, travelling, accommodation, service and repair. The 5-year Maintenance Plan must also include all quality check, quality assurance requirements, calibrations , Software updates and upgrades.This contract will commence after the 2-year warranty period has expired.
9 | Estimated Life-span |  | 8-10 yrs Years |  | 10 Years