## RT252 LINE ITEMS
ITEM CODE | ITEM CATEGORIES | ITEM DESCRIPTION | BIDDER NAME | NAME OF MANUFACTURER | COUNTRY OF ORIGIN | BRAND NAME | PRODUCT CODE NUMBER | IMPORT COMPONENT OF PRICE AS % | DOES THE ITEM CONFORM TO SPECIFICATION ? YES/NO | UNIT OF MEASURE | MINIMUM ORDER QUANTITY | OFFER OPTION | LEAD TIME DAY/S | DELIVERY PRICE IN ZAR (AS PER YOUR BID DOCUMENT) VAT 15% | D1 – Imported Raw Material / Finished product | D2 - Local Raw Material / Finished product (if applicable) | D3 – Labour | D4 – Transport | D5 – Overheads | D6 – Other
42142402-00010 | SUCTION | SUCTION TUBE, YANKHAUER Perforated, removable rose-bud tip With straight tubing connector Stainless steel Length: 300 mm Autoclavable | [7 empty] | Each
42142402-00011 | SUCTION | CANNULA, MANUAL VACUUM ASPIRATION PVC Single use Karman type cannula flexible Length: 22 cm Wall thickness: 1,2cm Size: 4 mm Must have tight leak free fit with vacuum syringe Two whistle type opening at distal end of cannula Openings: Must not show any sharp edges Must be opposed and placed such that cannula strength is not compromised Must have features for measuring uterine depth Sterile, individually packed Item. Item must be compatble with item 42142601-00000,42142402-00011,42142402-00012,42142402-00013,42142402-00014,42142402-00015,42142402-00016,42142402-00017 AND 42142402-00018. | [7 empty] | Each
42142402-00012 | SUCTION | CANNULA, MANUAL VACUUM ASPIRATION PVC Single use Karman type cannula flexible Length: 22 cm Wall thickness: 1, 2 cm Size: 5 mm Must have tight leak free fit with vacuum syringe Two whistle type openings at distal end of cannula Openings: Must not show any sharp edges Must be opposed and placed such that cannula strength is not compromised Must have features for measuring uterine depth Sterile, individually packed Item Item must be compatble with item 42142601-00000,42142402-00011,42142402-00012,42142402-00013,42142402-00014,42142402-00015,42142402-00016,42142402-00017 AND 42142402-00018. | [7 empty] | Each
42142402-00013 | SUCTION | CANNULA, MANUAL VACUUM ASPIRATION PVC Single use Karman type cannula flexible Length: 22 cm Wall thickness: 1, 2 cm Size: 6 mm Must have tight leak free fit with vacuum syringe Two whistle type openings at distal end or cannula Openings: Must not show any sharp edges Must be opposed and placed such that cannula strength is not compromised Must have features for measuring uterine depth Sterile, individually packed Item Item must be compatble with item 42142601-00000,42142402-00011,42142402-00012,42142402-00013,42142402-00014,42142402-00015,42142402-00016,42142402-00017 AND 42142402-00018. | [7 empty] | Each
42142402-00014 | SUCTION | CANNULA, MANUAL VACUUM ASPIRATION PVC Single use Karman type cannula flexible Length: 22 cm Wall thickness: 1, 2 cm Size: 7 mm Must have tight leak free fit with vacuum syringe Two whistle type openings at distal end of cannula Openings: Must not show any sharp edges Must be opposed and placed such that cannula strength is not compromised Must have features for measuring uterine depth Sterile, individually packed Item. This item must be compatable to item 42142601-00000,42142402-00011,42142402-00012,42142402-00013,42142402-00014,42142402-00015,42142402-00016,42142402-00017 AND 42142402-00018. | [7 empty] | Each
42142402-00015 | SUCTION | CANNULA, MANUAL VACUUM ASPIRATION PVC Single use Karman type cannula flexible Length: 22 cm Wall thickness: 1, 2 cm Size: 8 mm Must have tight leak free fit with vacuum syringe Two whistle type openings at distal end of cannula Openings: Must not show any sharp edges Must be opposed and placed such that cannula strength is not compromised Must have features for measuring uterine depth Sterile, individually packed Item Item must be compatble with item 42142601-00000,42142402-00011,42142402-00012,42142402-00013,42142402-00014,42142402-00015,42142402-00016,42142402-00017 AND 42142402-00018. | [7 empty] | Each
42142402-00016 | SUCTION | CANNULA, MANUAL VACUUM ASPIRATION PVC Single use Karman type cannula flexible Length: 22 cm Wall thickness: 1, 2 cm Size: 9 mm Must have tight leak free fit with vacuum syringe One whistle type opening at distal end of cannula Opening: Must not show any sharp edges Must have features for measuring uterine depth Sterile, individually packed Item Item must be compatble with item 42142601-00000,42142402-00011,42142402-00012,42142402-00013,42142402-00014,42142402-00015,42142402-00016,42142402-00017 AND 42142402-00018. | [7 empty] | Each
42142402-00017 | SUCTION | CANNULA, MANUAL VACUUM ASPIRATION PVC Single use Karman type cannula flexible Length: 22 cm Wall thickness: 1, 2 cm Size: 10 mm Must have tight leak free fit with vacuum syringe One whistle type opening at distal end of cannula Opening: Must not show any sharp edges Must have features for measuring uterine depth Sterile, individually packed Item 4 Item must be compatble with item 42142601-00000,42142402-00011,42142402-00012,42142402-00013,42142402-00014,42142402-00015,42142402-00016,42142402-00017 AND 42142402-00018. | [7 empty] | Each
42142402-00018 | SUCTION | CANNULA, MANUAL VACUUM ASPIRATION PVC Single use Karman type cannula flexible Length: 22 cm Wall thickness: 1, 2 cm Size: 12 mm Must have tight leak free fit with vacuum syringe One whistle type openings at distal end of cannula Opening: Must not show any sharp edges Must have features for measuring uterine depth Sterile, individually packed Item. Item must be compatble with item 42142601-00000,42142402-00011,42142402-00012,42142402-00013,42142402-00014,42142402-00015,42142402-00016,42142402-00017 AND 42142402-00018. | [7 empty] | Each
42142601-00000 | SUCTION | SYRINGE, MANUAL AND VACUUM ASPIRATION DOUBLE VALVE AUTOCLAVABLE TO 121 DEGREES CELSIUS Set consists of: 1. Vacuum syringe must provide 60 ml of volume must maintain a minimum of 66 ml vacuum for at least one hour Sterilisable and re-usable 20-25 times 2. Valve assembly must have double locking valve to allow vacuum to be created prior to the procedure 3. Must have secure replaceable stopping mechanism for plunger when pulled and when vacuum is created 4. Plunger must have secure locking mechanism 5. A set of ADAPTORS must be provided to fit each size of cannula Adaptor sizes: Size 1: To fit 4, 5 & 6 mm cannula Size 2: To fit 7 mm cannula Size3: To fit 8 mm cannula Size 4: To fit 9 mm cannula Size 5: To fit 10 mm cannula 6. One Set of spare replaceable O-rings 7. 1 x replaceable stopping mechanism 8. Autoclavable to 121 degree celcius 9. Item must be compatble with item 42142601-00000,42142402-00011,42142402-00012,42142402-00013,42142402-00014,42142402-00015,42142402-00016,42142402-00017 AND 42142402-00018. | [7 empty] | Each
42143102-00003 | PROBE | SOUND, UTERINE, SIMS Shaft graduated in centimetres Malleable Length: 300 mm Autoclavable, | [7 empty] | Each
42143102-00004 | DILATORS | UTERINE DILATOR STORAGE ROLL Autoclavable canvas rolls with appropriate divisions. Suitable for storing 8 to 14 individual uterine dilators | [7 empty] | Each
42143102-00005 | DILATORS | UTERINE DILATORS-HEGAR Double ended Size: 1 + 2mm Stainless steel Autoclavable | [7 empty] | Each
42143102-00006 | DILATORS | UTERINE DILATORS-HEGAR Double ended Size: 3 + 4mm Stainless steel Autoclavable | [7 empty] | Each
42143102-00007 | DILATORS | UTERINE DILATORS-HEGAR Double ended Size: 5 + 6mm Stainless steel Autoclavable | [7 empty] | Each
42143102-00008 | DILATORS | UTERINE DILATORS-HEGAR Double ended Size: 7 + 8mm Stainless steel Autoclavable | [7 empty] | Each
42143102-00009 | DILATORS | UTERINE DILATORS-HEGAR Double ended Size: 9 + 10mm Stainless steel Autoclavable | [7 empty] | Each
42143102-00010 | DILATORS | UTERINE DILATORS-HEGAR Double ended Size: 11 + 12mm Stainless steel Autoclavable | [7 empty] | Each
42143102-00011 | DILATORS | UTERINE DILATORS-HEGAR Double ended Stainless steel Size: 13 + 14 mm Stainless steel Autoclavable | [7 empty] | Each
42143102-00012 | DILATORS | UTERINE DILATORS-HEGAR Double ended Stainless steel Size: 15 + 16 mm Stainless steel Autoclavable | [7 empty] | Each
42143102-00013 | DILATORS | UTERINE DILATORS-HEGAR Double ended Stainless steel Size: 17 + 18 mm Stainless steel Autoclavable | [7 empty] | Each
42181501-00001 | DILATORS | TONGUE DEPRESSORS, BUCHWALD Double ended Tapering from 19 mm to 23 mm wide Stainless steel Autoclavable, & Length: 180 mm | [7 empty] | Each
42181603-00001 | DIAGNOSTIC | SPHYGNOMANOMETER, ANEROID, POCKET TYPE Scale range 0-300 mm of mercury with a velcro cuff of dimensions to fit a normal adult arm. To be used with single tubing cuff Shockproof High quality indicator-Precisely calibrated, durable and shock resistant Upper Housing made of aluminum alloy-Advanced thermo plastic (Polyamide /TP Elastomer) with a shock absorbing ring protects indicator and glass Spare parts and components must be locally available. Must be compatable with item numbers 42181610-00015, 42181610-00016, 42181610-00017, 42181610-00018, 42181610-00019 | [7 empty] | Each
42181610-00015 | DIAGNOSTIC | CUFF Velcro, complete with sleeve, bag and single tubing for sphygmomanometer Size: Infant, Item Must be compatable with item numbers 42181610-00015, 42181610-00016, 42181610-00017, 42181610-00018, 42181610-00019 and 42181603-00001 | [7 empty] | Each
42181610-00016 | DIAGNOSTIC | CUFF Velcro, complete with sleeve, bag and single tubing for sphygmomanometer Size; Child,Item Must be compatable with item numbers 42181610-00015, 42181610-00016, 42181610-00017, 42181610-00018, 42181610-00019 and 42181603-00001 | [7 empty] | Each
42181610-00017 | DIAGNOSTIC | CUFF Velcro, complete with sleeve, bag and single tubing for sphygmomanometer Size: Normal Adult,Item Must be compatable with item numbers 42181610-00015, 42181610-00016, 42181610-00017, 42181610-00018, 42181610-00019 and 42181603-00001 | [7 empty] | Each
42181610-00018 | DIAGNOSTIC | CUFF Velcro, complete with sleeve, bag and single tubing for sphygmomanometer Size: Large arm,Item Must be compatable with item numbers 42181610-00015, 42181610-00016, 42181610-00017, 42181610-00018, 42181610-00019 and 42181603-00001 | [7 empty] | Each
42181610-00019 | DIAGNOSTIC | CUFF Velcro, complete with sleeve, bag and single tubing for sphygmomanometer Size: Obese,Item Must be compatable with item numbers 42181610-00015, 42181610-00016, 42181610-00017, 42181610-00018, 42181610-00019 and 42181603-00001 | [7 empty] | Each
42182005-00014 | DILATORS | TELESCOPE WITH FORWARD OBLIQUE TELESCOPE, FIBER OPTIC LIGHT TRANSMISSION INCOPORATED, diameter 3mm, length 6mm, angle 30 degrees. | [7 empty] | Each
42182015-00004 | SPECULUM | SPECULUM, NASAL, THUDICUM Stainless steel Size 2 Autoclavable, | [7 empty] | Each
42182015-00005 | SPECULUM | SPECULUM, NASAL, THUDICUM Stainless steel Size 4 Autoclavable, | [7 empty] | Each
42182015-00006 | SPECULUM | SPECULUM, NASAL, THUDICUM Stainless steel Size 5 Autoclavable, | [7 empty] | Each
42182015-00007 | SPECULUM | SPECULUM, VAGINAL, CUSCO Solid blade Folding handles Stainless steel Size : Virgin Blade length: 80 mm Width of blade at distal end: 7 mm Autoclavable, | [7 empty] | Each
42182015-00008 | SPECULUM | SPECULUM, VAGINAL, SIMS Double ended Stainless steel Size : Small Autoclavable, & | [7 empty] | Each
42182015-00009 | SPECULUM | SPECULUM, VAGINAL, SIMS Double ended Stainless steel Size : Medium Autoclavable, & | [7 empty] | Each
42182015-00010 | SPECULUM | SPECULUM, VAGINAL, SIMS Double ended Stainless steel Size : Large Autoclavable, & | [7 empty] | Each
42182015-00011 | SPECULUM | SPECULUM, VAGINAL, CUSCO Solid blade Folding handles Stainless steel Size : Small Blade length: 75 mm Width of blade at distal end: 32 mm Autoclavable, & ISO13485 | [7 empty] | Each
42182015-00012 | SPECULUM | SPECULUM, VAGINAL, CUSCO Solid blade Folding handles Stainless steel Size : Medium Blade length: 85 mm Width of blade at distal end: 35 mm Autoclavable, | [7 empty] | Each
42182015-00013 | SPECULUM | SPECULUM, VAGINAL, CUSCO Solid blade Folding handles Stainless steel Size : Large Blade length; 100 mm Width of blade at distal end: 35 mm Autoclavable, | [7 empty] | Each
42182015-00014 | SPECULUM | SPECULUM, VAGINAL, CUSCO Solid blade Folding handles Stainless steel Size : Extra Large Blade length: 115 mm Width of blade at distal end: 37 mm Autoclavable, | [7 empty] | Each
42182015-00015 | SPECULUM | SPECULUM, NASAL, THUDICUM Stainless steel Size 1 Autoclavable, | [7 empty] | Each
42182015-00016 | SPECULUM | SPECULUM, NASAL, THUDICUM Stainless steel Size 3 , Autoclavable, | [7 empty] | Each
42182015-00017 | SPECULUM | VAGINAL SPECULUM-AUVARD Non-detachable weight Blade size: 75 X 38 mm Length 24 cm Stainless Steel Autoclavable, and | [7 empty] | Each
42182015-00018 | SPECULUM | GRAVE VAGINAL STANDARD SPECULUM, solid base, with mounted suction, folding handles, Coating to prevent heat conduction, Size:Small standard 75mm long X 18mm width, autoclavable. | [7 empty] | Each
42182015-00019 | SPECULUM | GRAVE VAGINAL STANDARD SPECULUM, solid base, with mounted suction, folding handles, Coating to prevent heat conduction, Size:medium standard 100mm long X 38mm width, autoclavable. | [7 empty] | Each
42182015-00020 | SPECULUM | GRAVE VAGINAL STANDARD SPECULUM, solid base, with mounted suction, folding handles, Coating to prevent heat conduction, Size:Large standard 119mm long X 38mm width, autoclavable. | [7 empty] | Each
42182015-00021 | SPECULUM | GRAVE VAGINAL STANDARD SPECULUM, solid base, with mounted suction, folding handles, Coating to prevent heat conduction, Size:X Large standard 150mm long X 44mm width, autoclavable. | [7 empty] | Each
42182015-00021 | SPECULUM | AUVARD VAGINAL SPECULUM, non-detachable, blade size 40mm X 150mm, Length 24cm, stainless steel, autoclavable. | [7 empty] | Each
42182015-00022 | SPECULUM | GRAVE VAGINAL STANDARD SPECULUM, solid base, with mounted suction, folding handles, Coating to prevent heat conduction, Size:XX Large standard 175mm long X 44mm width, autoclavable. | [7 empty] | Each
42182103-00002 | DILATORS | STETHOSCOPE Light weight, bi-aural Dual purpose chest piece with open bell and replaceable diaphragm To have polyvinyl chloride tubing and folding spring Head piece to be permanently set in the correct anatomical angle Non-metal ear pieces CE Certificate, FDA & TUV or equivalent | [7 empty] | Each
42182103-00003 | DILATORS | STETHOSCOPE, FOETAL, PINARD TYPE Aluminium/Bacolite Components to be non-detachable | [7 empty] | Each
42182103-00004 | DILATORS | STETHOSCOPE, FOETAL, PINARD TYPE Hard Plastic Components to be non-detachable | [7 empty] | Each
42182103-00005 | DILATORS | STETHOSCOPE, COMBINATION, Light weight, single outlet chest piece with lock in either the bell or the diaphragm position, bell with anti chill ring, Y- shaped plastic tubing head form with ear tips and spring | [7 empty] | Each
42203444-00000 | DIAGNOSTIC | DIAGNOSTIC SET-WALL MOUNTED 3,5 volt Ophthalmoscope and otoscope set suitable for WALL-MOUNTING with locking collars and locking device. Must include light intensity rheostat in the handles, and automatic On/Off cradle switches. All screws, wall plugs etc necessary for mounting the unit on to the wall must be included. Set to consist of: i Opthalmoscope, mirror type with 3,5 volt HALOGEN lamp, sliding focussing device from -25 to +40 diopters and five apertures including a slit, pinhole, large hole, fixation or white line grid and red-free filter. ii Otoscope, fibre-optic with 3,5 volt HALOGEN lamp, 2 mm, 3 mm, 4 mm and 5 mm polypropylene flanged specula. iii One spare lamp for ophthalmoscope and one for the otoscope. iv Wall mounting facility with locking collars, mains operated and ± 3 m spiral cord with sealed 3 pin plug. v Locking device to secure ophthalmoscope and otoscope heads to handles. Specula for item no ii and spare lamps must be freely available. | [7 empty] | Each
42241602-00000 | SAW | SAW, PLASTER, ELECTRIC Hand held supplied with 2 circular blades diameters 65 mm and 50 mm Blades to be Polytetrafluoroethylene (PTFE) coated Wrench included Motor to be well ventilated and housed in a shockproof Insulated casting, ball bearing mounted, with on/off switch And compatible with AC 220-240 V Gears to be permanently lubricated and insulated from the motor Cable length: 4 m with sealed medical grade 3 pin plug Weight: 1, 5 kg TV and radio suppressed I | [7 empty] | Each
42272004-00027 | SUCTION | POOLE SUCTION WITH STYLET, 5mm width, stainless steel, autoclavable. | [7 empty] | Each
42272004-00028 | SUCTION | POOLE SUCTION WITH STYLET, 10mm width, stainless steel, autoclavable. | [7 empty] | Each
42272012-00000 | SUCTION | FRAZIER SUCTION TUBE WITH CUT OFF AND STYLET, total length 17.5cm, Working length 10cm, Outer diameter FR/1.5mm, stainless steel, autoclavable. | [7 empty] | Each
42272018-00002 | LARYNGOSCOPES | Laryngoscope battery handle 30mm diameter battery handle Length: 145mm Stainless steel Use 1.5 Volt Batteries Item 42272018-00002 and 42272018-00003 must be compatible with items 42291613-00047,42291613-00061,42291613-00062,42291613-00063,42291613-00064,42291613-00068,42291613-00073, 42291613-00074 and 42291613-00075. | [7 empty] | Each
42272018-00003 | LARYNGOSCOPES | Laryngoscope battery handle 18mm diameter battery Handle Length: 150mm Stainless steel Use 1.5 Volt Batteries. Item 42272018-00002 and 42272018-00003 must be compatible with items 42291613-00047,42291613-00061,42291613-00062,42291613-00063,42291613-00064,42291613-00068,42291613-00073, 42291613-00074 and 42291613-00075. | [7 empty] | Each
42272018-00006 | LARYNGOSCOPES | Laryngoscope battery handle; Fibre optic 30mm diameter battery Handle Length: 145mm Use 1.5 Volt Batteries. Item 42272018-00006 and 42272018-00007 must be compatable with item number 42291613-00011,42291613-00065,42291613-00066,42291613-00067,42291613-00069,42291613-00070, 42291613-00071 and 42291613-00072. | [7 empty] | Each
42272018-00007 | LARYNGOSCOPES | Laryngoscope battery handle; Fibre optic 18mm diameter Battery Handle Length: 150mm Use 1.5 Volt Batteries. Item 42272018-00006 and 42272018-00007 must be compatable with item number 42291613-00011,42291613-00065,42291613-00066,42291613-00067,42291613-00069,42291613-00070, 42291613-00071 and 42291613-00072. | [7 empty] | Each
42281709-00000 | BRUSHES | INSTRUMENTS LUMEN CLEANING BRUSHES, Set of 5 ,soft malleable birsitles;60mm X 13mm,65 X 15mm,95 X 20mm,95 X 25mm, 100 X 28mm. | [7 empty] | Set of 5
42291602-00002 | BLADE | STITCH CUTTER Curved back for use without a handle Stainless steel or Carbon steel. Type: 12CM-15 CM Single use Sterile peel-apart pack must peel evenly without tearing paper lining. | [7 empty] | 100 stitch cutter
42291604-00000 | SAW | SAW HANDLE, GIGLI Heavy duty Stainless steel Length: 55 mm ,Autoclavable | [7 empty] | Each
42291607-00009 | CURETTE | CURETTE, UTERINE, SIMS Single ended, sharp, solid handle, Rigid shaft Stainless steel Size : Small Width of Blade : 6 mm Working Length : 240mm - 310 mm Autoclavable | [7 empty] | Each
42291607-00010 | CURETTE | CURETTE, UTERINE, SIMS Single ended, sharp, solid handle, Rigid shaft Stainless steel Size : Medium Width of Blade : 9 mm Working Length : 240mm - 310 mm Autoclavable | [7 empty] | Each
42291607-00011 | CURETTE | CURETTE, UTERINE, SIMS Single ended, sharp, solid handle, Rigid shaft Stainless steel Size : Large Width of Blade : 12 mm Working Length : 240mm - 310 mm Autoclavable | [7 empty] | Each
42291607-00012 | CURETTE | CURETTE, UTERINE, SIMS Single ended, blunt, solid handle, Rigid shaft Stainless steel Size : Small Width of Blade : 6 mm Working Length : 240mm - 310mm Autoclavable | [7 empty] | Each
42291607-00013 | CURETTE | CURETTE, UTERINE, SIMS Single ended, blunt, solid handle, Rigid shaft Stainless steel Size : Medium Width of Blade : 9 mm Working Length : 240mm - 310mm Autoclavable | [7 empty] | Each
42291607-00014 | CURETTE | CURETTE, UTERINE, SIMS Single ended, blunt, solid handle, Rigid shaft Stainless steel Size : Large Width of Blade : 12mm Working Length : 240mm - 310mm Autoclavable | [7 empty] | Each
42291607-00015 | CURETTE | CURETTE, ADENOID, ST. CLAIR-THOMPSON With guard Stainless steel Length : 230 mm Width of blade: 8 mm Autoclavable | [7 empty] | Each
42291607-00016 | CURETTE | CURETTE, ADENOID, ST. CLAIR-THOMPSON With guard Stainless steel Length: 230 mm Width of blade: 10 mm Autoclavable | [7 empty] | Each
42291607-00017 | CURETTE | CURETTE, ADENOID, ST. CLAIR-THOMPSON With guard Stainless steel Length : 230 mm Width of blade: 12 mm Autoclavable | [7 empty] | Each
42291607-00018 | CURETTE | CURETTE, ADENOID, ST. CLAIR-THOMPSON With guard Stainless steel Length : 230 mm Width of blade: 14 mm Autoclavable | [7 empty] | Each
42291607-00019 | CURETTE | CURETTE, ADENOID, ST. CLAIR-THOMPSON With guard Stainless steel Length : 230 mm Width of blade: 16 mm Autoclavable | [7 empty] | Each
42291607-00020 | CURETTE | CURETTE, ADENOID, ST. CLAIR-THOMPSON With guard Stainless steel Length : 230 mm Width of blade: 18 mm Autoclavable | [7 empty] | Each
42291607-00021 | CURETTE | CURETTE, UTERINE, SIMS Single ended, blunt, solid handle, Rigid shaft Medical graded Stainless steel Size : X-Large Width of Blade : 14 mm Working length : 240 - 310 mm | [7 empty] | Each
42291609-00000 | BLADE | NAIL, NIPPERS Box joint Single spring handle Concave blades Stainless steel Length: 130 mm | [7 empty] | Each
42291609-00001 | BLADE | NAIL, NIPPERS Box joint double spring handle Concave blades Stainless steel Length: 130 mm | [7 empty] | Each
42291609-00002 | BLADE | NAIL, NIPPERS Screw joint Single spring handle Concave blades Stainless steel Length: 130 mm | [7 empty] | Each
42291609-00003 | BLADE | NAIL, NIPPERS Screw joint double spring handle Concave blades Stainless steel Length: 130 mm | [7 empty] | Each
42291613-00011 | LARYNGOSCOPES | Laryngoscope blade Macintosh; fibre Optic With integrated cold light carrier Blade size: 3 Length: 132mm Distal Width: 15mm Stainless Steel.The Laryngoscope MACINTOSH BLADE, FIBRE OPTIC must be compatible to Laryngoscopes battery handles, FIBRE OPTIC 42272018-00006 and 42272018-00007.Item 42272018-00006 and 42272018-00007 must be compatable with item number 42291613-00011,42291613-00065,42291613-00066,42291613-00067,42291613-00069,42291613-00070, 42291613-00071 and 42291613-00072. | [7 empty] | Each
42291613-00023 | BLADE | BLADE, SCALPEL, SURGICAL With small fitting features Blade no: 10 Must be compatible with scalpel handles for items (42291613-00034,42291613-00035,42291613-00038,42291613-00039 and 42291613-00060) excluding composition test for carbon steel and stainless steel. & ISO13485. Peel apart pack must peel evenly without tearing the paper lining. Blades must be sterile. Blade size must be printed on the peel apart pack. Item 42291613-00034,42291613-00035,42291613-00038,42291613-00039,42291613-00060 must be compatable to 42291613-00023,42291613-00052, 42291613-00053,42291613-00054. | [7 empty] | 100 Blades per box
42291613-00034 | SCALPEL HANDLE | SCALPEL HANDLE, Straight, Type: Short,Length 12cm, No: 3 Scalpel Handle Item 42291613-00034,42291613-00035,42291613-00038,42291613-00039,42291613-00060 must be compatable to 42291613-00023,42291613-00052, 42291613-00053,42291613-00054. | [7 empty] | Each
42291613-00035 | SCALPEL HANDLE | SCALPEL HANDLE,Straight, Type: Long,Length 21.5cm, No: 3 Scalpel Handle - must be compatible with blades number: 42291613-00023,42291613-00052,42291613-00053 and 42291613-00054 Autoclavable. Item 42291613-00034,42291613-00035,42291613-00038,42291613-00039,42291613-00060 must be compatable to 42291613-00023,42291613-00052, 42291613-00053,42291613-00054. | [7 empty] | Each
42291613-00036 | SCALPEL HANDLE | SCALPEL HANDLE,Straight, Type: Short,Length 13.5cm, No: 4 Scalpel Handle - must be compatible with blades number: Item 42291613-00036,42291613-00037 must be comptable 42291613-00055,42291613-00056,42291613-00057, 42291613-00058 and 42291613-00059 | [7 empty] | Each
42291613-00037 | SCALPEL HANDLE | SCALPEL HANDLE, Straight,Type: Long, Length 21cm, No: 4 Scalpel Handle - must be compatible with blades number: Item 42291613-00036,42291613-00037 must be comptable 42291613-00055,42291613-00056,42291613-00057, 42291613-00058 and 42291613-00059 | [7 empty] | Each
42291613-00038 | SCALPEL HANDLE | SCALPEL HANDLE, Straight, Type: Long, Length 21cm,No: 5 Scalpel Handle - Item 42291613-00034,42291613-00035,42291613-00038,42291613-00039,42291613-00060 must be compatable to 42291613-00023,42291613-00052, 42291613-00053,42291613-00054. | [7 empty] | Each
42291613-00039 | SCALPEL HANDLE | SCALPEL HANDLE, Straight, Type: Long, Lenghth 16cm,No. 7 Scalpel Handle - must be compatible with blades number: 42291613-00023,42291613-00052,42291613-00053 and 42291613-00054 Autoclavable. Item 42291613-00034,42291613-00035,42291613-00038,42291613-00039,42291613-00060 must be compatable to 42291613-00023,42291613-00052, 42291613-00053,42291613-00054. | [7 empty] | Each
42291613-00041 | BLADE | SCALPEL, SAFETY, DISPOSABLE Top activated Retractable stainless steel blade Lockable safety device Sterile peel packed Single use Plastic non slip ribbed handle Blade size: 10 | [7 empty] | 10 per carton
42291613-00042 | BLADE | SCALPEL, SAFETY, DISPOSABLE Top activated Retractable stainless steel blade Lockable safety device Sterile peel packed Single use Plastic non slip ribbed handle Blade size: 11 | [7 empty] | 10 per carton
42291613-00043 | BLADE | SCALPEL, SAFETY, DISPOSABLE Top activated Retractable stainless steel blade Lockable safety device Sterile peel packed Single use Plastic non slip ribbed handle Blade size: 15 | [7 empty] | 10 per carton
42291613-00044 | BLADE | SCALPEL, SAFETY, DISPOSABLE Top activated Retractable stainless steel blade Lockable safety device Sterile peel packed Single use Plastic non slip ribbed handle Blade size: 20 | [7 empty] | 10 per carton
42291613-00045 | BLADE | SCALPEL, SAFETY, DISPOSABLE Top activated Retractable stainless steel blade Lockable safety device Sterile peel packed Single use Plastic non slip ribbed handle Blade size: 23 | [7 empty] | 10 per carton
42291613-00046 | BLADE | SCALPEL, SAFETY, DISPOSABLE Top activated Retractable stainless steel blade Lockable safety device Sterile peel packed Single use Plastic non slip ribbed handle Blade size: 22 | [7 empty] | 10 per carton
42291613-00047 | LARYNGOSCOPES | Laryngoscope Macintosh Blade; standard illumination Stainless Steel Blade size: 4 Length : 152mm Distal Width: 15mm.The Laryngoscope MACITOSH BLADE must be compatible to Laryngoscopes battery handles 42272018-00002 and 42272018-00003. Item 42272018-00002 and 42272018-00003 must be compatible with items 42291613-00047,42291613-00061,42291613-00062,42291613-00063,42291613-00064,42291613-00068,42291613-00073, 42291613-00074 and 42291613-00075. | [7 empty] | Each
42291613-00049 | BLADE | BLADE, SKINGRAFT To fit onto modified Braithwaite skingraft knives Single edge, 3 holes Length : 158 mm Width : 18.5 mm Thickness: 0.25 mm ISO 7153-1 Single use, Sterile individually packed | [7 empty] | Box of 10 blades
42291613-00050 | BLADE | BLADE, SKINGRAFT To fit onto Electro-mechanical Dermatone Type: Davies `Gold` Duplex or Equivalent, Length : 78 mm Width : 18 mm Thickness: 0.25 mm ISO7153-1 Single use, Sterile individually packed | [7 empty] | Box of 10 blades
42291613-00051 | BLADE | BLADE, POST-MORTEM High Surgical Knife, detarchable for post-moterm Heavy Duty and non-sterile Screw-type fitting must be non sterile | [7 empty] | Each
42291613-00052 | BLADE | BLADE, SCALPEL, SURGICAL With small fitting features Blade no: 11 Must be compatible with scalpel handles for items (42291613-00034,42291613-00035,42291613-00038,42291613-00039 and 42291613-00060) excluding composition test for carbon steel and stainless steel Peel apart pack must peel evenly without tearing the paper lining. Blades must be sterile. Blade size must be printed on the peel apart pack. Item 42291613-00034,42291613-00035,42291613-00038,42291613-00039,42291613-00060 must be compatable to 42291613-00023,42291613-00052, 42291613-00053,42291613-00054. | [7 empty] | 100 Blades per box
42291613-00053 | BLADE | BLADE, SCALPEL, SURGICAL With small fitting features Blade no: 12 Must be compatible with scalpel handles for items (42291613-00034,42291613-00035,42291613-00038,42291613-00039 and 42291613-00060) Excluding composition test for carbon steel and stainless steel Peel apart pack must peel evenly without tearing the paper lining Blades must be sterile. Blade size must be printed on the peel apart pack . Item 42291613-00034,42291613-00035,42291613-00038,42291613-00039,42291613-00060 must be compatable to 42291613-00023,42291613-00052, 42291613-00053,42291613-00054. | [7 empty] | 100 Blades per box
42291613-00054 | BLADE | BLADE, SCALPEL, SURGICAL With small fitting features Blade no: 15 Must be compatible with scalpel handles for items (42291613-00034,42291613-00035,42291613-00038,42291613-00039 and 42291613-00060) Excluding composition test for carbon steel and stainless steel Peel apart pack must peel evenly without tearing the paper lining Blades must be sterile. Blade size must be printed on the peel apart pack. Item 42291613-00034,42291613-00035,42291613-00038,42291613-00039,42291613-00060 must be compatable to 42291613-00023,42291613-00052, 42291613-00053,42291613-00054. | [7 empty] | 100 Blades per box
42291613-00055 | BLADE | BLADE, SCALPEL, SURGICAL With large fitting features Blade no: 20 Must be compatible with scalpel handles for items (42291613-00036 and 42291613-00037) Excluding composition test for carbon steel and stainless steel Peel apart pack must peel evenly without tearing the paper lining Blades must be sterile. Blade size must be printed on the peel apart pack. Item 42291613-00036,42291613-00037 must be comptable 42291613-00055,42291613-00056,42291613-00057, 42291613-00058 and 42291613-00059 | [7 empty] | 100 Blades per box
42291613-00056 | BLADE | BLADE, SCALPEL, SURGICAL With large fitting features Blade no: 21 Must be compatible with scalpel handles for items (42291613-00036 and 42291613-00037) Excluding composition test for carbon steel and stainless steel Peel apart pack must peel evenly without tearing the paper lining Blades must be sterile. Blade size must be printed on the peel apart pack. Item 42291613-00036,42291613-00037 must be comptable 42291613-00055,42291613-00056,42291613-00057, 42291613-00058 and 42291613-00059. | [7 empty] | 100 Blades per box
42291613-00057 | BLADE | BLADE, SCALPEL, SURGICAL Blade no: 22 Must be compatible with scalpel handles for items (42291613-00036 and 42291613-00037) Excluding composition test for carbon steel and stainless steel & Peel apart pack must peel evenly without tearing the paper lining Blades must be sterile. Blade size must be printed on the peel apart pack. Item 42291613-00036,42291613-00037 must be comptable 42291613-00055,42291613-00056,42291613-00057, 42291613-00058 and 42291613-00059 | [7 empty] | 100 Blades per box
42291613-00058 | BLADE | BLADE, SCALPEL, SURGICAL Blade no: 23, Must be compatible with scalpel handles for items (42291613-00036 and 42291613-00037) Excluding composition test for carbon steel and stainless steel Peel apart pack must peel evenly without tearing the paper lining Blades must be sterile. Blade size must be printed on the peel apart pack. Item 42291613-00036,42291613-00037 must be comptable 42291613-00055,42291613-00056,42291613-00057, 42291613-00058 and 42291613-00059 | [7 empty] | 100 Blades per box
42291613-00059 | BLADE | BLADE, SCALPEL, SURGICAL Blade no: 24, Must be compatible with scalpel handles for items (42291613-00036 and 42291613-00037) Excluding composition test for carbon steel and stainless steel Peel apart pack must peel evenly without tearing the paper lining Blades must be sterile. Blade size must be printed on the peel apart pack . Item 42291613-00036,42291613-00037 must be comptable 42291613-00055,42291613-00056,42291613-00057, 42291613-00058 and 42291613-00059 | [7 empty] | 100 Blades per box
42291613-00060 | SCALPEL HANDLE | SCALPEL HANDLE, Straight, Type: Short, Length 12.5cm,No. 7 Scalpel Handle - must be compatible with blades number: 42291613-00023,42291613-00052,42291613-00053 and 42291613-00054 Autoclavable. Item 42291613-00034,42291613-00035,42291613-00038,42291613-00039,42291613-00060 must be compatable to 42291613-00023,42291613-00052, 42291613-00053,42291613-00054. | [7 empty] | Each
42291613-00061 | LARYNGOSCOPES | Laryngoscope Macintosh Blade; standard illumination Stainless Steel Blade size: 0 Length : 78mm Distal Width: 9mm.The Laryngoscope MACITOSH BLADE must be compatible to Laryngoscopes battery handles 42272018-00002 and 42272018-00003. Item 42272018-00002 and 42272018-00003 must be compatible with items 42291613-00047,42291613-00061,42291613-00062,42291613-00063,42291613-00064,42291613-00068,42291613-00073, 42291613-00074 and 42291613-00075. | [7 empty] | Each
42291613-00062 | LARYNGOSCOPES | Laryngoscope blade Miller; straight; Standard illumination size 0 Stainless Steel Blade size: 0 Length: 78mm Distall width: 9mm.The Laryngoscope Miller BLADE must be compatible to Laryngoscopes battery handles 42272018-00002 and 42272018-00003 Item 42272018-00002 and 42272018-00003 must be compatible with items 42291613-00047,42291613-00061,42291613-00062,42291613-00063,42291613-00064,42291613-00068,42291613-00073, 42291613-00074 and 42291613-00075. | [7 empty] | Each
42291613-00063 | LARYNGOSCOPES | Laryngoscope blade Miller;straight; Standard illumination size 0 Stainless Steel Blade size: 1 Length: 92mm Distall width: 11mm.The Laryngoscope Miller BLADE must be compatible to Laryngoscopes battery handles 42272018-00002 and 42272018-00003.I Item 42272018-00002 and 42272018-00003 must be compatible with items 42291613-00047,42291613-00061,42291613-00062,42291613-00063,42291613-00064,42291613-00068,42291613-00073, 42291613-00074 and 42291613-00075. | [7 empty] | Each
42291613-00064 | LARYNGOSCOPES | Laryngoscope blade Miller; straight; Standard illumination size 1 Stainless Steel Blade size: 2 Length: 112mm Distall width: 13mm.The Laryngoscope Miller BLADE must be compatible to Laryngoscopes battery handles 42272018-00002 and 42272018-00003. Item 42272018-00002 and 42272018-00003 must be compatible with items 42291613-00047,42291613-00061,42291613-00062,42291613-00063,42291613-00064,42291613-00068,42291613-00073, 42291613-00074 and 42291613-00075. | [7 empty] | Each
42291613-00065 | LARYNGOSCOPES | Laryngoscope blade Macintosh; Fibre Optic With integrated cold light carrier; Blade size: 0 Length: 78mm Distal Width: 9mm Stainless Steel.The Laryngoscope MACINTOSH BLADE, FIBRE OPTIC must be compatible to Laryngoscopes battery handles, FIBRE OPTIC 42272018-00006 and 42272018-00007.IMust be compatable with item number 42291613-00065, 42291613-00066, 42291613-00067, 42291613-00011, 42291613-00069, 42291613-00070, 42291613-00071, 42291613-00072, 42272018-00006 and 42272018-00007. | [7 empty] | Each
42291613-00066 | LARYNGOSCOPES | Laryngoscope blade Macintosh; fibre Optic With integrated cold light carrier; Blade size: 1 Length: 92mm Distal Width: 11mm Stainless Steel.The Laryngoscope MACINTOSH BLADE, FIBRE OPTIC must be compatible to Laryngoscopes battery handles, FIBRE OPTIC 42272018-00006 and 42272018-00007.Item 42272018-00006 and 42272018-00007 must be compatable with item number 42291613-00011,42291613-00065,42291613-00066,42291613-00067,42291613-00069,42291613-00070, 42291613-00071 and 42291613-00072. | [7 empty] | Each
42291613-00067 | LARYNGOSCOPES | Laryngoscope blade Macintosh; fibre Optic With integrated cold light carrier; Blade size: 2 Length: 112mm Distal Width: 13mm Stainless Steel.The Laryngoscope MACINTOSH BLADE, FIBRE OPTIC must be compatible to Laryngoscopes battery handles, FIBRE OPTIC 42272018-00006 and 42272018-00007.Item 42272018-00006 and 42272018-00007 must be compatable with item number 42291613-00011,42291613-00065,42291613-00066,42291613-00067,42291613-00069,42291613-00070, 42291613-00071 and 42291613-00072. | [7 empty] | Each
42291613-00068 | LARYNGOSCOPES | Laryngoscope Macintosh Blade; standard illumination Stainless Steel Blade size: 3 Length : 132mm Distal Width: 15mm.The Laryngoscope MACITOSH BLADE must be compatible to Laryngoscopes battery handles 42272018-00002 and 42272018-00003.Item 42272018-00002 and 42272018-00003 must be compatible with items 42291613-00047,42291613-00061,42291613-00062,42291613-00063,42291613-00064,42291613-00068,42291613-00073, 42291613-00074 and 42291613-00075. | [7 empty] | Each
42291613-00069 | LARYNGOSCOPES | Laryngoscope blade Macintosh; fibre Optic With integrated cold light carrier Blade size: 4 Length: 152mm Distal Width: 15mm Stainless Steel.The Laryngoscope MACINTOSH BLADE, FIBRE OPTIC must be compatible to Laryngoscopes battery handles, FIBRE OPTIC 42272018-00006 and 42272018-00007.Item 42272018-00006 and 42272018-00007 must be compatable with item number 42291613-00011,42291613-00065,42291613-00066,42291613-00067,42291613-00069,42291613-00070, 42291613-00071 and 42291613-00072. | [7 empty] | Each
42291613-00070 | LARYNGOSCOPES | Laryngoscope Blade Miller; fibre optic With integrated cold light carrier; Blade size: 0 Length: 78mm Distal Width: 9mm Stainless Steel.The Laryngoscope Miller BLADE, FIBRE OPTIC must be compatible to Laryngoscopes battery handles, FIBRE OPTIC 42272018-00006 and 42272018-00007.Item 42272018-00006 and 42272018-00007 must be compatable with item number 42291613-00011,42291613-00065,42291613-00066,42291613-00067,42291613-00069,42291613-00070, 42291613-00071 and 42291613-00072. | [7 empty] | Each
42291613-00071 | LARYNGOSCOPES | Laryngoscope Blade Miller; fibre optic With integrated cold light carrier Blade size: 1 Length: 92mm Distal Width: 11mm Stainless steel.The Laryngoscope Miller BLADE, FIBRE OPTIC must be compatible to Laryngoscopes battery handles, FIBRE OPTIC 42272018-00006 and 42272018-00007.Item 42272018-00006 and 42272018-00007 must be compatable with item number 42291613-00011,42291613-00065,42291613-00066,42291613-00067,42291613-00069,42291613-00070, 42291613-00071 and 42291613-00072. | [7 empty] | Each
42291613-00072 | LARYNGOSCOPES | Laryngoscope Blade Miller; fibre optic With integrated cold light carrier; Blade size: 2 Length: 112mm Distal Width: 13mm Stainless Steel.The Laryngoscope MACINTOSH BLADE, FIBRE OPTIC must be compatible to Laryngoscopes battery handles, FIBRE OPTIC 42272018-00006 and 42272018-00007.Item 42272018-00006 and 42272018-00007 must be compatable with item number 42291613-00011,42291613-00065,42291613-00066,42291613-00067,42291613-00069,42291613-00070, 42291613-00071 and 42291613-00072. | [7 empty] | Each
42291613-00073 | LARYNGOSCOPES | Laryngoscope Blade Miller; straight; Standard illumination size 00 Stainless Steel Blade Length: 78mm Distall width: 9mm.The Laryngoscope Miller BLADE must be compatible to Laryngoscopes battery handles 42272018-00002 and 42272018-00003. Item 42272018-00002 and 42272018-00003 must be compatible with items 42291613-00047,42291613-00061,42291613-00062,42291613-00063,42291613-00064,42291613-00068,42291613-00073, 42291613-00074 and 42291613-00075. | [7 empty] | Each
42291613-00074 | LARYNGOSCOPES | Laryngoscope Macintosh Blade; standard illumination Stainless Steel Blade size: 1 Length : 92mm Distal Width: 11mm.The Laryngoscope MACITOSH BLADE must be compatible to Laryngoscopes battery handles 42272018-00002 and 42272018-00003. Item 42272018-00002 and 42272018-00003 must be compatible with items 42291613-00047,42291613-00061,42291613-00062,42291613-00063,42291613-00064,42291613-00068,42291613-00073, 42291613-00074 and 42291613-00075. | [7 empty] | Each
42291613-00075 | LARYNGOSCOPES | Laryngoscope Macintosh Blade; standard illumination Stainless Steel Blade size: 2 Length : 112mm Distal Width: 13mm.The Laryngoscope MACITOSH BLADE must be compatible to Laryngoscopes battery handles 42272018-00002 and 42272018-00003. T Item 42272018-00002 and 42272018-00003 must be compatible with items 42291613-00047,42291613-00061,42291613-00062,42291613-00063,42291613-00064,42291613-00068,42291613-00073, 42291613-00074 and 42291613-00075. | [7 empty] | Each
42291613-00076 | BLADE | ROUND KNIFE, Length 17.5cm, diameter 3mm, angle 45 degrees, stainless steel, autoclavable. | [7 empty] | Each
42291613-00077 | LARYNGOSCOPES | LARYNGOSCOPE BLADES WITH COMPATIBLE HANDLE, Blade size 00, Base to tip 36mm, inside/vertical 8mm | [7 empty] | Each
42291613-00078 | SCALPEL HANDLE | SCALPEL HANDLE POST-MORTEM Size: die cast Handle PM40 Blue Screw Type made of Diecast Metal | [7 empty] | Each
42291613-00080 | BLADE | BLADE, SCALPEL, SURGICAL With small fitting features Blade no: 17 Must be compatible with scalpel handles for items (42291613-00034,42291613-00035,42291613-00038,42291613-00039 and 42291613-00060) Excluding composition test for carbon steel and stainless steel Peel apart pack must peel evenly without tearing the paper lining Blades must be sterile. Blade size must be printed on the peel apart pack (Items number :42291613-00023, 42291613-00052, 42291613-00053, 42291613-00054, 42291613-00034, 42291613-00035, 42291613-00038, 42291613-00039 and 42291613-00060) will be evaluated as a series. | [7 empty] | 100 Blades per box
42291614-00005 | SCISSORS | SCISSORS, DISSECTING, MAYO Straight Blunt/blunt blades Tungsten Carbide Inserts Stainless steel Length: 170 mm Autoclavable, | [7 empty] | Each
42291614-00006 | SCISSORS | SCISSORS, DISSECTING, McINDOE / METZENBAUM Curved on flat Stainless steel Length: 180 mm Autoclavable, | [7 empty] | Each
42291614-00007 | SCISSORS | SCISSORS, DISSECTING, McINDOE / METZENBAUM Curved on flat TUNGSTEN CARBIDE INSERTS Stainless steel Length: 180 mm Autoclavable, | [7 empty] | Each
42291614-00008 | SCISSORS | SCISSORS, DISSECTING, METZENBAUM Straight Blunt/blunt blades TUNGSTEN CARBIDE INSERTS Length: 200 mm Autoclavable, | [7 empty] | Each
42291614-00009 | SCISSORS | SCISSORS, EPISIOTOMY BRAUN-STADLER Stainless steel Angled to side Blunt/blunt blades Length: 150 mm Autoclavable, | [7 empty] | Each
42291614-00010 | SCISSORS | SCISSORS, GENERAL, SURGICAL (STANDARD PATTERN) Screw joint Straight One sharp pointed/one blunt blade Stainless steel Length: 130 mm Autoclavable, | [7 empty] | Each
42291614-00011 | SCISSORS | SCISSORS, SUTURE, HEATH Screw joint, double straight shanks Sharp/sharp blade Length: 150 mm. Autoclavable, Stainless steel, matte finish . & ISO13485 | [7 empty] | Each
42291614-00012 | SCISSORS | SCISSORS, SUTURE, LITTAUER Straight, screw joint Fine hook end on one blade, other blade end blunt Length: 140 mm,Stainless steel, matte finish Autoclavable, | [7 empty] | Each
42291614-00014 | SCISSORS | SCISSORS, LITTLER Screw joint Dissecting scissors tips with eye for suture Length: 120 mm Autoclavable Stainless Steel & | [7 empty] | Each
42291614-00015 | SCISSORS | SCISSORS, DISSECTING, MAYO Curved on flat, rounded blades Hardened edges Stainless steel Length: 170 mm Autoclavable | [7 empty] | Each
42291614-00016 | SCISSORS | SCISSORS, DISSECTING, MAYO Curved on flat, rounded blades Tungstein Carbide Inserts Stainless steel Length: 170 mm Autoclavable, | [7 empty] | Each
42291614-00017 | SCISSORS | SCISSORS, DISSECTING, MAYO Straight Blunt/blunt blades Stainless steel Length: 170 mm Autoclavable, | [7 empty] | Each
42291614-00018 | SCISSORS | SCISSORS, UMBILICAL, American(USA) pattern, Screw joint Stainless steel Autoclavable Blunt/blunt blades Length: 120 mm | [7 empty] | Each
42291615-00000 | BLADE | SHEARS, PLASTER, STILLE (LORENZ) Serrated blades Type: Heavy duty Length: 370 mm Stainless steel Autoclavable | [7 empty] | Each
42291615-00001 | BLADE | SHEARS, PLASTER, SUETIN Blades angled laterally Probe end on lower blade Single spring handle Stainless steel Length: 230 mm Autoclavable | [7 empty] | Each
42291615-00002 | BLADE | SHEARS, RIB Plain Stainless steel Length: 220 mm Autoclavable, | [7 empty] | Each
42291615-00003 | BLADE | SHEARS, RIB CUTTING, TUDOR-EDWARDS Double action Stainless steel Length: 255 mm Autoclavable, | [7 empty] | Each
42291615-00004 | BLADE | SHEARS, RIB, GIERTZ-STILLE Guillotine action, single action Stainless steel Screw joint Length: 260 mm Autoclavable, | [7 empty] | Each
42291616-00000 | SAW | TONSIL SNARE, EVES Without ratchet Stainless Steel Length: 280 mm Autoclavable, & | [7 empty] | Each
42291616-00001 | SAW | TONSIL SNARE EVES WIRE, 0.3mm X 40mm, stainless steel, Disposable. | [7 empty] | Each
42291616-00002 | SAW | TONSIL SNARE EVES WIRE, 0.3mm X 50mm, stainless steel, Disposable. | [7 empty] | Each
42291621-00000 | SAW | FINGER RING SAW Box joint Stainless steel Complete with removable blade, Blade diameter 20mm Autoclavable, metal cutting mechanism for blade Length 170 mm, Mut be compatable with ITEM 42291709-00005 | [7 empty] | Each
42291632-00000 | SCALPEL HANDLE | PM 40 HANDLE Heavy duty screw fitting To be used with PM 40 Blades Handles to be used with PM 40 blade | [7 empty] | Each
42291632-00001 | BLADE | SKIN GRAFT BLADE HANDLE HUMBY;adjustable from 0.1 to 2.0mm skin thickness, Complete with 2 skin fixing plates and one blade, length 320mm, stainless steel, autoclavable, & | [7 empty] | Each
42291632-00002 | BLADE | Skin fixing plate, Metal, Dimensions 10cm X 5cm X 8cm X 4cm, Autoclavable. | [7 empty] | Each
42291709-00003 | SAW | SAW WIRE, GIGLI Length: 30 cm Pack: 10 per cartoon | [7 empty] | Each
42291709-00005 | SAW | FINGER RING SAW, BLADE Blade diameter: 20mm Accessory for item 42291621-00000 Mut be compatable with ITEM 42291621-00000 | [7 empty] | Each
42291711-00000 | ANEURYSM NEEDLE | ANEURYSM NEEDLE, DUPUYTREN Curved to the right Stainless Steel Length: 170 mm -180 mm Autoclavable, and | [7 empty] | Each
42291711-00001 | ANEURYSM NEEDLE | ANEURYSM NEEDLE COOPER Curved to the left Stainless Steel Length: 175 mm Autoclavable, and | [7 empty] | Each
42291713-00000 | NEEDLE HOLDER | NEEDLE HOLDER COMBINED WITH SUTURE SCISSORS, GILLIES Screw joint Tungsten Carbide Jaw Inserts Light weight Stainless steel Type: For right hand use Length: 160mm Autoclavable, | [7 empty] | Each
42291713-00001 | NEEDLE HOLDER | NEEDLE HOLDER, CRILE-WOOD Box joint Tungsten Carbide Jaw Inserts Stainless steel Length: 150mm Autoclavable, | [7 empty] | Each
42291713-00002 | NEEDLE HOLDER | NEEDLE HOLDER, CRILE-WOOD Box joint Tungsten Carbide Jaw Inserts Stainless steel Length: 180mm Autoclavable, | [7 empty] | Each
42291713-00003 | NEEDLE HOLDER | NEEDLE HOLDER, CRILE-WOOD Box joint Tungsten Carbide Jaw Inserts Stainless steel Length: 200mm Autoclavable, | [7 empty] | Each
42291713-00004 | NEEDLE HOLDER | NEEDLE HOLDER, DERF Box joint Tungsten Carbide Jaw Inserts Stainless steel Length: 125 mm Autoclavable, | [7 empty] | Each
42291713-00005 | NEEDLE HOLDER | NEEDLE HOLDER, KILNER Box joint Tungsten Carbide Jaw Inserts Stainless steel Length: 135 mm Autoclavable, | [7 empty] | Each
42291713-00006 | NEEDLE HOLDER | NEEDLE HOLDER, MAYO-HEGAR Box joint Tungsten Carbide Jaw Inserts Stainless steel Length: 150 mm Autoclavable, | [7 empty] | Each
42291713-00007 | NEEDLE HOLDER | NEEDLE HOLDER, MAYO-HEGAR Box joint Tungsten Carbide Jaw Inserts Stainless steel Length: 180 mm Autoclavable, | [7 empty] | Each
42291713-00008 | NEEDLE HOLDER | NEEDLE HOLDER, MAYO-HEGAR Box joint Tungsten Carbide Jaw Inserts Stainless steel Length: 200 mm Autoclavable, | [7 empty] | Each
42291713-00009 | NEEDLE HOLDER | NEEDLE HOLDER, THOMSON-WALKER/BOZEMANN Box joint Tungsten Carbide Jaw Inserts Stainless steel Length: 200 mm Autoclavable, | [7 empty] | Each
42291713-00010 | NEEDLE HOLDER | NEEDLE HOLDER, THOMSON-WALKER/BOZEMANN Box joint Tungsten Carbide Jaw Inserts Stainless steel Length: 230 mm Autoclavable, | [7 empty] | Each
42291713-00011 | NEEDLE HOLDER | NEEDLE HOLDER COMBINED WITH SUTURE SCISSORS, GILLIES Screw joint Tungsten Carbide Jaw Inserts Light weight Stainless steel Type: For left hand use Length: 160mm Autoclavable, | [7 empty] | Each
42291805-00003 | FORCEPS | CLAMP, INTESTINAL, DOYEN, Straight, box joint Longitudinal 2 X 3 atraumatic serrations Stainless steel Length: 230 mm Autoclavable, | [7 empty] | Each
42291805-00004 | FORCEPS | CLAMP, INTESTINAL, DOYEN, Curved on flat, box joint, Longitudinal 2 X 3 atraumatic serrations. Stainless steel, Length: 230 mm Autoclavable | [7 empty] | Each
42292302-00000 | SAW | CRIMP RING REMOVAL TOOL, 1.3cm X 1.9cm X 2.5cm, stainless steel, autoclavable. | [7 empty] | Each
42292502-00000 | HAMMER | ORTHOPEDIC HAMMER / MALLET, 190mm long, 750g hammer head, stainless steel, autoclavable. | [7 empty] | Each
42292502-00001 | HAMMER | ORTHOPEDIC HAMMER / MALLET, 260mm long, 250g hammer head, stainless steel, autoclavable. | [7 empty] | Each
42292502-00002 | HAMMER | ORTHOPEDIC HAMMER / MALLET, 260mm long, 400g hammer head, stainless steel, autoclavable. | [7 empty] | Each
42292505-00001 | DIAGNOSTIC | HAMMER, PERCUSSION, DEJERINE Solid rubber cylindrical heads, Screw in needle, Length: 210 mm , Autoclavable | [7 empty] | Each
42292603-00002 | PROBE | PROBE General operating Metal Type: With eye Length: 200 mm, malleable Autoclavable, | [7 empty] | Each
42292603-00003 | PROBE | PROBE General operating Metal Type: With eye Length: 250 mm, malleable Autoclavable, | [7 empty] | Each
42292603-00004 | PROBE | PROBE General operating Metal Type: With eye Length: 125 mm, malleable Autoclavable, | [7 empty] | Each
42292701-00000 | DISSECTOR | DISSECTOR, MACDONALD Double ended Blunt, rounded edges Stainless steel with satin finish Length: 190 mm, Autoclavable, | [7 empty] | Each
42292701-00001 | DISSECTOR | DISSECTOR, TONSIL, HURD With pillar retractor Stainless steel Length: 225 mm, Autoclavable, | [7 empty] | Each
42292701-00002 | DISSECTOR | DISSECTOR, TONSIL, SYME Double ended Semi-sharp Stainless steel Length: 180 mm, Autoclavable, | [7 empty] | Each
42293102-00000 | HOOK | HOOK, TRACHEAL Stainless steel Type: Single, blunt Length: 165 mm Autoclavable, | [7 empty] | Each
42293102-00001 | HOOK | HOOK, TRACHEAL Stainless steel Type: Double, blunt Length: 165 mm Autoclavable, | [7 empty] | Each
42293102-00002 | HOOK | HOOK, TRACHEAL Stainless steel Type: Single, sharp Length: 165 mm Autoclavable, | [7 empty] | Each
42293107-00000 | RETRACTOR | RETRACTOR, ABDOMINAL, CZERNY Double ended Stainless steel Length: 180 mm Blade length: 35 mm Width: 22 mm Autoclavable, | [7 empty] | Each
42293107-00001 | RETRACTOR | RETRACTOR, ABDOMINAL, LANGENBECK Single ended Stainless steel Blade length: 50 mm Blade width: 38 mm Autoclavable, | [7 empty] | Each
42293107-00002 | RETRACTOR | RETRACTOR, ABDOMINAL, MORRIS Single ended Stainless steel,Length:220mm, Blade length: 50 mm Blade width: 50 mm Autoclavable, | [7 empty] | Each
42293107-00003 | RETRACTOR | RETRACTOR, ABDOMINAL, MORRIS Single ended Stainless steel,Length:220mm, Blade length: 50 mm Blade width: 64 mm Autoclavable, | [7 empty] | Each
42293107-00004 | RETRACTOR | RETRACTOR, SELF-RETAINIING, GELPI-ADULT Stainless steel Length: 170 mm Autoclavable, | [7 empty] | Each
42293107-00005 | RETRACTOR | RETRACTOR, SELF-RETAINING, RIB-ADULT FINOCHIETTO-BURFORD Curved arms Two sets of detachable blades,Aluminum, Blade 1: 70 x 64 mm Blade 2: 64 x 51 mm The spread should be 260mm Satin finish/matte finish Autoclavable, | [7 empty] | Each
42293107-00006 | RETRACTOR | RETRACTOR, SELF-RETAINING, WEITLANER Sharp, 2 x 3 prong Stainless steel Length: 130mm Autoclavable, | [7 empty] | Each
42293107-00007 | RETRACTOR | RETRACTOR, VAGINAL, WERTHEIM Stainless steel Blade length: 95 mm Blade width: 38 mm Autoclavable, | [7 empty] | Each
42293107-00008 | RETRACTOR | ABDOMINAL RETRACTOR BALFOUR, 180mm retraction, retraction blades either side at 63mm X 35mm, screws to fixate blade, retractor blades be 45mm X 80mm, autoclavable. | [7 empty] | Each
42293107-00009 | RETRACTOR | ABDOMINAL RETRACTOR BALFOUR, 200mm retraction, retraction blades either side at 100mm X 35mm, screws to fixate blade, retractor blades be 100mm X 70mm, autoclavable. | [7 empty] | Each
42293107-00010 | RETRACTOR | ABDOMINAL RETRACTOR BALFOUR, 250mm retraction, retraction blades either side at 100mm X 35mm, screws to fixate blade, retractor blades be 100mm X 85mm, autoclavable. | [7 empty] | Each
42293107-00011 | RETRACTOR | RETRACTOR, SELF-RETAINING, WEITLANER Blunt, 3 x 4 prong Stainless steel Length: 140 mm Autoclavable, | [7 empty] | Each
42293107-00012 | RETRACTOR | RETRACTOR, PILLAR AND TONSIL ENUCLEATOR, MOLLISON Semi-sharp Stainless steel Length: 210 mm, Autoclavable, | [7 empty] | Each
42293107-00013 | RETRACTOR | RETRACTOR, ABDOMINAL, DEAVER FOR BABIES Length: 180 mm Blade Width: 19 mm Stainless steel ,Autoclavable, | [7 empty] | Each
42293107-00014 | RETRACTOR | RETRACTOR, ABDOMINAL, DEAVER FOR CHILDREN Length: 210 mm Blade Width: 22 mm Stainless steel Autoclavable, | [7 empty] | Each
42293107-00015 | RETRACTOR | RETRACTOR, ABDOMINAL, DEAVER Stainless steel Length : 300 mm Width of blade: 25 mm Autoclavable, | [7 empty] | Each
42293107-00016 | RETRACTOR | RETRACTOR, ABDOMINAL, DEAVER Stainless steel Length : 300 mm Width of blade: 50 mm Autoclavable, | [7 empty] | Each
42293107-00017 | RETRACTOR | RETRACTOR, ABDOMINAL, DEAVER Stainless steel Length : 300 mm Width of blade: 75 mm Autoclavable, | [7 empty] | Each
42293107-00018 | RETRACTOR | RETRACTOR, ABDOMINAL, KELLY Curved blade Stainless steel Blade length: 190 mm Blade width: 38 mm Autoclavable, | [7 empty] | Each
42293107-00019 | RETRACTOR | RETRACTOR, ABDOMINAL, KELLY Curved blade Stainless steel Blade length: 190 mm Blade width: 57 mm Autoclavable, | [7 empty] | Each
42293107-00020 | RETRACTOR | RETRACTOR, ABDOMINAL, LANGENBECK, Single ended, Stainless steel Blade length: 22 mm Blade width: 6 mm Autoclavable, | [7 empty] | Each
42293107-00021 | RETRACTOR | RETRACTOR, ABDOMINAL, LANGENBECK, Single ended, Stainless steel Blade length: 44 mm Blade width: 13 mm Autoclavable, | [7 empty] | Each
42293107-00022 | RETRACTOR | RETRACTOR, ABDOMINAL, LANGENBECK,Single ended Stainless steel Blade length: 62 mm Blade width: 25 mm Autoclavable, | [7 empty] | Each
42293107-00025 | RETRACTOR | RETRACTOR, SELF-RETAINNG, GELPI-BABY Stainless steel Length: 140 mm Autoclavable | [7 empty] | Each
42293107-00026 | RETRACTOR | RETRACTOR, SELF-RETAINING, JOLL Thyroid retractor Centre screw action Stainless steel Type : Large size with lock nut Length: 150 mm Autoclavable, | [7 empty] | Each
42293107-00028 | RETRACTOR | RETRACTOR, SELF-RETAINING, WEITLANER Blunt, 2 x 3 prong Stainless steel Length: 110 mm Autoclavable | [7 empty] | Each
42293107-00029 | RETRACTOR | RETRACTOR, SELF-RETAINING, WEITLANER Sharp, 3 x 4 prong Stainless steel Length: 165 mm Autoclavable, | [7 empty] | Each
42293107-00030 | RETRACTOR | RETRACTOR, SELF-RETAINING, WEITLANER Blunt, 3 x 4 prong Stainless steel Length: 165 mm Autoclavable, | [7 empty] | Each
42293107-00031 | RETRACTOR | RETRACTOR, SKIN HOOK, GILLIES Fine, sharp hook Stainless steel Length: 180 mm Autoclavable, | [7 empty] | Each
42293107-00032 | RETRACTOR | RETRACTOR, SKIN HOOK, GILLIES Large, sharp hook Stainless steel Length: 180 mm Autoclavable, | [7 empty] | Each
42293107-00033 | RETRACTOR | RETRACTOR, SKIN, SENN-Miller Double ended One solid blade 3 sharp prongs Stainless steel Length: 150 mm Autoclavable, | [7 empty] | Each
42293107-00034 | RETRACTOR | RETRACTOR, SELF-RETAINING, WEITLANER Sharp, 2 x 3 prong Stainless steel Length: 105 mm Autoclavable, | [7 empty] | Each
42293107-00035+219:219218:226219:226C2261:226218:226217:226218:226217:226216:226215:226214:226213:226212:226211:226210:22620194:226 | RETRACTOR | RETRACTOR, ABDOMINAL,MORRIS, Single ended, Stainless steel,Length:220mm, Blade Length: 70mm, Blade width:40mm, Autoclavable | [7 empty] | Each
42293107-00036 | RETRACTOR | BALFOUR WITH CENTRE BLADE, stainless steel, autoclavable,depth 50mm,60mm,70mm and 90mm Spread 160mm,300mm and 350mm | [7 empty] | Each
42294726-00010 | DILATORS | SPHYGMOMANOMETER, WRIST, DIGITAL, COMPLETE WITH BATTERY AND SPARE BATTERY For the measurement of blood pressure and pulse Battery operated Display must be digital, large and easy to read Cuff preformed for wrist Velcro fully automatic inflation and deflation and automatic shut-off function Must have memory storage facility CE Certificate or equivalent (Marking) | [7 empty] | Each
42294908-00000 | FORCEPS | FORCEPS, ARTERY, BIRKETT Curved on flat, box joint Stainless steel Length: 180 mm, Autoclavable, | [7 empty] | Each
42294908-00001 | FORCEPS | FORCEPS, ARTERY, BIRKETT Straight, box joint Stainless steel Length: 190 mm, Autoclavable, | [7 empty] | Each
42294908-00002 | FORCEPS | FORCEPS, ARTERY, CRILE Curved on flat, box joint Stainless steel Length: 160 mm Autoclavable, | [7 empty] | Each
42294908-00003 | FORCEPS | FORCEPS, ARTERY, CRILE Straight, box joint Stainless steel Length: 160 mm, Autoclavable, | [7 empty] | Each
42294908-00004 | FORCEPS | FORCEPS, ARTERY, DANDY Curved sideways, box joint Stainless steel Length: 140 mm, Autoclavable, | [7 empty] | Each
42294908-00005 | FORCEPS | FORCEPS, ARTERY, HALSTED-MOSQUITO Curved on flat, box joint Stainless steel Length: 125 mm, Autoclavable, | [7 empty] | Each
42294908-00006 | FORCEPS | FORCEPS, ARTERY, HALSTED-MOSQUITO Straight, box joint Stainless steel Length: 125 mm, Autoclavable, | [7 empty] | Each
42294908-00007 | FORCEPS | FORCEPS, ARTERY, KOCHER, Straight, box joint, 2 x 1 toothed. Transverse serrations Stainless steel Length: 130 mm, Autoclavable, | [7 empty] | Each
42294908-00014 | FORCEPS | FORCEPS, ARTERY, ROBERTS/ROCHESTER-PEAN Curved, box joint Serrated jaws Stainless steel Length: 220 mm Autoclavable, | [7 empty] | Each
42294908-00015 | FORCEPS | FORCEPS, ARTERY, ROBERTS/ROCHESTER-PEAN Straight, box joint Serrated jaws Stainless steel Length: 220 mm Autoclavable, | [7 empty] | Each
42294908-00016 | FORCEPS | FORCEPS, ARTERY, NEGUS Small complete curve, box joint Stainless steel Length: 190 mm Autoclavable, | [7 empty] | Each
42294908-00017 | FORCEPS | FORCEPS, TONSIL ARTERY, NEGUS Wide large 90 degrees curve, box joint Stainless steel Length: 195 mm Autoclavable, | [7 empty] | Each
42294908-00018 | FORCEPS | FORCEPS, ARTERY, SPENCER-WELLS Curved on flat, box joint, transverse serrated jaws Stainless steel Length: 150 mm Autoclavable, | [7 empty] | Each
42294908-00019 | FORCEPS | FORCEPS, ARTERY, SPENCER-WELLS Curved on flat, box joint Serrated jaws Stainless steel Length: 180 mm Autoclavable, | [7 empty] | Each
42294908-00020 | FORCEPS | FORCEPS, ARTERY, SPENCER-WELLS Straight, box joint Transverse serrated jaws Stainless steel Length: 180 mm Autoclavable, | [7 empty] | Each
42294908-00021 | FORCEPS | FORCEPS, ARTERY, SPENCER-WELLS Straight, box joint Transverse serrated jaws Stainless steel Length: 200 mm Autoclavable, | [7 empty] | Each
42294908-00022 | FORCEPS | FORCEPS, CHOLECYSTECTOMY, LAHEY Angled jaws,box joint Longitudinal fine serrations Stainless steel Length: 230 mm Autoclavable, | [7 empty] | Each
42294908-00023 | FORCEPS | FORCEPS, CHOLECYSTECTOMY, LAHEY Angled jaws, box joint Longitudinal fine serrations Stainless steel Length: 190 mm Autoclavable, | [7 empty] | Each
42294908-00024 | FORCEPS | FORCEPS, CHOLECYSTECTOMY, MOYNIHAN, Curved on flat, box joint Lateral serrations Stainless steel Length: 220 mm Autoclavable, | [7 empty] | Each
42294908-00025 | FORCEPS | FORCEPS, DISSECTING, ADSON Block joint 1 x 2 teeth Stainless steel Length: 120 mm Autoclavable, | [7 empty] | Pack
42294908-00026 | FORCEPS | FORCEPS, DISSECTING, MICRO-ADSON Block joint 1 x 2 teeth Stainless steel Length: 150 mm, Matte finish Autoclavable, | [7 empty] | Each
42294908-00027 | FORCEPS | FORCEPS, DISSECTING, ADSON Fine, Block joint Non-toothed Stainless steel Length: 120 mm Autoclavable, | [7 empty] | Each
42294908-00028 | FORCEPS | FORCEPS, DISSECTING, MICRO-ADSON Block joint 1 x 2 teeth Stainless steel Length: 120 mm, Matte Finish Autoclavable, | [7 empty] | Each
42294908-00029 | FORCEPS | FORCEPS, DISSECTING, BONNEY Block joint Serrated jaws, 1 x 2 teeth Roughened handle Stainless steel with matte finish Length: 180 mm Autoclavable, | [7 empty] | Each
42294908-00030 | FORCEPS | FORCEPS, DISSECTING, GILLIES Block joint Serrated jaws, 1 x 2 teeth Fine tip Guide pin, Grip with transverse grooves Stainless steel Length: 150 mm Autoclavable, | [7 empty] | Each
42294908-00031 | FORCEPS | FORCEPS, DISSECTING/DRESSING, Standard Pattern Block joint Non-toothed serrated jaws Grip with transverse grooves Stainless steel Length: 180 mm Autoclavable, | [7 empty] | Each
42294908-00032 | FORCEPS | FORCEPS, DISSECTING/DRESSING, Standard Pattern Block joint Non-toothed serrated jaws Grip with transverse grooves Stainless steel Length: 250 mm Autoclavable, | [7 empty] | Each
42294908-00033 | FORCEPS | FORCEPS, DISSECTING, WAUGH Block joint Non-toothed serrated jaws Fine tip Guide pin, Grip with transverse grooves Stainless steel Length: 150 mm Autoclavable, | [7 empty] | Each
42294908-00034 | FORCEPS | FORCEPS, DISSECTING, WAUGH Block joint Serrated jaws, 1 x 2 teeth Fine tip Guide pin, Grip with transverse grooves Stainless steel Length: 150 mm Autoclavable, | [7 empty] | Each
42294908-00035 | FORCEPS | FORCEPS, DISSECTING, WAUGH Block joint Serrated jaws, 1 x 2 teeth Fine tip Guide pin, Grip with transverse grooves Stainless steel Length: 200 mm Autoclavable, | [7 empty] | Each
42294908-00036 | FORCEPS | FORCEPS, DISSECTING/ LIGATURE CARRIER, RUMEL Serrated jaws, box joint Stainless steel Full curved Length: 230 mm Autoclavable, | [7 empty] | Each
42294908-00037 | FORCEPS | FORCEPS, ENDOTRACHEAL, MAGILL`S FOR INFANTS Serrated, fenestrated jaws, screw joint Stainless steel with matte finish Length: 150 mm Autoclavable, | [7 empty] | Each
42294908-00038 | FORCEPS | FORCEPS, ENDOTRACHEAL, MAGILL`S FOR CHILDREN Serrated, fenestrated jaws, screw joint Stainless steel with matte finish Length: 200 mm Autoclavable, | [7 empty] | Each
42294908-00039 | FORCEPS | FORCEPS, ENDOTRACHEAL, MAGILL`S FOR ADULTS Serrated, fenestrated jaws, screw joint Stainless steel with matte finish Length: 240 mm Autoclavable, | [7 empty] | Each
42294908-00040 | FORCEPS | FORCEPS, KIDNEY-STONE/RANDALL Screw joint Serrated, fenestrated jaws Stainless steel Size : Slight ( ¼ )curve No. 1 Length: 230 mm Autoclavable, & ISO13485 | [7 empty] | Each
42294908-00041 | FORCEPS | FORCEPS, KIDNEY-STONE/RANDALL Screw joint Serrated, fenestrated jaws Stainless steel Size : Deep ( ½ ) curve No. 2 Length: 210 mm Autoclavable, | [7 empty] | Each
42294908-00042 | FORCEPS | FORCEPS, KIDNEY-STONE/RANDALL Screw joint Serrated, fenestrated jaws Stainless steel Size : Slight (3/4) curve No. 3 Length: 195 mm Autoclavable, | [7 empty] | Each
42294908-00043 | FORCEPS | FORCEPS, KIDNEY-STONE/RANDALL Screw joint Serrated, fenestrated jaws Stainless steel Size : Deep retro curve No. 4 Length: 180 mm Autoclavable, | [7 empty] | Each
42294908-00044 | FORCEPS | FORCEPS, EAR DRESSING, LUCAE Bayonet shaped Non-toothed serrated jaws Grip with transverse grooves Stainless steel Length: 140 mm Autoclavable, | [7 empty] | Each
42294908-00045 | FORCEPS | FORCEPS, NASAL DRESSING, TILLEY Box joint Angled, serrated jaw ends Stainless steel with matte finish Length: 90 mm Autoclavable, | [7 empty] | Each
42294908-00046 | FORCEPS | FORCEPS, NASAL DRESSING, TROELTSCH Angled Stainless steel Length: 115 mm Autoclavable, | [7 empty] | Each
42294908-00047 | FORCEPS | FORCEPS, OBSTETRIC, WRIGLEY Stainless steel Length: 270 mm Autoclavable, | [7 empty] | Each
42294908-00048 | FORCEPS | FORCEPS, OVUM, McCLINTOCK Curved, screw joint Stainless steel Length: 240 mm Autoclavable, | [7 empty] | Each
42294908-00049 | FORCEPS | FORCEPS, SINUS, LISTER Straight, box joint Serrated tip Stainless steel Length: 125 mm Autoclavable, | [7 empty] | Each
42294908-00050 | FORCEPS | FORCEPS, SINUS, LISTER Straight, box joint Serrated tip Stainless steel Length: 180 mm Autoclavable, | [7 empty] | Each
42294908-00051 | FORCEPS | FORCEPS, SPONGE/GAUZE PAD HOLDING RAMPLEY Straight, box joint Serrated jaws with ratchet Stainless steel Length: 180 mm Autoclavable, | [7 empty] | Each
42294908-00052 | FORCEPS | FORCEPS, SPONGE/GAUZE PAD HOLDING, RAMPLEY Straight, box joint Serrated jaws with ratchet Stainless steel Length: 250 mm Autoclavable, | [7 empty] | Each
42294908-00053 | FORCEPS | FORCEPS, SPLINTER, HUNTER Straight, block joint, fine sharp point Type: Tweezer Stainless steel Size : Large Length: 110mm Autoclavable, | [7 empty] | Each
42294908-00054 | FORCEPS | FORCEPS, TISSUE, ALLIS Box joint 4 x 5 teeth Stainless steel Length: 150 mm Autoclavable, | [7 empty] | Each
42294908-00055 | FORCEPS | FORCEPS, TISSUE, BABCOCK Box joint Stainless steel Length: 160 mm Autoclavable, | [7 empty] | Each
42294908-00056 | FORCEPS | FORCEPS, TISSUE, LITTLEWOOD Box joint 2 x 3 teeth Stainless steel Length: 190 mm Autoclavable, | [7 empty] | Each
42294908-00057 | FORCEPS | FORCEPS, TISSUE, RUSSIAN Block joint Circular jaws Stainless steel Length: 150 mm Autoclavable, | [7 empty] | Each
42294908-00058 | FORCEPS | FORCEPS, TISSUE, RUSSIAN Block joint, circular jaws Stainless steel Length: 200 mm Autoclavable, | [7 empty] | Each
42294908-00059 | FORCEPS | FORCEPS, TISSUE, RUSSIAN Block joint, circular jaws Stainless steel Length: 250 mm Autoclavable, | [7 empty] | Each
42294908-00060 | FORCEPS | FORCEPS, TOWEL HOLDING Type: Ball and socket Stainless steel Length: 130 mm Autoclavable, | [7 empty] | Each
42294908-00061 | FORCEPS | FORCEPS, TOWEL HOLDING Cross action Stainless steel Length: 90 mm Autoclavable, | [7 empty] | Each
42294908-00062 | FORCEPS | FORCEPS, TOWEL HOLDING, BACKHAUS Box joint Stainless steel Length: 90 mm Autoclavable, | [7 empty] | Each
42294908-00063 | FORCEPS | FORCEPS, TOWEL HOLDING, MAYO/BACKHAUS Box joint Stainless steel Length: 140 mm Autoclavable, | [7 empty] | Each
42294908-00064 | FORCEPS | FORCEPS, TRACHEAL DILATING, TROUSSEAU`S FOR CHILD Screw joint With spring Stainless steel Length: 125 mm Autoclavable, | [7 empty] | Each
42294908-00065 | FORCEPS | FORCEPS, TRACHEAL DILATING, TROUSSEAU`S FOR ADULT Screw joint With spring Stainless steel Length: 140 mm Autoclavable, | [7 empty] | Each
42294908-00066 | FORCEPS | FORCEPS, UTERINE, GREEN-ARMYTAGE Straight, screw joint Stainless steel Length: 210 mm Autoclavable, & ISO13485 | [7 empty] | Each
42294908-00067 | FORCEPS | FORCEPS, UTERINE DRESSING, BOZEMANN`S Double curved shanks, box joint Serrated jaws Stainless steel Length: 260 mm Autoclavable, | [7 empty] | Each
42294908-00068 | FORCEPS | FORCEPS, UTERINE TENACULUM, SCHROEDER Standard Pattern Straight, box joint Stainless steel Length: 250 mm Autoclavable, | [7 empty] | Each
42294908-00069 | FORCEPS | FORCEPS, UTERINE VULSELLUM, TEALE Curved sideways, box joint 3 x 4 teeth Stainless steel Length: 230 mm Autoclavable, | [7 empty] | Each
42294908-00070 | FORCEPS | FORCEPS, ARTERY, HALSTED-MOSQUITO Straight box joint Fine tip Stainless steel Length: 125 mm Autoclavable, | [7 empty] | Each
42294908-00071 | FORCEPS | FORCEPS, DISSECTING/DRESSING, STANDARD PATTERN Block joint Non-toothed serrated jaws Grip with transverse grooves Stainless steel Length: 130 mm Autoclavable, | [7 empty] | Each
42294908-00073 | FORCEPS | FORCEPS DE BAKEY DISSECTING Block Joint Atraumatic-Grip, Vascular Forceps with non-traumatic serration Length : 155 mm Width : 1.5 mm Autoclavable Stainless Steel & | [7 empty] | Each
42294908-00074 | FORCEPS | FORCEPS DE BAKEY DISSECTING Block Joint Atraumatic-Grip, Vascular Forceps with non-traumatic serration Length : 200 mm Width : 1.5 mm Autoclavable Stainless Steel & | [7 empty] | Set
42294908-00075 | FORCEPS | FORCEPS DE BAKEY DISSECTING Block Joint Atraumatic-Grip, Vascular Forceps with non-traumatic serration Length : 240 mm Width : 1.5 mm Autoclavable Stainless Steel & | [7 empty] | Each
42294908-00076 | FORCEPS | FORCEPS DE BAKEY DISSECTING Block Joint Atraumatic-Grip, Vascular Forceps with non-traumatic serration Length : 200 mm Width : 2 mm Autoclavable Stainless Steel & | [7 empty] | Each
42294908-00077 | FORCEPS | FORCEPS DE BAKEY DISSECTING Block Joint Atraumatic-Grip, Vascular Forceps with non-traumatic serration Length : 240 mm Width : 2 mm Stainless Steel Autoclavable Stainless Steel & | [7 empty] | Each
42294908-00078 | FORCEPS | FORCEPS DE BAKEY DISSECTING Block Joint Atraumatic-Grip, Vascular Forceps with non-traumatic serration Length :305 mm Width : 2 mm Autoclavable Stainless St & | [7 empty] | Each
42294908-00079 | FORCEPS | FORCEPS DE BAKEY DISSECTING Block Joint Atraumatic-Grip, Vascular Forceps with non-traumatic serration Length : 155 mm Width : 2.7 mm Autoclavable Stainless Steel & | [7 empty] | Each
42294908-00080 | FORCEPS | FORCEPS DE BAKEY DISSECTING Block Joint Atraumatic-Grip, Vascular Forceps with non-traumatic serration Length : 200 mm Width : 2.7 mm Autoclavable Stainless Steel & | [7 empty] | Each
42294908-00081 | FORCEPS | FORCEPS DE BAKEY DISSECTING Block Joint Atraumatic-Grip, Vascular Forceps with non-traumatic serration Length : 240 mm Width : 2.7 mm Autoclavable Stainless Steel & | [7 empty] | Each
42294908-00082 | FORCEPS | FORCEPS DE BAKEY DISSECTING Block Joint Atraumatic-Grip, Vascular Forceps with non-traumatic serration Length : 305 mm Width : 2.7 mm Autoclavable Stainless Steel & | [7 empty] | Each
42294908-00083 | FORCEPS | FORCEPS DE BAKEY DISSECTING Block Joint Atraumatic-Grip, Vascular Forceps with non-traumatic serration Length : 155 mm Width : 3.5 mm Autoclavable Stainless Steel & | [7 empty] | Each
42294908-00084 | FORCEPS | FORCEPS DE BAKEY DISSECTING Block Joint Atraumatic-Grip, Vascular Forceps with non-traumatic serration Length : 200 mm Width : 3.5 mm Autoclavable Stainless Steel & | [7 empty] | Each
42294908-00085 | FORCEPS | FORCEPS DE BAKEY DISSECTING Block Joint Atraumatic-Grip, Vascular Forceps with non-traumatic serration Length : 240 mm Width : 3.5 mm Autoclavable Stainless Steel & | [7 empty] | Each
42294908-00086 | FORCEPS | FORCEPS DE BAKEY DISSECTING Block Joint Atraumatic-Grip, Vascular Forceps with non-traumatic serration Length : 305 mm Width : 3.5 mm Autoclavable Stainless Steel & | [7 empty] | Each
42294908-00087 | FORCEPS | FORCEPS, NASAL DRESSING TILLEY Box joint angled Serrated jaw ends Length: 160 mm Autoclavable Stainless Steel with matt finish | [7 empty] | Each
42294908-00088 | FORCEPS | FORCEPS, DISSECTING, ADSON Fine, Block joint Non-toothed Stainless steel Length: 150 mm Autoclavable, | [7 empty] | Pack
42294908-00089 | FORCEPS | FORCEPS, DISSECTING, MICRO-ADSON Fine, Block joint Non-toothed Stainless steel Length: 120 mm Autoclavable, Matte Finish | [7 empty] | Each
42294908-00090 | FORCEPS | FORCEPS, DISSECTING, MICRO-ADSON Fine, Block joint Non-toothed Stainless steel Length: 150mm Autoclavable, Matte Finish | [7 empty] | Each
42294908-00091 | FORCEPS | FORCEPS, ARTERY, KOCHER Curved, box joint, 2 x 1 toothed, Transverse serrations,Stainless steel Length: 180 mm Autoclavable, | [7 empty] | Each
42294908-00092 | FORCEPS | FORCEPS, ARTERY, KOCHER Straight, box joint, 2 x 1 toothed, Transverse serrations Stainless steel Length: 180 mm Autoclavable, | [7 empty] | Each
42294908-00093 | FORCEPS | FORCEPS, ARTERY, KOCHER Straight, box joint, 2 x 1 toothed, Transverse serrations Stainless steel Length: 200 mm Autoclavable, | [7 empty] | Each
42294908-00094 | FORCEPS | FORCEPS, ARTERY, KOCHER Curved, box joint, 2 x 1 toothed, Transverse serrations Stainless steel Length: 200 mm Autoclavable, | [7 empty] | Each
42294908-00095 | FORCEPS | FORCEPS, ARTERY, KOCHER Curved, box joint, 2 x 1 toothed, Transverse serrations Serrated jaws Stainless steel Length: 240 mm Autoclavable, | [7 empty] | Each
42294908-00096 | FORCEPS | FORCEPS, ARTERY, KOCHER Straight, box joint, 2 x 1 toothed, Transverse serrations Serrated jaws Stainless steel Length: 240 mm Autoclavable, | [7 empty] | Each
42294908-00097 | FORCEPS | FORCEPS, TONSIL ARTERY, SAWTELL Full curved, box joint. Transverse jaws Stainless steel Length: 190 mm Autoclavable, | [7 empty] | Each
42294908-00098 | FORCEPS | FORCEPS, BONE CUTTING, LISTON Straight, box joint Single action, spring loaded Stainless steel Length: 220 mm Autoclavable, | [7 empty] | Each
42294908-00099 | FORCEPS | FORCEPS, GALLSTONE, DESJARDIN Fenestrated jaws, screw joint Stainless steel Size : Small Length: 230 mm Autoclavable, | [7 empty] | Each
42294908-00100 | FORCEPS | FORCEPS, GALLSTONE, DESJARDIN Fenestrated jaws, box joint Stainless steel Size : Large Length: 220 mm Autoclavable, | [7 empty] | Each
42294908-00101 | FORCEPS | FORCEPS, HYSTERECTOMY, MAINGOT Curved on flat, box joint 1 x 2 teeth Longitudinal groove Block fitting ridge Stainless steel Length: 200 mm Autoclavable, | [7 empty] | Each
42294908-00102 | FORCEPS | FORCEPS, HYSTERECTOMY, MAINGOT Curved on flat, box joint 1 x 2 teeth Longitudinal groove Block fitting ridge Stainless steel Length: 240 mm Autoclavable, | [7 empty] | Each
42294908-00103 | FORCEPS | FORCEPS, TISSUE, BABCOCK Box joint Stainless steel Length: 200 mm Autoclavable, | [7 empty] | Each
42294908-00104 | FORCEPS | FORCEPS,LANE Box joint 1 x 2 teeth Fenestrated jaws Stainless steel Length: 150 mm Autoclavable, | [7 empty] | Each
42294908-00105 | FORCEPS | FORCEPS,LANE Box joint 1 x 2 teeth Fenestrated jaws Stainless steel Length: 200 mm Autoclavable, | [7 empty] | Each
42294908-00106 | FORCEPS | FORCEPS, BONE CUTTING, LISTON Straight, box joint Single action, spring loaded Stainless steel Length: 140 mm Autoclavable, | [7 empty] | Each
42294908-00107 | FORCEPS | FORCEPS, BONE CUTTING, LISTON Straight, box joint Single action, spring loaded Stainless steel Length: 190 mm Autoclavable, | [7 empty] | Each
42294908-00108 | FORCEPS | FORCEPS, DISSECTING, JEANS Fine Tip 1 X 2 teeth Length: 140 mm Autoclavable Stainless steel & | [7 empty] | Each
42294908-00109 | FORCEPS | FORCEPS, BIPOLAR WITH Tungsten Carbide (TC) INSERT Insulated Straight Length : 165 mm Width : 2.2 mm Autoclavable | [7 empty] | Each
42294908-00110 | FORCEPS | FORCEPS, BIPOLAR WITH Tungsten Carbide (TC) INSERT Insulated Straight Length : 190 mm Width : 2.2 mm Autoclavable | [7 empty] | Each
42294908-00111 | FORCEPS | FORCEPS, BIPOLAR WITH Tungsten Carbide (TC) INSERT Insulated Straight Length : 220 mm Width : 2.2 mm Autoclavable | [7 empty] | Each
42294908-00112 | FORCEPS | FORCEP OBSTETRIC WRIGLEY, Length: 230mm, stainless steel, autoclavable. | [7 empty] | Each
42294908-00113 | FORCEPS | ANGLED LAHEY(MIXTER), Length 290mm, Tip + thickness and angle 290mm X 7.5mm and 90 degrees, stainless steel, autoclavable. | [7 empty] | Each
42295211-00000 | SAW | BLADE, SAW, PLASTER, ELECTRIC Type: Circular Polytetrafluoroethylene (PTFE) coated Diameter: 50 mm Autoclavable, Item to be compatible with item 42241602-00000 and 42295211-00001 | [7 empty] | Each
42295211-00001 | SAW | BLADE, SAW, PLASTER, ELECTRIC Type: Circular Polytetrafluoroethylene (PTFE) coated Diameter: 65 mm Autoclavable, Item to be compatible with item 42241602-00000 and 42241602-000001 | [7 empty] | Each
42295302-00000 | CATHETER | CATHETER, ROTUNDA, FEMALE S-Shaped, with solid end, with stylet, Stainless steel,Length: 200mm Autoclavable, | [7 empty] | Each
42296323-00011 | DILATORS | TELESCOPE FORWARD OBLIQUE ENLARGED SCREW FIBER OPTIC LIGHT TRANSMISSION INCORPORATED, diameter 3mm, length 14cm, angle 30 degrees. | [7 empty] | Each
42296334-00000 | RETRACTOR | PROCTOSCOPE, RECTAL, KELLY FOR AN ADULT With obturator Stainless steel Diameter: 22 mm x 50 mm Length : 140 mm Autoclavable, | [7 empty] | Each
42311537-00000 | SCISSORS | SCISSORS, BANDAGE, LISTER Blade angled laterally Upper point blunt Lower point with flattened probe end Size : Large Length: 190 mm Autoclavable | [7 empty] | Each
RT252-00-001 | Repairs & Maintenance of Equipment | Technician Fees | [7 empty] | Hour
RT252-00-002 | Repairs & Maintenance of Equipment | Off site Service Fees | [7 empty] | Per Service
RT252-00-003 | Repairs & Maintenance of Equipment | Diognostic and Testing Fees | [7 empty] | Per Service
RT252-00-004 | Repairs & Maintenance of Equipment | Emergency Technician Fees | [7 empty] | Hour
RT252-00-005 | Repairs & Maintenance of Equipment | Routine Servicing Costs | [7 empty] | Per Unit

## RT252 GROUP SERIES 1
ITEM CODE | ITEM CATEGORIES | ITEM DESCRIPTION | BIDDER NAME | NAME OF MANUFACTURER | COUNTRY OF ORIGIN | BRAND NAME | PRODUCT CODE NUMBER | IMPORT COMPONENT OF PRICE AS % | DOES THE ITEM CONFORM TO SPECIFICATION ? YES/NO | UNIT OF MEASURE | MINIMUM ORDER QUANTITY | OFFER OPTION | LEAD TIME DAY/S | DELIVERY PRICE IN ZAR (AS PER YOUR BID DOCUMENT) VAT 15% | D1 – Imported Raw Material / Finished product | D2 - Local Raw Material / Finished product (if applicable) | D3 – Labour | D4 – Transport | D5 – Overheads | D6 – Other
42181603-00000 | DIAGNOSTIC | SPHYGNOMANOMETER, ANEROID, POCKET TYPE Scale range 0-300 mmHg with a velcro cuff of dimensions to fit a normal adult arm. To be used with double tubing cuff Shockproof High quality indicator-Precisely calibrated, durable and shock resistant Upper Housing made of aluminium alloy-Advanced thermo plastic (Polymide /TP Elastomer) with a shock absorbing ring protects indicator and glass Spare parts and components must be locally available. ( ITEM NUMBERS: 42181603-00000,42181610-00010,42181610-00011,42181610-00012,42181610-00013 AND 42181610-00014) will be evaluated as series. &
42181610-00010 | DIAGNOSTIC | CUFF Velcro, complete with sleeve, bag and double tubing for sphygmomanometer Size: Infant Item must be compatible to item 42181603-00000 & (ITEM NUMBERS: 42181603-00000,42181610-00010,42181610-00011,42181610-00012,42181610-00013 AND 42181610-00014) will be evaluated as a series.
42181610-00011 | DIAGNOSTIC | CUFF Velcro, complete with sleeve, bag and double tubing for sphygmomanometer Size; Child Item must be compatible to item 42294726 & (ITEM NUMBERS: 42294726,42221803-00020,42221803-00018,42221803-00016,42221803-00022 AND 42221803-00024) will be evaluated as a series.
42181610-00012 | DIAGNOSTIC | CUFF Velcro, complete with sleeve, bag and double tubing for sphygmomanometer Size: Normal Adult Item must be compatible to item 42181603-00000 & (ITEM NUMBERS:42181603-00000,42181610-00010,42181610-00011,42181610-00012,42181610-00013 AND 42181610-00014) will be evaluated as a series.
42181610-00013 | DIAGNOSTIC | CUFF Velcro, complete with sleeve, bag and double tubing for sphygmomanometer Size: Large arm, Item must be compatible to item 42181603-00000 & (42181603-00000,42181610-00010,42181610-00011,42181610-00012,42181610-00013 AND 42181610-00014) will be evaluated as a series.
42181610-00014 | DIAGNOSTIC | CUFF Velcro, complete with sleeve, bag and double tubing for sphygmomanometer Size: Obese Item must be compatible to item 42181603-00000 & (ITEM NUMBERS: 42181603-00000,42181610-00010,42181610-00011,42181610-00012,42181610-00013 AND 42181610-00014) will be evaluated as a series.

## RT252-GROUP SERIES 2
ITEM CODE | ITEM CATEGORIES | ITEM DESCRIPTION | BIDDER NAME | NAME OF MANUFACTURER | COUNTRY OF ORIGIN | BRAND NAME | PRODUCT CODE NUMBER | IMPORT COMPONENT OF PRICE AS % | DOES THE ITEM CONFORM TO SPECIFICATION ? YES/NO | UNIT OF MEASURE | MINIMUM ORDER QUANTITY | OFFER OPTION | LEAD TIME DAY/S | DELIVERY PRICE IN ZAR (AS PER YOUR BID DOCUMENT) VAT 15% | D1 – Imported Raw Material / Finished product | D2 - Local Raw Material / Finished product (if applicable) | D3 – Labour | D4 – Transport | D5 – Overheads | D6 – Other
42203444-00001 | DIAGNOSTIC | PORTABLE DIAGNOSTIC SET 2,5 volt Ophthalmoscope and otoscope set in a suitable case comprising of -Ophthalmoscope -Otoscope with nasal and oral specula -Throat examination head -Battery handle for 2 x R14S batteries -Spare lamps Set to consist of: i Opthalmoscope, mirror type with 2,5 volt HALOGEN lamp, sliding focussing device from -25 to +40 diopters and five apertures including a slit, pinhole, large hole, fixation or white line grid and red-free filter. ii Otoscope, fibre-optic pneumatic with 2,5 volt HALOGEN lamp, 2 mm, 3 mm, 4 mm and 5 mm polypropylene flanged specula. iii Illuminated tongue depressor holder, with 2,5 volt lamp and holding screw. iv Battery handle, metal knurled finish, to accomodate two R14S Batteries, with screw on bottom cap, vertical rheostat around neck with positive `off` position, stainless steel connectors. v One spare lamp for ophthalmoscope and one for the otoscope. vi Two R14S batteries TO COMPLY WITH CE CERTIFICATE OR EQUIVALENT STANDARD ITEM NUMBER 42203444-00001, and 42296815-00000 WILL BE CONSIDERDED AS A SERIES
42296815-00000 | DIAGNOSTIC | THROAT EXAMINATION HEAD Clinical Item must be compatible with item 42203444-00001. ITEM NUMBER 42203444-00001, and 42296815-00000 WILL BE CONSIDERDED AS A SERIES