## Sheet1
ITEM # | NSN # | UNSPSC (Updated Spec) | FULL ITEM DESCRIPTION | BIDDER NAME | ESTIMATED QUANTITIES IN RELATION TO COVID-19 VACCINE REQUIREMENTS AND FOR DAY-TO-DAY USE IN BOXES OF 100 | READILY AVAILABLE STOCK (IN RSA ALREADY) TO BE DELIVERED IN 1 APRIL 2021 | PHYSICAL ADDRESS OF WHERE STOCK IS HELD | FUTURE STOCK FOR DELIVERY BY 1 MAY 2021 IN BOXES OF 100 | FUTURE STOCK FOR DELIVERY BY 1 JUNE 2021 IN BOXES OF 100 | FUTURE STOCK FOR DELIVERY BY 1 JULY 2021 IN BOXES OF 100 | FUTURE STOCK FOR DELIVERY BY 1 AUGUST 2021 IN BOXES OF 100 | FUTURE STOCK FOR DELIVERY BY 1 SEPTEMBER 2021 IN BOXES OF 100 | FUTURE STOCK FOR DELIVERY BY 1 OCTOBER 2021 IN BOXES OF 100 | FUTURE STOCK AVAILABLE FOR DELIVERY BY 1 DECEMBER 2021 IN BOXES OF 100 | FUTURE STOCK FOR DELIVERY ON A MONTH TO MONTH FROM 1 JANUARY 2022 TO 31 OCTOBER 2022
RT284-01-001 | 181932177 | 42142523-00010 | Needle, hypodermic, Long point with plastic 6%, Luer lock hub, Size: 22G (0,7mm) x 32mm Colour code: Black Sterile, Single use, individually peel packed To comply with the latest issue of SANS 1124-1 Test report from a SANAS accredited institution must be submitted UNIT: Box of 100 |  | 100000
RT284-01-002 | 181932176 | 42142523-00009 | Needle, hypodermic, Long point with plastic 6%, Luer lock hub, Size: 23G (0,6mm) x 25mm Colour code: Deep blue Sterile, Single use, Individually packed To comply with the latest issue of SANS 1124-1 Test report from a SANAS accredited institution must be submitted UNIT: Box of 100 |  | 542000
RT284-01-003 | 222000754 |  | Syringe, plastic, latex free, non-pyrogenic and DEPH free. Nominal capacity: 0.5 ml, Must have clear graduation markings of at least 0,1ml or less intervals, that are not easily removed with spirits and allow for permanent marker markings without rubbing off. Sterile, Single use, individually peel packed To comply with the latest issue of SANS 1124-2. Test report from a SANAS accredited institution must be submitted UNIT: Box of 100 |  | 602000
RT284-01-004 | 181932197 | 42142608-00019 | Syringe, plastic, latex free, non-pyrogenic and DEPH free. Concentric nozzle, Luer slip, Type 1. Nominal capacity: 1 ml, Must have clear graduation markings of at least 0,1ml or less intervals that are not easily removed or rubbed off. To be labelled "FOR TUBERCULIN" Without Needle Sterile, Single use, Individually peel packed To comply with the latest issue of SANS 1124-2 Test report from a SANAS accredited institution must be submitted) UNIT: Box of 100. |  | 602000
RT284-01-005 | 222000752 | 42142609-00027 | Syringe, plastic, latex free, non-pyrogenic and DEPH free. Nominal capacity: 1ml, Must have clear graduation markings of at least 0,1ml or less intervals, that are not easily removed with spirits and allow for permanent marker markings without rubbing off. With needle 22G(0,7mm) x 32mm, Colour code: Black Sterile, Single use, individually peel packed To comply with the latest issue of SANS 1124-1 and 1124-2. Test report from a SANAS accredited institution must be submitted UNIT: Box of 100 |  | 100000
RT284-01-006 | 222000742 | 42142609-00013 | Syringe, plastic, latex free, non-pyrogenic and DEPH free. Nominal capacity: 0.5 ml, Must have clear graduation markings of at least 0,1ml or less intervals, that are not easily removed with spirits and allow for permanent marker markings without rubbing off. With needle 22G(0,7mm) x 32mm, Colour code: Black Sterile, Single use, individually peel packed To comply with the latest issue of SANS 1124-1 and 1124-2. Test report from a SANAS accredited institution must be submitted) UNIT: Box 100 |  | 100000
RT284-01-007 | 222000746 | 42142609-00014 | Syringe, plastic, latex free, non-pyrogenic and DEPH free. Nominal capacity: 0.5ml, Must have clear graduation markings of at least 0,1ml or less intervals, that are not easily removed with spirits and allow for permanent marker markings without rubbing off. With needle 23G(0,6mm) x 25mm, Colour code: Deep Blue Sterile, Single use, individually peel packed To comply with the latest issue of SANS 1124-1 and 1124-2, Test report from a SANAS accredited institution must be submitted UNIT: Box of 100 |  | 542000
RT284-01-008 | 222000751 |  | Syringe, plastic, latex free, non-pyrogenic and DEPH free. Nominal capacity: 0.3ml, must have clear graduation markings of at least 0,1ml or less intervals, that are not easily removed with spirits and allow for permanent marker markings without rubbing off. With needle 23G(0,6mm) x 25mm, Colour code: Deep Blue Sterile, Single use, individually peel packed To comply with the latest issue of SANS 1124-1 and 1124-2 Test report from a SANAS accredited institution must be submitted UNIT: Box of 100 |  | 542000
RT284-01-009 | 222000753 | 42142609-00028 | Syringe, plastic, latex free, non-pyrogenic and DEPH free. Nominal capacity: 1ml, must have clear graduation markings of at least 0,1ml or less intervals, that are not easily removed with spirits and allow for permanent marker markings without rubbing off. With needle 23G (0,6mm) x 25mm, Colour code: Deep Blue Sterile, Single use, individually peel packed To comply with the latest issue of SANS 1124-1 and 1124-2 Test report from a SANAS accredited institution must be submitted UNIT: Box of 100 |  | 542000
RT284-01-010 | 180154468 | 42142523-00011 | Needle, hypodermic, long point with plastic 6%, Luer lock hub Size: 21G (0,8mm) x 40mm, Colour code: Deep green Single use, sterile, individually peel packed To comply with the latest issue of SANS 1124-1 Test report from a SANAS accredited institution must be submitted) UNIT: Box of 100 |  | 100000
RT284-01-011 | 189704309 | 42142608-00033 | Syringe, three-part, plastic, latex free, non-pyrogenic and DEPH free. Type 2 (luer slip). Nominal capacity 2ml, Must have clear graduation markings of at least 0,1ml or less intervals, that are not easily removed with spirits and allow for permanent marker markings without rubbing off. Sterile, Single use, Individually peel packed To comply with the latest issue of SANS 1124-2 Test report from a SANAS accredited institution must be submitted Boxed in suitable shelf packs UNIT: Box of 100 |  | 1000000
RT284-01-012 | 222000739 | 42142608-00034 | Syringe, three-part, plastic, latex free, non-pyrogenic and DEPH free. Type 3 (luer lock). Nominal capacity 2ml, Must have clear graduation markings of at least 0,1ml or less intervals, that, are not easily removed with spirits and allow for permanent marker markings without rubbing off. Sterile, Single use, Individually peel packed To comply with the latest issue of SANS 1124-2 Test report from a SANAS accredited institution must be submitted Boxed in suitable shelf packs UNIT: Box of 100 |  | 1000000
RT284-01-013 | 180219999 | 42142608-00000 | Syringe, two-part, plastic, latex free, non-pyrogenic and DEPH free. Type 2 (luer slip). Nominal capacity 2ml, Must have clear graduation markings of at least 0,1ml or less intervals, that are not easily removed with spirits and allow for permanent marker markings without rubbing off. Sterile, Single use, Individually peel packed To comply with the latest issue of SANS 1124-2 Test report from a SANAS accredited institution must be submitted Boxed in suitable shelf packs UNIT: Box (Box of 100) |  | 1000000
RT284-01-014 | 222000745 | 42142608-00004 | Syringe, two-part, plastic, latex free, non-pyrogenic and DEPH free. Type 3 (luer lock). Nominal capacity 2ml, Must have clear graduation markings of at least 0,1ml or less intervals, that are not easily removed with spirits and allow for permanent marker markings without rubbing off. Sterile, Single use, Individually peel packed To comply with the latest issue of SANS 1124-2 Test report from a SANAS accredited institution must be submitted Boxed in suitable shelf packs UNIT: Box of 100 |  | 1000000
RT284-01-015 | 222000738 | 42142608-00037 | Syringe, three-part, plastic, latex free, non-pyrogenic and DEPH free. Type 3 (luer lock), with a concentric nozzle. Nominal capacity 5ml, Must have clear graduation markings of at least 0,2ml or less intervals, that are not easily removed with spirits and allow for permanent marker markings without rubbing off. Sterile, Single use, Individually peel packed, To comply with the latest issue of SANS 1124-2 Test report from a SANAS accredited institution must be submitted Boxed in suitable shelf packs UNIT: Box of 100 |  | 100000
RT284-01-016 | 222000744 | 42142608-00023 | Syringe, two-part, plastic, latex free, non-pyrogenic and DEPH free. Type 3 (luer lock), with a concentric nozzle. Nominal capacity 5ml, Must have clear graduation markings of at least 0,2ml or less interval, that are not easily removed with spirits and allow for permanent marker markings without rubbing off. Sterile, Single use, Individually peel packed, To comply with the latest issue of SANS 1124-2 Test report from a SANAS accredited institution must be submitted Boxed in suitable shelf packs UNIT: Box of 100 |  | 100000
RT284-01-017 | TBC | 42142523-00015 | Needle, hypodermic, long point with plastic 6%, Luer lock hub Size: 15G (1,8mm) x 40mm Colour code: Blue-grey Sterile, Single use, Individually packed To comply with the latest issue of SANS 1124-1 Test report from a SANAS accredited institution must be submitted UNIT: Box of 100 |  | 100000
RT284-01-018 | TBC | 42142523-00014 | Needle, hypodermic, long point with plastic 6%, Luer lock hub Size: 18G (1,2mm) x 40mm Colour code: Pink Sterile, Single use, individually peel packed To comply with the latest issue of SANS 1124-1 Test report from a SANAS accredited institution must be submitted UNIT: Box of 100 |  | 100000
RT284-01-019 | TBC | 42142523-00007 | Needle, hypodermic, long point with plastic 6%, Luer lock hub Size: 26G (0.45mm) x 16mm Colour code: Brown Sterile, Single use, Individually packed To comply with the latest issue of SANS 1124-1 Test report from a SANAS accredited institution must be submitted UNIT: Box of 100 |  | 100000
RT284-01-020 | TBC | 42142523-00008 | Needle, hypodermic, long point with plastic 6%, Luer lock hub Size:25G (0,50mm) x 16mm Colour code: Orange Sterile, Single use, Individually packed To comply with the latest issue of SANS 1124-1 Test report from a SANAS accredited institution must be submitted UNIT: Box of 100 |  | 100000
RT284-01-021 | TBC | 42142523-00012 | Needle, hypodermic, long point with plastic 6%, Luer lock hub Size: 20G (0,9mm) x 40mm Colour code: Yellow Sterile, Single use, Individually peel packed To comply with the latest issue of SANS 1124-1 Test report from a SANAS accredited institution must be submitted UNIT: Box (100 per box) |  | 100000
RT284-01-022 | TBC | 42142609-00000 | Syringe, plastic, latex free, non-pyrogenic and DEPH free, With fixed needle for intradermal BCG vaccine. Nominal capacity: 0,05 ml, Must have clear graduation markings of 0 and 0,05ml that are not easily removed or rubbed off. Needle: 27G (0,4mm) x 10 mm Sterile, Single use, Individually peel packed To comply with the latest issue of SANS 1124-1 and 1124-2 Test report from a SANAS accredited institution must be submitted Packed in units of 10 syringes in a plastic or suitable packet Unit: Box of 100 |  | 80000