___________________________________________

RFI NUMBER: RT35-2023

________________________________________________________________________

REQUEST FOR INFORMATION REGARDING INDUSTRY PLAYERS FOR THE SURGICAL AID FOR MEDICAL MALE CIRCUMCISION

__________________________________________

ANNEXURE A: TECHNICAL SPECIFICATION – SURGICAL AID FOR MEDICAL MALE CIRCUMCISION

# technical specification: surgical aid for medical male circumcision

Bidders are requested to provide input to each element indicated here under. The following specification is included in the WHO under the “Framework for Clinical Evaluation of Devices for Male Circumcision”:

| Name of Bidder: |  |
| --- | --- |
| Address: |  |
| Contact Person Name: |  |
| Contact Telephone and Cellphone |  |
| Date: |  |
| Signature: |  |

| Detailed Specification |  | Comments on the Specification |
| --- | --- | --- |
| 1. | Device should minimize cross infection by preventing reuse of non-sterile material (be disposable and auto-destruct). |  |
| 2. | The capability of the manufacturer to produce and deliver the required quantities of product is a major issue. |  |
| 3. | The stability and financial resources of the manufacturer are of concern, since it would take time to find an alternate manufacturer of a device if the manufacturer were to cease to trade. |  |
| 4. | Patents are also a consideration. |  |
| 5. | Any purchasing or supply agreement with the manufacturer should include requirements that the manufacturer give notification if production is interrupted and also contingency plans if supply is interrupted for an extended period or permanently stopped. |  |
| 6. | If a programme of male circumcision for HIV prevention will use one or more devices, it is essential to ensure a suitably resourced and reliable supply chain. Temporary stock-outs could undermine the programme and substantially raise costs. |  |
| 7. | The device must be an aid to surgery or remain external to the body (not left in situ). Must be a non-invasive medical device classified as a surgical aid in terms of the World Health Organisation definition per the Framework for Clinical Evaluation of Devices for Male Circumcision. It must be classified as a class A medical device in accordance with the Global Harmonization Task Force (GHTF)/ International Medical Devices Regulators Forum (IMDRF) Principles of Medical Devices Classification. It must be transient and remain on the body for a short time during the circumcision procedure. |  |
| 8. | The device locking mechanism must be difficult to override |  |
| 9. | The manufacturer/supplier must state the quantity of devices in stock for immediate supply - Surgical Aids for paediatrics – for ages 10 to 14 - Sizes 14;16;18;20 and 23 - Surgical Aids for adults – ages 15 and above Sizes 26;29;32;35 and 38 |  |
| 10. | The manufacturer output/production capacity |  |
| 11. | The manufacturer must have evidence of having trained health-care providers (mid-level providers) with the use of the device |  |
| 12. | The manufacturer must be able to supply the device with the circumcision kit |  |
| 13. | The manufacturer must hold a valid licence issued by the South African Health Product Regulatory Authority (SAHPRA) |  |
| 14. | Manufacturer/supplier must state the status with the WHO prequalification process stating: - Confirmed WHO prequalification - Progress towards prequalification and mention: - Prescribed studies completed (manufacturers study, phase 1 and phase 2 country of origin and/or neighbouring country study and related dates as necessary) as prescribed by WHO - Application submitted to WHO - Status of correspondence with WHO |  |
| 15. | Training of medical practitioners and level of cadre to train and include: - Method of training – training manual to be produced on demand - Period of training – theory and practical - Accreditation - Certification and CPD points - Cost of training. - Commitment for continuous support and mentoring. |  |