___________________________________________

BID NUMBER: RT35-2023

________________________________________________________________________

ANNEXURE A: TECHNICAL SPECIFICATION – SURGICAL AID FOR MEDICAL MALE CIRCUMCISION

__________________________________________

# technical specification: surgical aid for medical male circumcision

| Name of Bidder: |  |
| --- | --- |
| Address: |  |
| Contact Person Name: |  |
| Contact Telephone and Cellphone |  |
| Date: |  |
| Signature: |  |

| Detailed Specification |  | Confirmation to the requirements (Bidder must complete) |
| --- | --- | --- |
| 1. | The surgical Aid must be a single use instrument with locking mechanism |  |
| 2. | Device should minimize cross infection by preventing reuse of non-sterile material (be disposable and auto-destruct). |  |
| 3. | The device must be an aid to surgery or remain external to the body (not left in situ). Must be a non-invasive medical device classified as a surgical aid in terms of the World Health Organization definition per the Framework for Clinical Evaluation of Devices for Male Circumcision. It must be classified as a class A medical device in accordance with the Global Harmonization Task Force (GHTF)/ International Medical Devices Regulators Forum (IMDRF) Principles of Medical Devices Classification. It must be transient and remain on the body for a short time during the circumcision procedure. |  |
| 4. | The device locking mechanism must be difficult to override |  |
| 5. | The manufacturer/supplier must state the sizes available and quantity of devices in stock for immediate supply for each size - Surgical Aids for pediatrics – for ages 10 to 14 - Sizes 14;16;18;20 and 23 - Surgical Aids for adults – ages 15 and above Sizes 26;29;32;35 and 38 |  |
| 6. | The manufacturer output/production capacity |  |
| 7. | The manufacturer must have evidence of having trained health-care providers (mid-level providers) with the use of the device |  |
| 8. | The manufacturer must be able to supply the device with the circumcision kit |  |
| 9. | The manufacturer must hold a valid license issued by the South African Health Product Regulatory Authority (SAHPRA) |  |
| 10. | Manufacturer/supplier must state the status with the WHO prequalification process stating: - Confirmed WHO prequalification - Progress towards prequalification and mention: - Prescribed studies completed (manufacturers study, phase 1 and phase 2 country of origin and/or neighboring country study and related dates as necessary) as prescribed by WHO - Application submitted to WHO - Status of correspondence with WHO |  |
| 11. | Training of medical practitioners and level of cadre to train and include: - Method of training – training manual to be produced on demand - Period of training – theory and practical - Accreditation - Certification and CPD points - Cost of training. - Commitment for continuous support and mentoring. |  |
|  | Bidder must submit sample as per the timeline indicated on SCC |  |