## Sheet1
# | Item number | Category Name | Item /service Description |  | Name of Bidder | Unit of Measure | Offer |  |  | PRICE OFFERED INCL. VAT | HDI SHARE-HOLDING % | FEMALE SHARE-HOLDING % | Maintenance Price in ZAR Incl. Vat Year 3 | Maintenance Price in ZAR Incl. Vat Year 4 | Maintenance Price in ZAR Incl. Vat Year 5 | Maintenance Price in ZAR Incl. Vat Year 6 | Maintenance Price in ZAR Incl. Vat Year 7 | Adhoc Maintenance Callout Fee | Item Brand Name | Model Number | Name of Original Manufacturer | Country of Origin | Initial Manufacturer Model Year | Local Content and Production Portion % | Import Content and Production Portion % | Warantee Period | Equipment Expected Life Cycle | Lead Time (Days) | Unit of Measure Offered by Bidder | COST BREAKDOWN %
|  |  |  | Link to technical specifications |  |  |  | SERVICE AND MAINTENANCE REQUIRED | WARANTEE PERIOD OFFERED | [20 empty] | D1 -Imported Raw Material / Finished product (if applicable) (%) | D2 - Local Raw Material / Finished product (if applicable) (%) | D3 – Labour (%) | D4 – Transport (%) | D5 – Overheads (%)
1 | RT37-01-001 | Ambient air quality monitoring instruments | Sulphur dioxide analyser | Output A1 |  | Each | Offer 1 | Yes
2 | RT37-01-002 | Ambient air quality monitoring instruments | Nitrogen dioxide analyser | Output A2 |  | Each | Offer 1 | Yes
3 | RT37-01-003 | Ambient air quality monitoring instruments | Ozone analyser | Output A3 |  | Each | Offer 1 | Yes
4 | RT37-01-004 | Ambient air quality monitoring instruments | Benzene analyser | Output A4 |  | Each | Offer 1 | Yes
5 | RT37-01-005 | Ambient air quality monitoring instruments | Carbon Monoxide (CO) | Output A5 |  | Each | Offer 1 | Yes
6 | RT37-01-006 | Ambient air quality monitoring instruments | Hydrogen Sulphide (H2S) | Output A6 |  | Each | Offer 1 | Yes
7 | RT37-01-007 | Ambient air quality monitoring instruments | Particulate Matter (PM10) | Output A7-1 |  | Each | Offer 1 | Yes
8 | RT37-01-008 | Ambient air quality monitoring instruments | Particulate Matter (PM2.5) analyser | Output A7-2 |  | Each | Offer 1 | Yes
9 | RT37-01-009 | Ambient air quality monitoring instruments | Dual analyser for Particulate Matter (PM10 and PM2.5) | Output A7-3 |  | Each | Offer 1 | Yes
10 | RT37-01-010 | Ambient air quality monitoring instruments | Lead (Pb)analyser | Output A8 |  | Each | Offer 1 | Yes
11 | RT37-02-001 | Meteorological monitoring instruments | Wind speed monitoring instrument | Output B1 |  | Each | Offer 1 | Yes
12 | RT37-02-002 | Meteorological monitoring instruments | Wind direction monitoring instrument | Output B2 |  | Each | Offer 1 | Yes
13 | RT37-02-003 | Meteorological monitoring instruments | Ambient temperature monitoring instrument | Output B3 |  | Each | Offer 1 | Yes
14 | RT37-02-004 | Meteorological monitoring instruments | Atmospheric/ Barometric Pressure monitoring instrument | Output B4 |  | Each | Offer 1 | Yes
15 | RT37-02-005 | Meteorological monitoring instruments | Relative humidity monitoring instrument | Output B5 |  | Each | Offer 1 | Yes
16 | RT37-02-006 | Meteorological monitoring instruments | Solar radiation monitoring instrument | Output B6 |  | Each | Offer 1 | Yes
17 | RT37-02-007 | Meteorological monitoring instruments | Precipitation instruments | Output B7 |  | Each | Offer 1 | Yes
18 | RT37-03-001 | Auxiliary equipment and hardware | Data Acquisition System | Output C1 |  | Each | Offer 1 | Yes
19 | RT37-03-002 | Auxiliary equipment and hardware | Uninterruptible Power Supply (UPS) | Output C2 |  | Each | Offer 1 | Yes
20 | RT37-03-003 | Auxiliary equipment and hardware | Power back up system capacity of 05 – 12 KVA (inverters included) | Output C2 |  | Each | Offer 1 | Yes
21 | RT37-03-004 | Auxiliary equipment and hardware | Batteries (Lithium Ion or better) with capacity of 5 KVA | Output C2 |  | Each | Offer 1 | Yes
22 | RT37-03-005 | Auxiliary equipment and hardware | Batteries (Lithium Ion or better) with capacity of 8 KVA | Output C2 |  | Each | Offer 1 | Yes
23 | RT37-03-006 | Auxiliary equipment and hardware | Batteries (Lithium Ion or better) with capacity of 12 KVA | Output C2 |  | Each | Offer 1 | Yes
24 | RT37-03-007 | Auxiliary equipment and hardware | Solar Panels | Output C2 |  | Each | Offer 1 | Yes
25 | RT37-03-008 | Auxiliary equipment and hardware | Wind Turbines | Output C2 |  | Each | Offer 1 | Yes
26 | RT37-03-009 | Auxiliary equipment and hardware | Voltage Regulator | Output C2 |  | Each | Offer 1 | Yes
27 | RT37-03-010 | Auxiliary equipment and hardware | Inverters | Output C2 |  | Each | Offer 1 | Yes
28 | RT37-03-011 | Auxiliary equipment and hardware | Surge Protector | Output C2 |  | Each | Offer 1 | Yes
29 | RT37-03-012 | Auxiliary equipment and hardware | Air Conditioning System | Output C2 |  | Each | Offer 1 | Yes
30 | RT37-03-013 | Auxiliary equipment and hardware | Zero Air Generators | Output C3 |  | Each | Offer 1 | Yes
31 | RT37-03-014 | Auxiliary equipment and hardware | Calibrators | Output C3 |  | Each | Offer 1 | Yes
32 | RT37-03-015 | Auxiliary equipment and hardware | Flow meters | Output C3 |  | Each | Offer 1 | Yes
33 | RT37-03-016 | Auxiliary equipment and hardware | Catalytic Heater for NMHC | Output C3 |  | Each | Offer 1 | Yes
34 | RT37-03-017 | Auxiliary equipment and hardware | Catalytic Heater for CO | Output C3 |  | Each | Offer 1 | Yes
35 | RT37-03-018 | Auxiliary equipment and hardware | Synthetic air cylinder (CO) | Output C3 |  | Each | Offer 1 | No
36 | RT37-04-001 | Ambient air quality monitoring-related consumables | Expendable Consumable Kits for ozone (O3) Analyser | Output D |  | Each | Offer 1 | No
37 | RT37-04-002 | Ambient air quality monitoring-related consumables | Expendable Consumable Kits for sulphur dioxide (SO2) Analyser | Output D |  | Each | Offer 1 | No
38 | RT37-04-003 | Ambient air quality monitoring-related consumables | Expendable Consumable Kits for carbon monoxide CO Analyser | Output D |  | Each | Offer 1 | No
39 | RT37-04-004 | Ambient air quality monitoring-related consumables | Expendable Consumable Kits for oxide of nitrogen (NOx) Analyser | Output D |  | Each | Offer 1 | No
40 | RT37-04-005 | Ambient air quality monitoring-related consumables | Expendable Consumable Kits for hydrogen sulphide (H2S) Analyser | Output D |  | Each | Offer 1 | No
41 | RT37-04-006 | Ambient air quality monitoring-related consumables | Expandable Consumable Kits for Benzene (C6H6) Analyser | Output D |  | Each | Offer 1 | No
42 | RT37-04-007 | Ambient air quality monitoring-related consumables | Expandable Particulate Matter analyser Kit | Output D |  | Each | Offer 1 | No
43 | RT37-04-008 | Ambient air quality monitoring-related consumables | Expandable Consumable Kits Lead (Pb) Analyser | Output D |  | Each | Offer 1 | No
44 | RT37-04-009 | Ambient air quality monitoring-related consumables | Particulate Matter Filters | Output D |  | Each | Offer 1 | No
45 | RT37-04-010 | Ambient air quality monitoring-related consumables | Gas Analyser Filters | Output D |  | Each | Offer 1 | No
46 | RT37-04-011 | Ambient air quality monitoring-related consumables | Certified Reference Gases for SO2 | Output D |  | Each | Offer 1 | No
47 | RT37-04-012 | Ambient air quality monitoring-related consumables | Certified Reference Gases for NOX | Output D |  | Each | Offer 1 | No
48 | RT37-04-013 | Ambient air quality monitoring-related consumables | Certified Reference Gases for CO | Output D |  | Each | Offer 1 | No
49 | RT37-04-014 | Ambient air quality monitoring-related consumables | Certified Reference Gases for O3 | Output D |  | Each | Offer 1 | No
50 | RT37-04-015 | Ambient air quality monitoring-related consumables | Certified Reference Gases for H2S | Output D |  | Each | Offer 1 | No
51 | RT37-04-016 | Ambient air quality monitoring-related consumables | Particulate Matter Calibration Kits | Output D |  | Each | Offer 1 | No
52 | RT37-04-017 | Ambient air quality monitoring-related consumables | Purafill (NO/NO2) | Output D |  | Each | Offer 1 | No
53 | RT37-04-018 | Ambient air quality monitoring-related consumables | Activated Charcoal for NO2 | Output D |  | Each | Offer 1 | No
54 | RT37-04-019 | Ambient air quality monitoring-related consumables | Activated Charcoal for SO2 | Output D |  | Each | Offer 1 | No
55 | RT37-04-020 | Ambient air quality monitoring-related consumables | Activated Charcoal for O3 | Output D |  | Each | Offer 1 | No
56 | RT37-04-021 | Ambient air quality monitoring-related consumables | Activated Charcoal for NMHC | Output D |  | Each | Offer 1 | No
57 | RT37-04-022 | Ambient air quality monitoring-related consumables | N2 Gas Cylinder | Output D |  | Each | Offer 1 | No
58 | RT37-05-001 | Ambient air quality monitoring-related spares | Gas Analyser UV Lamps for SO2 | Output D1 |  | Each | Offer 1 | No
59 | RT37-05-002 | Ambient air quality monitoring-related spares | Gas Analyser UV Lamps for O3 | Output D1 |  | Each | Offer 1 | No
60 | RT37-05-003 | Ambient air quality monitoring-related spares | Gas Analyser UV Lamps for CO | Output D1 |  | Each | Offer 1 | No
61 | RT37-05-004 | Ambient air quality monitoring-related spares | Gas Analyser UV Lamps for PM | Output D1 |  | Each | Offer 1 | No
62 | RT37-05-005 | Ambient air quality monitoring-related spares | Gas Analysers Pump - SO2 | Output D1 |  | Each | Offer 1 | Yes
63 | RT37-05-006 | Ambient air quality monitoring-related spares | Gas Analysers Pump - O3 | Output D1 |  | Each | Offer 1 | Yes
64 | RT37-05-007 | Ambient air quality monitoring-related spares | Gas Analysers Pump - CO | Output D1 |  | Each | Offer 1 | Yes
65 | RT37-05-008 | Ambient air quality monitoring-related spares | Gas Analysers Pump - H2S | Output D1 |  | Each | Offer 1 | Yes
66 | RT37-05-009 | Ambient air quality monitoring-related spares | Gas Analyser Pumps - NOx | Output D1 |  | Each | Offer 1 | Yes
67 | RT37-05-010 | Ambient air quality monitoring-related spares | Particulate Matter Analyser Pump | Output D1 |  | Each | Offer 1 | Yes
68 | RT37-05-011 | Ambient air quality monitoring-related spares | Lead Analyser Pump | Output D1 |  | Each | Offer 1 | Yes
69 | RT37-05-012 | Ambient air quality monitoring-related spares | Benzene Analyser Pump | Output D1 |  | Each | Offer 1 | Yes
70 | RT37-05-013 | Ambient air quality monitoring-related spares | Coolers - PM instruments | Output D1 |  | Each | Offer 1 | No
71 | RT37-05-014 | Ambient air quality monitoring-related spares | Coolers – SO2 analysers | Output D1 |  | Each | Offer 1 | No
72 | RT37-05-015 | Ambient air quality monitoring-related spares | Coolers – NOx analysers | Output D1 |  | Each | Offer 1 | No
73 | RT37-05-016 | Ambient air quality monitoring-related spares | Gas analyser Flow sensor | Output D1 |  | Each | Offer 1 | No
74 | RT37-05-017 | Ambient air quality monitoring-related spares | Flow Regulator | Output D1 |  | Each | Offer 1 | Yes
75 | RT37-05-018 | Ambient air quality monitoring-related spares | Cylinder regulators | Output D1 |  | Each | Offer 1 | Yes
76 | RT37-06-01 | Overall station and calibration service | Change of PM filters | Output E |  | Each | Offer 1 | No
77 | RT37-06-02 | Overall station and calibration service | Cleaning of inlet gas sample manifold | Output E |  | Each | Offer 1 | No
78 | RT37-06-03 | Overall station and calibration service | Cleaning of inlet PM monitor inlet gas sample line | Output E |  | Each | Offer 1 | No
79 | RT37-06-04 | Overall station and calibration service | Cleaning of PM monitor inlet heads | Output E |  | Each | Offer 1 | No
80 | RT37-06-05 | Overall station and calibration service | PM monitor pump and flow controller checks | Output E |  | Each | Offer 1 | No
81 | RT37-06-06 | Overall station and calibration service | Multi point calibration and validation of permeation tubes | Output E |  | Each | Offer 1 | No
82 | RT37-06-07 | Overall station and calibration service | Internal performance audit. | Output E |  | Each | Offer 1 | No
83 | RT37-06-08 | Overall station and calibration service | Calibration of analysers – in the field. | Output E |  | Each | Offer 1 | No
84 | RT37-06-09 | Overall station and calibration service | Minor service of gas analysers and PM monitors | Output E |  | Each | Offer 1 | No
85 | RT37-06-10 | Overall station and calibration service | Major service of gas analysers and PM monitor | Output E |  | Each | Offer 1 | No
86 | RT37-06-11 | Overall station and calibration service | Certification of working Gas Standard | Output E |  | Each | Offer 1 | No
87 | RT37-06-12 | Overall station and calibration service | Air conditioner service | Output E |  | Each | Offer 1 | Yes
88 | RT37-06-13 | Overall station and calibration service | Infrastructure Maintenance (air conditioner and UPS, Data Acquisition System, etc.) * | Output E |  | Each | Offer 1 | Yes
89 | RT37-06-14 | Overall station and calibration service | UPS* | Output E |  | Each | Offer 1 | Yes
90 | RT37-06-15 | Overall station and calibration service | Inverter* | Output E |  | Each | Offer 1 | Yes
91 | RT37-06-16 | Overall station and calibration service | Voltage Regulator* | Output E |  | Each | Offer 1 | Yes
92 | RT37-06-17 | Overall station and calibration service | Surge Protector* | Output E |  | Each | Offer 1 | Yes
93 | RT37-06-18 | Overall station and calibration service | Solar Panels* | Output E |  | Each | Offer 1 | Yes
94 | RT37-06-19 | Overall station and calibration service | Wind Turbines | Output E |  | Each | Offer 1 | Yes
95 | RT37-06-20 | Overall station and calibration service | Instrument Digital circuit board | Output E |  | Each | Offer 1 | Yes
96 | RT37-06-21 | Overall station and calibration service | Instrument Mother board | Output E |  | Each | Offer 1 | Yes
97 | RT37-07-01 | Ambient air quality monitoring data management and reporting | Data Management and Reporting to SAAQIS | Output F |  | Each | Offer 1 | No
98 | RT37-08-01 | Sensor-based ambient air quality monitoring equipments | Complete Sensor Unit (Inclusive of certain sensors detailed above) | Output G |  | Each | Offer 1 | Yes
99 | RT37-08-02 | Commissioning and configuring sensor | Commissioning and configuring sensor-to ensure data is reported to SAAQIS | Output G1 |  | Each | Offer 1 | No
100 | RT37-08-03 | Sensor-based ambient air quality monitoring equipments | SO2 Sensor | Output G2 |  | Each | Offer 1 | No
101 | RT37-08-04 | Sensor-based ambient air quality monitoring equipments | O3 Sensor | Output G2 |  | Each | Offer 1 | No
102 | RT37-08-05 | Sensor-based ambient air quality monitoring equipments | PM10 Sensor | Output G2 |  | Each | Offer 1 | No
103 | RT37-08-06 | Sensor-based ambient air quality monitoring equipments | PM2.5 Sensor | Output G2 |  | Each | Offer 1 | No
104 | RT37-08-07 | Sensor-based ambient air quality monitoring equipments | NO2 Sensor | Output G2 |  | Each | Offer 1 | No
105 | RT37-08-08 | Sensor-based ambient air quality monitoring equipments | CO Sensor | Output G2 |  | Each | Offer 1 | No
106 | RT37-08-09 | Sensor-based ambient air quality monitoring equipments | NH3 Sensor | Output G2 |  | Each | Offer 1 | No
107 | RT37-08-10 | Sensor-based ambient air quality monitoring equipments | H2S Sensor | Output G2 |  | Each | Offer 1 | No
108 | RT37-08-11 | Sensor-based ambient air quality monitoring equipments | CH4 Sensor | Output G2 |  | Each | Offer 1 | No
109 | RT37-08-12 | Sensor-based ambient air quality monitoring equipments | NMVOC’s Sensor | Output G2 |  | Each | Offer 1 | No
110 | RT37-08-13 | Sensor-based ambient air quality monitoring equipments | Ambient Pressure Sensor | Output G2 |  | Each | Offer 1 | No
111 | RT37-08-14 | Sensor-based ambient air quality monitoring equipments | Ambient Temperature Sensor | Output G2 |  | Each | Offer 1 | No
112 | RT37-08-15 | Sensor-based ambient air quality monitoring equipments | Ambient Relative Humidity Sensor | Output G2 |  | Each | Offer 1 | No
113 | RT37-09-01 | Data Management and Reporting to SAAQIS | The service provider must provide services of the data management to ensure that the monitoring station is reporting data LIVE to SAAQIS for public dissemination. | Output G3 |  | Each | Offer 1 | No