## RT76-2019 PRICING SCHEDULE
ANNEXURE B: PRICING SCHEDULE - RT 72-2022: SUPPLY AND DELIVERY OF MEDICAL OXYGEN TO HOME PATIENTS ON BEHLAF OF THE STATE FOR THE PERIOD OF 60 MONTHS
Line No# | ITEM CODE | ITEM DESCRIPTION | GAS TYPE | UNIT OF MEASURE | BIDDER NAME | DELIVERY PRICE INC. VAT | BRAND NAME | SUPPLIER PRODUCT NUMBER | NAME OF MANUFACTURER | COUNTRY OF ORIGIN | FOREIGN CURRENCY NAME | LOCAL CONTENT % | IMPORT CONTENT % | MINIMUM ORDER QUANTITY | INITIAL LEAD TIME (MAX 60 DAYS) | LEAD TIME (MAX 21 DAYS)
1 | RT72-01-001 | DELIVERY AND MAINTENANCE OF MEDICAL OXYGEN CYLINDERS OR BY WAY OF OXYGEN CONCENTRATORS (WITH BACK-UP CYLINDERS) WITH THE CAPACITY TO PROVIDE OXYGEN AT A FLOW RATE OF BETWEEN 0.5L/MIN AND 5L/MIN | Medical | Kg
2 | RT72-01-002 | DELIVERY AND MAINTENANCE OF MEDICAL OXYGEN CYLINDERS OR BY WAY OF OXYGEN CONCENTRATORS (WITH BACK-UP CYLINDERS) WITH THE CAPACITY TO PROVIDE OXYGEN AT A FLOW RATE OF >5L/MIN BUT LESS THAN 10L/MIN | Medical | Kg
3 | RT72-01-003 | DELIVERY AND MAINTENANCE OF PORTABLE MEDICAL OXYGEN TO QULIFYING LEARNERS BY WAY OF PORTABLE OXYGEN CONCENTRATORS WITH THE CAPACITY TO SUPPLY OXYGEN UP TO AND INCLUDING A FLOW RATE OF 5L/MIN FOR A MINIMUM OF 8 CONSECUTIVE HOURS PER USAGE INTERVAL | Medical | Kg