## RT76-2019 PRICING SCHEDULE
ANNEXURE A: TECHNICAL SPECIFICATION
DESCRIPTION: | RT76-2023: SUPPLY AND DELIVERY OF MEDICAL EXAMINATION AND SURGICAL GLOVES TO THE STATE
FOR THE PERIOD OF 36 MOTHS
ITEM NUMBER | ITEM DESCRIPTION | LOCAL PRODUCATION AND CONTENT % | TEST REPORT SUBMITTED? YES OR NO | CONFORM WITH SPECIFICAITON? YES OR NO | IF NO, PLEASE STATE THE DEVIATION | NUMBER OF SAMPLES TO BE SUBMITTED FOR VISUAL SCREENING
RT76-01-001 | Glove, examination, non-sterile, type 1(gloves made primarily from natural rubber latex), single use, Powder free, Ambidextrous. To comply with the latest issue of SANS 11193-1. Box of 100 gloves. Size: Small |  |  |  |  | 1 box of 100 gloves
RT76-01-002 | Glove, examination, non-sterile, type 1(gloves made primarily from natural rubber latex), single use. Powder free, Ambidextrous. To comply with the latest issue of SANS 11193-1 Box of 100 gloves. Size: Medium |  |  |  |  | 1 box of 100 gloves
RT76-01-003 | Glove, examination, non-sterile, type 1(gloves made primarily from natural rubber latex), single use. Powder free, Ambidextrous. To comply with the latest issue of SANS 11193-1 Box of 100 gloves. Size: Large |  |  |  |  | 1 box of 100 gloves
RT76-01-004 | Glove, examination, non-sterile, type 1(gloves made primarily from natural rubber latex), single use. Powder free, Ambidextrous. To comply with the latest issue of SANS 11193-1. Box of 100 gloves. Size: X-Large |  |  |  |  | 1 box of 100 gloves
RT76-01-005 | Glove, examination, non-sterile, type 2 (gloves made primarily from nitrile rubber latex, polychloroprene rubber latex, styrene-butadiene rubber solution, styrene-butadiene rubber emulsion or thermoplastic-elastomer solution), single use. Powder free, Ambidextrous. To comply with the latest issue of SANS 11193-1. Box of 100 gloves. Size: Small |  |  |  |  | 1 box of 100 gloves
RT76-01-006 | Glove, examination, non-sterile, type 2 (gloves made primarily from nitrile rubber latex, polychloroprene rubber latex, styrene-butadiene rubber solution, styrene-butadiene rubber emulsion or thermoplastic-elastomer solution), single use. Powder free, Ambidextrous. To comply with the latest issue of SANS 11193-1. Box of 100 gloves. Size: Medium |  |  |  |  | 1 box of 100 gloves
RT76-01-007 | Glove, examination, non-sterile, type 2 (gloves made primarily from nitrile rubber latex, polychloroprene rubber latex, styrene-butadiene rubber solution, styrene-butadiene rubber emulsion or thermoplastic-elastomer solution), single use. Powder free, Ambidextrous. To comply with the latest issue of SANS 11193-1. Box of 100 gloves. Size: Large |  |  |  |  | 1 box of 100 gloves
RT76-01-008 | Glove, examination, non-sterile, type 2 (gloves made primarily from nitrile rubber latex, polychloroprene rubber latex, styrene-butadiene rubber solution, styrene-butadiene rubber emulsion or thermoplastic-elastomer solution), single use, Powder free, Ambidextrous. To comply with the latest issue of SANS 11193-1. Box of 100 gloves Size: X-Large |  |  |  |  | 1 box of 100 gloves
RT76-01-009 | Glove, Examination, non-sterile, Type 1(gloves made primarily from natural rubber latex), Glove shall be coloured for easy identification (excluding red colour). Powder free, For High risk use (e.g. postmortem), Textured surface and cut cuff, Length: not less than 290mm.Ambidextrous. To comply with the latest issue of SANS 11193-1. Box of 100 gloves Size: Small |  |  |  |  | 1 box of 100 gloves
RT76-01-010 | Glove, Examination, non-sterile, Type 1(gloves made primarily from natural rubber latex), Glove shall be coloured for easy identification (excluding red colour). Powder free, For High risk use (e.g. postmortem). Textured surface and cut cuff. Length: not less than 290mm Ambidextrous. To comply with the latest issue of SANS 11193-1. Box of 100 gloves Size: Medium. |  |  |  |  | 1 box of 100 gloves
RT76-01-011 | Glove, Examination, non-sterile, Type 1(gloves made primarily from natural rubber latex), Glove shall be coloured for easy identification (excluding red colour). Powder free, For High risk use (e.g. postmortem), Textured surface and cut cuff, Length: not less than 290mm. Ambidextrous. To comply with the latest issue of SANS 11193-1. Box of 100 gloves Size: Large. |  |  |  |  | 1 box of 100 gloves
RT76-01-012 | Glove, Examination, non-sterile, Type 1(gloves made primarily from natural rubber latex), Glove shall be coloured for easy identification (excluding red colour). Powder free, For High risk use (e.g. postmortem), Textured surface and cut cuff, Length: not less than 290mm Ambidextrous. To comply with the latest issue of SANS 11193-1. Box of 100 gloves Size: X-Large. |  |  |  |  | 1 box of 100 gloves
RT76-01-013 | Glove, Examination, non-sterile, type 2 (gloves made primarily from nitrile rubber latex, polychloroprene rubber latex, styrene-butadiene rubber solution, styrene-butadiene rubber emulsion or thermoplastic-elastomer solution). Glove shall be coloured for easy identification (excluding red colour). Powder free, For High risk use (e.g. postmortem), Textured surface and cut cuff, Length: not less than 290mm. Ambidextrous. To comply with the latest issue of SANS 11193-1. Box of 100 gloves Size: Small. |  |  |  |  | 1 box of 100 gloves
RT76-01-014 | Glove, Examination, non-sterile, type 2 (gloves made primarily from nitrile rubber latex, polychloroprene rubber latex, styrene-butadiene rubber solution, styrene-butadiene rubber emulsion or thermoplastic-elastomer solution). Glove shall be coloured for easy identification (excluding red colour). Powder free, For High risk use (e.g. postmortem), Textured surface and cut cuff, Length: not less than 290mm. Ambidextrous. To comply with the latest issue of SANS 11193-1. Box of 100 gloves Size: Medium. |  |  |  |  | 1 box of 100 gloves
RT76-01-015 | Glove, Examination, non-sterile, type 2 (gloves made primarily from nitrile rubber latex, polychloroprene rubber latex, styrene-butadiene rubber solution, styrene-butadiene rubber emulsion or thermoplastic-elastomer solution). Glove shall be coloured for easy identification (excluding red colour). Powder free, For High risk use (e.g. post-mortem), Textured surface and cut cuff. Length: not less than 290mm. Ambidextrous. To comply with the latest issue of SANS 11193-1. Box of 100 gloves. Size: Large |  |  |  |  | 1 box of 100 gloves
RT76-01-016 | Glove, Examination, non-sterile, type 2 (gloves made primarily from nitrile rubber latex, polychloroprene rubber latex, styrene-butadiene rubber solution, styrene-butadiene rubber emulsion or thermoplastic-elastomer solution). Glove shall be coloured for easy identification (excluding red colour). Powder free. For High risk use (e.g. post-mortem). Textured surface and cut cuff. Length: not less than 290mm. Ambidextrous. To comply with the latest issue of SANS 11193-1. Box of 100 gloves Size: X-Large. |  |  |  |  | 1 box of 100 gloves
RT76-01-017 | Glove, Examination, non-sterile, type 2 (gloves made primarily from nitrile rubber latex, polychloroprene rubber latex, styrene-butadiene rubber solution, styrene-butadiene rubber emulsion or thermoplastic-elastomer solution). Glove shall be coloured for easy identification (excluding red colour, Preferbly Blue). Powder free, For High risk use (e.g. postmortem), Textured surface and cut cuff, Length: not less than 290mm. Ambidextrous. To comply with the latest issue of SANS 11193-1. Location of Thickness measurement Single wall in mm: Finger (at 15mm from extreme tip) 0.40: Palm (at centre of palm) 0.30: Cuff (at 25 from cuff to end) 0.20 Latex Protein levels should be less than 0.2μg per glove (Leap Method: Total Protein Levels should be less than 50μg per glove (Lowry Method) Box of 100 gloves Size: Small - Palm Width 82-85mm: Length 295mm |  |  |  |  | 1 box of 100 gloves
RT76-01-018 | Glove, Examination, non-sterile, type 2 (gloves made primarily from nitrile rubber latex, polychloroprene rubber latex, styrene-butadiene rubber solution, styrene-butadiene rubber emulsion or thermoplastic-elastomer solution). Glove shall be coloured for easy identification (excluding red colour, Preferbly Blue). Powder free, For High risk use (e.g. postmortem), Textured surface and cut cuff, Length: not less than 290mm. Ambidextrous. To comply with the latest issue of SANS 11193-1 Location of Thickness measurement Single wall in mm: Finger (at 15mm from extreme tip) 0.40: Palm (at centre of palm) 0.30: Cuff (at 25 from cuff to end) 0.20 Latex Protein levels should be less than 0.2μg per glove (Leap Method: Total Protein Levels should be less than 50μg per glove (Lowry Method) Box of 100 gloves Size: Medium - Palm Width 94-96mm: Length 295mm |  |  |  |  | 1 box of 100 gloves
RT76-01-019 | Glove, Examination, non-sterile, type 2 (gloves made primarily from nitrile rubber latex, polychloroprene rubber latex, styrene-butadiene rubber solution, styrene-butadiene rubber emulsion or thermoplastic-elastomer solution). Glove shall be coloured for easy identification (excluding red colour, Preferbly Blue). Powder free, For High risk use (e.g. postmortem), Textured surface and cut cuff, Length: not less than 290mm. Ambidextrous. To comply with the latest issue of SANS 11193-1 Location of Thickness measurement Single wall in mm: Finger (at 15mm from extreme tip) 0.40: Palm (at centre of palm) 0.30: Cuff (at 25 from cuff to end) 0.20 Latex Protein levels should be less than 0.2μg per glove (Leap Method) Total Protein Levels should be less than 50μg per glove (Lowry Method) Box of 100 gloves Size: Large - Palm Width 103-105mm Length 295mm |  |  |  |  | 1 box of 100 gloves
RT76-01-020 | Glove, Examination, non-sterile, type 2 (gloves made primarily from nitrile rubber latex, polychloroprene rubber latex, styrene-butadiene rubber solution, styrene-butadiene rubber emulsion or thermoplastic-elastomer solution). Glove shall be coloured for easy identification (excluding red colour, Preferbly Blue). Powder free, For High risk use (e.g. postmortem), Textured surface and cut cuff, Length: not less than 290mm. Ambidextrous. To comply with the latest issue of SANS 11193-1 Location of Thickness measurement Single wall in mm: Finger (at 15mm from extreme tip) 0.40: Palm (at centre of palm) 0.30: Cuff (at 25 from cuff to end) 0.20 Latex Protein levels should be less than 0.2μg per glove (Leap Method) Total Protein Levels should be less than 50μg per glove (Lowry Method) Box of 100 gloves Size: X-Large - Palm Width 115-117mm Length 295mm |  |  |  |  | 1 box of 100 gloves
RT76-01-021 | Glove, examination, sterile, Type 1(gloves made primarily from natural rubber latex), Single use.To comply with the latest issue of SANS 11193-1. Packaged as pairs in Sterile Packages. 50 pairs of gloves. Box of 100 Size: Small. |  |  |  |  | 1 box of 100 gloves
RT76-01-022 | Glove, examination, sterile, Type 1(gloves made primarily from natural rubber latex), Single use, To comply with the latest issue of SANS 11193-1,Packaged as pairs in Sterile Packages. 50 pairs of gloves. Box of 100 Size: Medium. |  |  |  |  | 1 box of 100 gloves
RT76-01-023 | Glove, examination, sterile, Type 1(gloves made primarily from natural rubber latex), Single use,To comply with the latest issue of SANS 11193-1, Packaged as pairs in Sterile Packages. 50 pairs of gloves. Box of 100 Size: Large. |  |  |  |  | 1 box of 100 gloves
RT76-01-024 | Glove, examination, sterile, Type 1(gloves made primarily from natural rubber latex), Single use, To comply with the latest issue of SANS 11193-1. Packaged as pairs in Sterile Packages. 50 pairs of gloves. Box of 100 Size: X-Large. |  |  |  |  | 1 box of 100 gloves
RT76-01-025 | Glove, examination, sterile, Type 2(gloves made primarily from nitrile rubber latex, polychloroprene rubber latex, styrene-butadiene rubber solution, styrene-butadiene rubber emulsion or thermoplastic-elastomer solution). Single use, Powder free, To comply with the latest issue of SANS 11193-1. Packaged as pairs in Sterile Packages. 50 pairs of gloves. Box of 100 Size: Small |  |  |  |  | 1 box of 100 gloves
RT76-01-026 | Glove, examination, sterile, Type 2(gloves made primarily from nitrile rubber latex, polychloroprene rubber latex, styrene-butadiene rubber solution, styrene-butadiene rubber emulsion or thermoplastic-elastomer solution), Single use, Powder free, . To comply with the latest issue of SANS 11193-1. Packaged as pairs in Sterile Packages. 50 pairs of gloves. Box of 100 Size: Medium. |  |  |  |  | 1 box of 100 gloves
RT76-01-027 | Glove, examination, sterile, Type 2(gloves made primarily from nitrile rubber latex, polychloroprene rubber latex, styrene-butadiene rubber solution, styrene-butadiene rubber emulsion or thermoplastic-elastomer solution). Single use, Powder free, To comply with the latest issue of SANS 11193-1. Packaged as pairs in Sterile Packages. 50 pairs of gloves. Box of 100 Size: Large. |  |  |  |  | 1 box of 100 gloves
RT76-01-028 | Glove, examination, sterile, Type 2(gloves made primarily from nitrile rubber latex, polychloroprene rubber latex, styrene-butadiene rubber solution, styrene-butadiene rubber emulsion or thermoplastic-elastomer solution). Single use, Powder free, . To comply with the latest issue of SANS 11193-1. Packaged as pairs in Sterile Packages. 50 pairs of gloves. Box of 100. Size: X-Large |  |  |  |  | 1 box of 100 gloves
RT76-01-029 | Glove, examination, sterile, Type 1 (gloves made primarily from natural rubber latex), Single use, Powder free, Elbow (extended) length for protection in obstetric and gynaecological procedures. Length: 450mm (min) . Thickness: Double wall. Textured surface and rolled rim cuff To comply with the latest issue of SANS 11193-1. Packaged as pairs in Sterile Packages. 25 pairs of gloves. Box of 50 Size: Small. |  |  |  |  | 1 box of 50 gloves
RT76-01-030 | Glove, examination, sterile, Type 1 (gloves made primarily from natural rubber latex), Single use, Powder free, Elbow (extended) length for protection in obstetric and gynaecological procedures. Length: 450mm (min). Thickness: Double wall. Textured surface and rolled rim cuff To comply with the latest issue of SANS 11193-1. Packaged as pairs in Sterile Packages. 25 pairs of gloves. Box of 50 Size: Medium. |  |  |  |  | 1 box of 50 gloves
RT76-01-031 | Glove, examination, sterile, Type 1 (gloves made primarily from natural rubber latex), Single use, Powder free, Elbow (extended) length for protection in obstetric and gynaecological procedures. Length: 450mm (min) . Thickness: Double wall. Textured surface and rolled rim cuff To comply with the latest issue of SANS 11193-1. Packaged as pairs in Sterile Packages. 25 pairs of gloves. Box of 50 Size: Large. |  |  |  |  | 1 box of 50 gloves
RT76-01-032 | Glove, examination, sterile, Type 1 (gloves made primarily from natural rubber latex), Single use, Powder free, Elbow (extended) length for protection in obstetric and gynaecological procedures. Length: 450mm (min). Thickness: Double wall. Textured surface and rolled rim cuff To comply with the latest issue of SANS 11193-1. Packaged as pairs in Sterile Packages. 25 pairs of gloves. Box of 50 Size: X-Large |  |  |  |  | 1 box of 50 gloves
RT76-01-033 | Glove, examination, sterile, Type 2 (gloves made primarily from nitrile rubber latex, polychloroprene rubber latex, styrene-butadiene rubber solution, styrene-butadiene rubber emulsion or thermoplastic-elastomer solution), Single use, Elbow (extended) length for protection in obstetric and gynaecological procedures. Length: Not less than 450mm, Thickness: Double wall, Powder free, Textured surface and rolled cuff. One pair (1 left + 1 right) of gloves are folded & packed in a paper wallet. The paper wallet is packed in a plastic pouch which is sealed from all sides. Inner package shall be clearly marked with the size and the designation "left" or "L" or "right" or "R" on the package, Easy donning. To comply with the latest issue of SANS 11193-1. Packaged as pairs in Sterile Packages. 25 pairs of gloves,Box of 50 Size: Small. |  |  |  |  | 1 box of 50 gloves
RT76-01-034 | Glove, examination, sterile, Type 2 (gloves made primarily from nitrile rubber latex, polychloroprene rubber latex, styrene-butadiene rubber solution, styrene-butadiene rubber emulsion or thermoplastic-elastomer solution), Single use, Elbow (extended) length for protection in obstetric and gynaecological procedures, Length: Not less than 450mm Thickness: Double wall, Powder free, Textured surface and rolled cuff, One pair (1 left + 1 right) of gloves are folded & packed in a paper wallet. The paper wallet is packed in a plastic pouch which is sealed from all sides. Inner package shall be clearly marked with the size and the designation "left" or "L" or "right" or "R" on the package, Easy donning. To comply with the latest issue of SANS 11193-1 Packaged as pairs in Sterile Packages. 25 pairs of gloves, Box of 50 Size: medium. |  |  |  |  | 1 box of 50 gloves
RT76-01-035 | Glove, examination, sterile, Type 2 (gloves made primarily from nitrile rubber latex, polychloroprene rubber latex, styrene-butadiene rubber solution, styrene-butadiene rubber emulsion or thermoplastic-elastomer solution), Single use, Elbow (extended) length for protection in obstetric and gynaecological procedures, Length: Not less than 450mm Thickness: Double wall, Powder free, Textured surface and rolled cuff, One pair (1 left + 1 right) of gloves are folded & packed in a paper wallet. The paper wallet is packed in a plastic pouch which is sealed from all sides. Inner package shall be clearly marked with the size and the designation "left" or "L" or "right" or "R" on the package, Easy donning. To comply with the latest issue of SANS 11193-1 Packaged as pairs in Sterile Packages. 25 pairs of gloves, Box of 50 Size: Large. |  |  |  |  | 1 box of 50 gloves
RT76-01-036 | Glove, examination, sterile, Type 2 (gloves made primarily from nitrile rubber latex, polychloroprene rubber latex, styrene-butadiene rubber solution, styrene-butadiene rubber emulsion or thermoplastic-elastomer solution), Single use, Elbow (extended) length for protection in obstetric and gynaecological procedures, Length: Not less than 450mm Thickness: Double wall, Powder free, Textured surface and rolled cuff, One pair (1 left + 1 right) of gloves are folded & packed in a paper wallet. The paper wallet is packed in a plastic pouch which is sealed from all sides. Inner package shall be clearly marked with the size and the designation "left" or "L" or "right" or "R" on the package, Easy donning. To comply with the latest issue of SANS 11193-1 Packaged as pairs in Sterile Packages. 25 pairs of gloves, Box of 50 Size: X-Large. |  |  |  |  | 1 box of 50 gloves
RT76-02-001 | Glove, surgical, sterile, Type 1 (gloves made primarily from natural rubber latex). Single use, Powder free. To comply with the latest issue of SANS 68. Size: 6. 50 pairs. Box of 100. Peel packed.. |  |  |  |  | 1 box of 100 gloves
RT76-02-002 | Glove, surgical, sterile, Type 1 (gloves made primarily from natural rubber latex), Single use, Powder free. To comply with the latest issue of SANS 68. Size: 6.5. 50 pairs. Box of 100. Peel packed.. |  |  |  |  | 1 box of 100 gloves
RT76-02-003 | Glove, surgical, sterile, Type 1 (gloves made primarily from natural rubber latex), Single use, Powder free. To comply with the latest issue of SANS 68. Size: 7. 50 pairs Box of 100. Peel packed.. |  |  |  |  | 1 box of 100 gloves
RT76-02-004 | Glove, surgical, sterile, Type 1 (gloves made primarily from natural rubber latex), Single use, Powder free. To comply with the latest issue of SANS 68. Size: 7.5. 50 pairs Box of 100. Peel packed.. |  |  |  |  | 1 box of 100 gloves
RT76-02-005 | Glove, surgical, sterile, Type 1 (gloves made primarily from natural rubber latex), Single use, Powder free. To comply with the latest issue of SANS 68. Size: 8. 50 pairs Box of 100. Peel packed.. |  |  |  |  | 1 box of 100 gloves
RT76-02-006 | Glove, surgical, sterile, Type 1 (gloves made primarily from natural rubber latex). Single use, Powder free. To comply with the latest issue of SANS 68. Size: 8.5. 50 pairs.Box of 100. Peel packed.. |  |  |  |  | 1 box of 100 gloves
RT76-02-007 | Glove, surgical, sterile, Type 1 (gloves made primarily from natural rubber latex), Single use, Powder free. To comply with the latest issue of SANS 68. Size: 9. 50 pairs. Box of 100. Peel packed.. |  |  |  |  | 1 box of 100 gloves
RT76-02-008 | Glove, surgical, sterile, Type 1 (gloves made primarily from natural rubber latex), Single use, Powder free. To comply with the latest issue of SANS 68. Size: 9.5. 50 pairs Box of 100. Peel packed.. |  |  |  |  | 1 box of 100 gloves
RT76-02-009 | Glove, surgical, sterile, Type 2 (gloves made primarily from nitrile rubber latex, polychloroprene rubber latex, styrene-butadiene rubber solution, styrene-butadiene rubber emulsion or thermoplastic-elastomer solution). Single use, Powder free, One pair (1 left + 1 right) of gloves are folded & packed in a paper wallet. The paper wallet is packed in a plastic pouch which is sealed from all sides. Inner package shall be clearly marked with the size and the designation "left" or "L" or "right" or "R" on the package. Easy donning. To comply with the latest issue of SANS 68 Size: 5.5. 50 pairs Box of 100. Peel packed. |  |  |  |  | 1 box of 100 gloves
RT76-02-010 | Glove, surgical, sterile, Type 2 (gloves made primarily from nitrile rubber latex, polychloroprene rubber latex, styrene-butadiene rubber solution, styrene-butadiene rubber emulsion or thermoplastic-elastomer solution), Single use, Powder free, One pair (1 left + 1 right) of gloves are folded & packed in a paper wallet. The paper wallet is packed in a plastic pouch which is sealed from all sides. Inner package shall be clearly marked with the size and the designation "left" or "L" or "right" or "R" on the package. Easy donning. To comply with the latest issue of SANS 68 Size: 6. 50 pairs Box of 100. Peel packed. |  |  |  |  | 1 box of 100 gloves
RT76-02-011 | Glove, surgical, sterile, Type 2 (gloves made primarily from nitrile rubber latex, polychloroprene rubber latex, styrene-butadiene rubber solution, styrene-butadiene rubber emulsion or thermoplastic-elastomer solution). Single use, Powder free, One pair (1 left + 1 right) of gloves are folded & packed in a paper wallet. The paper wallet is packed in a plastic pouch which is sealed from all sides. Inner package shall be clearly marked with the size and the designation "left" or "L" or "right" or "R" on the package. Easy donning. To comply with the latest issue of SANS 68 Size: 6.5. 50 pairs Box of 100. Peel packed. |  |  |  |  | 1 box of 100 gloves
RT76-02-012 | Glove, surgical, sterile, Type 2 (gloves made primarily from nitrile rubber latex, polychloroprene rubber latex, styrene-butadiene rubber solution, styrene-butadiene rubber emulsion or thermoplastic-elastomer solution). Single use, Powder free, One pair (1 left + 1 right) of gloves are folded & packed in a paper wallet. The paper wallet is packed in a plastic pouch which is sealed from all sides. Inner package shall be clearly marked with the size and the designation "left" or "L" or "right" or "R" on the package. Easy donning. To comply with the latest issue of SANS 68 Size: 7. 50 pairs Box of 100. Peel packed. |  |  |  |  | 1 box of 100 gloves
RT76-02-013 | Glove, surgical, sterile, Type 2 (gloves made primarily from nitrile rubber latex, polychloroprene rubber latex, styrene-butadiene rubber solution, styrene-butadiene rubber emulsion or thermoplastic-elastomer solution). Single use, Powder free, One pair (1 left + 1 right) of gloves are folded & packed in a paper wallet. The paper wallet is packed in a plastic pouch which is sealed from all sides. Inner package shall be clearly marked with the size and the designation "left" or "L" or "right" or "R" on the package. Easy donning. To comply with the latest issue of SANS 68 Size: 7.5 50 pairs Box of 100. Peel packed. |  |  |  |  | 1 box of 100 gloves
RT76-02-014 | Glove, surgical, sterile, Type 2 (gloves made primarily from nitrile rubber latex, polychloroprene rubber latex, styrene-butadiene rubber solution, styrene-butadiene rubber emulsion or thermoplastic-elastomer solution). Single use, Powder free, One pair (1 left + 1 right) of gloves are folded & packed in a paper wallet. The paper wallet is packed in a plastic pouch which is sealed from all sides. Inner package shall be clearly marked with the size and the designation "left" or "L" or "right" or "R" on the package. Easy donning. To comply with the latest issue of SANS 68 Size: 8. 50 pairs Box of 100. Peel packed. |  |  |  |  | 1 box of 100 gloves
RT76-02-015 | Glove, surgical, sterile, Type 2 (gloves made primarily from nitrile rubber latex, polychloroprene rubber latex, styrene-butadiene rubber solution, styrene-butadiene rubber emulsion or thermoplastic-elastomer solution). Single use, Powder free, One pair (1 left + 1 right) of gloves are folded & packed in a paper wallet. The paper wallet is packed in a plastic pouch which is sealed from all sides. Inner package shall be clearly marked with the size and the designation "left" or "L" or "right" or "R" on the package. Easy donning. To comply with the latest issue of SANS 68 Size: 8.5. 50 pairs Box of 100. Peel packed. |  |  |  |  | 1 box of 100 gloves
RT76-02-016 | Glove, surgical, sterile, Type 2 (gloves made primarily from nitrile rubber latex, polychloroprene rubber latex, styrene-butadiene rubber solution, styrene-butadiene rubber emulsion or thermoplastic-elastomer solution). Single use, Powder free, One pair (1 left + 1 right) of gloves are folded & packed in a paper wallet. The paper wallet is packed in a plastic pouch which is sealed from all sides. Inner package shall be clearly marked with the size and the designation "left" or "L" or "right" or "R" on the package. Easy donning. To comply with the latest issue of SANS 68 Size: 9. 50 pairs Box of 100. Peel packed. |  |  |  |  | 1 box of 100 gloves
RT76-02-017 | Glove, surgical, sterile, Type 2 (gloves made primarily from nitrile rubber latex, polychloroprene rubber latex, styrene-butadiene rubber solution, styrene-butadiene rubber emulsion or thermoplastic-elastomer solution). Single use, Powder free, One pair (1 left + 1 right) of gloves are folded & packed in a paper wallet. The paper wallet is packed in a plastic pouch which is sealed from all sides. Inner package shall be clearly marked with the size and the designation "left" or "L" or "right" or "R" on the package. Easy donning. To comply with the latest issue of SANS 68 Size: 9.5. 50 pairs Box of 100. Peel packed.. |  |  |  |  | 1 box of 100 gloves
RT76-02-018 | Glove, surgical, sterile, Type 1 (gloves made primarily from natural rubber latex), Single use, Powder free, Microtextured, for neuro, ophthalmic and reconstructive procedures. One pair (1 left + 1 right) of gloves are folded & packed in a paper wallet. The paper wallet is packed in a plastic pouch which is sealed from all sides. Inner package shall be clearly marked with the size and the designation "left" or "L" or "right" or "R" on the package. Easy donning, To comply with the latest issue of SANS 68. Size: 5.5 50 pairs Box of 100. Peel packed.. |  |  |  |  | 1 box of 100 gloves
RT76-02-019 | Glove, surgical, sterile, Type 1 (gloves made primarily from natural rubber latex), Single use, Powder free, Microtextured, for neuro, ophthalmic and reconstructive procedures. One pair (1 left + 1 right) of gloves are folded & packed in a paper wallet. The paper wallet is packed in a plastic pouch which is sealed from all sides. Inner package shall be clearly marked with the size and the designation "left" or "L" or "right" or "R" on the package. Easy donning, To comply with the latest issue of SANS 68. Size: 6. 50 pairs Box of 100. Peel packed.. |  |  |  |  | 1 box of 100 gloves
RT76-02-020 | Glove, surgical, sterile, Type 1 (gloves made primarily from natural rubber latex), Single use, Powder free, Microtextured, for neuro, ophthalmic and reconstructive procedures. One pair (1 left + 1 right) of gloves are folded & packed in a paper wallet. The paper wallet is packed in a plastic pouch which is sealed from all sides. Inner package shall be clearly marked with the size and the designation "left" or "L" or "right" or "R" on the package. Easy donning, To comply with the latest issue of SANS 68. Size: 6.5 50 pairs Box of 100. Peel packed.. |  |  |  |  | 1 box of 100 gloves
RT76-02-021 | Glove, surgical, sterile, Type 1 (gloves made primarily from natural rubber latex), Single use, Powder free, Microtextured, for neuro, ophthalmic and reconstructive procedures. One pair (1 left + 1 right) of gloves are folded & packed in a paper wallet. The paper wallet is packed in a plastic pouch which is sealed from all sides. Inner package shall be clearly marked with the size and the designation "left" or "L" or "right" or "R" on the package. Easy donning, To comply with the latest issue of SANS 68. Size: 7 50 pairs Box of 100. Peel packed.. |  |  |  |  | 1 box of 100 gloves
RT76-02-022 | Glove, surgical, sterile, Type 1 (gloves made primarily from natural rubber latex). Single use, Powder free, Microtextured, for neuro, ophthalmic and reconstructive procedures. One pair (1 left + 1 right) of gloves are folded & packed in a paper wallet. The paper wallet is packed in a plastic pouch which is sealed from all sides. Inner package shall be clearly marked with the size and the designation "left" or "L" or "right" or "R" on the package. Easy donning, To comply with the latest issue of SANS 68. Size: 7.5. 50 pairs Box of 100. Peel packed.. |  |  |  |  | 1 box of 100 gloves
RT76-02-023 | Glove, surgical, sterile, Type 1 (gloves made primarily from natural rubber latex). Single use, Powder free, Microtextured, for neuro, ophthalmic and reconstructive procedures. One pair (1 left + 1 right) of gloves are folded & packed in a paper wallet. The paper wallet is packed in a plastic pouch which is sealed from all sides. Inner package shall be clearly marked with the size and the designation "left" or "L" or "right" or "R" on the package. Easy donning, To comply with the latest issue of SANS 68. Size: 8 50 pairs Box of 100. Peel packed.. |  |  |  |  | 1 box of 100 gloves
RT76-02-024 | Glove, surgical, sterile, Type 1 (gloves made primarily from natural rubber latex), Single use, Powder free, Microtextured, for neuro, ophthalmic and reconstructive procedures. One pair (1 left + 1 right) of gloves are folded & packed in a paper wallet. The paper wallet is packed in a plastic pouch which is sealed from all sides. Inner package shall be clearly marked with the size and the designation "left" or "L" or "right" or "R" on the package. Easy donning, To comply with the latest issue of SANS 68. Size: 8.5 50 pairs Box of 100. Peel packed.. |  |  |  |  | 1 box of 100 gloves
RT76-02-025 | Glove, surgical, sterile, Type 1 (gloves made primarily from natural rubber latex). Single use, Powder free, Microtextured, for neuro, ophthalmic and reconstructive procedures. One pair (1 left + 1 right) of gloves are folded & packed in a paper wallet. The paper wallet is packed in a plastic pouch which is sealed from all sides. Inner package shall be clearly marked with the size and the designation "left" or "L" or "right" or "R" on the package. Easy donning, Packaged as pairs in Sterile Packages. To comply with the latest issue of SANS 68. Size: 9. 50 pairs Box of 100. Peel packed.. |  |  |  |  | 1 box of 100 gloves
RT76-02-026 | Glove, surgical, sterile, Type 2 (gloves made primarily from nitrile rubber latex, polychloroprene rubber latex, styrene-butadiene rubber solution, styrene-butadiene rubber emulsion or thermoplastic-elastomer solution). Single use, Powder free. Microtextured, for neuro, ophthalmic and reconstructive procedures. One pair (1 left + 1 right) of gloves are folded & packed in a paper wallet. The paper wallet is packed in a plastic pouch which is sealed from all sides. Inner package shall be clearly marked with the size and the designation "left" or "L" or "right" or "R" on the package. Easy donning. To comply with the latest issue of SANS 68. Size: 5.5 50 pairs Box of 100. Peel packed.. |  |  |  |  | 1 box of 100 gloves
RT76-02-027 | Glove, surgical, sterile, Type 2 (gloves made primarily from nitrile rubber latex, polychloroprene rubber latex, styrene-butadiene rubber solution, styrene-butadiene rubber emulsion or thermoplastic-elastomer solution). Single use, Powder free. Microtextured, for neuro, ophthalmic and reconstructive procedures. One pair (1 left + 1 right) of gloves are folded & packed in a paper wallet. The paper wallet is packed in a plastic pouch which is sealed from all sides. Inner package shall be clearly marked with the size and the designation "left" or "L" or "right" or "R" on the package. Easy donning. To comply with the latest issue of SANS 68. Size: 6. 50 pairs Box of 100. Peel packed.. |  |  |  |  | 1 box of 100 gloves
RT76-02-028 | Glove, surgical, sterile, Type 2 (gloves made primarily from nitrile rubber latex, polychloroprene rubber latex, styrene-butadiene rubber solution, styrene-butadiene rubber emulsion or thermoplastic-elastomer solution). Single use, Powder free. Microtextured, for neuro, ophthalmic and reconstructive procedures. One pair (1 left + 1 right) of gloves are folded & packed in a paper wallet. The paper wallet is packed in a plastic pouch which is sealed from all sides. Inner package shall be clearly marked with the size and the designation "left" or "L" or "right" or "R" on the package. Easy donning. To comply with the latest issue of SANS 68. Size: 6.5. 50 pairs Box of 100. Peel packed.. |  |  |  |  | 1 box of 100 gloves
RT76-02-029 | Glove, surgical, sterile, Type 2 (gloves made primarily from nitrile rubber latex, polychloroprene rubber latex, styrene-butadiene rubber solution, styrene-butadiene rubber emulsion or thermoplastic-elastomer solution). Single use, Powder free. Microtextured, for neuro, ophthalmic and reconstructive procedures. One pair (1 left + 1 right) of gloves are folded & packed in a paper wallet. The paper wallet is packed in a plastic pouch which is sealed from all sides. Inner package shall be clearly marked with the size and the designation "left" or "L" or "right" or "R" on the package. Easy donning. To comply with the latest issue of SANS 68. Size: 7. 50 pairs Box of 100. Peel packed.. |  |  |  |  | 1 box of 100 gloves
RT76-02-030 | Glove, surgical, sterile, Type 2 (gloves made primarily from nitrile rubber latex, polychloroprene rubber latex, styrene-butadiene rubber solution, styrene-butadiene rubber emulsion or thermoplastic-elastomer solution). Single use, Powder free. Microtextured, for neuro, ophthalmic and reconstructive procedures. One pair (1 left + 1 right) of gloves are folded & packed in a paper wallet. The paper wallet is packed in a plastic pouch which is sealed from all sides. Inner package shall be clearly marked with the size and the designation "left" or "L" or "right" or "R" on the package. Easy donning. To comply with the latest issue of SANS 68. Size: 7.5. 50 pairs Box of 100. Peel packed.. |  |  |  |  | 1 box of 100 gloves
RT76-02-031 | Glove, surgical, sterile, Type 2 (gloves made primarily from nitrile rubber latex, polychloroprene rubber latex, styrene-butadiene rubber solution, styrene-butadiene rubber emulsion or thermoplastic-elastomer solution). Single use, Powder free. Microtextured, for neuro, ophthalmic and reconstructive procedures. One pair (1 left + 1 right) of gloves are folded & packed in a paper wallet. The paper wallet is packed in a plastic pouch which is sealed from all sides. Inner package shall be clearly marked with the size and the designation "left" or "L" or "right" or "R" on the package. Easy donning. To comply with the latest issue of SANS 68. Size: 8. 50 pairs Box of 100. Peel packed.. |  |  |  |  | 1 box of 100 gloves
RT76-02-032 | Glove, surgical, sterile, Type 2 (gloves made primarily from nitrile rubber latex, polychloroprene rubber latex, styrene-butadiene rubber solution, styrene-butadiene rubber emulsion or thermoplastic-elastomer solution). Single use, Powder free. Microtextured, for neuro, ophthalmic and reconstructive procedures. One pair (1 left + 1 right) of gloves are folded & packed in a paper wallet. The paper wallet is packed in a plastic pouch which is sealed from all sides. Inner package shall be clearly marked with the size and the designation "left" or "L" or "right" or "R" on the package. Easy donning. To comply with the latest issue of SANS 68. Size: 8.5. 50 pairs Box of 100. Peel packed.. |  |  |  |  | 1 box of 100 gloves
RT76-02-033 | Glove, surgical, sterile, Type 2 (gloves made primarily from nitrile rubber latex, polychloroprene rubber latex, styrene-butadiene rubber solution, styrene-butadiene rubber emulsion or thermoplastic-elastomer solution). Single use, Powder free. Microtextured, for neuro, ophthalmic and reconstructive procedures. One pair (1 left + 1 right) of gloves are folded & packed in a paper wallet. The paper wallet is packed in a plastic pouch which is sealed from all sides. Inner package shall be clearly marked with the size and the designation "left" or "L" or "right" or "R" on the package. Easy donning. To comply with the latest issue of SANS 68. Size: 9. 50 pairs Box of 100. Peel packed.. |  |  |  |  | 1 box of 100 gloves
RT76-02-034 | Glove, surgical, sterile, Type 2 (gloves made primarily from nitrile rubber latex, polychloroprene rubber latex, styrene-butadiene rubber solution, styrene-butadiene rubber emulsion or thermoplastic-elastomer solution). Single use, Powder free. Microtextured, for neuro, ophthalmic and reconstructive procedures. One pair (1 left + 1 right) of gloves are folded & packed in a paper wallet. The paper wallet is packed in a plastic pouch which is sealed from all sides. Inner package shall be clearly marked with the size and the designation "left" or "L" or "right" or "R" on the package. Easy donning. To comply with the latest issue of SANS 68. Size: 9.5. 50 pairs Box of 100. Peel packed.. |  |  |  |  | 1 box of 100 gloves
RT76-02-035 | Glove, surgical, sterile, Type 2 (gloves made primarily from nitrile rubber latex, polychloroprene rubber latex, styrene-butadiene rubber solution, styrene-butadiene rubber emulsion or thermoplastic-elastomer solution). Powder free, Must be a double gloving system, consisting of a coloured inner glove and a standard outer glove. Two complete sets of correct size surgical gloves in one package. with ease of donning, the second pair, to prevent the gloves from "sticking”. Perforations in the outer glove should be noticeable i.e. show Perforations/tears in the outer glove via, gel leaking, or different colour inner glove showing the site of the tear. To comply with the latest issue of SANS 68, Size on packaging: Inner glove Size: 6. Outer glove Size: 6.5. 25 Sets of double gloves. Box of 100 Peel packed.. |  |  |  |  | 1 box of 100 gloves
RT76-02-036 | Glove, surgical, sterile, Type 2 (gloves made primarily from nitrile rubber latex, polychloroprene rubber latex, styrene-butadiene rubber solution, styrene-butadiene rubber emulsion or thermoplastic-elastomer solution). Powder free, Must be a double gloving system, consisting of a coloured inner glove and a standard outer glove. Two complete sets of correct size surgical gloves in one package,with ease of donning, the second pair, to prevent the gloves from "sticking”. Perforations in the outer glove should be noticeable i.e. show Perforations/tears in the outer glove via, gel leaking, or different colour inner glove showing the site of the tear. To comply with the latest issue of SANS 68. Size on packaging: Inner glove size: 6.5 Outer glove Size: 7 25 Sets of double gloves. Box of 100 Peel packed.. |  |  |  |  | 1 box of 100 gloves
RT76-02-037 | Glove, surgical, sterile, Type 2 (gloves made primarily from nitrile rubber latex, polychloroprene rubber latex, styrene-butadiene rubber solution, styrene-butadiene rubber emulsion or thermoplastic-elastomer solution). Powder free, Must be a double gloving system, consisting of a coloured inner glove and a standard outer glove. Two complete sets of correct size surgical gloves in one package, with ease of donning, the second pair, to prevent the gloves from "sticking”. Perforations in the outer glove should be noticeable i.e. show Perforations/tears in the outer glove via, gel leaking, or different colour inner glove showing the site of the tear. To comply with the latest issue of SANS 68. Packaged as pairs in Sterile Packages. Size on packaging: Inner glove size: 7. Outer glove Size: 7.5. 25 Sets of double gloves. Box of 100. |  |  |  |  | 1 box of 100 gloves
RT76-02-038 | Glove, surgical, sterile, Type 2 (gloves made primarily from nitrile rubber latex, polychloroprene rubber latex, styrene-butadiene rubber solution, styrene-butadiene rubber emulsion or thermoplastic-elastomer solution). Powder free, Must be a double gloving system, consisting of a coloured inner glove and a standard outer glove. Two complete sets of correct size surgical gloves in one package, with ease of donning, the second pair, to prevent the gloves from "sticking”. Perforations in the outer glove should be noticeable i.e. show Perforations/tears in the outer glove via, gel leaking, or different colour inner glove showing the site of the tear. To comply with the latest issue of SANS 68. Size on packaging: Inner glove size: 7.5. Outer glove Size: 8. 25 Sets of double gloves. Box of 100 Peel packed. |  |  |  |  | 1 box of 100 gloves
RT76-02-039 | Glove, surgical, sterile, Type 2 (gloves made primarily from nitrile rubber latex, polychloroprene rubber latex, styrene-butadiene rubber solution, styrene-butadiene rubber emulsion or thermoplastic-elastomer solution). Powder free, Must be a double gloving system, consisting of a coloured inner glove and a standard outer glove. Two complete sets of correct size surgical gloves in one package, with ease of donning, the second pair, to prevent the gloves from "sticking”. Perforations in the outer glove should be noticeable i.e. show Perforations/tears in the outer glove via, gel leaking, or different colour inner glove showing the site of the tear. To comply with the latest issue of SANS 68. Size on packaging:Inner glove size: 8. Outer glove Size: 8.5. 25 Sets of double gloves. Box of 100 Peel packed. |  |  |  |  | 1 box of 100 gloves
RT76-02-040 | Glove, surgical, sterile, Type 2 (gloves made primarily from nitrile rubber latex, polychloroprene rubber latex, styrene-butadiene rubber solution, styrene-butadiene rubber emulsion or thermoplastic-elastomer solution). Powder free, Must be a double gloving system, consisting of a coloured inner glove and a standard outer glove. Two complete sets of correct size surgical gloves in one package with ease of donning, the second pair, to prevent the gloves from "sticking”. Perforations in the outer glove should be noticeable i.e. show Perforations/tears in the outer glove via, gel leaking, or different colour inner glove showing the site of the tear. To comply with the latest issue of SANS 68, Size on packaging:Inner glove size: 8.5. Outer glove Size: 9. 25 Sets of double gloves. Box of 100. Peel packed. |  |  |  |  | 1 box of 100 gloves
RT76-02-041 | Glove, surgical, sterile, Type 2 (gloves made primarily from nitrile rubber latex, polychloroprene rubber latex, styrene-butadiene rubber solution, styrene-butadiene rubber emulsion or thermoplastic-elastomer solution). Powder free, Must be a double gloving system, consisting of a coloured inner glove and a standard outer glove. Two complete sets of correct size surgical gloves in one package, with ease of donning, the second pair, to prevent the gloves from "sticking”. Perforations in the outer glove should be noticeable i.e. show Perforations/tears in the outer glove via, gel leaking, or different colour inner glove showing the site of the tear. To comply with the latest issue of SANS 68. Size on packaging: Inner glove size: 9. Outer glove Size: 9.5. 25 Sets of double gloves. Box of 100. Peel packed. |  |  |  |  | 1 box of 100 gloves
RT76-02-042 | Glove, clear plastic, surgical, sterile, Type 2 (gloves made primarily from nitrile rubber latex, polychloroprene rubber latex, styrene-butadiene rubber solution, styrene-butadiene rubber emulsion or thermoplastic-elastomer solution). Powder free, Ambidextrous, Sterility indicator shall appear on the outer packaging and glove pouch. Two gloves per packet with paper backing. Packed in a dispensing box in plastic pouches. Easy donning. To comply with the latest issue of SANS 68. Size: Small. 50 pairs of gloves. Box of 100. Peel packed. |  |  |  |  | 1 box of 100 gloves
RT76-02-043 | Glove, clear plastic, surgical, sterile, Type 2 (gloves made primarily from nitrile rubber latex, polychloroprene rubber latex, styrene-butadiene rubber solution, styrene-butadiene rubber emulsion or thermoplastic-elastomer solution). Powder free, Ambidextrous, Sterility indicator shall appear on the outer packaging and glove pouch. Two gloves per packet with paper backing. Packed in a dispensing box in plastic pouches. Easy donning. To comply with the latest issue of SANS 68. Size: Medium. 50 pairs of gloves. Box of 100. Peel packed.. |  |  |  |  | 1 box of 100 gloves
RT76-02-044 | Glove, clear plastic, surgical, sterile, Type 2 (gloves made primarily from nitrile rubber latex, polychloroprene rubber latex, styrene-butadiene rubber solution, styrene-butadiene rubber emulsion or thermoplastic-elastomer solution). Powder free, Ambidextrous, Sterility indicator shall appear on the outer packaging and glove pouch. Two gloves per packet with paper backing. Packed in a dispensing box in plastic pouches. Easy donning. To comply with the latest issue of SANS 68. Size: Large. 50 pairs of gloves. Box of 100. Peel packed.. |  |  |  |  | 1 box of 100 gloves
RT76-02-045 | Glove, clear plastic, surgical, sterile, Type 2 (gloves made primarily from nitrile rubber latex, polychloroprene rubber latex, styrene-butadiene rubber solution, styrene-butadiene rubber emulsion or thermoplastic-elastomer solution). Powder free, Ambidextrous, Sterility indicator shall appear on the outer packaging and glove pouch. Two gloves per packet with paper backing. Packed in a dispensing box in plastic pouches. Easy donning. To comply with the latest issue of SANS 68. Size: X-Large. 50 pairs of gloves. Box of 100. Peel packed.. |  |  |  |  | 1 box of 100 gloves