## Index CB
INDEX
1 | EQUIPMENT PRICING: WITH STANDARD ACCESSORY PACK
2 | MAINTENANCE PLAN
3 | CATALOGUE WITH GRAPHICS
4 | COMPLETE CONSUMABLE PRICING: NO GRAPHICS | 5. Consumables configuration - seperated per possible testing profile
5 | CONSUMABLES CONFIGURATION: LISTED PER POSSIBLE TESTING PROFILE | 5a. ABG with Co-Oximetery, Creatinine and BUN
6 | PART 6 - TENDERER's EXPERIENCE AND RECEIPT | 5b. ABG with Co-Oximetery - without Creatinine and BUN
7 | B-BBEE CERTIFICATE | 5c. ABG without Co-Oximetery with Creatinine and BUN
8 | UIF COMPLIANCE DOCUMENTS | 5d. ABG without Co-Oximetery, Creatinine and BUN
9 | COID CERTICICATE
10 | FINANCIAL STATEMENTS AND REFERENCES

## Index
BID No: RT 2-1-2016
Item 12.00: Blood Gas Analyser
THE SCIENTIFIC GROUP (PTY) LTD
INDEX
1. Equipment pricing with standard accesory pack
2. Maintenance plan
3. Catalogue with graphics
4. Complete consumable pricing - no pictures
5. Consumables configuration - seperated per possible testing profile
5a. ABG with Co-Oximetery, Creatinine and BUN
5b. ABG with Co-Oximetery - without Creatinine and BUN
5c. ABG without Co-Oximetery with Creatinine and BUN
5d. ABG without Co-Oximetery, Creatinine and BUN

## 1. Equipment
BID No: RT 2-1-2016
Item 12.00: Blood Gas Analyser
THE SCIENTIFIC GROUP (PTY) LTD
Line number | Item Description | Price Incl VAT | Brand | Name | Country of Origin | Picture | Warranty | Lead time
12 | Blood gas analyser (NO/47200) | 285369.12 | Nova Biomedical | Stat Profile Prime Plus | USA |  | 24 Months | 6 - 8 weeks
Standard start up reagents supplied with instrument
12.03 | Stat Profile Prime Plus® MicroSensor Card™ with COOX (NO/57820) | 4743.561 | Nova Biomedical | Stat Profile Prime Plus | USA |  | n/a | 3 -5 working days
12.04 | Stat Profile Prime Plus® MicroSensor Card™ with COOX (NO/57822) | 6398.2916 | Nova Biomedical | Stat Profile Prime Plus | USA |  | n/a | 3 -5 working days
12.12 | Stat Profile Prime Plus® Calibrator Cartridge 200 Sample (NO/57826) | 3199.1458 | Nova Biomedical | Stat Profile Prime Plus | USA |  | n/a | 3 -5 working days
12.14 | Stat Profile Prime Plus® Calibrator Cartridge 400 Sample (NO57828) | 4054.09 | Nova Biomedical | Stat Profile Prime Plus | USA |  | n/a | 3 -5 working days
12.19 | Stat Profile Prime Plus® Auto QC Cartridge 160 Sample(NO/57838) | 2233.8863 | Nova Biomedical | Stat Profile Prime Plus | USA |  | n/a | 3 -5 working days
12.25 | Stat Profile Prime Plus® Reference Cartridge (NO/57823) | 2013.2556 | Nova Biomedical | Stat Profile Prime Plus | USA |  | n/a | 3 -5 working days
12.26 | Thermal Paper 5 PK (NO/49200 / 23298) | 634.3134 | Nova Biomedical | Stat Profile Prime Plus | USA |  | n/a | 3 -5 working days
12.27 | Stat Profile Prime® and Prime Plus® Safety Sample Port 5 Pk (NO/52669) | 717.0499 | Nova Biomedical | Stat Profile Prime Plus | USA |  | n/a | 3 -5 working days
12.29 | Stat Profile® Critical Care Xpress Syringe Clot Catcher (NO/38883) | 772.2076 | Nova Biomedical | Stat Profile Prime Plus | USA |  | n/a | 3 -5 working days
12.31 | 3ml Blood gas syringe (BD/364376) | 743.6667 | Nova Biomedical | Stat Profile Prime Plus | USA |  | n/a | 3 -5 working days

## 2. Maintenance
SERVICE BREAK DOWN | Per Annum INCL VAT YEAR 3 | Per Annum INCL VAT YEAR 4 | Per Annum INCL VAT YEAR 5 | Per Annum INCL VAT YEAR 6 | Per Annum INCL VAT YEAR 7 | TOTAL PRICE INLC VAT
5 YEAR COMPREHENSIVE WARRANTY (YEAR 3-7) - ALL INCLUSIVE OF SPARE PARTS, LABOUR AND TRAVEL | 30728 | 30728 | 30728 | 30728 | 30728 | 153640

## 3. Catalogue with graphics
BID No: RT 2-1-2016
Item 12.00: Blood Gas Analyser Consumable Price List
THE SCIENTIFIC GROUP (PTY) LTD
Item code | CAT NO. | DESCRIPTION | DETAILED DESCRIPTION OF ITEM OR PARAMETERS | Graphic | Unit size | PRICE EXCL VAT | PRICE INCL VAT
STAT PROFILE PRIME PLUS INSTRUMENT
12 | NO/57400 | Nova Stat Profile Prime Plus | Instruments |  | Each | 248147.0609 | 285369.12
OPTIONAL ACCESSORIES CAN BE PROCURED ADDITIONALLY AND INDIVIDUALLY
STAT PROFILE PRIME PLUS CONSUMABLES
SENSOR CARDS - (MICRO-ELECTRODES) with Co-Oximertry
12.01 | NO/57820 | Stat Profile Prime Plus® MicroSensor Card™ - blood gasses - electrolytes and metabolytes and co-oximetery | pH, PCO2, PO2, Hct, tHb, Na, K, Cl, TCO2, iCa, iMg, Glu, Lac, SO2, O2HB, COHb, MetHb, HHB, tBil, HbF |  | 200 tests | 4124.8357 | 4743.561
12.02 | NO/57822 | Stat Profile Prime Plus® MicroSensor Card™ blood gasses - electrolytes and metabolytes and co-oximetery - (High volume) | pH, PCO2, PO2, Hct, tHb, Na, K, Cl, TCO2, iCa, iMg, Glu, Lac, SO2, O2HB, COHb, MetHb, HHB, tBil, HbF |  | 400 tests | 5563.7319 | 6398.2916
SENSOR CARDS - (MICRO-ELECTRODES) without Co-Oximertry
12.03 | NO/58642 | Stat Profile Prime Plus® MicroSensor Card™ without CO-Oximetery | pH, PCO2, PO2, Hct, tHb, Na, K, Cl, TCO2, iCa, iMg, Glu, Lac, SO2 |  | 200 tests | 3525.2956 | 4054.09
12.04 | NO/58643 | Stat Profile Prime Plus® MicroSensor Card™ without Co-Oximetery (High Volume) | pH, PCO2, PO2, Hct, tHb, Na, K, Cl, TCO2, iCa, iMg, Glu, Lac, SO2 |  | 400 tests | 4964.1918 | 5708.8206
CREATININE AND BUN CARD (MICRO-ELECTRODES)
12.05 | NO/57821 | Stat Profile Prime Plus® MicroSensor Card™ BUN, Creatinine | Creatinine and BUN |  | 200 tests | 1342.9698 | 1544.4152
FLUID PACK - CALIBRATOR, FLUSH AND WASTE FLUID PACK
12.06 | NO/57831 | Stat Profile Prime Plus® Calibrator Cartridge 100 Sample with Creat / BUN calibrators | Fluid pack: calibrators, flush and waste bags - that includes Creatinine and BUN calibrators |  | 100 tests | 2422.1419 | 2785.4632
12.07 | NO/57832 | Stat Profile Prime Plus® Calibrator Cartridge 200 Sample with Creat / BUN calibrators | Fluid pack: calibrators, flush and waste bags - that includes Creatinine and BUN calibrators |  | 200 tests | 2781.8659 | 3199.1458
12.08 | NO/57833 | Stat Profile Prime Plus® Calibrator Cartridge 300 Sample with Creat / BUN calibrators | Fluid pack: calibrators, flush and waste bags - that includes Creatinine and BUN calibrators |  | 300 tests | 3165.5716 | 3640.4073
12.09 | NO/57834 | Stat Profile Prime Plus® Calibrator Cartridge 400 Sample with Creat / BUN calibrators | Fluid pack: calibrators, flush and waste bags - that includes Creatinine and BUN calibrators |  | 400 tests | 3525.2956 | 4054.09
12.1 | NO/27835 | Stat Profile Prime Plus® Calibrator Cartridge 500 Sample with Creat / BUN calibrators | Fluid pack: calibrators, flush and waste bags - that includes Creatinine and BUN calibrators |  | 500 tests | 3885.0197 | 4467.7726
12.11 | NO/57825 | Stat Profile Prime Plus® Calibrator Cartridge 100 Sample | Fluid pack - calibrators, flush and waste bags |  | 100 tests | 2422.1419 | 2785.4632
12.12 | NO/57826 | Stat Profile Prime Plus® Calibrator Cartridge 200 Sample | Fluid pack - calibrators, flush and waste bags |  | 200 tests | 2781.8659 | 3199.1458
12.13 | NO/57827 | Stat Profile Prime Plus® Calibrator Cartridge 300 Sample | Fluid pack - calibrators, flush and waste bags |  | 300 tests | 3165.5716 | 3640.4073
12.14 | NO/57828 | Stat Profile Prime Plus® Calibrator Cartridge 400 Sample | Fluid pack - calibrators, flush and waste bags |  | 400 tests | 3525.2956 | 4054.09
12.15 | NO/57829 | Stat Profile Prime Plus® Calibrator Cartridge 500 Sample | Fluid pack - calibrators, flush and waste bags |  | 500 tests | 3885.0197 | 4467.7726
AUTOMATED QUALITY CONTROL PACK
12.16 | NO/57841 | Stat Profile Prime Plus® Auto QC Cartridge 100 Sample with Creatinine / BUN | Automated liquid quality control - with creatinine and BUN controls |  | 100 tests | 1942.5098 | 2233.8863
12.17 | NO/57842 | Stat Profile Prime Plus® Auto QC Cartridge 200 Sample with Creatinine / BUN | Automated liquid quality control - with creatinine and BUN controls |  | 200 tests | 2182.3259 | 2509.6747
12.18 | NO/57843 | Stat Profile Prime Plus® Auto QC Cartridge 300 Sample with Creatinine / BUN | Automated liquid quality control - with creatinine and BUN controls |  | 300 tests | 2422.1419 | 2785.4632
12.19 | NO/57838 | Stat Profile Prime Plus® Auto QC Cartridge 160 Sample | Automated liquid quality control |  | 160 tests | 1942.5098 | 2233.8863
12.2 | NO/57839 | Stat Profile Prime Plus® Auto QC Cartridge 320 Sample | Automated liquid quality control |  | 320 tests | 2182.3259 | 2509.6747
12.21 | NO/57840 | Stat Profile Prime Plus® Auto QC Cartridge 480 Sample | Automated liquid quality control |  | 480 tests | 2422.1419 | 2785.4632
EXTERNAL QUALITY CONTROL MATERIAL
12.22 | NO/57844 | Stat Profile Prime Plus® Ampuled Controls BG, COOX Levels 1, 2, 3 | Glass Ampule controls - 3 levels |  | 10 vials | 863.3377 | 992.8384
12.23 | NO/57845 | Stat Profile Prime Plus® Ampuled Controls Chemistry Levels 4,5 | Glass Ampule controls - 2 levels |  | 10 vials | 863.3377 | 992.8384
12.24 | NO/57846 | Stat Profile Prime Plus® Linearity Standard Set A Levels 1, 2, 3, 4 Multipack | Linearity solution - 5 levels of controls | Combination of 57844 and 57845 | 10 vials | 551.5769 | 634.3134
ANCILLARY ITEMS
12.25 | NO/57823 | Stat Profile Prime Plus® Reference Cartridge | Reference cartridge and pump tubing |  | Each | 1750.657 | 2013.2556
12.26 | NO/49200 | Thermal Paper 5 PK | 57mm x 70m rolls |  | 5/pack | 551.5769 | 634.3134
12.27 | NO/52669 | Stat Profile Prime® and Prime Plus® Safety Sample Port 5 Pk | Syringe Luer adaptor |  | 5/pack | 623.5217 | 717.0499
12.28 | NO/38846 | Nova Biomedical® Capillary Tube Clot Catcher | Clot prevention device for capillary tubes |  | 200/pack | 671.4849 | 772.2076
12.29 | NO/38883 | Stat Profile® Critical Care Xpress Syringe Clot Catcher | Clot prevention device for syringes |  | 200/pack | 671.4849 | 772.2076
12.3 | NO/53443 | Flow Path Flush Tool | Clot removal tool | Picture to follow | Each | 647.5033 | 744.6288
12.31 | BD/364376 | 3ml Heparin Syringe | Lithium heparinised syringes |  | 100/box | 646.6667 | 743.6667

## 4. Nova Pricelist WO graphics
BID No: RT 2-1-2016
Item 12.00: Blood Gas Analyser Consumable Price List
THE SCIENTIFIC GROUP (PTY) LTD
CAT NO. | DESCRIPTION | DETAILED DESCRIPTION OF ITEM OR PARAMETERS | Unit size | PRICE EXCL VAT | PRICE INCL VAT
STAT PROFILE PRIME PLUS CONSUMABLES
SENSOR CARDS - (MICRO-ELECTRODES) with Co-Oximertry
NO/57820 | Stat Profile Prime Plus® MicroSensor Card™ - blood gasses - electrolytes and metabolytes and co-oximetery | pH, PCO2, PO2, Hct, tHb, Na, K, Cl, TCO2, iCa, iMg, Glu, Lac, SO2, O2HB, COHb, MetHb, HHB, tBil, HbF | 200 tests | 4124.8357 | 4743.561
NO/57822 | Stat Profile Prime Plus® MicroSensor Card™ blood gasses - electrolytes and metabolytes and co-oximetery - (High volume) | pH, PCO2, PO2, Hct, tHb, Na, K, Cl, TCO2, iCa, iMg, Glu, Lac, SO2, O2HB, COHb, MetHb, HHB, tBil, HbF | 400 tests | 5563.7319 | 6398.2916
SENSOR CARDS - (MICRO-ELECTRODES) without Co-Oximertry
NO/58642 | Stat Profile Prime Plus® MicroSensor Card™ without CO-Oximetery | pH, PCO2, PO2, Hct, tHb, Na, K, Cl, TCO2, iCa, iMg, Glu, Lac, SO2 | 200 tests | 3525.2956 | 4054.09
NO/58643 | Stat Profile Prime Plus® MicroSensor Card™ without Co-Oximetery (High Volume) | pH, PCO2, PO2, Hct, tHb, Na, K, Cl, TCO2, iCa, iMg, Glu, Lac, SO2 | 400 tests | 4964.1918 | 5708.8206
CREATININE AND BUN CARD (MICRO-ELECTRODES)
NO/57821 | Stat Profile Prime Plus® MicroSensor Card™ BUN, Creatinine | Creatinine and BUN | 200 tests | 1342.9698 | 1544.4152
FLUID PACK - CALIBRATOR, FLUSH AND WASTE FLUID PACK
NO/57831 | Stat Profile Prime Plus® Calibrator Cartridge 100 Sample with Creat / BUN calibrators | Fluid pack: calibrators, flush and waste bags - that includes Creatinine and BUN calibrators | 100 tests | 2422.1419 | 2785.4632
NO/57832 | Stat Profile Prime Plus® Calibrator Cartridge 200 Sample with Creat / BUN calibrators | Fluid pack: calibrators, flush and waste bags - that includes Creatinine and BUN calibrators | 200 tests | 2781.8659 | 3199.1458
NO/57833 | Stat Profile Prime Plus® Calibrator Cartridge 300 Sample with Creat / BUN calibrators | Fluid pack: calibrators, flush and waste bags - that includes Creatinine and BUN calibrators | 300 tests | 3165.5716 | 3640.4073
NO/57834 | Stat Profile Prime Plus® Calibrator Cartridge 400 Sample with Creat / BUN calibrators | Fluid pack: calibrators, flush and waste bags - that includes Creatinine and BUN calibrators | 400 tests | 3525.2956 | 4054.09
NO/27835 | Stat Profile Prime Plus® Calibrator Cartridge 500 Sample with Creat / BUN calibrators | Fluid pack: calibrators, flush and waste bags - that includes Creatinine and BUN calibrators | 500 tests | 3885.0197 | 4467.7726
NO/57825 | Stat Profile Prime Plus® Calibrator Cartridge 100 Sample | Fluid pack - calibrators, flush and waste bags | 100 tests | 2422.1419 | 2785.4632
NO/57826 | Stat Profile Prime Plus® Calibrator Cartridge 200 Sample | Fluid pack - calibrators, flush and waste bags | 200 tests | 2781.8659 | 3199.1458
NO/57827 | Stat Profile Prime Plus® Calibrator Cartridge 300 Sample | Fluid pack - calibrators, flush and waste bags | 300 tests | 3165.5716 | 3640.4073
NO/57828 | Stat Profile Prime Plus® Calibrator Cartridge 400 Sample | Fluid pack - calibrators, flush and waste bags | 400 tests | 3525.2956 | 4054.09
NO/57829 | Stat Profile Prime Plus® Calibrator Cartridge 500 Sample | Fluid pack - calibrators, flush and waste bags | 500 tests | 3885.0197 | 4467.7726
AUTOMATED QUALITY CONTROL PACK
NO/57841 | Stat Profile Prime Plus® Auto QC Cartridge 100 Sample with Creatinine / BUN | Automated liquid quality control - with creatinine and BUN controls | 100 tests | 1942.5098 | 2233.8863
NO/57842 | Stat Profile Prime Plus® Auto QC Cartridge 200 Sample with Creatinine / BUN | Automated liquid quality control - with creatinine and BUN controls | 200 tests | 2182.3259 | 2509.6747
NO/57843 | Stat Profile Prime Plus® Auto QC Cartridge 300 Sample with Creatinine / BUN | Automated liquid quality control - with creatinine and BUN controls | 300 tests | 2422.1419 | 2785.4632
NO/57838 | Stat Profile Prime Plus® Auto QC Cartridge 160 Sample | Automated liquid quality control | 160 tests | 1942.5098 | 2233.8863
NO/57839 | Stat Profile Prime Plus® Auto QC Cartridge 320 Sample | Automated liquid quality control | 320 tests | 2182.3259 | 2509.6747
NO/57840 | Stat Profile Prime Plus® Auto QC Cartridge 480 Sample | Automated liquid quality control | 480 tests | 2422.1419 | 2785.4632
CAT NO. | DESCRIPTION | DETAILED DESCRIPTION OF ITEM OR PARAMETERS | Unit size | PRICE EXCL VAT | PRICE INCL VAT
EXTERNAL QUALITY CONTROL MATERIAL
NO/57844 | Stat Profile Prime Plus® Ampuled Controls BG, COOX Levels 1, 2, 3 | Glass Ampule controls - 3 levels | 10 vials | 863.3377 | 992.8384
NO/57845 | Stat Profile Prime Plus® Ampuled Controls Chemistry Levels 4,5 | Glass Ampule controls - 2 levels | 10 vials | 863.3377 | 992.8384
NO/57846 | Stat Profile Prime Plus® Linearity Standard Set A Levels 1, 2, 3, 4 Multipack | Linearity solution - 5 levels of controls | 10 vials | 551.5769 | 634.3134
ANCILLARY ITEMS
NO/57823 | Stat Profile Prime Plus® Reference Cartridge | Reference cartridge and pump tubing | Each | 1750.657 | 2013.2556
NO/49200 | Thermal Paper 5 PK | 57mm x 70m rolls - 5 per pack | 5/pack | 551.5769 | 634.3134
NO/52669 | Stat Profile Prime® and Prime Plus® Safety Sample Port 5 Pk | Syringe Luer adaptor - 5 per pack | 5/pack | 623.5217 | 717.0499
NO/38846 | Nova Biomedical® Capillary Tube Clot Catcher | Clot prevention device for capillary tubes - 200 per pack | 200/pack | 671.4849 | 772.2076
NO/38883 | Stat Profile® Critical Care Xpress Syringe Clot Catcher | Clot prevention device for syringes - 200 per pack | 200/pack | 671.4849 | 772.2076
NO/53443 | Flow Path Flush Tool | Clot removal tool - each | Each | 647.5033 | 744.6288
BD/364376 | 3ml Heparin Syringe | Lithium heparinised syringes - 100 per box | 100/box | 646.6667 | 743.6667

## 5a. With Coox & CREAT-BUN
BID No: RT 2-1-2016
Item 12.00: Blood Gas Analyser Consumable Price List
THE SCIENTIFIC GROUP (PTY) LTD
CAT NO. | DESCRIPTION | DETAILED DESCRIPTION OF ITEM OR PARAMETERS | Unit size | PRICE EXCL VAT | PRICE INCL VAT
STAT PROFILE PRIME PLUS CONSUMABLES
SENSOR CARDS - (MICRO-ELECTRODES) with Co-Oximertry
NO/57820 | Stat Profile Prime Plus® MicroSensor Card™ - blood gasses - electrolytes and metabolytes and co-oximetery | pH, PCO2, PO2, Hct, tHb, Na, K, Cl, TCO2, iCa, iMg, Glu, Lac, SO2, O2HB, COHb, MetHb, HHB, tBil, HbF | 200 tests | 4124.8357 | 4743.561
NO/57822 | Stat Profile Prime Plus® MicroSensor Card™ blood gasses - electrolytes and metabolytes and co-oximetery - (High volume) | pH, PCO2, PO2, Hct, tHb, Na, K, Cl, TCO2, iCa, iMg, Glu, Lac, SO2, O2HB, COHb, MetHb, HHB, tBil, HbF | 400 tests | 5563.7319 | 6398.2916
CREATININE AND BUN CARD (MICRO-ELECTRODES)
NO/57821 | Stat Profile Prime Plus® MicroSensor Card™ BUN, Creatinine | Creatinine and BUN | 200 tests | 1342.9698 | 1544.4152
FLUID PACK - CALIBRATOR, FLUSH AND WASTE FLUID PACK
NO/57831 | Stat Profile Prime Plus® Calibrator Cartridge 100 Sample with Creat / BUN calibrators | Fluid pack: calibrators, flush and waste bags - that includes Creatinine and BUN calibrators | 100 tests | 2422.1419 | 2785.4632
NO/57832 | Stat Profile Prime Plus® Calibrator Cartridge 200 Sample with Creat / BUN calibrators | Fluid pack: calibrators, flush and waste bags - that includes Creatinine and BUN calibrators | 200 tests | 2781.8659 | 3199.1458
NO/57833 | Stat Profile Prime Plus® Calibrator Cartridge 300 Sample with Creat / BUN calibrators | Fluid pack: calibrators, flush and waste bags - that includes Creatinine and BUN calibrators | 300 tests | 3165.5716 | 3640.4073
NO/57834 | Stat Profile Prime Plus® Calibrator Cartridge 400 Sample with Creat / BUN calibrators | Fluid pack: calibrators, flush and waste bags - that includes Creatinine and BUN calibrators | 400 tests | 3525.2956 | 4054.09
NO/27835 | Stat Profile Prime Plus® Calibrator Cartridge 500 Sample with Creat / BUN calibrators | Fluid pack: calibrators, flush and waste bags - that includes Creatinine and BUN calibrators | 500 tests | 3885.0197 | 4467.7726
AUTOMATED QUALITY CONTROL PACK
NO/57841 | Stat Profile Prime Plus® Auto QC Cartridge 100 Sample with Creatinine / BUN | Automated liquid quality control - with creatinine and BUN controls | 100 tests | 1942.5098 | 2233.8863
NO/57842 | Stat Profile Prime Plus® Auto QC Cartridge 200 Sample with Creatinine / BUN | Automated liquid quality control - with creatinine and BUN controls | 200 tests | 2182.3259 | 2509.6747
NO/57843 | Stat Profile Prime Plus® Auto QC Cartridge 300 Sample with Creatinine / BUN | Automated liquid quality control - with creatinine and BUN controls | 300 tests | 2422.1419 | 2785.4632
EXTERNAL QUALITY CONTROL MATERIAL
NO/57844 | Stat Profile Prime Plus® Ampuled Controls BG, COOX Levels 1, 2, 3 | Glass Ampule controls - 3 levels | 10 vials | 863.3377 | 992.8384
NO/57845 | Stat Profile Prime Plus® Ampuled Controls Chemistry Levels 4,5 | Glass Ampule controls - 2 levels | 10 vials | 863.3377 | 992.8384
NO/57846 | Stat Profile Prime Plus® Linearity Standard Set A Levels 1, 2, 3, 4 Multipack | Linearity solution - 5 levels of controls | 10 vials | 551.5769 | 634.3134
ANCILLARY ITEMS
NO/57823 | Stat Profile Prime Plus® Reference Cartridge | Reference cartridge and pump tubing | Each | 1750.657 | 2013.2556
NO/49200 | Thermal Paper 5 PK | 57mm x 70m rolls - 5 per pack | 5/pack | 551.5769 | 634.3134
NO/52669 | Stat Profile Prime® and Prime Plus® Safety Sample Port 5 Pk | Syringe Luer adaptor - 5 per pack | 5/pack | 623.5217 | 717.0499
NO/38846 | Nova Biomedical® Capillary Tube Clot Catcher | Clot prevention device for capillary tubes - 200 per pack | 200/pack | 671.4849 | 772.2076
NO/38883 | Stat Profile® Critical Care Xpress Syringe Clot Catcher | Clot prevention device for syringes - 200 per pack | 200/pack | 671.4849 | 772.2076
NO/53443 | Flow Path Flush Tool | Clot removal tool - each | Each | 647.5033 | 744.6288
BD/364376 | 3ml Heparin Syringe | Lithium heparinised syringes - 100 per box | 100/box | 646.6667 | 743.6667

## 4b. With Coox - WO CREAT-BUN
BID No: RT 2-1-2016
Item 12.00: Blood Gas Analyser Consumable Price List
THE SCIENTIFIC GROUP (PTY) LTD
CAT NO. | DESCRIPTION | DETAILED DESCRIPTION OF ITEM OR PARAMETERS | Unit size | PRICE EXCL VAT | PRICE INCL VAT
STAT PROFILE PRIME PLUS CONSUMABLES
SENSOR CARDS - (MICRO-ELECTRODES) with Co-Oximertry
NO/57820 | Stat Profile Prime Plus® MicroSensor Card™ - blood gasses - electrolytes and metabolytes and co-oximetery | pH, PCO2, PO2, Hct, tHb, Na, K, Cl, TCO2, iCa, iMg, Glu, Lac, SO2, O2HB, COHb, MetHb, HHB, tBil, HbF | 200 tests | 4124.8357 | 4743.561
NO/57822 | Stat Profile Prime Plus® MicroSensor Card™ blood gasses - electrolytes and metabolytes and co-oximetery - (High volume) | pH, PCO2, PO2, Hct, tHb, Na, K, Cl, TCO2, iCa, iMg, Glu, Lac, SO2, O2HB, COHb, MetHb, HHB, tBil, HbF | 400 tests | 5563.7319 | 6398.2916
FLUID PACK - CALIBRATOR, FLUSH AND WASTE FLUID PACK
NO/57825 | Stat Profile Prime Plus® Calibrator Cartridge 100 Sample | Fluid pack - calibrators, flush and waste bags | 100 tests | 2422.1419 | 2785.4632
NO/57826 | Stat Profile Prime Plus® Calibrator Cartridge 200 Sample | Fluid pack - calibrators, flush and waste bags | 200 tests | 2781.8659 | 3199.1458
NO/57827 | Stat Profile Prime Plus® Calibrator Cartridge 300 Sample | Fluid pack - calibrators, flush and waste bags | 300 tests | 3165.5716 | 3640.4073
NO/57828 | Stat Profile Prime Plus® Calibrator Cartridge 400 Sample | Fluid pack - calibrators, flush and waste bags | 400 tests | 3525.2956 | 4054.09
NO/57829 | Stat Profile Prime Plus® Calibrator Cartridge 500 Sample | Fluid pack - calibrators, flush and waste bags | 500 tests | 3885.0197 | 4467.7726
AUTOMATED QUALITY CONTROL PACK
NO/57838 | Stat Profile Prime Plus® Auto QC Cartridge 160 Sample | Automated liquid quality control | 160 tests | 1942.5098 | 2233.8863
NO/57839 | Stat Profile Prime Plus® Auto QC Cartridge 320 Sample | Automated liquid quality control | 320 tests | 2182.3259 | 2509.6747
NO/57840 | Stat Profile Prime Plus® Auto QC Cartridge 480 Sample | Automated liquid quality control | 480 tests | 2422.1419 | 2785.4632
EXTERNAL QUALITY CONTROL MATERIAL
NO/57844 | Stat Profile Prime Plus® Ampuled Controls BG, COOX Levels 1, 2, 3 | Glass Ampule controls - 3 levels | 10 vials | 863.3377 | 992.8384
NO/57845 | Stat Profile Prime Plus® Ampuled Controls Chemistry Levels 4,5 | Glass Ampule controls - 2 levels | 10 vials | 863.3377 | 992.8384
NO/57846 | Stat Profile Prime Plus® Linearity Standard Set A Levels 1, 2, 3, 4 Multipack | Linearity solution - 5 levels of controls | 10 vials | 551.5769 | 634.3134
ANCILLARY ITEMS
NO/57823 | Stat Profile Prime Plus® Reference Cartridge | Reference cartridge and pump tubing | Each | 1750.657 | 2013.2556
NO/49200 | Thermal Paper 5 PK | 57mm x 70m rolls - 5 per pack | 5/pack | 551.5769 | 634.3134
NO/52669 | Stat Profile Prime® and Prime Plus® Safety Sample Port 5 Pk | Syringe Luer adaptor - 5 per pack | 5/pack | 623.5217 | 717.0499
NO/38846 | Nova Biomedical® Capillary Tube Clot Catcher | Clot prevention device for capillary tubes - 200 per pack | 200/pack | 671.4849 | 772.2076
NO/38883 | Stat Profile® Critical Care Xpress Syringe Clot Catcher | Clot prevention device for syringes - 200 per pack | 200/pack | 671.4849 | 772.2076
NO/53443 | Flow Path Flush Tool | Clot removal tool - each | Each | 647.5033 | 744.6288
BD/364376 | 3ml Heparin Syringe | Lithium heparinised syringes - 100 per box | 100/box | 646.6667 | 743.6667

## 5c. WO Coox - with CREAT-BUN
BID No: RT 2-1-2016
Item 12.00: Blood Gas Analyser Consumable Price List
THE SCIENTIFIC GROUP (PTY) LTD
CAT NO. | DESCRIPTION | DETAILED DESCRIPTION OF ITEM OR PARAMETERS | Unit size | PRICE EXCL VAT | PRICE INCL VAT
STAT PROFILE PRIME PLUS CONSUMABLES
SENSOR CARDS - (MICRO-ELECTRODES) without Co-Oximertry
NO/58642 | Stat Profile Prime Plus® MicroSensor Card™ without CO-Oximetery | pH, PCO2, PO2, Hct, tHb, Na, K, Cl, TCO2, iCa, iMg, Glu, Lac, SO2 | 200 tests | 3525.2956 | 4054.09
NO/58643 | Stat Profile Prime Plus® MicroSensor Card™ without Co-Oximetery (High Volume) | pH, PCO2, PO2, Hct, tHb, Na, K, Cl, TCO2, iCa, iMg, Glu, Lac, SO2 | 400 tests | 4964.1918 | 5708.8206
CREATININE AND BUN CARD (MICRO-ELECTRODES)
NO/57821 | Stat Profile Prime Plus® MicroSensor Card™ BUN, Creatinine | Creatinine and BUN | 200 tests | 1342.9698 | 1544.4152
FLUID PACK - CALIBRATOR, FLUSH AND WASTE FLUID PACK
NO/57831 | Stat Profile Prime Plus® Calibrator Cartridge 100 Sample with Creat / BUN calibrators | Fluid pack: calibrators, flush and waste bags - that includes Creatinine and BUN calibrators | 100 tests | 2422.1419 | 2785.4632
NO/57832 | Stat Profile Prime Plus® Calibrator Cartridge 200 Sample with Creat / BUN calibrators | Fluid pack: calibrators, flush and waste bags - that includes Creatinine and BUN calibrators | 200 tests | 2781.8659 | 3199.1458
NO/57833 | Stat Profile Prime Plus® Calibrator Cartridge 300 Sample with Creat / BUN calibrators | Fluid pack: calibrators, flush and waste bags - that includes Creatinine and BUN calibrators | 300 tests | 3165.5716 | 3640.4073
NO/57834 | Stat Profile Prime Plus® Calibrator Cartridge 400 Sample with Creat / BUN calibrators | Fluid pack: calibrators, flush and waste bags - that includes Creatinine and BUN calibrators | 400 tests | 3525.2956 | 4054.09
NO/27835 | Stat Profile Prime Plus® Calibrator Cartridge 500 Sample with Creat / BUN calibrators | Fluid pack: calibrators, flush and waste bags - that includes Creatinine and BUN calibrators | 500 tests | 3885.0197 | 4467.7726
AUTOMATED QUALITY CONTROL PACK
NO/57841 | Stat Profile Prime Plus® Auto QC Cartridge 100 Sample with Creatinine / BUN | Automated liquid quality control - with creatinine and BUN controls | 100 tests | 1942.5098 | 2233.8863
NO/57842 | Stat Profile Prime Plus® Auto QC Cartridge 200 Sample with Creatinine / BUN | Automated liquid quality control - with creatinine and BUN controls | 200 tests | 2182.3259 | 2509.6747
NO/57843 | Stat Profile Prime Plus® Auto QC Cartridge 300 Sample with Creatinine / BUN | Automated liquid quality control - with creatinine and BUN controls | 300 tests | 2422.1419 | 2785.4632
EXTERNAL QUALITY CONTROL MATERIAL
NO/57844 | Stat Profile Prime Plus® Ampuled Controls BG, COOX Levels 1, 2, 3 | Glass Ampule controls - 3 levels | 10 vials | 863.3377 | 992.8384
NO/57845 | Stat Profile Prime Plus® Ampuled Controls Chemistry Levels 4,5 | Glass Ampule controls - 2 levels | 10 vials | 863.3377 | 992.8384
NO/57846 | Stat Profile Prime Plus® Linearity Standard Set A Levels 1, 2, 3, 4 Multipack | Linearity solution - 5 levels of controls | 10 vials | 551.5769 | 634.3134
ANCILLARY ITEMS
NO/57823 | Stat Profile Prime Plus® Reference Cartridge | Reference cartridge and pump tubing | Each | 1750.657 | 2013.2556
NO/49200 | Thermal Paper 5 PK | 57mm x 70m rolls - 5 per pack | 5/pack | 551.5769 | 634.3134
NO/52669 | Stat Profile Prime® and Prime Plus® Safety Sample Port 5 Pk | Syringe Luer adaptor - 5 per pack | 5/pack | 623.5217 | 717.0499
NO/38846 | Nova Biomedical® Capillary Tube Clot Catcher | Clot prevention device for capillary tubes - 200 per pack | 200/pack | 671.4849 | 772.2076
NO/38883 | Stat Profile® Critical Care Xpress Syringe Clot Catcher | Clot prevention device for syringes - 200 per pack | 200/pack | 671.4849 | 772.2076
NO/53443 | Flow Path Flush Tool | Clot removal tool - each | Each | 647.5033 | 744.6288
BD/364376 | 3ml Heparin Syringe | Lithium heparinised syringes - 100 per box | 100/box | 646.6667 | 743.6667

## 5d. WO Coox & CREAT-BUN
BID No: RT 2-1-2016
Item 12.00: Blood Gas Analyser Consumable Price List
THE SCIENTIFIC GROUP (PTY) LTD
CAT NO. | DESCRIPTION | DETAILED DESCRIPTION OF ITEM OR PARAMETERS | Unit size | PRICE EXCL VAT | PRICE INCL VAT
STAT PROFILE PRIME PLUS CONSUMABLES
SENSOR CARDS - (MICRO-ELECTRODES) without Co-Oximertry
NO/58642 | Stat Profile Prime Plus® MicroSensor Card™ without CO-Oximetery | pH, PCO2, PO2, Hct, tHb, Na, K, Cl, TCO2, iCa, iMg, Glu, Lac, SO2 | 200 tests | 3525.2956 | 4054.09
NO/58643 | Stat Profile Prime Plus® MicroSensor Card™ without Co-Oximetery (High Volume) | pH, PCO2, PO2, Hct, tHb, Na, K, Cl, TCO2, iCa, iMg, Glu, Lac, SO2 | 400 tests | 4964.1918 | 5708.8206
FLUID PACK - CALIBRATOR, FLUSH AND WASTE FLUID PACK
NO/57825 | Stat Profile Prime Plus® Calibrator Cartridge 100 Sample | Fluid pack - calibrators, flush and waste bags | 100 tests | 2422.1419 | 2785.4632
NO/57826 | Stat Profile Prime Plus® Calibrator Cartridge 200 Sample | Fluid pack - calibrators, flush and waste bags | 200 tests | 2781.8659 | 3199.1458
NO/57827 | Stat Profile Prime Plus® Calibrator Cartridge 300 Sample | Fluid pack - calibrators, flush and waste bags | 300 tests | 3165.5716 | 3640.4073
NO/57828 | Stat Profile Prime Plus® Calibrator Cartridge 400 Sample | Fluid pack - calibrators, flush and waste bags | 400 tests | 3525.2956 | 4054.09
NO/57829 | Stat Profile Prime Plus® Calibrator Cartridge 500 Sample | Fluid pack - calibrators, flush and waste bags | 500 tests | 3885.0197 | 4467.7726
AUTOMATED QUALITY CONTROL PACK
NO/57838 | Stat Profile Prime Plus® Auto QC Cartridge 160 Sample | Automated liquid quality control | 160 tests | 1942.5098 | 2233.8863
NO/57839 | Stat Profile Prime Plus® Auto QC Cartridge 320 Sample | Automated liquid quality control | 320 tests | 2182.3259 | 2509.6747
NO/57840 | Stat Profile Prime Plus® Auto QC Cartridge 480 Sample | Automated liquid quality control | 480 tests | 2422.1419 | 2785.4632
EXTERNAL QUALITY CONTROL MATERIAL
NO/57844 | Stat Profile Prime Plus® Ampuled Controls BG, COOX Levels 1, 2, 3 | Glass Ampule controls - 3 levels | 10 vials | 863.3377 | 992.8384
NO/57845 | Stat Profile Prime Plus® Ampuled Controls Chemistry Levels 4,5 | Glass Ampule controls - 2 levels | 10 vials | 863.3377 | 992.8384
NO/57846 | Stat Profile Prime Plus® Linearity Standard Set A Levels 1, 2, 3, 4 Multipack | Linearity solution - 5 levels of controls | 10 vials | 551.5769 | 634.3134
ANCILLARY ITEMS
NO/57823 | Stat Profile Prime Plus® Reference Cartridge | Reference cartridge and pump tubing | Each | 1750.657 | 2013.2556
NO/49200 | Thermal Paper 5 PK | 57mm x 70m rolls - 5 per pack | 5/pack | 551.5769 | 634.3134
NO/52669 | Stat Profile Prime® and Prime Plus® Safety Sample Port 5 Pk | Syringe Luer adaptor - 5 per pack | 5/pack | 623.5217 | 717.0499
NO/38846 | Nova Biomedical® Capillary Tube Clot Catcher | Clot prevention device for capillary tubes - 200 per pack | 200/pack | 671.4849 | 772.2076
NO/38883 | Stat Profile® Critical Care Xpress Syringe Clot Catcher | Clot prevention device for syringes - 200 per pack | 200/pack | 671.4849 | 772.2076
NO/53443 | Flow Path Flush Tool | Clot removal tool - each | Each | 647.5033 | 744.6288
BD/364376 | 3ml Heparin Syringe | Lithium heparinised syringes - 100 per box | 100/box | 646.6667 | 743.6667