## RT2-2025 Non Awarded Items
# | Item No | Item Description | Summary Outcome
1 | RT2-01-08 | Anaesthetic Machine, MRI Compatible | Re-tender: sample offered for evaluation did not meet the technical specification requirements
2 | RT2-01-020 | Nerve Stimulator | Retender: Revise specification (clause 2.22) for safety measures.
3 | RT2-01-021 | Thromboelastography Unit | Re-Tender: No Quote
4 | RT2-01-022 | Cerebral Oximeter, Advanced | Re-tender: sample offered for evaluation did not meet the technical specification requirements
5 | RT2-02-018 | Non-Invasive Ventilation Monitor | Re-Tender: No sample offered for evaluation
6 | RT2-03-001 | Apnea Monitor | Re-Tender: No Quote
7 | RT2-05-001 | Blood Gas Analyzer - Single Use Cartridge (Low Utilization Rate) | Re-tender: sample offered for evaluation did not meet the technical specification requirements
8 | RT2-05-003 | Blood Gas Analyzer - Solutions | Re-tender: sample offered for evaluation did not meet the technical specification requirements
9 | RT2-05-019 | Pulse Oximeter, Tabletop | Re-tender: sample offered for evaluation did not meet the technical specification requirements
10 | RT2-05-020 | Transcutaneous CO2 Monitor, Non-Invasive | Re-Tender: No Quote
11 | RT2-05-021 | Pulse Wave Monitor, Non-Invasive | Re-Tender: No Quote
12 | RT2-05-023 | Dermatoscope | Re-Tender: No Quote
13 | RT2-05-027 | Pressure Relief Pump with Mattress (180kg), Overlay | Re-Tender: No Quote
14 | RT2-05-028 | Pressure Relief Pump with Mattress (270kg), Overlay | Re-Tender: No Quote
15 | RT2-05-029 | Pressure Relief Pump with Mattress (180kg), Replacement | Re-Tender: No Quote
16 | RT2-05-030 | Pressure Relief Pump with Mattress (270kg), Replacement | Re-Tender: No Quote
17 | RT2-05-033 | Cardiac Output Monitor | Re-tender: sample offered for evaluation did not meet the technical specification requirements
18 | RT2-05-034 | Suction unit, wall-mount | Re-tender: sample offered for evaluation did not meet the technical specification requirements
19 | RT2-06-002 | Electrosurgical Unit, Basic | Re-tender: sample offered for evaluation did not meet the technical specification requirements
20 | RT2-06-003 | Electrosurgery unit, general surgery (350W) | Re-tender: sample offered for evaluation did not meet the technical specification requirements
21 | RT2-06-004 | Electrosurgical Unit, Advanced | Re-tender: sample offered for evaluation did not meet the technical specification requirements
22 | RT2-06-005 | Electrosurgical Unit, Argon | Re-tender: sample offered for evaluation did not meet the technical specification requirements
23 | RT2-07-002 | Electric Drill, Large bones | Re-tender: sample offered for evaluation did not meet the technical specification requirements
24 | RT2-07-008 | Dermatome, Cordless | Re-tender: sample offered for evaluation did not meet the technical specification requirements
25 | RT2-07-009 | Dermatome, Pneumatic | Re-tender: sample offered for evaluation did not meet the technical specification requirements
26 | RT2-07-010 | Skin Graft Mesher | Re-Tender: No Quote
27 | RT2-07-011 | Arthroscopic Shaver | Re-Tender: No Quote
28 | RT2-08-003 | Laser Unit, Argon | Re-tender: sample offered for evaluation did not meet the technical specification requirements
29 | RT2-08-004 | Laser Unit, YAG | Re-tender: sample offered for evaluation did not meet the technical specification requirements
30 | RT2-08-005 | Luminometer | Re-Tender: No Quote
31 | RT2-08-006 | Optical Coherence Tomography Unit | Re-Tender: No Quote
32 | RT2-08-007 | Phoropter | Re-tender: sample offered for evaluation did not meet the technical specification requirements
33 | RT2-08-008 | Slit-Lamp, Basic | Re-tender: sample offered for evaluation did not meet the technical specification requirements
34 | RT2-08-009 | Slit-Lamp, Advanced | Re-tender: sample offered for evaluation did not meet the technical specification requirements
35 | RT2-08-010 | Tonometer, Hand-held | Re-tender: sample offered for evaluation did not meet the technical specification requirements
36 | RT2-08-011 | Visual Field Analyser | Re-tender: sample offered for evaluation did not meet the technical specification requirements
37 | RT2-08-012 | Vitrectomy Unit (Anterior and Posterior) | Re-Tender: No Quote
38 | RT2-08-013 | Vitroctoy Unit (Anterior) | Re-Tender: No Quote
39 | RT2-09-001 | EEG, Portable | Re-Tender: No Quote
40 | RT2-09-002 | EEG, Desktop | Re-Tender: No Quote
41 | RT2-09-003 | Ultrasonic Surgical Aspirator | Re-Tender: No Quote
42 | RT2-09-004 | Neuronavigation System | Re-Tender: No Quote
43 | RT2-09-005 | Neuro-Monitor | Re-Tender: No Quote
44 | RT2-09-006 | Neuro-Drills | Re-tender: sample offered for evaluation did not meet the technical specification requirements
45 | RT2-09-007 | Amplitude EEG (Cerebral Function Monitoring) | Re-tender: sample offered for evaluation did not meet the technical specification requirements
46 | RT2-10-002 | Autoclave, Tabletop, 32-38L | Re-Tender: No Quote
47 | RT2-11-001 | Fridge, Vaccine (Chest), 80 - 90L | Re-tender: End Users to revise the technical specifications
48 | RT2-11-002 | Fridge, Vaccine (Chest), 100 - 150L | Re-tender: End Users to revise the technical specifications
49 | RT2-11-003 | Fridge, Vaccine (Chest), 240 - 260L | Re-tender: End Users to revise the technical specifications
50 | RT2-11-004 | Fridge, Vaccine (Upright), 100 - 150L | Re-tender: End Users to revise the technical specifications
51 | RT2-11-005 | Fridge, Vaccine (Upright), 200 - 250L | Re-tender: End Users to revise the technical specifications
52 | RT2-11-006 | Fridge, Vaccine (Upright), 300 - 350L | Re-tender: End Users to revise the technical specifications
53 | RT2-11-007 | Fridge, Vaccine, Solar-Powered (Upright), 120 - 160L | Re-tender: End Users to revise the technical specifications
54 | RT2-11-008 | Fridge, Vaccine, Solar-Powered (Upright), 200 - 250L | Re-tender: End Users to revise the technical specifications
55 | RT2-11-009 | Fridge, Pharmacy (Upright), 900 - 1100L | Re-tender: End Users to revise the technical specifications
56 | RT2-11-010 | Fluid Warmer, Cabinet, 40-60L | Re-tender: sample offered for evaluation did not meet the technical specification requirements
57 | RT2-11-011 | Fluid Warmer, Cabinet, 80-150L | Re-tender: sample offered for evaluation did not meet the technical specification requirements
58 | RT2-11-012 | Fluid Warmer, Cabinet, 200-300L | Re-tender: sample offered for evaluation did not meet the technical specification requirements
59 | RT2-12-001 | Microscope, Ophthalmology, Basic | Re-Tender: No Quote
60 | RT2-12-002 | Microscope, Ophthalmology, Advanced | Re-Tender: No Quote
61 | RT2-12-003 | Microscope, ENT, Basic | Re-tender: Wrong sample offered for evaluation.
62 | RT2-12-004 | Microscope, ENT, Advanced | Re-Tender: No Quote
63 | RT2-12-005 | Microscope, Neurosurgery, Basic | Re-Tender: No Quote
64 | RT2-12-006 | Microscope, Neurosurgery, Advanced | Re-Tender: No Quote
65 | RT2-13-01 | Instrument Washer, Under-counter | Re-tender: sample offered for evaluation did not meet the technical specification requirements
66 | RT2-13-05 | Dialysis Machine (CRRT) | Re-tender: sample offered for evaluation did not meet the technical specification requirements
67 | RT2-13-06 | Intermittent Hemodialysis | Re-tender: sample offered for evaluation did not meet the technical specification requirements
68 | RT2-13-08 | Complete RO plant | Re-tender: sample offered for evaluation did not meet the technical specification requirements
69 | RT2-13-09 | Nurse Call System, 8 Bed | Re-Tender: No Quote
70 | RT2-13-10 | Nurse Call System, 16 Bed | Re-Tender: No Quote
71 | RT2-13-11 | Nurse Call System, 24 Bed | Re-Tender: No Quote
72 | RT2-14-001 | Laparascope, Mid-range | Re-tender: sample offered for evaluation did not meet the technical specification requirements
73 | RT2-14-002 | Laparascope, High-end (3D) | Re-tender: sample offered for evaluation did not meet the technical specification requirements
74 | RT2-14-003 | Lapscope Instruments | Re-tender: sample offered for evaluation did not meet the technical specification requirements
75 | RT2-14-004 | Endoscopic & Exoscopic, Video System, Neurosurgery | Re-tender: sample offered for evaluation did not meet the technical specification requirements
76 | RT2-14-005 | Video Endoscopic System | Re-tender: sample offered for evaluation did not meet the technical specification requirements
Total number of non awarded items |  |  | 76