## Contract Circular Final
CONTRACT CIRCULAR: RT28-2019: SUPPLY AND DELIVERY OF STERILISATION RELATED ITEMS TO THE STATE FOR THE PERIOD 1 MAY 2020 TO 30 APRIL 2023.
No | ITEM CODE | ITEM DESCRIPTION | OFFER OPTION | BIDDER NAME | P=90 | ORIGINAL PRICE INCLUSIVE 15% VAT | CONVERTED PRICE INCLUSIVE 15% VAT (PRICE PER UNIT) | UNIT SCORE | B-BBEE SCORE | AWARD SCORE | PROVINCES | UNIT OF MEASURE | BRAND
2 | 42281528-00003 | Low termperature sterilisation H2O2: Autoclave Accessory kit( paper rolls, ribbon, box) Gas H2O2 Accessory Kit | Alternative 1 | JOHNSON AND JOHNSON MEDICAL | 90 | 3195.0283 | 266.2524 | 90 | 2 | 92 | Kwa-Zulu Natal | KIT: Box of 12 Thermal Printer Paper | STERRAD 100S ACCESSORY KIT II ST100 B2.0
3 | 42281528-00003 | Low termperature sterilisation H2O2: Autoclave Accessory kit( paper rolls, ribbon, box) Gas H2O2 Accessory Kit | Alternative 1 | JOHNSON AND JOHNSON MEDICAL | 90 | 3195.0283 | 266.2524 | 90 | 2 | 92 | North West | KIT: Box of 12 Thermal Printer Paper | STERRAD 100S ACCESSORY KIT II ST100 B2.0
4 | 42281528-00003 | Low termperature sterilisation H2O2: Autoclave Accessory kit( paper rolls, ribbon, box) Gas H2O2 Accessory Kit | Alternative 1 | JOHNSON AND JOHNSON MEDICAL | 90 | 3195.0283 | 266.2524 | 90 | 2 | 92 | Limpopo | KIT: Box of 12 Thermal Printer Paper | STERRAD 100S ACCESSORY KIT II ST100 B2.0
5 | 42281528-00003 | Low termperature sterilisation H2O2: Autoclave Accessory kit( paper rolls, ribbon, box) Gas H2O2 Accessory Kit | Alternative 1 | JOHNSON AND JOHNSON MEDICAL | 90 | 3195.0283 | 266.2524 | 90 | 2 | 92 | mpumalanga | KIT: Box of 12 Thermal Printer Paper | STERRAD 100S ACCESSORY KIT II ST100 B2.0
6 | 42281528-00003 | Low termperature sterilisation H2O2: Autoclave Accessory kit( paper rolls, ribbon, box) Gas H2O2 Accessory Kit | Alternative 1 | JOHNSON AND JOHNSON MEDICAL | 90 | 3195.0283 | 266.2524 | 90 | 2 | 92 | Gauteng | KIT: Box of 12 Thermal Printer Paper | STERRAD 100S ACCESSORY KIT II ST100 B2.0
7 | 42281528-00003 | Low termperature sterilisation H2O2: Autoclave Accessory kit( paper rolls, ribbon, box) Gas H2O2 Accessory Kit | Alternative 1 | JOHNSON AND JOHNSON MEDICAL | 90 | 3195.0283 | 266.2524 | 90 | 2 | 92 | Free State | KIT: Box of 12 Thermal Printer Paper | STERRAD 100S ACCESSORY KIT II ST100 B2.0
8 | 42281528-00003 | Low termperature sterilisation H2O2: Autoclave Accessory kit( paper rolls, ribbon, box) Gas H2O2 Accessory Kit | Alternative 1 | JOHNSON AND JOHNSON MEDICAL | 90 | 3195.0283 | 266.2524 | 90 | 2 | 92 | Northern Cape | KIT: Box of 12 Thermal Printer Paper | STERRAD 100S ACCESSORY KIT II ST100 B2.0
9 | 42281528-00003 | Low termperature sterilisation H2O2: Autoclave Accessory kit( paper rolls, ribbon, box) Gas H2O2 Accessory Kit | Alternative 1 | JOHNSON AND JOHNSON MEDICAL | 90 | 3195.0283 | 266.2524 | 90 | 2 | 92 | Western Cape | KIT: Box of 12 Thermal Printer Paper | STERRAD 100S ACCESSORY KIT II ST100 B2.0
10 | 42281528-00003 | Low termperature sterilisation H2O2: Autoclave Accessory kit( paper rolls, ribbon, box) Gas H2O2 Accessory Kit | Alternative 1 | JOHNSON AND JOHNSON MEDICAL | 90 | 3195.0283 | 266.2524 | 90 | 2 | 92 | Eastern Cape | KIT: Box of 12 Thermal Printer Paper | STERRAD 100S ACCESSORY KIT II ST100 B2.0
11 | 42281528-00004 | Low termperature sterilisation H2O2: Cassette Hydogen Peroxide Gas H2O2 Cassette | Main | JOHNSON AND JOHNSON MEDICAL | 90 | 6512.6383 | 1302.5277 | 90 | 2 | 92 | Eastern Cape | 5 per box
12 | 42281528-00004 | Low termperature sterilisation H2O2: Cassette Hydogen Peroxide Gas H2O2 Cassette | Main | JOHNSON AND JOHNSON MEDICAL | 90 | 6512.6383 | 1302.5277 | 90 | 2 | 92 | Western Cape | 5 per box | STERRAD 100S CASSETTE 5X5 CYK
13 | 42281528-00004 | Low termperature sterilisation H2O2: Cassette Hydogen Peroxide Gas H2O2 Cassette | Main | JOHNSON AND JOHNSON MEDICAL | 90 | 6512.6383 | 1302.5277 | 90 | 2 | 92 | Northern Cape | 5 per box | STERRAD 100S CASSETTE 5X5 CYK
14 | 42281528-00004 | Low termperature sterilisation H2O2: Cassette Hydogen Peroxide Gas H2O2 Cassette | Main | JOHNSON AND JOHNSON MEDICAL | 90 | 6512.6383 | 1302.5277 | 90 | 2 | 92 | Free State | 5 per box | STERRAD 100S CASSETTE 5X5 CYK
15 | 42281528-00004 | Low termperature sterilisation H2O2: Cassette Hydogen Peroxide Gas H2O2 Cassette | Main | JOHNSON AND JOHNSON MEDICAL | 90 | 6512.6383 | 1302.5277 | 90 | 2 | 92 | Mpumalanga | 5 per box | STERRAD 100S CASSETTE 5X5 CYK
16 | 42281528-00004 | Low termperature sterilisation H2O2: Cassette Hydogen Peroxide Gas H2O2 Cassette | Main | JOHNSON AND JOHNSON MEDICAL | 90 | 6512.6383 | 1302.5277 | 90 | 2 | 92 | Limpopo | 5 per box | STERRAD 100S CASSETTE 5X5 CYK
17 | 42281528-00004 | Low termperature sterilisation H2O2: Cassette Hydogen Peroxide Gas H2O2 Cassette | Main | JOHNSON AND JOHNSON MEDICAL | 90 | 6512.6383 | 1302.5277 | 90 | 2 | 92 | North West | 5 per box | STERRAD 100S CASSETTE 5X5 CYK
18 | 42281528-00004 | Low termperature sterilisation H2O2: Cassette Hydogen Peroxide Gas H2O2 Cassette | Main | JOHNSON AND JOHNSON MEDICAL | 90 | 6512.6383 | 1302.5277 | 90 | 2 | 92 | Gauteng | 5 per box | STERRAD 100S CASSETTE 5X5 CYK
19 | 42281528-00004 | Low termperature sterilisation H2O2: Cassette Hydogen Peroxide Gas H2O2 Cassette | Main | JOHNSON AND JOHNSON MEDICAL | 90 | 6512.6383 | 1302.5277 | 90 | 2 | 92 | Kwa-Zulu Natal | 5 per box | STERRAD 100S CASSETTE 5X5 CYK
21 | 42281528-00006 | Low termperature sterilisation packaging roll , Transparent and spunbonded olefin backing H2O2 Packing150mmx70m roll | MAIN | ASSEGAI HEALTHCARE | 90 | 362.25 | 362.25 | 90 | 10 | 100 | ALL | 4 rolls per carton | CLINI ROLL
22 | 42281528-00007 | Low termperature sterilisation packaging roll , Transparent and spunbonded olefin backing H2O2 Packing250mmx70m roll | MAIN | ASSEGAI HEALTHCARE | 90 | 604.9 | 604.9 | 90 | 10 | 100 | ALL | 2 rolls per carton | CLINI ROLL
23 | 42281528-00008 | Low termperature sterilisation packaging roll , Transparent and spunbonded olefin backing H2O2 Packing350mmx70m roll | MAIN | ASSEGAI HEALTHCARE | 90 | 856.75 | 856.75 | 90 | 10 | 100 | ALL | 2 rolls per carton | CLINI ROLL
24 | 42281528-00009 | Low termperature sterilisation packaging roll , Transparent and spunbonded olefin backing H2O2 Packing500mmx70m roll | MAIN | ASSEGAI HEALTHCARE | 90 | 1209.8 | 1209.8 | 90 | 10 | 100 | ALL | 2 rolls per carton | CLINI ROLL
25 | 42281528-00010 | Low termperature sterilisation packaging roll , Transparent and spunbonded olefin backing H2O2 Packing75mmx70m roll | MAIN | ASSEGAI HEALTHCARE | 90 | 181.7 | 181.7 | 90 | 10 | 100 | ALL | 8 rolls per carton | CLINI ROLL
26 | 42281806-00003 | Indicator for use in determining whether the sterilization process conditions are met inside each pack. Can be used in all 121-135°C sterilization cycles. An internal pack monitor, offers immediate, accurate and easy to read monitoring of the sterilization process conditions. It can be used in all steam sterilizers. Moving front ink technology provides easy to read 'Accept or Reject' result. Conforms to ANSI/AAMI/ISO 11140-1:2005 Type 5 Integrating Pack of 100 strips | MAIN | DYNAMED PHARMACEUTICALS (PTY) LTD | 90 | 58.35 | 0.5835 | 90 | 10 | 100 | ALL PROVINCES | 100 STRIPS | DYNAMED
27 | 42281806-00004 | Chemical indicator is a paper strip 1,5 cm wide by 20 cm long printed with a chemical indicator ink that turns from off-white to dark brown/black when exposed to the steam sterilization process. It is designed to indicate whether steam has penetrated to the point of placement of the strip, usually the center of a pack. Each strip is perforated at the center if a shorter internal chemical indicator is preferred. An internal chemical indicator should be used inside each pack to be sterilized. Pack of 240 strips | MAIN | NATIONAL MEDICAL SUPPLIES | 90 | 0.37 | 0.37 | 90 | 5 | 95 | ALL | EACH | CHEMDYE
28 | 42281806-00005 | Ethylene Oxide (EO) Chemical Indicator Strip is a paper strip 1,5 cm wide by 20 cm long printed with a chemical indicator ink that turns from red to green when exposed to the critical parameters of the EO sterilization process (i.e., gas concentration, RH, time and temperature). It is designed to indicate whether EO sterilization conditions have been met at the point of placement of the strip, which should be placed in the area determined to be the least accessible to EO penetration. Each strip is perforated at the center if a shorter internal chemical indicator is preferred. An internal chemical indicator should be used inside each package to be sterilized. Pack of 240 strips | MAIN | NATIONAL MEDICAL SUPPLIES | 90 | 0.37 | 0.37 | 90 | 5 | 95 | ALL | EACH | CHEMDYE
43 | 42281806-00015 | Indicator, vacuum test pack, Bowie-Dick Must test the efficiency of porous load autoclaves The pack must be made from virgin pulp paper holding in its center the chemical indicator sheet The entire pack must be strengthened by a paper wrap binding, which guarantees the constant compactness of the test pack Must have external chemical indicator Must fully comply with the latest edition of ISO 11140-4 ISO Compliance Certificate to be submitted with bid. Indicators Each | MAIN | GIBELA TRADE AND INVEST 1001 CC | 90 | 16.386 | 16.39 | 90 | 10 | 100 | KZN, FS, EC, GP, LP, NW, MP, NC, WC | each | LMS ™
44 | 42281806-00016 | Indicator vacuum test pack, bowie Dick. Must test efficiency of scope sterilation process at temperatures of 134°C for 3,5minutes or 121°C for 15 minutes. The contens of the pack must includes the following: 1 Helix Process Challenge Device, 500 indicator strips type 2 steam, cotton bag and 1 manual/colour reference. Pakaging 500 indicators per box | MAIN OFFER | Supra Healthcare Johannesburg Pty Ltd | 90 | 763.97 | 1.5279 | 90 | 9 | 99 | North West, Free State, Northern Cape, Eastern Cape, Mpumalanga, Western Cape, Limpopo, Gauteng, Kwazulu Natal | Box | INT Helix Test System 3.5 min
45 | 42281807-00003 | Tape, autoclave, indicator with adhesive Length per roll: 50m To comply with the latest issue of CKS 224 Width 12mm Roll | Main | 1 Stop Medical Supplies CC | 90 | 25.91 | 25.91 | 90 | 10 | 100 | ALL | Each
46 | 42281807-00004 | Tape, autoclave, indicator with adhesive Length per roll: 50m To comply with the latest issue of CKS 224 Width 24mm Roll | MAIN | NATIONAL MEDICAL SUPPLIES | 90 | 54.99 | 54.99 | 90 | 5 | 95 | ALL | EACH | STERIKING
47 | 42281807-00005 | Tape masking medical should withstand 134°C for 3minutes or 121°C for 15 minutes (Steam Sterilization) Size: 50m x 12mm Unit: Roll | MAIN | ASSEGAI HEALTHCARE | 90 | 7.25 | 7.25 | 90 | 10 | 100 | ALL | ROLL | STERI TAPE
48 | 42281807-00006 | Tape masking medical should withstand 134°C for 3minutes or 121°C for 15 minutes (Steam Sterilization) Size: 50m x 24mm Unit: Roll | MAIN | ASSEGAI HEALTHCARE | 90 | 11.39 | 11.39 | 90 | 10 | 100 | ALL | ROLL | STERI TAPE
49 | 42281807-00007 | Tape indicator ethylene oxide 50mm x 12mm | MAIN | ASSEGAI HEALTHCARE | 90 | 17.83 | 17.83 | 90 | 10 | 100 | ALL | ROLL | STERI TAPE
50 | 42281808-00006 | Paper, sterilization, crêped, white / Blue / Green Suitable for use as a wrapping material for sterilization of dressings, instruments, etc. Paper, mass not less than 57g/m2, moisture repellent and resistant to air and fluid borne barrier. Must comply with the latest issue of SANS 50868-2 and DIN 59953-6 Size: 600mm x 600mm Box of 100 | MAIN | ASSEGAI HEALTHCARE | 90 | 0.92 | 0.92 | 90 | 10 | 100 | ALL | 100 SHEETS | STERI CREPE
51 | 42281808-00007 | Paper, sterilization, crêped, white / Blue / Green Suitable for use as a wrapping material for sterilization of dressings, instruments, etc. Paper, mass not less than 57g/m2, moisture repellent and resistant to air and fluid borne barrier. Must comply with the latest issue of SANS 50868-2 and DIN 59953-6 Size: 900mm x 900mm Box of 100 | MAIN | GIBELA TRADE AND INVEST 1001 CC | 90 | 196.5983 | 1.966 | 90 | 10 | 100 | KZN, FS, EC, GP, LP, NW, MP, NC, WC | Box of 100 | LMS ™ SteriShield
52 | 42281808-00008 | Paper, sterilization, crêped, white / Blue / Green Suitable for use as a wrapping material for sterilization of dressings, instruments, etc. Paper, mass not less than 57g/m2, moisture repellent and resistant to air and fluid borne barrier. Must comply with the latest issue of SANS 50868-2 and DIN 59953-6 Size: 1000mm x 1400mm Box of 100 | MAIN | GIBELA TRADE AND INVEST 1001 CC | 90 | 334.6406 | 3.3464 | 90 | 10 | 100 | KZN, FS, EC, GP, LP, NW, MP, NC, WC | Box of 100 | LMS ™ SteriShield
53 | 42281808-00009 | Paper, sterilization, crêped, white / Blue / Green Suitable for use as a wrapping material for sterilization of dressings, instruments, etc. Paper, mass not less than 57g/m2, moisture repellent and resistant to air and fluid borne barrier. Must comply with the latest issue of SANS 50868-2 and DIN 59953-6 Size: 1200mm x 1200mm Box of 100 | MAIN | GIBELA TRADE AND INVEST 1001 CC | 90 | 342.2608 | 3.4226 | 90 | 10 | 100 | KZN, FS, EC, GP, LP, NW, MP, NC, WC | Box of 100 | LMS ™ SteriShield
54 | 42281808-00010 | Paper, sterilization, crêped, white / Blue / Green Suitable for use as a wrapping material for sterilization of dressings, instruments, etc. Paper, mass not less than 57g/m2, moisture repellent and resistant to air and fluid borne barrier. Must comply with the latest issue of SANS 50868-2 and DIN 59953-6 Size: 1400mm x 1400mm Box of 100 | MAIN | GIBELA TRADE AND INVEST 1001 CC | 90 | 460.0195 | 4.6002 | 90 | 10 | 100 | KZN, FS, EC, GP, LP, NW, MP, NC, WC | Box of 100 | LMS ™ SteriShield
56 | 42281902-00015 | Wrap, single, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Regular Size: 600 x 600mm Pack of 240 Sheets | MAIN | ASSEGAI HEALTHCARE | 90 | 0.86 | 0.86 | 90 | 10 | 100 | ALL | 240 SHEETS | STERI GUARD
56 | 42281902-00016 | Wrap, single, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Regular Size: 600 x 900mm Pack of 240 Sheets | MAIN | ASSEGAI HEALTHCARE | 90 | 1.29 | 1.29 | 90 | 10 | 100 | ALL | 240 SHEETS | STERI GUARD
57 | 42281902-00017 | Wrap, single, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Regular Size: 900 x 900mm Pack of 240 Sheets | MAIN | ASSEGAI HEALTHCARE | 90 | 1.91 | 1.91 | 90 | 10 | 100 | ALL | 240 SHEETS | STERI GUARD
58 | 42281902-00018 | Wrap, single, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Regular Size: 1200 x 1200mm Pack of 240 Sheets | MAIN | ASSEGAI HEALTHCARE | 90 | 3.39 | 3.39 | 90 | 10 | 100 | ALL | 240 SHEETS | STERI GUARD
59 | 42281902-00019 | Wrap, single, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Regular Size: 1400 x 1400mm Pack of 240 Sheets | MAIN | GIBELA TRADE AND INVEST 1001 CC | 90 | 1286.8697 | 5.362 | 90 | 10 | 100 | KZN, FS, EC, GP, LP, NW, MP, NC, WC | 240 Sheets | LMS ™ SupaWrap
60 | 42281902-00020 | Wrap, single, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Regular Size: 1400 x 1830mm Pack of 240 Sheets | MAIN | ASSEGAI HEALTHCARE | 90 | 6.05 | 6.05 | 90 | 10 | 100 | ALL | 240 SHEETS | STERI GUARD
61 | 42281902-00021 | Wrap, single, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Mid-Weight Size: 600mm x 600mm Pack of 240 Sheets | MAIN | ASSEGAI HEALTHCARE | 90 | 0.95 | 0.95 | 90 | 10 | 100 | ALL | 240 SHEETS | STERI GUARD
62 | 42281902-00022 | Wrap, single, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Mid-Weight Size: 600mm x 900mm Pack of 240 Sheets | MAIN | ASSEGAI HEALTHCARE | 90 | 1.41 | 1.41 | 90 | 10 | 100 | ALL | 240 SHEETS | STERI GUARD
63 | 42281902-00023 | Wrap, single, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Mid-Weight Size: 900mm x 900mm Pack of 240 Sheets | MAIN | ASSEGAI HEALTHCARE | 90 | 2.13 | 2.13 | 90 | 10 | 100 | ALL | 240 SHEETS | STERI GUARD
64 | 42281902-00024 | Wrap, single, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Mid-Weight Size: 1200mm x 1200mm Pack of 240 Sheets | MAIN | ASSEGAI HEALTHCARE | 90 | 3.77 | 3.77 | 90 | 10 | 100 | ALL | 240 SHEETS | STERI GUARD
65 | 42281902-00025 | Wrap, single, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Mid-Weight Size: 1400mm x 1400mm Pack of 240 Sheets | MAIN | ASSEGAI HEALTHCARE | 90 | 5.12 | 5.12 | 90 | 10 | 100 | ALL | 240 SHEETS | STERI GUARD
66 | 42281902-00026 | Wrap, single, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Mid-Weight Size: 1400mm x 1830mm Pack of 240 Sheets | MAIN | ASSEGAI HEALTHCARE | 90 | 6.72 | 6.72 | 90 | 10 | 100 | ALL | 240 SHEETS | STERI GUARD
67 | 42281902-00027 | Wrap, single, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Heavy duty Size: 600mm x 600mm Pack of 120 Sheets | MAIN | ASSEGAI HEALTHCARE | 90 | 1.15 | 1.15 | 90 | 10 | 100 | ALL | 120 SHEETS | STERI GUARD
68 | 42281902-00028 | Wrap, single, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Heavy duty Size: 600mm x 900mm Pack of 120 Sheets | MAIN | ASSEGAI HEALTHCARE | 90 | 1.74 | 1.74 | 90 | 10 | 100 | ALL | 120 SHEETS | STERI GUARD
69 | 42281902-00029 | Wrap, single, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Heavy duty Size: 900mm x 900mm Pack of 120 Sheets | MAIN | ASSEGAI HEALTHCARE | 90 | 2.6 | 2.6 | 90 | 10 | 100 | ALL PROVINCES | 120 SHEETS | STERI GUARD
70 | 42281902-00030 | Wrap, single, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Heavy duty Size: 1200mm x 1200mm Pack of 120 Sheets | MAIN | ASSEGAI HEALTHCARE | 90 | 4.85 | 4.85 | 90 | 10 | 100 | ALL PROVINCES | 120 SHEETS | STERI GUARD
71 | 42281902-00031 | Wrap, single, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Heavy duty Size: 1400mm x 1400mm Pack of 48 Sheets | MAIN | ASSEGAI HEALTHCARE | 90 | 6.3 | 6.3 | 90 | 10 | 100 | ALL PROVINCES | 120 SHEETS | STERI GUARD
72 | 42281902-00032 | Wrap, single, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Heavy duty Size: 1400mm x 1830mm Pack of 120 Sheets | MAIN | ASSEGAI HEALTHCARE | 90 | 8.22 | 8.22 | 90 | 10 | 100 | ALL PROVINCES | 120 SHEETS | STERI GUARD
76 | 42281902-00036 | Wrap, Double, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Regular Size: 1400 x 1400mm Pack of 120 Sheets | MAIN | ASSEGAI HEALTHCARE | 90 | 10.79 | 10.79 | 90 | 10 | 100 | ALL PROVINCES | 120 SHEETS | STERI GUARD
77 | 42281902-00037 | Wrap, Double, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Regular Size: 1400 x 1830mm Pack of 120 Sheets | MAIN | ASSEGAI HEALTHCARE | 90 | 14.1 | 14.1 | 90 | 10 | 100 | ALL PROVINCES | 120 SHEETS | STERI GUARD
81 | 42281902-00041 | Wrap, Double, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Mid-Weight Size: 1400mm x 1400mm Pack of 120 Sheets | MAIN | GIBELA TRADE AND INVEST 1001 CC | 90 | 1391.833 | 11.5986 | 90 | 10 | 100 | ALL PROVINCES | 120 sheets | LMS ™ QuickWrap
82 | 42281902-00042 | Wrap, Double, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Mid-Weight Size: 1400mm x 1830mm Pack of 120 Sheets | MAIN | NATIONAL MEDICAL SUPPLIES | 90 | 18.66 | 18.66 | 90 | 5 | 95 | ALL PROVINCES | EACH | STERISHEET
86 | 42281902-00046 | Wrap, Double, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Heavy duty Size: 1400mm x 1400mm Pack of 120 Sheets | MAIN | GIBELA TRADE AND INVEST 1001 CC | 90 | 1505.5151 | 12.546 | 90 | 10 | 100 | ALL PROVINCES | 120 sheets | LMS ™ QuickWrap
87 | 42281902-00047 | Wrap, Double, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Heavy duty Size: 1400mm x 1830mm Pack of 120 Sheets | MAIN | GIBELA TRADE AND INVEST 1001 CC | 90 | 1962.8023 | 16.3567 | 90 | 10 | 100 | ALL PROVINCES | 120 sheets | LMS ™ QuickWrap