## Sheet1
Item Code | Item Description | Unit of Measure | End-User | Bidder's Name | Bidder's Unit of Measure | Price per each (Stroll/Sheet/Strip) Inclusive of 15% VAT | Price Inclusive of 15% VAT | Brand Names | Lead Times in days | Country of Origin | Minimum Order Quantity
42281806-00005 | Ethylene Oxide (EO) Chemical Indicator Strip is a paper strip 1,5 cm wide by 20 cm long printed with a chemical indicator ink that turns from red to green when exposed to the critical parameters of the EO sterilization process (i.e., gas concentration, RH, time and temperature). It is designed to indicate whether EO sterilization conditions have been met at the point of placement of the strip, which should be placed in the area determined to be the least accessible to EO penetration. Each strip is perforated at the center if a shorter internal chemical indicator is preferred. An internal chemical indicator should be used inside each package to be sterilized. Pack of 240 strips | Pack of 240 strips | National | ACCESS MEDICAL (PTY) LTD | Pack of 240 strips | 0.88602 | 212.6454 | STERIVIC | 10 DAYS | CHINA | 1
42281902-00033 | Wrap. Double. sterilization. medical. non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Regular Size: 600 x 600mm Pack of 240 Sheets | 240 sheets | National | ACCESS MEDICAL (PTY) LTD | 240 sheets | 1.0006 | 240.15 | STERIVIC/ACCESS | 10 DAYS | CHINA | 1
42281902-00034 | Wrap,Double, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Regular Size: 900 x 900mm Pack of 240 Sheets | 240 sheets | National | ACCESS MEDICAL (PTY) LTD | 240 sheets | 2.2203 | 532.86 | STERIVIC/ACCESS | 10 DAYS | CHINA | 1
42281902-00035 | Wrap, Double, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Regular Size: 1200 x 1200mm Pack of 120 Sheets | 120 Sheets | National | ACCESS MEDICAL (PTY) LTD | 120 Sheets | 4.2871 | 514.45 | STERIVIC/ACCESS | 10 DAYS | CHINA | 1
42281902-00036 | Wrap, Double, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Regular Size: 1400 x 1400mm Pack of 120 Sheets | 120 Sheets | National | ACCESS MEDICAL (PTY) LTD | 120 Sheets | 5.8083 | 697 | STERIVIC/ACCESS | 10 DAYS | CHINA | 1
42281902-00037 | Wrap, Double, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Regular Size: 1400 x 1830mm Pack of 120 Sheets | 120 Sheets | National | ACCESS MEDICAL (PTY) LTD | 120 Sheets | 7.6155 | 913.86 | STERIVIC/ACCESS | 10 DAYS | CHINA | 1
42281902-00038 | Wrap, Double, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Mid-Weight Size: 600mm x 600mm Pack of 120 Sheets | 120 Sheets | National | ACCESS MEDICAL (PTY) LTD | 120 Sheets | 1.4558 | 174.7 | STERIVIC/ACCESS | 10 DAYS | CHINA | 1
42281902-00039 | Wrap, Double, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Mid-Weight Size: 900mm x 900mm Pack of 120 Sheets | 120 Sheets | National | ACCESS MEDICAL (PTY) LTD | 120 Sheets | 3.2868 | 394.41 | STERIVIC/ACCESS | 10 DAYS | CHINA | 1
42281902-00040 | Wrap, Double, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Mid-Weight Size: 1200mm x 1200mm Pack of 120 Sheets | 120 Sheets | National | ACCESS MEDICAL (PTY) LTD | 120 Sheets | 5.819 | 698.28 | STERIVIC/ACCESS | 10 DAYS | CHINA | 1
42281902-00041 | Wrap, Double, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Mid-Weight Size: 1400mm x 1400mm Pack of 120 Sheets | 120 Sheets | National | ACCESS MEDICAL (PTY) LTD | 120 Sheets | 7.8777 | 945.32 | STERIVIC/ACCESS | 10 DAYS | CHINA | 1
42281902-00043 | Wrap, Double, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Heavy duty Size: 600mm x 600mm Pack of 120 Sheets | 120 Sheets | National | ACCESS MEDICAL (PTY) LTD | 120 Sheets | 1.6591 | 199.09 | STERIVIC/ACCESS | 10 DAYS | CHINA | 1
42281902-00045 | Wrap, Double, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Heavy duty Size: 1200mm x 1200mm Pack of 120 Sheets | 120 Sheets | National | ACCESS MEDICAL (PTY) LTD | 120 Sheets | 6.6365 | 796.38 | STERIVIC/ACCESS | 10 DAYS | CHINA | 1
42281913-00975 | Tube, sterilization. Flat sterilizing reels: without gusset Heat sealable reels of paper and plastic film Seams to peel open without linting and/or tearing film Sterilization process indicators for steam and ethylene oxide shall be printed at equal distances throughout the roll Suitable for packaging medical instruments, which have to be sterilised in steam or ethylene oxide. Quality of paper shall comply with SANS 50868 and DIN 50953-6 to test for the bacterial barrier. Size: 50mm x 200m Roll | Roll | National | ACCESS MEDICAL (PTY) LTD | Roll | 77.85 | 77.85 | STERIVIC/ ACCESS | 10 DAYS | CHINA | 1
42281913-00976 | Tube, sterilization. Flat sterilizing reels: without gusset. Heat sealable reels of paper and plastic film. Quality of paper shall comply with SANS 50868 parts 1, 3, 4 and 5 and DIN 50953-6 to test for the bacterial barrier. Seams to peel open without linting and/or tearing film. Sterilization process indicators for steam and ethylene oxide shall be printed at equal distances throughout the roll. Suitable for packaging medical instruments, which have to be sterilised in steam or ethylene oxide. Size: 75mm x 200m Roll | Roll | National | ACCESS MEDICAL (PTY) LTD | Roll | 116.65 | 116.65 | STERIVIC/ ACCESS | 10 DAYS | CHINA | 1
42281913-00977 | Tube, sterilization. Flat sterilizing reels: without gusset. Heat sealable reels of paper and plastic film. Quality of paper shall comply with SANS 50868 parts 1, 3, 4 and 5 and DIN 50953-6 to test for the bacterial barrier. Seams to peel open without linting and/or tearing film. Sterilization process indicators for steam and ethylene oxide shall be printed at equal distances throughout the roll. Suitable for packaging medical instruments, which have to be sterilised in steam or ethylene oxide. Size: 100mm x 200m Roll | Roll | National | ACCESS MEDICAL (PTY) LTD | Roll | 155.71 | 155.71 | STERIVIC/ ACCESS | 10 DAYS | CHINA | 1
42281913-00978 | Tube, sterilization. Flat sterilizing reels: without gusset. Heat sealable reels of paper and plastic film. Quality of paper shall comply with SANS 50868 parts 1, 3, 4 and 5 and DIN 50953-6 to test for the bacterial barrier. Seams to peel open without linting and/or tearing film. Sterilization process indicators for steam and ethylene oxide shall be printed at equal distances throughout the roll. Suitable for packaging medical instruments, which have to be sterilised in steam or ethylene oxide. Size: 150mm x 200m Roll | Roll | National | ACCESS MEDICAL (PTY) LTD | Roll | 233.29 | 233.29 | STERIVIC/ ACCESS | 10 DAYS | CHINA | 1
42281913-00979 | Tube, sterilization. Flat sterilizing reels: without gusset. Heat sealable reels of paper and plastic film. Quality of paper shall comply with SANS 50868 parts 1, 3, 4 and 5 and DIN 50953-6 to test for the bacterial barrier. Seams to peel open without linting and/or tearing film. Sterilization process indicators for steam and ethylene oxide shall be printed at equal distances throughout the roll. Suitable for packaging medical instruments, which have to be sterilised in steam or ethylene oxide. Size: 200mm x 200m Roll | Roll | National | ACCESS MEDICAL (PTY) LTD | Roll | 311.24 | 311.24 | STERIVIC/ ACCESS | 10 DAYS | CHINA | 1
42281913-00980 | Tube, sterilization. Flat sterilizing reels: without gusset. Heat sealable reels of paper and plastic film. Quality of paper shall comply with SANS 50868 parts 1, 3, 4 and 5 and DIN 50953-6 to test for the bacterial barrier. Seams to peel open without linting and/or tearing film. Sterilization process indicators for steam and ethylene oxide shall be printed at equal distances throughout the roll. Suitable for packaging medical instruments, which have to be sterilised in steam or ethylene oxide. Size: 250mm x 200m Roll | Roll | National | ACCESS MEDICAL (PTY) LTD | Roll | 388.71 | 388.71 | STERIVIC/ ACCESS | 10 DAYS | CHINA | 1
42281913-00981 | Tube, sterilization. Flat sterilizing reels: without gusset. Heat sealable reels of paper and plastic film. Quality of paper shall comply with SANS 50868 parts 1, 3, 4 and 5 and DIN 50953-6 to test for the bacterial barrier. Seams to peel open without linting and/or tearing film. Sterilization process indicators for steam and ethylene oxide shall be printed at equal distances throughout the roll. Suitable for packaging medical instruments, which have to be sterilised in steam or ethylene oxide. Size: 300mm x 200m Roll | Roll | National | ACCESS MEDICAL (PTY) LTD | Roll | 466.85 | 466.85 | STERIVIC/ ACCESS | 10 DAYS | CHINA | 1
42281913-00982 | Tube, sterilization. Flat sterilizing reels: without gusset. Heat sealable reels of paper and plastic film. Quality of paper shall comply with SANS 50868 parts 1, 3, 4 and 5 and DIN 50953-6 to test for the bacterial barrier. Seams to peel open without linting and/or tearing film. Sterilization process indicators for steam and ethylene oxide shall be printed at equal distances throughout the roll. Suitable for packaging medical instruments, which have to be sterilised in steam or ethylene oxide. Size: 350mm x 100m Roll | Roll | National | ACCESS MEDICAL (PTY) LTD | Roll | 280.84 | 280.84 | STERIVIC/ ACCESS | 10 DAYS | CHINA | 1
42281913-00984 | Tube, sterilization. Flat sterilizing reels: with a gusset. Heat sealable reels of paper and plastic film. Quality of paper shall comply with SANS 50868 parts 1, 3, 4 and 5 and DIN 50953-6 to test for the bacterial barrier. Seams to peel open without linting and/or tearing film. Sterilization process indicators for steam and ethylene oxide shall be printed at equal distances throughout the roll. Suitable for packaging medical instruments, which have to be sterilised in steam or ethylene oxide. Size: 75mm x 200m Roll | Roll | National | ACCESS MEDICAL (PTY) LTD | Roll | 90.81 | 90.81 | STERIVIC/ ACCESS | 10 DAYS | CHINA | 1
42281913-00985 | Tube, sterilization. Flat sterilizing reels: with a gusset. Heat sealable reels of paper and plastic film. Quality of paper shall comply with SANS 50868 parts 1, 3, 4 and 5 and DIN 50953-6 to test for the bacterial barrier. Seams to peel open without linting and/or tearing film. Sterilization process indicators for steam and ethylene oxide shall be printed at equal distances throughout the roll. Suitable for packaging medical instruments, which have to be sterilised in steam or ethylene oxide. Size: 100mm x 200m Roll | Roll | National | ACCESS MEDICAL (PTY) LTD | Roll | 121 | 121 | STERIVIC/ ACCESS | 10 DAYS | CHINA | 1
42281913-00986 | Tube, sterilization. Flat sterilizing reels: with a gusset. Heat sealable reels of paper and plastic film. Quality of paper shall comply with SANS 50868 parts 1, 3, 4 and 5 and DIN 50953-6 to test for the bacterial barrier. Seams to peel open without linting and/or tearing film. Sterilization process indicators for steam and ethylene oxide shall be printed at equal distances throughout the roll. Suitable for packaging medical instruments, which have to be sterilised in steam or ethylene oxide. Size: 150mm x 200m Roll | Roll | National | ACCESS MEDICAL (PTY) LTD | Roll | 181.63 | 181.63 | STERIVIC/ ACCESS | 10 DAYS | CHINA | 1
42281913-00987 | Tube, sterilization. Flat sterilizing reels: with a gusset. Heat sealable reels of paper and plastic film. Quality of paper shall comply with SANS 50868 parts 1, 3, 4 and 5 and DIN 50953-6 to test for the bacterial barrier. Seams to peel open without linting and/or tearing film. Sterilization process indicators for steam and ethylene oxide shall be printed at equal distances throughout the roll. Suitable for packaging medical instruments, which have to be sterilised in steam or ethylene oxide. Size: 200mm x 200m Roll | Roll | National | ACCESS MEDICAL (PTY) LTD | Roll | 241.69 | 241.69 | STERIVIC/ ACCESS | 10 DAYS | CHINA | 1
42281913-00988 | Tube, sterilization. Flat sterilizing reels: with a gusset. Heat sealable reels of paper and plastic film. Quality of paper shall comply with SANS 50868 parts 1, 3, 4 and 5 and DIN 50953-6 to test for the bacterial barrier. Seams to peel open without linting and/or tearing film. Sterilization process indicators for steam and ethylene oxide shall be printed at equal distances throughout the roll. Suitable for packaging medical instruments, which have to be sterilised in steam or ethylene oxide. Size: 250mm x 200m Roll | Roll | National | ACCESS MEDICAL (PTY) LTD | Roll | 301.91 | 301.91 | STERIVIC/ ACCESS | 10 DAYS | CHINA | 1
42281913-00989 | Tube, sterilization. Flat sterilizing reels: with a gusset. Heat sealable reels of paper and plastic film. Quality of paper shall comply with SANS 50868 parts 1, 3, 4 and 5 and DIN 50953-6 to test for the bacterial barrier. Seams to peel open without linting and/or tearing film. Sterilization process indicators for steam and ethylene oxide shall be printed at equal distances throughout the roll. Suitable for packaging medical instruments, which have to be sterilised in steam or ethylene oxide. Size: 300mm x 200m Roll | Roll | National | ACCESS MEDICAL (PTY) LTD | Roll | 692.34 | 692.34 | STERIVIC/ ACCESS | 10 DAYS | CHINA | 1
42281913-00990 | Tube, sterilization. Flat sterilizing reels: with a gusset. Heat sealable reels of paper and plastic film. Quality of paper shall comply with SANS 50868 parts 1, 3, 4 and 5 and DIN 50953-6 to test for the bacterial barrier. Seams to peel open without linting and/or tearing film. Sterilization process indicators for steam and ethylene oxide shall be printed at equal distances throughout the roll. Suitable for packaging medical instruments, which have to be sterilised in steam or ethylene oxide. Size: 350mm x 200m Roll | Roll | National | ACCESS MEDICAL (PTY) LTD | Roll | 858.78 | 858.78 | STERIVIC/ ACCESS | 10 DAYS | CHINA | 1
42281916-00014 | BAG, PAPER, MEDICAL, FOR STEAM STERILIZATION SIZE 1. To comply with the latest issue of CKS 595 (SANS 50868 Parts 1 and 3) and proof of compliance must be submitted.. DIMENSION: 90 mm (width) x 100 mm (length) Gusset: 50mm. Bottom closure according to CKS 595, paragraph 2.2.4 (c). Indicator pattern/band and final colour of indicator ink. PRINTING ON BAG: FRONT SIDE: Do not use if wrapper or seal is damaged, Indicator pattern/band and final colour of indicator ink. BACK SIDE: manufacturers name or trade mark , Size of bag, Designation, Batch number ADDITIONAL PRINTING REQUIRED ON BACK OF BAG CONTENTS: Date of autoclaving, Signature of packer, Expiry date PACKAGING: bale/box of 1 000 bags, Packed in a suitable rigid cardboard box/bale SAMPLE MUST BE SUBMITTED | Box of 1000 bags | National | ACCESS MEDICAL (PTY) LTD | Box of 1000 bags | 0.19901 | 199.01 | STERIVIC/M & G | 10 DAYS | CHINA | 1
42281916-00016 | BAG PAPER MEDICAL FOR STEAM STERILIZATION SIZE 3 To comply with the latest issue of CKS 595 (SANS 50868 Parts 1 and 3) and proof of compliance must be submitted DIMENSION: 115 mm (width) x 190 mm (length) Gusset: 35 mm Bottom closure according to CKS 595, par. 2.2.4 (c) PRINTING ON BAG: FRONT SIDE: Do not use if wrapper or seal is damaged, Indicator pattern/band and final colour of indicator ink BACK SIDE: Manufacturers name or trade mark, Size of bag, Designation, batch number ADDITIONAL PRINTING REQUIRED ON BACK OF BAG CONTENT: Date of autoclaving, Signature of packer, Expiry date. PACKAGING: Bale/box of 1 000 bags, packed in a suitable rigid cardboard box/bale SAMPLES MUST BE SUBMITTED | Box of 1000 bags | National | ACCESS MEDICAL (PTY) LTD | Box of 1000 bags | 0.30625 | 306.25 | STERIVIC/M& G | 10 DAYS | CHINA | 1
42281916-00017 | BAG PAPER MEDICAL FOR STEAM STERILIZATION SIZE 4 To comply with the latest issue of CKS 595 (SANS 50868 Parts 1 and 3) and proof of compliance must be submitted DIMENSION: 125mm (width) x 260mm (length) Gusset: 50mm Bottom closure according to CKS 595, par. 2.2.4 (c) PRINTING ON BAG FRONT SIDE: - Do not use if wrapper or seal is damaged, Indicator pattern/band and final colour of indicator ink BACK SIDE: Manufacturers name or trade mark - Size of bag - Designation batch number ADDITIONAL PRINTING REQUIRED ON BACK OF BAG CONTENT: Date of autoclaving, Signature of packer, Expiry date, PACKAGING: bale/box of 1 000 bags, packed in a suitable rigid cardboard box/bale SAMPLES MUST BE SUBMITTED | Box of 1000 bags | National | ACCESS MEDICAL (PTY) LTD | Box of 1000 bags | 0.46527 | 465.27 | STERIVIC/M& G | 10 DAYS | CHINA | 1
42281916-00018 | BAG PAPER MEDICAL FOR STEAM STERILIZATION SIZE 5 To comply with the latest issue of CKS 595 (SANS 50868 Parts 1 and 3) and proof of compliance must be submitted DIMENSION: 125mm (width) x 230mm (length) Gusset: 50mm Bottom closure according to CKS 595, par. 2.2.4 (c) PRINTING ON BAG FRONT SIDE: Do not use if wrapper or seal is damaged, Indicator pattern/band and final colour of indicator ink BACK SIDE: Manufacturers name or trade mark, Size of bag, Designation, Batch number ADDITIONAL PRINTING REQUIRED ON BACK OF BAG CONTENT: Date of autoclaving, Signature of packer, Expiry date, PACKAGING: bale/box of 1 000 bags, packed in a suitable rigid cardboard box/bale SAMPLES MUST BE SUBMITTED | Box of 1000 bags | National | ACCESS MEDICAL (PTY) LTD | Box of 1000 bags | 0.46378 | 463.78 | STERIVIC/M& G | 10 DAYS | CHINA | 1
42281916-00019 | BAG PAPER MEDICAL FOR STEAM STERILIZATION SIZE 6 To comply with the latest issue of CKS 595 (SANS 50868 Parts 1 and 3) and proof of compliance must be submitted DIMENSION: 190mm (width) x 320mm (length) Gusset: 60mm Bottom closure according to CKS 595, par. 2.2.4 (c) PRINTING ON BAG FRONT SIDE: - Do not use if wrapper or seal is damaged, Indicator pattern/band and final colour of indicator ink BACK SIDE: Manufacturers name or trade mark, Size of bag, Designation,batch number ADDITIONAL PRINTING REQUIRED ON BACK OF BAG CONTENT: Date of autoclaving, Signature of packer, Expiry date, PACKAGING: bale/box of 1 000 bags, packed in a suitable rigid cardboard box/bale SAMPLES MUST BE SUBMITTED | Box of 1000 bags | National | ACCESS MEDICAL (PTY) LTD | Box of 1000 bags | 0.74164 | 741.64 | STERIVIC/M& G | 10 DAYS | CHINA | 1
42281916-00020 | BAG PAPER MEDICAL FOR STEAM STERILIZATION SIZE 7 To comply with the latest issue of CKS 595 (SANS 50868 Parts 1 and 3) and proof of compliance must be submitted DIMENSION: 180 mm (width) x 380 mm (length) Gusset: 75 mm Bottom closure according to CKS 595, par. 2.2.4 (c) Indicator pattern/band and final colour of indicator ink PRINTING ON BAG FRONT SIDE: Do not use if wrapper or seal is damaged BACK SIDE: Manufacturers name or trade mark, Size of bag, Designation, Batch number ADDITIONAL PRINTING REQUIRED ON BACK OF BAG CONTENT: Date of autoclaving, Signature of packer, Expiry date, PACKAGING: bale/box of 1 000 bags, Packed in a suitable rigid cardboard box/bale SAMPLES MUST BE SUBMITTED | Box of 1000 bags | National | ACCESS MEDICAL (PTY) LTD | Box of 1000 bags | 0.88202 | 882.02 | STERIVIC/M& G | 10 DAYS | CHINA | 1
42281916-00021 | BAG PAPER MEDICAL FOR STEAM STERILIZATION SIZE 8 To comply with the latest issue of CKS 595 (SANS 50868 Parts 1 and 3) and proof of compliance must be submitted. DIMENSION: 65mm (width) x 480 mm (length) Gusset: 30 mm Bottom closure according to CKS 595, par. 2.2.4 (c) PRINTING ON BAG FRONT SIDE: Do not use if wrapper or seal is damaged, Indicator pattern/band and final colour of indicator ink BACK SIDE: Manufacturers name or trade mark, Size of bag, Designation, batch number ADDITIONAL PRINTING REQUIRED ON BACK OF BAG CONTENT: Date of autoclaving, Signature of packer, Expiry date, PACKAGING: bale/box of 1 000 bags, Packed in a suitable rigid cardboard box/bale SAMPLES MUST BE SUBMITTED | Box of 1000 bags | National | ACCESS MEDICAL (PTY) LTD | Box of 1000 bags | 0.49169 | 491.69 | STERIVIC/M& G | 10 DAYS | CHINA | 1
42281916-00022 | BAG PAPER MEDICAL FOR STEAM STERILIZATION SIZE 9 To comply with the latest issue of CKS 595 (SANS 50868 Parts 1 and 3) and proof of compliance must be submitted. DIMENSION: 120mm (width) x 135mm (length) Gusset: 30 mm Bottom closure according to CKS 595, par. 2.2.4 (c) PRINTING ON BAG FRONT SIDE: Do not use if wrapper or seal is damaged, Indicator pattern/band and final colour of indicator ink BACK SIDE: Manufacturers name or trade mark, Size of bag, Designation, batch number ADDITIONAL PRINTING REQUIRED ON BACK OF BAG CONTENT: Date of autoclaving, Signature of packer, Expiry date, PACKAGING: bale/box of 1 000 bags, Packed in a suitable rigid cardboard box/bale SAMPLES MUST BE SUBMITTED | Box of 1000 bags | National | ACCESS MEDICAL (PTY) LTD | Box of 1000 bags | 0.25278 | 252.78 | STERIVIC/M& G | 10 DAYS | CHINA | 1
42281916-00023 | BAG PAPER MEDICAL FOR STEAM STERILIZATION SIZE 11 To comply with the latest issue of CKS 595 (SANS 50868 Parts 1 and 3) and proof of compliance must be submitted. DIMENSION: 290mm (width) x 445mm (length) Gusset: 125 mm Bottom closure according to CKS 595, par. 2.2.4 (c) PRINTING ON BAG FRONT SIDE: Do not use if wrapper or seal is damaged, Indicator pattern/band and final colour of indicator ink BACK SIDE: Manufacturers name or trade mark, Size of bag, Designation, batch number ADDITIONAL PRINTING REQUIRED ON BACK OF BAG CONTENT: Date of autoclaving, Signature of packer, Expiry date, PACKAGING: bale/box of 1 000 bags, Packed in a suitable rigid cardboard box/bale SAMPLES MUST BE SUBMITTED | Box of 1000 bags | National | ACCESS MEDICAL (PTY) LTD | Box of 1000 bags | 1.6124 | 1612.38 | STERIVIC/M& G | 10 DAYS | CHINA | 1
42281916-00024 | BAG PAPER MEDICAL FOR STEAM STERILIZATION SIZE 12 To comply with the latest issue of CKS 595 (SANS 50868 Parts 1 and 3) and proof of compliance must be submitted. DIMENSION: 330mm (width) x 560mm (length) Gusset: 150 mm Bottom closure according to CKS 595, par. 2.2.4 (c) PRINTING ON BAG FRONT SIDE: Do not use if wrapper or seal is damaged, Indicator pattern/band and final colour of indicator ink BACK SIDE: Manufacturers name or trade mark, Size of bag, Designation, batch number ADDITIONAL PRINTING REQUIRED ON BACK OF BAG CONTENT: Date of autoclaving, Signature of packer, Expiry date, PACKAGING: bale/box of 1 000 bags, Packed in a suitable rigid cardboard box/bale SAMPLES MUST BE SUBMITTED | Box of 1000 bags | National | ACCESS MEDICAL (PTY) LTD | Box of 1000 bags | 2.3065 | 2306.5 | STERIVIC/M& G | 10 DAYS | CHINA | 1
42281916-00025 | BAG PAPER MEDICAL FOR STEAM STERILIZATION SIZE 1020 To comply with the latest issue of CKS 595 (SANS 50868 Parts 1 and 3) and proof of compliance must be submitted. DIMENSION: 65mm (width) x 200mm (length) Gusset: 35 mm Bottom closure according to CKS 595, par. 2.2.4 (c) PRINTING ON BAG FRONT SIDE: Do not use if wrapper or seal is damaged, Indicator pattern/band and final colour of indicator ink BACK SIDE: Manufacturers name or trade mark, Size of bag, Designation, batch number ADDITIONAL PRINTING REQUIRED ON BACK OF BAG CONTENT: Date of autoclaving, Signature of packer, Expiry date, PACKAGING: bale/box of 1 000 bags, Packed in a suitable rigid cardboard box/bale SAMPLES MUST BE SUBMITTED | Box of 1000 bags | National | ACCESS MEDICAL (PTY) LTD | Box of 1000 bags | 0.22866 | 228.66 | STERIVIC/M& G | 10 DAYS | CHINA | 1
471111-44457 | Instrument Processing, Rust and stain remover for surgical instruments for the removal of water mineral staining, rust and corrosion from stainless steel surgical instruments, trays and basins. Non-corrosive. Concentrate, Use dilution to be stated. 2.5-5L To submit manufacturer’s ISO 9001certificate. 93/42/EEC medical device directive | Litres | National | ACCESS MEDICAL (PTY) LTD | LITRES | 64.01 | 320.05 | ZETA | 10 DAYS | SOUTH AFRICA | 1
471111-44458 | Instrument Lubricant and cleaner for surgical instruments, compatible with stainless steel titanium, tungsten carbide and aluminium. Neutral pH. Conce ntrate, use dilution to be stated. 2.5- 5L. To submit: manufacturer’s ISO 9001 certificate | Litres | National | ACCESS MEDICAL (PTY) LTD | LITRES | 58.44 | 292.2 | ZETA | 10 DAYS | SOUTH AFRICA | 1
471111-44459 | Instrument Lubricant descaler and rust remover. For the removal of scale and mineral deposits in automated washes and autoclaves. Neutral pH. Concentrate, use dilution to be stated. 2.5- 5L. To submit: manufacturer’s ISO 9001 certificate | Litres | National | ACCESS MEDICAL (PTY) LTD | LITRES | 58.44 | 58.44 | ZETA | 10 DAYS | SOUTH AFRICA | 1
471111-44460 | 14 Day High Level disinfectant. A 0.60% Ortho-Phthaldehyde solution that can be used in reprocessing heat sensitive semi critical medical devices for which sterilization is not suitable. Otho-Phthaldalhyde Solution Neutral Ph. Concentrate, use dilution to be stated. 2.5-5 L. Must be registered with the National Regulator for Compulsory Specification (NRCS) compliance certificate to be included and manufacture’s ISO 9001 Certificate | Litres | National | ACCESS MEDICAL (PTY) LTD | LITRES | 51.49 | 257.45 | ZETA | 10 DAYS | SOUTH AFRICA | 1
471111-44461 | 21 Day High Leve disinfectant. A 0.60% Ortho-Phthaldehyde solution that can be used in reprocessing heat sensitive semi critical medical devices for which sterilization is not suitable. Neutral Ph. Concentrate, use dilution to be stated. 2.5-5 L. Must be registered with the National Regulator for Compulsory Specification (NRCS) compliance certificate to be included and manufacture’s ISO 9001 Certificate | Litres | National | ACCESS MEDICAL (PTY) LTD | LITRES | 51.49 | 257.45 | ZETA | 10 DAYS | SOUTH AFRICA | 1
471111-44462 | 30 Day High Leve disinfectant. A 0.60% Ortho-Phthaldehyde solution that can be used in reprocessing heat sensitive semi critical medical devices for which sterilization is not suitable. Neutral Ph. Concentrate, use dilution to be stated. 2.5-5 L. Must be registered with the National Regulator for Compulsory Specification (NRCS) compliance certificate to be included and manufacture’s ISO 9001 Certificate | Litres | National | ACCESS MEDICAL (PTY) LTD | LITRES | 55.66 | 278.3 | ZETA | 10 DAYS | SOUTH AFRICA | 1
471111-44464 | Broad spectrum disinfectant to ensure bacterial cidal, fungicidal, virucidal, sporicidal and mycobacterialcidal efficacy. Should be non-corrosive, non-toxic and biogradable. Applicable for soaking or under pressure cleaning whilst providing simultaneous terminal disinfection. 5 Litres, 10 Litres Products must comply with the following Standards (Latest edition): ISO/EN/SANS 13485 – 2018 | Litres | National | ACCESS MEDICAL (PTY) LTD | LITRES | 40.8 | 204 | ZETA | 10 DAYS | SOUTH AFRICA | 1
471111-44465 | Broad spectrum disinfectant to ensure bacterial cidal, fungicidal, virucidal, sporicidal and mycobacterialcidal efficacy. Should be non-corrosive, non-toxic and biogradable. Applicable for soaking or under pressure cleaning whilst providing simultaneous terminal disinfection. 5 Litres, 10 Litres Products must comply with the following Standards (Latest edition): ISO/EN/SANS 13485 – 2018 |  | National | ACCESS MEDICAL (PTY) LTD | LITRES | 40.8 | 204 | ZETA | 10 DAYS | SOUTH AFRICA | 1
42281807-00005 | Tape masking medical should withstand 134°C for 3minutes or 121°C for 15 minutes (Steam Sterilization) Size: 50m x 12mm Unit: Roll | millimetres | National | ASSEGAI HEALTHCARE | ROLL | 9.5 | 9.4 | STERI TAPE MASKING | 7-14 DAYS | CHINA (PARTIAL LOCAL CONVERSION) | 648
42281807-00006 | Tape masking medical should withstand 134°C for 3minutes or 121°C for 15 minutes (Steam Sterilization) Size: 50m x 24mm Unit: Roll | millimetres | National | ASSEGAI HEALTHCARE | ROLL | 19 | 18.81 | STERI TAPE MASKING | 7-14 DAYS | CHINA (PARTIAL LOCAL CONVERSION) | 432
42281808-00006 | Paper, sterilization, crêped, white / Blue / Green Suitable for use as a wrapping material for sterilization of dressings, instruments, etc. Paper, mass not less than 57g/m2, moisture repellent and resistant to air and fluid borne barrier. Must comply with the latest issue of SANS 50868-2 and DIN 59953-6 Size: 600mm x 600mm Box of 100 | Box of 100 | National | ASSEGAI HEALTHCARE | 100 SHEETS | 1.09 | 108.4 | STERI CREPE | 7-14 DAYS | SOUTH AFRICA | 50 PACKS
42281808-00007 | Paper, sterilization, crêped, white / Blue / Green Suitable for use as a wrapping material for sterilization of dressings, instruments, etc. Paper, mass not less than 57g/m2, moisture repellent and resistant to air and fluid borne barrier. Must comply with the latest issue of SANS 50868-2 and DIN 59953-6 Size: 900mm x 900mm Box of 100 | Box of 100 | National | ASSEGAI HEALTHCARE | 100 SHEETS | 2.46 | 243.54 | STERI CREPE | 7-14 DAYS | SOUTH AFRICA | 50 PACKS
42281808-00008 | Paper, sterilization, crêped, white / Blue / Green Suitable for use as a wrapping material for sterilization of dressings, instruments, etc. Paper, mass not less than 57g/m2, moisture repellent and resistant to air and fluid borne barrier. Must comply with the latest issue of SANS 50868-2 and DIN 59953-6 Size: 1000mm x 1400mm Box of 100 | Box of 100 | National | ASSEGAI HEALTHCARE | 100 SHEETS | 4.18 | 413.82 | STERI CREPE | 7-14 DAYS | SOUTH AFRICA | 50 PACKS
42281808-00009 | Paper, sterilization, crêped, white / Blue / Green Suitable for use as a wrapping material for sterilization of dressings, instruments, etc. Paper, mass not less than 57g/m2, moisture repellent and resistant to air and fluid borne barrier. Must comply with the latest issue of SANS 50868-2 and DIN 59953-6 Size: 1200mm x 1200mm Box of 100 | Box of 100 | National | ASSEGAI HEALTHCARE | 100 SHEETS | 4.38 | 433.62 | STERI CREPE | 7-14 DAYS | SOUTH AFRICA | 50 PACKS
42281808-00010 | Paper, sterilization, crêped, white / Blue / Green Suitable for use as a wrapping material for sterilization of dressings, instruments, etc. Paper, mass not less than 57g/m2, moisture repellent and resistant to air and fluid borne barrier. Must comply with the latest issue of SANS 50868-2 and DIN 59953-6 Size: 1400mm x 1400mm Box of 100 | Box of 100 | National | ASSEGAI HEALTHCARE | 100 SHEETS | 5.86 | 574.3 | STERI CREPE | 7-14 DAYS | SOUTH AFRICA | 50 PACKS
42281808-00011 | Paper, sterilization, crêped, white / Blue / Green Suitable for use as a wrapping material for sterilization of dressings, instruments, etc. Paper, mass not less than 57g/m2, moisture repellent and resistant to air and fluid borne barrier. Must comply with the latest issue of SANS 50868-2 and DIN 59953-6 Size: 1800mm x 1800mm Box of 100 | Box of 100 | National | ASSEGAI HEALTHCARE | 100 SHEETS | 9.68 | 950 | STERI CREPE | 7-14 DAYS | SOUTH AFRICA | 50 PACKS
42281902-00044 | Wrap, Double, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Heavy duty Size: 900mm x 900mm Pack of 120 Sheets | 120 Sheets | National | ASSEGAI HEALTHCARE | 120 SHEETS / 60 DOUBLE WRAPS | 3.61 | 428.86 | STERI GUARD BONDED | 7-14 DAYS | SOUTH AFRICA (100%LOCAL PRODUCT) | 50 PACKS
42281913-00975 | Tube, sterilization. Flat sterilizing reels: without gusset Heat sealable reels of paper and plastic film Seams to peel open without linting and/or tearing film Sterilization process indicators for steam and ethylene oxide shall be printed at equal distances throughout the roll Suitable for packaging medical instruments, which have to be sterilised in steam or ethylene oxide. Quality of paper shall comply with SANS 50868 and DIN 50953-6 to test for the bacterial barrier. Size: 50mm x 200m Roll | Roll | National | ASSEGAI HEALTHCARE | ROLL | 97 | 97 | C-THRU | 7-14 DAYS | SOUTH AFRICA | 20
42281913-00976 | Tube, sterilization. Flat sterilizing reels: without gusset. Heat sealable reels of paper and plastic film. Quality of paper shall comply with SANS 50868 parts 1, 3, 4 and 5 and DIN 50953-6 to test for the bacterial barrier. Seams to peel open without linting and/or tearing film. Sterilization process indicators for steam and ethylene oxide shall be printed at equal distances throughout the roll. Suitable for packaging medical instruments, which have to be sterilised in steam or ethylene oxide. Size: 75mm x 200m Roll | Roll | National | ASSEGAI HEALTHCARE | ROLL | 142.77 | 142.77 | C-THRU | 7-14 DAYS | SOUTH AFRICA | 20
42281913-00977 | Tube, sterilization. Flat sterilizing reels: without gusset. Heat sealable reels of paper and plastic film. Quality of paper shall comply with SANS 50868 parts 1, 3, 4 and 5 and DIN 50953-6 to test for the bacterial barrier. Seams to peel open without linting and/or tearing film. Sterilization process indicators for steam and ethylene oxide shall be printed at equal distances throughout the roll. Suitable for packaging medical instruments, which have to be sterilised in steam or ethylene oxide. Size: 100mm x 200m Roll | Roll | National | ASSEGAI HEALTHCARE | ROLL | 190.35 | 190.35 | C-THRU | 7-14 DAYS | SOUTH AFRICA | 20
42281913-00978 | Tube, sterilization. Flat sterilizing reels: without gusset. Heat sealable reels of paper and plastic film. Quality of paper shall comply with SANS 50868 parts 1, 3, 4 and 5 and DIN 50953-6 to test for the bacterial barrier. Seams to peel open without linting and/or tearing film. Sterilization process indicators for steam and ethylene oxide shall be printed at equal distances throughout the roll. Suitable for packaging medical instruments, which have to be sterilised in steam or ethylene oxide. Size: 150mm x 200m Roll | Roll | National | ASSEGAI HEALTHCARE | ROLL | 284 | 284 | C-THRU | 7-14 DAYS | SOUTH AFRICA | 20
42281913-00979 | Tube, sterilization. Flat sterilizing reels: without gusset. Heat sealable reels of paper and plastic film. Quality of paper shall comply with SANS 50868 parts 1, 3, 4 and 5 and DIN 50953-6 to test for the bacterial barrier. Seams to peel open without linting and/or tearing film. Sterilization process indicators for steam and ethylene oxide shall be printed at equal distances throughout the roll. Suitable for packaging medical instruments, which have to be sterilised in steam or ethylene oxide. Size: 200mm x 200m Roll | Roll | National | ASSEGAI HEALTHCARE | ROLL | 380.7 | 380.7 | C-THRU | 7-14 DAYS | SOUTH AFRICA | 20
42281913-00980 | Tube, sterilization. Flat sterilizing reels: without gusset. Heat sealable reels of paper and plastic film. Quality of paper shall comply with SANS 50868 parts 1, 3, 4 and 5 and DIN 50953-6 to test for the bacterial barrier. Seams to peel open without linting and/or tearing film. Sterilization process indicators for steam and ethylene oxide shall be printed at equal distances throughout the roll. Suitable for packaging medical instruments, which have to be sterilised in steam or ethylene oxide. Size: 250mm x 200m Roll | Roll | National | ASSEGAI HEALTHCARE | ROLL | 433 | 433 | C-THRU | 7-14 DAYS | SOUTH AFRICA | 20
42281913-00981 | Tube, sterilization. Flat sterilizing reels: without gusset. Heat sealable reels of paper and plastic film. Quality of paper shall comply with SANS 50868 parts 1, 3, 4 and 5 and DIN 50953-6 to test for the bacterial barrier. Seams to peel open without linting and/or tearing film. Sterilization process indicators for steam and ethylene oxide shall be printed at equal distances throughout the roll. Suitable for packaging medical instruments, which have to be sterilised in steam or ethylene oxide. Size: 300mm x 200m Roll | Roll | National | ASSEGAI HEALTHCARE | ROLL | 571.1 | 571.1 | C-THRU | 7-14 DAYS | SOUTH AFRICA | 20
48111-00000 | 592 x 274 x 90 BOTTOM FOR 1/1 CONTAINER HEIGHT:90MM FULL-SIZE LID W/RETENTION PLATE SILVER 1/1 SIZE PERF BASKET 540X253X76MM SILICONE BASKET LINER LARGER SIZE | Containers | National | B. Braun Medical | 1 Set | 5174.5975 | 5174.5975 | Aesculap | 28 - 48 days | Germany | 1 Set
48111-00001 | 592 x 274 x 120 BOTTOM FOR 1/1 CONTAINER HEIGHT:120MM FULL-SIZE LID W/RETENTION PLATE SILVER 1/1 SIZE PERF BASKET 540X253X76MM SILICONE BASKET LINER LARGER SIZE | Containers | National | B. Braun Medical | 1 Set | 5418.34 | 5418.34 | Aesculap | 28 - 48 days | Germany | 1 Set
48111-00002 | 592 x 274 x 135 BOTTOM FOR 1/1 CONTAINER HEIGHT:135MM FULL-SIZE LID W/RETENTION PLATE SILVER 1/1 SIZE PERF BASKET 540X253X76MM SILICONE BASKET LINER LARGER SIZE | Containers | National | B. Braun Medical | 1 Set | 5529.6983 | 5529.6983 | Aesculap | 28 - 48 days | Germany | 1 Set
48111-00003 | 592 x 274 x 135 BOTTOM FOR 1/1 CONTAINER HEIGHT:135MM FULL-SIZE LID W/RETENTION PLATE SILVER 1/1 SIZE PERF BASKET 540X253X76MM 1/1 SIZE PERF BASKET 540X253X56MM SILICONE BASKET LINER LARGER SIZE | Containers | National | B. Braun Medical | 1 Set | 6572.6525 | 6572.6525 | Aesculap | 28 - 48 days | Germany | 1 Set
48111-00004 | 592 x 274 x 187 BOTTOM FOR 1/1 CONTAINER HEIGHT:187MM FULL-SIZE LID W/RETENTION PLATE SILVER 1/1 SIZE PERF BASKET 540X253X76MM 1/1 SIZE PERF BASKET 540X253X56MM 1/1 SIZE PERF BASKET 540X253X36MM SILICONE BASKET LINER LARGER SIZE | Containers | National | B. Braun Medical | 1 Set | 8092.2433 | 8092.2433 | Aesculap | 28 - 48 days | Germany | 1 Set
48111-00005 | 592 x 274 x 187 BOTTOM FOR 1/1 CONTAINER HEIGHT:187MM FULL-SIZE LID W/RETENTION PLATE SILVER 1/1 SIZE PERF BASKET 540X253X106MM 1/1 SIZE PERF BASKET 540X253X76MM SILICONE BASKET LINER LARGER SIZE | Containers | National | B. Braun Medical | 1 Set | 7238.3875 | 7238.3875 | Aesculap | 28 - 48 days | Germany | 1 Set
48111-00007 | 592 x 274 x 247 BOTTOM FOR 1/1 CONTAINER HEIGHT:247MM FULL-SIZE LID W/RETENTION PLATE SILVER 1/1 SIZE PERF BASKET 540X253X106MM SILICONE BASKET LINER LARGER SIZE | Containers | National | B. Braun Medical | 1 Set | 6513.6575 | 6513.6575 | Aesculap | 28 - 48 days | Germany | 1 Set
48111-00008 | 470 x 274 x 90 BOTTOM FOR 3/4 CONTAINER HEIGHT:90MM 3/4-SIZE LID W/RETENTION PLATE SILVER 3/4 SIZE PERF BASKET 406X253X76MM SILICONE BASKET LINER 3/4 SIZE | Containers | National | B. Braun Medical | 1 Set | 4216.7433 | 4216.7433 | Aesculap | 28 - 48 days | Germany | 1 Set
48111-00009 | 470 x 274 x 120 BOTTOM FOR 3/4 CONTAINER HEIGHT:120MM 3/4-SIZE LID W/RETENTION PLATE SILVER 3/4 SIZE PERF BASKET 406X253X76MM SILICONE BASKET LINER 3/4 SIZE | Containers | National | B. Braun Medical | 1 Set | 4367.1633 | 4367.1633 | Aesculap | 28 - 48 days | Germany | 1 Set
48111-00010 | 470 x 274 x 135 BOTTOM FOR 3/4 CONTAINER HEIGHT:135MM 3/4-SIZE LID W/RETENTION PLATE SILVER 3/4 SIZE PERF BASKET 406X253X76MM SILICONE BASKET LINER 3/4 SIZE | Containers | National | B. Braun Medical | 1 Set | 4488.9483 | 4488.9483 | Aesculap | 28 - 48 days | Germany | 1 Set
48111-00011 | 470 x 274 x 135 BOTTOM FOR 3/4 CONTAINER HEIGHT:135MM 3/4-SIZE LID W/RETENTION PLATE SILVER 3/4 SIZE PERF BASKET 406X253X76MM 3/4 SIZE PERF BASKET 406X253X56MM SILICONE BASKET LINER 3/4 SIZE | Containers | National | B. Braun Medical | 1 Set | 5322.0658 | 5322.0658 | Aesculap | 28 - 48 days | Germany | 1 Set
48111-00012 | 470 x 274 x 187 BOTTOM FOR 3/4 CONTAINER HEIGHT:187MM 3/4-SIZE LID W/RETENTION PLATE SILVER 3/4 SIZE PERF BASKET 406X253X76MM SILICONE BASKET LINER 3/4 SIZE | Containers | National | B. Braun Medical | 1 Set | 8101.7883 | 8101.7883 | Aesculap | 28 - 48 days | Germany | 1 Set
48111-00014 | 300 x 274 x 90 BOTTOM FOR 1/2 CONTAINER HEIGHT:90MM 1/2-SIZE LID W/RETENTION PLATE SILVER 1/2 SIZE PERF BASKET 243X253X76MM SILICONE BASKET LINER 1/2-SIZE | Containers | National | B. Braun Medical | 1 Set | 3598.7333 | 3598.7333 | Aesculap | 28 - 48 days | Germany | 1 Set
48111-00015 | 300 x 274 x 120 BOTTOM FOR 1/2 CONTAINER HEIGHT:120MM 1/2-SIZE LID W/RETENTION PLATE SILVER 1/2 SIZE PERF BASKET 243X253X76MM SILICONE BASKET LINER 1/2-SIZE | Containers | National | B. Braun Medical | 1 Set | 3713.5992 | 3713.5992 | Aesculap | 28 - 48 days | Germany | 1 Set
48111-00016 | 300 x 274 x 135 BOTTOM FOR 1/2 CONTAINER HEIGHT:135MM 1/2-SIZE LID W/RETENTION PLATE SILVER 1/2 SIZE PERF BASKET 243X253X76MM SILICONE BASKET LINER 1/2-SIZE | Containers | National | B. Braun Medical | 1 Set | 3778.1717 | 3778.1717 | Aesculap | 28 - 48 days | Germany | 1 Set
48111-00017 | 300 x 274 x 187 BOTTOM FOR 1/2 CONTAINER HEIGHT:187MM 1/2-SIZE LID W/RETENTION PLATE SILVER 1/2 SIZE PERF BASKET 243X253X76MM SILICONE BASKET LINER 1/2-SIZE | Containers | National | B. Braun Medical | 1 Set | 4576.6933 | 4576.6933 | Aesculap | 28 - 48 days | Germany | 1 Set
48111-00018 | Mini Container: 310 x 132 x 57 BOTTOM F/MINI CONTAINER HEIGHT:57MM MINI-SIZE LID W/RETENTION PLATESILVER MINI-SIZE PERF BASKETW/LID49MM SILICONE PAD 277X126X17 | Containers | National | B. Braun Medical | 1 Set | 3013.2683 | 3013.2683 | Aesculap | 28 - 48 days | Germany | 1 Set
48111-00019 | 312 x 190 x 65 QUARTER-SIZE LID & BOTTOM 312X190X65MM DENTAL TRAY TYPE 3 273X176X30MM | Containers | National | B. Braun Medical | 1 Set | 5571.75 | 5571.75 | Aesculap | 28 - 48 days | Germany | 1 Set
48111-00020 | 312 x 190 x 92 QUARTER-SIZE LID & BOTTOM 312X190X92MM DENTAL TRAY TYPE 3 273X176X30MM DENTAL TRAY TYPE 1 273X176X41MM | Containers | National | B. Braun Medical | 1 Set | 8517.1683 | 8517.1683 | Aesculap | 28 - 48 days | Germany | 1 Set
48111-00021 | LABELS FOR REGULAR CONTAINERS: IDENT.LABEL UP TO 13 LETTERS RED IDENTIFICATION LABEL BLUE IDENTIFICATION LABELGREEN IDENTIFICATION LABEL GOLD IDENTIFICATION LABEL PURPLE IDENTIFICATION LABEL OLIVE IDENTIFICATION LABEL BLACK IDENTIFICATION LABEL ORANGE | Containers | National | B. Braun Medical | 1 Set | 23.0575 | 46.115 | Aesculap | 28 - 48 days | Germany | 1 Set
48111-00022 | LABELS FOR MINI AND DENTAL CONTAINERS: IDENT.LABEL UP TO 13 LETTERS RED IDENTIFICATION LABEL BLUE IDENTIFICATION LABELGREEN IDENTIFICATION LABEL GOLD IDENTIFICATION LABEL PURPLE IDENTIFICATION LABEL OLIVE IDENTIFICATION LABEL BLACK IDENTIFICATION LABEL ORANGE | Containers | National | B. Braun Medical | 1 Set | 23.0575 | 46.115 | Aesculap | 28 - 48 days | Germany | 1 Set
48111-00023 | LABEL FOR BASKETS: IDENT.PLATE,DENTAL TRAYS | Containers | National | B. Braun Medical | 1 Unit | 62.5408 | 62.5408 | Aesculap | 28 - 48 days | Germany | 1 Unit
48111-00024 | FILTERS: REUSABLE FILTER FOR CONTAINER | Containers | National | B. Braun Medical | Each | 1103.6167 | 1103.6167 | Aesculap | 28 - 48 days | Germany | 1 Pack
48111-00025 | REUSABLE FILTER FOR F. MINI CONT | Containers | National | B. Braun Medical | Each | 172.0017 | 172.0017 | Aesculap | 28 - 48 days | Germany | 1 Pack
48111-00026 | SEALS | Containers | National | B. Braun Medical | Pack 100 | 1054.1667 | 1054.1667 | Aesculap | 28 - 48 days | Germany | Pack 100
42281806-00004 | Chemical indicator is a paper strip 1,5 cm wide by 20 cm long printed with a chemical indicator ink that turns from off-white to dark brown/black when exposed to the steam sterilization process. It is designed to indicate whether steam has penetrated to the point of placement of the strip, usually the center of a pack. Each strip is perforated at the center if a shorter internal chemical indicator is preferred. An internal chemical indicator should be used inside each pack to be sterilized. Pack of 240 strips | Pack of 240 strips | National | DIVERSE PHARMACEUTICALS (Pty) Ltd | 250 | 0.3 | 74.75 | STERI VISION | INITIALLY 21DAYS THEREAFTER 48-72HRS | TURKEY | 50
42281806-00015 | Indicator, vacuum test pack, Bowie-Dick Must test the efficiency of porous load autoclaves The pack must be made from virgin pulp paper holding in its center the chemical indicator sheet The entire pack must be strengthened by a paper wrap binding, which guarantees the constant compactness of the test pack Must have external chemical indicator Must fully comply with the latest edition of ISO 11140-4 ISO Compliance Certificate to be submitted with bid. Indicators Each OPTION 2 | Each | National | DIVERSE PHARMACEUTICALS (Pty) Ltd | 20 (200SHEET) | 19.55 | 379.5 | STERI VISION | INITIALLY 21DAYS THEREAFTER 48-72HRS | TURKEY | 20BXS
42281807-00005 | Tape masking medical should withstand 134°C for 3minutes or 121°C for 15 minutes (Steam Sterilization) Size: 50m x 12mm Unit: Roll | millimetres | National | DIVERSE PHARMACEUTICALS (Pty) Ltd | ROLL | 8.74 | 8.74 | STERI PRO | INITIALLY 21DAYS THEREAFTER 48-72HRS | CHINA | 288
42281807-00006 | Tape masking medical should withstand 134°C for 3minutes or 121°C for 15 minutes (Steam Sterilization) Size: 50m x 24mm Unit: Roll | millimetres | National | DIVERSE PHARMACEUTICALS (Pty) Ltd | ROLL | 16.96 | 16.96 | STERI PRO | INITIALLY 21DAYS THEREAFTER 48-72HRS | CHINA | 288
42281806-00015 | Indicator, vacuum test pack, Bowie-Dick Must test the efficiency of porous load autoclaves The pack must be made from virgin pulp paper holding in its center the chemical indicator sheet The entire pack must be strengthened by a paper wrap binding, which guarantees the constant compactness of the test pack Must have external chemical indicator Must fully comply with the latest edition of ISO 11140-4 ISO Compliance Certificate to be submitted with bid. Indicators Each | Each | National | Logan Medical & Surgical (Pty) Ltd | Each | 17.6715 | 17.85 | steriflex™ | 7 days | China | 100 units
42281807-00003 | Tape, autoclave, indicator with adhesive Length per roll: 50m To comply with the latest issue of CKS 224 Width 12mm Roll | millimetres | National | Logan Medical & Surgical (Pty) Ltd | ROLL | 16.4835 | 16.65 | steriflex™ | 7 days | China | 100 units
42281807-00004 | Tape, autoclave, indicator with adhesive Length per roll: 50m To comply with the latest issue of CKS 224 Width 24mm Roll | millimetres | National | Logan Medical & Surgical (Pty) Ltd | ROLL | 33.28 | 33.3 | steriflex™ | 7 days | China | 100 units
42281808-00009 | Paper, sterilization, crêped, white / Blue / Green Suitable for use as a wrapping material for sterilization of dressings, instruments, etc. Paper, mass not less than 57g/m2, moisture repellent and resistant to air and fluid borne barrier. Must comply with the latest issue of SANS 50868-2 and DIN 59953-6 Size: 1200mm x 1200mm Box of 100 | Box of 100 | National | Logan Medical & Surgical (Pty) Ltd | Box of 100 | 4.6 | 459.9885 | steriflex™ | 7 days | South Africa | 20 boxes
42281808-00010 | Paper, sterilization, crêped, white / Blue / Green Suitable for use as a wrapping material for sterilization of dressings, instruments, etc. Paper, mass not less than 57g/m2, moisture repellent and resistant to air and fluid borne barrier. Must comply with the latest issue of SANS 50868-2 and DIN 59953-6 Size: 1400mm x 1400mm Box of 100 | Box of 100 | National | Logan Medical & Surgical (Pty) Ltd | Box of 100 | 6.22 | 621.989 | steriflex™ | 7 days | South Africa | 20 boxes
42281902-000333 | Wrap, sterilization, medical, non-woven Must be compatible to be use with steam, ethylene oxide, formaldehyde and Hydrogen peroxide gas sterilization processes Spunbond-Meltblown-Meltblown-Meltblown-Spunbond (SMMMS) To comply with the latest issue of SANS 50868-2 DIN 58953-6, SANS 11607-1 and/or EN868-2 Size: 900 x 1200mm | millimetres | National | Logan Medical & Surgical (Pty) Ltd | Pack of 120 sheets | 3.2 | 382.08 | steriflex™ | 7 days | South Africa | 20 packs
42281902-000334 | Wrap, sterilization, medical, non-woven Must be compatible to be use with steam, ethylene oxide, formaldehyde and Hydrogen peroxide gas sterilization processes Spunbond-Meltblown-Meltblown-Meltblown-Spunbond (SMMMS) To comply with the latest issue of SANS 50868-2 DIN 58953-6, SANS 11607-1 and/or EN868-2 Size: 900 x 1500mm | millimetres | National | Logan Medical & Surgical (Pty) Ltd | Pack of 120 sheets | 3.95 | 471.63 | steriflex™ | 7 days | South Africa | 20 packs
42281902-000335 | Wrap, sterilization, medical, non-woven Must be compatible to be use with steam, ethylene oxide, formaldehyde and Hydrogen peroxide gas sterilization processes Spunbond-Meltblown-Meltblown-Meltblown-Spunbond (SMMMS) To comply with the latest issue of SANS 50868-2 DIN 58953-6, SANS 11607-1 and/or EN868-2 Size: 1200 x 1200mm | millimetres | National | Logan Medical & Surgical (Pty) Ltd | Pack of 120 sheets | 4.85 | 570.36 | steriflex™ | 7 days | South Africa | 20 packs
42281902-000336 | Wrap, sterilization, medical, non-woven Must be compatible to be use with steam, ethylene oxide, formaldehyde and Hydrogen peroxide gas sterilization processes Spunbond-Meltblown-Meltblown-Meltblown-Spunbond (SMMMS) To comply with the latest issue of SANS 50868-2 DIN 58953-6, SANS 11607-1 and/or EN868-2 Size: 1200 x 1400mm | millimetres | National | Logan Medical & Surgical (Pty) Ltd | Pack of 120 sheets | 4.5 | 539.99 | steriflex™ | 7 days | South Africa | 20 packs
42281902-000337 | Wrap, sterilization, medical, non-woven Must be compatible to be use with steam, ethylene oxide, formaldehyde and Hydrogen peroxide gas sterilization processes Spunbond-Meltblown-Meltblown-Meltblown-Spunbond (SMMMS) To comply with the latest issue of SANS 50868-2 DIN 58953-6, SANS 11607-1 and/or EN868-2 Size: 1200 x 1700mm | millimetres | National | Logan Medical & Surgical (Pty) Ltd | Pack of 120 sheets | 6.75 | 795 | steriflex™ | 7 days | South Africa | 20 packs
42281913-00982 | Tube, sterilization. Flat sterilizing reels: without gusset. Heat sealable reels of paper and plastic film. Quality of paper shall comply with SANS 50868 parts 1, 3, 4 and 5 and DIN 50953-6 to test for the bacterial barrier. Seams to peel open without linting and/or tearing film. Sterilization process indicators for steam and ethylene oxide shall be printed at equal distances throughout the roll. Suitable for packaging medical instruments, which have to be sterilised in steam or ethylene oxide. Size: 350mm x 100m Roll | Roll | National | Logan Medical & Surgical (Pty) Ltd | Each | 380 | 376.2 | steriflex™ | 7 days | China | 20 rolls
42281916-00014 | BAG, PAPER, MEDICAL, FOR STEAM STERILIZATION SIZE 1. To comply with the latest issue of CKS 595 (SANS 50868 Parts 1 and 3) and proof of compliance must be submitted.. DIMENSION: 90 mm (width) x 100 mm (length) Gusset: 50mm. Bottom closure according to CKS 595, paragraph 2.2.4 (c). Indicator pattern/band and final colour of indicator ink. PRINTING ON BAG: FRONT SIDE: Do not use if wrapper or seal is damaged, Indicator pattern/band and final colour of indicator ink. BACK SIDE: manufacturers name or trade mark , Size of bag, Designation, Batch number ADDITIONAL PRINTING REQUIRED ON BACK OF BAG CONTENTS: Date of autoclaving, Signature of packer, Expiry date PACKAGING: bale/box of 1 000 bags, Packed in a suitable rigid cardboard box/bale SAMPLE MUST BE SUBMITTED | Box of 1000 bags | National | Logan Medical & Surgical (Pty) Ltd | Box of 1000 | 0.15 | 148.5 | steriflex™ | 7 days | South Africa | 10 boxes
42281916-00015 | BAG, PAPER, MEDICAL, FOR STEAM STERILIZATION SIZE 2 To comply with the latest issue of CKS 595 (SANS 50868 Parts 1 and 3) and proof of compliance must be submitted DIMENSIONS 90mm (width) x 230mm (length), Guess 50mm Bottom closure according to 2.2.4(c) of CKS 595 PRINTING ON BAG FRONT: Do not use if wrapper or seal is damaged, Indicator pattern/band and final colour of indicator ink PRINTING ON BAG BACK: Manufacturer`s, name or trade mark, Size, Designation, Batch number To comply with the latest issue of the relevant parts of SANS 50868 PACKAGING: Box/Bale of 1 000 bags, Packed in a suitable rigid cardboard box/bale SAMPLE ARE REQUIRED | Box of 1000 bags | National | Logan Medical & Surgical (Pty) Ltd | Box of 1000 | 0.3 | 297 | steriflex™ | 7 days | South Africa | 10 boxes
42281916-00016 | BAG PAPER MEDICAL FOR STEAM STERILIZATION SIZE 3 To comply with the latest issue of CKS 595 (SANS 50868 Parts 1 and 3) and proof of compliance must be submitted DIMENSION: 115 mm (width) x 190 mm (length) Gusset: 35 mm Bottom closure according to CKS 595, par. 2.2.4 (c) PRINTING ON BAG: FRONT SIDE: Do not use if wrapper or seal is damaged, Indicator pattern/band and final colour of indicator ink BACK SIDE: Manufacturers name or trade mark, Size of bag, Designation, batch number ADDITIONAL PRINTING REQUIRED ON BACK OF BAG CONTENT: Date of autoclaving, Signature of packer, Expiry date. PACKAGING: Bale/box of 1 000 bags, packed in a suitable rigid cardboard box/bale SAMPLES MUST BE SUBMITTED | Box of 1000 bags | National | Logan Medical & Surgical (Pty) Ltd | Box of 1000 | 0.27 | 267.3 | steriflex™ | 7 days | South Africa | 10 boxes
42281916-00017 | BAG PAPER MEDICAL FOR STEAM STERILIZATION SIZE 4 To comply with the latest issue of CKS 595 (SANS 50868 Parts 1 and 3) and proof of compliance must be submitted DIMENSION: 125mm (width) x 260mm (length) Gusset: 50mm Bottom closure according to CKS 595, par. 2.2.4 (c) PRINTING ON BAG FRONT SIDE: - Do not use if wrapper or seal is damaged, Indicator pattern/band and final colour of indicator ink BACK SIDE: Manufacturers name or trade mark - Size of bag - Designation batch number ADDITIONAL PRINTING REQUIRED ON BACK OF BAG CONTENT: Date of autoclaving, Signature of packer, Expiry date, PACKAGING: bale/box of 1 000 bags, packed in a suitable rigid cardboard box/bale SAMPLES MUST BE SUBMITTED | Box of 1000 bags | National | Logan Medical & Surgical (Pty) Ltd | Box of 1000 | 0.39 | 386.1 | steriflex™ | 7 days | South Africa | 10 boxes
42281916-00018 | BAG PAPER MEDICAL FOR STEAM STERILIZATION SIZE 5 To comply with the latest issue of CKS 595 (SANS 50868 Parts 1 and 3) and proof of compliance must be submitted DIMENSION: 125mm (width) x 230mm (length) Gusset: 50mm Bottom closure according to CKS 595, par. 2.2.4 (c) PRINTING ON BAG FRONT SIDE: Do not use if wrapper or seal is damaged, Indicator pattern/band and final colour of indicator ink BACK SIDE: Manufacturers name or trade mark, Size of bag, Designation, Batch number ADDITIONAL PRINTING REQUIRED ON BACK OF BAG CONTENT: Date of autoclaving, Signature of packer, Expiry date, PACKAGING: bale/box of 1 000 bags, packed in a suitable rigid cardboard box/bale SAMPLES MUST BE SUBMITTED | Box of 1000 bags | National | Logan Medical & Surgical (Pty) Ltd | Box of 1000 | 0.36 | 356.4 | steriflex™ | 7 days | South Africa | 10 boxes
42281916-00019 | BAG PAPER MEDICAL FOR STEAM STERILIZATION SIZE 6 To comply with the latest issue of CKS 595 (SANS 50868 Parts 1 and 3) and proof of compliance must be submitted DIMENSION: 190mm (width) x 320mm (length) Gusset: 60mm Bottom closure according to CKS 595, par. 2.2.4 (c) PRINTING ON BAG FRONT SIDE: - Do not use if wrapper or seal is damaged, Indicator pattern/band and final colour of indicator ink BACK SIDE: Manufacturers name or trade mark, Size of bag, Designation,batch number ADDITIONAL PRINTING REQUIRED ON BACK OF BAG CONTENT: Date of autoclaving, Signature of packer, Expiry date, PACKAGING: bale/box of 1 000 bags, packed in a suitable rigid cardboard box/bale SAMPLES MUST BE SUBMITTED | Box of 1000 bags | National | Logan Medical & Surgical (Pty) Ltd | Box of 1000 | 0.63 | 623.7 | steriflex™ | 7 days | South Africa | 5 boxes
42281916-00020 | BAG PAPER MEDICAL FOR STEAM STERILIZATION SIZE 7 To comply with the latest issue of CKS 595 (SANS 50868 Parts 1 and 3) and proof of compliance must be submitted DIMENSION: 180 mm (width) x 380 mm (length) Gusset: 75 mm Bottom closure according to CKS 595, par. 2.2.4 (c) Indicator pattern/band and final colour of indicator ink PRINTING ON BAG FRONT SIDE: Do not use if wrapper or seal is damaged BACK SIDE: Manufacturers name or trade mark, Size of bag, Designation, Batch number ADDITIONAL PRINTING REQUIRED ON BACK OF BAG CONTENT: Date of autoclaving, Signature of packer, Expiry date, PACKAGING: bale/box of 1 000 bags, Packed in a suitable rigid cardboard box/bale SAMPLES MUST BE SUBMITTED | Box of 1000 bags | National | Logan Medical & Surgical (Pty) Ltd | Box of 1000 | 0.76 | 752.4 | steriflex™ | 7 days | South Africa | 5 boxes
42281916-00022 | BAG PAPER MEDICAL FOR STEAM STERILIZATION SIZE 9 To comply with the latest issue of CKS 595 (SANS 50868 Parts 1 and 3) and proof of compliance must be submitted. DIMENSION: 120mm (width) x 135mm (length) Gusset: 30 mm Bottom closure according to CKS 595, par. 2.2.4 (c) PRINTING ON BAG FRONT SIDE: Do not use if wrapper or seal is damaged, Indicator pattern/band and final colour of indicator ink BACK SIDE: Manufacturers name or trade mark, Size of bag, Designation, batch number ADDITIONAL PRINTING REQUIRED ON BACK OF BAG CONTENT: Date of autoclaving, Signature of packer, Expiry date, PACKAGING: bale/box of 1 000 bags, Packed in a suitable rigid cardboard box/bale SAMPLES MUST BE SUBMITTED | Box of 1000 bags | National | Logan Medical & Surgical (Pty) Ltd | Box of 1000 | 0.2 | 198 | steriflex™ | 7 days | South Africa | 10 boxes
42281916-00023 | BAG PAPER MEDICAL FOR STEAM STERILIZATION SIZE 11 To comply with the latest issue of CKS 595 (SANS 50868 Parts 1 and 3) and proof of compliance must be submitted. DIMENSION: 290mm (width) x 445mm (length) Gusset: 125 mm Bottom closure according to CKS 595, par. 2.2.4 (c) PRINTING ON BAG FRONT SIDE: Do not use if wrapper or seal is damaged, Indicator pattern/band and final colour of indicator ink BACK SIDE: Manufacturers name or trade mark, Size of bag, Designation, batch number ADDITIONAL PRINTING REQUIRED ON BACK OF BAG CONTENT: Date of autoclaving, Signature of packer, Expiry date, PACKAGING: bale/box of 1 000 bags, Packed in a suitable rigid cardboard box/bale SAMPLES MUST BE SUBMITTED | Box of 1000 bags | National | Logan Medical & Surgical (Pty) Ltd | Box of 500 | 1.43 | 707.85 | steriflex™ | 7 days | South Africa | 5 boxes
42281916-00024 | BAG PAPER MEDICAL FOR STEAM STERILIZATION SIZE 12 To comply with the latest issue of CKS 595 (SANS 50868 Parts 1 and 3) and proof of compliance must be submitted. DIMENSION: 330mm (width) x 560mm (length) Gusset: 150 mm Bottom closure according to CKS 595, par. 2.2.4 (c) PRINTING ON BAG FRONT SIDE: Do not use if wrapper or seal is damaged, Indicator pattern/band and final colour of indicator ink BACK SIDE: Manufacturers name or trade mark, Size of bag, Designation, batch number ADDITIONAL PRINTING REQUIRED ON BACK OF BAG CONTENT: Date of autoclaving, Signature of packer, Expiry date, PACKAGING: bale/box of 1 000 bags, Packed in a suitable rigid cardboard box/bale SAMPLES MUST BE SUBMITTED | Box of 1000 bags | National | Logan Medical & Surgical (Pty) Ltd | Box of 500 | 1.9 | 940.5 | steriflex™ | 7 days | South Africa | 5 boxes
471111-44455 | Instrument Processing, Enzymatic cleaner for surgical instruments containing amylase and protease enzymes. Multipurpose pre-soak and cleaner for manual and automated cleaning and ultrasonic washers. Suitable for endoscopes. Neutral pH. Able to remove all organic soil and debris containing protein, lipids and starches. Concentrate, use dilution to be stated. 2.5-5 L. Must be registered with the National Regulator for Compulsory Specification (NRCS) compliance certificate to be included and manufacture’s ISO 9001 Certificate | Litres | National | MABA AFRICA Pty (LTD) | 5L | 32 | 160 | PRISTINE | 3 DAYS | SOUTH AFRICA | 1 CASE OF (5 UNITS INSIDE)
471111-44456 | Instrument Processing, Enzymatic cleaner for surgical instruments containing amylase, lipase and protease enzymes, endoscopes. Neutral Ph. Concentrate, use dilution to be stated. 2.5-5 L. Must be registered with the National Regulator for Compulsory Specification (NRCS) compliance certificate to be included and manufacture’s ISO 9001 Certificate | Litres | National | MABA AFRICA Pty (LTD) | 5L | 34.4 | 172 | PRISTINE | 3 DAYS | SOUTH AFRICA | 1 CASE OF (5 UNITS INSIDE)
42281528-00003 | Low termperature sterilisation H2O2: Autoclave Accessory kit( paper rolls, ribbon, box) Gas H2O2 Accessory Kit | BOX | National | Marcus Medical | BOX CONSISTING OF: 12 Rolls printer paper, 3 Ribbon cartridges, 12 Cassette collection boxes, 6 Vaporizor plates | 4648.7464 | 4592.9664 | ASP KIT,ACCESSORY II,B2 | EX STOCK OR 14 DAYS | THE NETHERLANDS | 1 KIT: 12 Rolls printer paper, 3 Ribbon cartridges, 12 Cassette collection boxes, 6 Vaporizor plates
42281528-00004 | Low termperature sterilisation H2O2: Cassette Hydogen Peroxide Gas H2O2 Cassette | PACK | National | Marcus Medical | 2 CASSETTES OF 5 VILES PER CASSETTE | 1578.6625 | 3119.4351 | ASP CASSETTE, 100 NX | EX STOCK OR 14 DAYS | THE NETHERLANDS | 1 BOX OF 2X5 CASSETTES
42281528-00004 | Low termperature sterilisation H2O2: Cassette Hydogen Peroxide Gas H2O2 Cassette | PACK | National | Marcus Medical | 5 CASSETTES OF 5 VILES PER CASSETTE | 1767.5305 | 8731.6025 | ASP STERRAD 100S CASSETTE - (5x5) | EX STOCK OR 14 DAYS | THE NETHERLANDS | 1 BOX OF 5X5 CASSETTES
42281528-00007 | Low termperature sterilisation packaging roll , Transparent and spunbonded olefin backing H2O2 Packing250mmx70m roll | Roll | National | Marcus Medical | CASE | 3402.0013 | 13444.7053 | ASP TYVEK ROLL 250mm X 70mm (4/Box) | EX STOCK OR 14 DAYS | THE NETHERLANDS | 4 PER CASE
42281528-00008 | Low termperature sterilisation packaging roll , Transparent and spunbonded olefin backing H2O2 Packing350mmx70m roll | Roll | National | Marcus Medical | CASE | 5270.9473 | 10415.3947 | ASP TYVEK ROLL 350mm X 70mm - (2/Box) | EX STOCK OR 14 DAYS | THE NETHERLANDS | 2 PER CASE
42281528-00009 | Low termperature sterilisation packaging roll , Transparent and spunbonded olefin backing H2O2 Packing500mmx70m roll | Roll | National | Marcus Medical | CASE | 7312.9835 | 14450.457 | ASP TYVEK ROLL 500mmx70mm - (2/Box) | EX STOCK OR 14 DAYS | THE NETHERLANDS | 2 PER CASE
42281806-00014 | The Rapid Readout Biological Indicator System provides rapid, reliable monitoring of both steam and vaporised hydrogen peroxide sterilization processes performed in health care facilities in an any well technology Rapid Readout Biological Indicators). The Auto‑reader is designed to incubate and automatically read Rapid Readout Biological Indicators for a final negative fluorescence reading at 24 minutes . | Pack | National | Marcus Medical | 1 each | 116903.8483 | 116903.8483 | ASP VELOCITY RDR | EX STOCK OR 14 DAYS | THE NETHERLANDS | 1
42281806-00018 | Cycle Verification (emulating) indicator for unwrapped Flash steam cycles Conforms to ISO 11140-1, Type 6. Designed to monitor all critical parameters of Time, Steam and Temperature for use in Sterilizers without vacuum, including bench top models. Indicators are available for 134C for 3.5 minutes cycle. Colour changes from yellow (unprocessed) to blue/purple (pass). Product independently certified by British Standards Institute (BSI) and has been awarded a quality Kitemark. Pack Size: 200 |  | National | MEDI-CORE TECHNOLOGIES (PTY) LTD | EACH PIECE | 0.51 | 0.51 | STERIVIC | 21 | CHINA | 20000
42281807-00007 | Tape indicator ethylene oxide 50mm x 12mm | millimetres | National | MEDI-CORE TECHNOLOGIES (PTY) LTD | ROLL | 29.58 | 29.58 | ULIFE | 21 | CHINA | 76
42281902-000344 | Instrument colour code tape, unique vinyl tape for marking all types of surgical instruments. Autoclavable, withstands repeated sterillization cycles. Must be extremely durable and can be used in all types of autoclaves Size: ±6,35mm x ±10m Colour: white Roll | millimetres | National | MEDI-CORE TECHNOLOGIES (PTY) LTD | ROLL | 125 | 125 | ULIFE | 21 | CHINA | 16
42281902-000345 | Instrument colour code tape, unique vinyl tape for marking all types of surgical instruments. Autoclavable, withstands repeated sterillization cycles. Must be extremely durable and can be used in all types of autoclaves Size: ±6,35mm x ±10m Colour: blue Roll | millimetres | National | MEDI-CORE TECHNOLOGIES (PTY) LTD | ROLL | 125 | 125 | ULIFE | 21 | CHINA | 16
42281902-000346 | Instrument colour code tape, unique vinyl tape for marking all types of surgical instruments. Autoclavable, withstands repeated sterillization cycles. Must be extremely durable and can be used in all types of autoclaves Size: ±6,35mm x ±10m Colour: green Roll | millimetres | National | MEDI-CORE TECHNOLOGIES (PTY) LTD | ROLL | 125 | 125 | ULIFE | 21 | CHINA | 16
42281902-000347 | Instrument colour code tape, unique vinyl tape for marking all types of surgical instruments. Autoclavable, withstands repeated sterillization cycles. Must be extremely durable and can be used in all types of autoclaves Size: ±6,35mm x ±10m Colour: red Roll | millimetres | National | MEDI-CORE TECHNOLOGIES (PTY) LTD | ROLL | 125 | 125 | ULIFE | 21 | CHINA | 16
42281902-000348 | Instrument colour code tape, unique vinyl tape for marking all types of surgical instruments. Autoclavable, withstands repeated sterillization cycles. Must be extremely durable and can be used in all types of autoclaves Size: ±6,35mm x ±10m Colour: yellow Roll | millimetres | National | MEDI-CORE TECHNOLOGIES (PTY) LTD | ROLL | 125 | 125 | ULIFE | 21 | CHINA | 16
42281902-000352 | Instrument colour code tape, unique vinyl tape for marking all types of surgical instruments. Autoclavable, withstands repeated sterillization cycles. Must be extremely durable and can be used in all types of autoclaves Size: ±6,35mm x ±10m Colour: black Roll | millimetres | National | MEDI-CORE TECHNOLOGIES (PTY) LTD | ROLL | 125 | 125 | ULIFE | 21 | CHINA | 16
42281902-000354 | Automated tabletop dispenser. Cut Length: 15-170mm. Tape Width: 3-25mm Indicate outside diameter of roll minimum of 150mm. Usable tape type: Autoclavable. Masking tape, Ethylene oxide tape • • Length setting Digital. • • Accuracy of cut ± 1mm • • Clean and need cut. • • Enable to use 2 rolls at the same time. • • Length adjustment must be in millimetre increments. • • Must have a weighted nonslip base. Easy to change the blades without adjustments. |  | National | MEDI-CORE TECHNOLOGIES (PTY) LTD | EACH | 1810.79 | 1810.79 | ZCUT-9 | 21 | CHINA | 4
42281913-00984 | Tube, sterilization. Flat sterilizing reels: with a gusset. Heat sealable reels of paper and plastic film. Quality of paper shall comply with SANS 50868 parts 1, 3, 4 and 5 and DIN 50953-6 to test for the bacterial barrier. Seams to peel open without linting and/or tearing film. Sterilization process indicators for steam and ethylene oxide shall be printed at equal distances throughout the roll. Suitable for packaging medical instruments, which have to be sterilised in steam or ethylene oxide. Size: 75mm x 200m Roll | Roll | National | MEDI-CORE TECHNOLOGIES (PTY) LTD | ROLL(100m) | 147.8 | 147.8 | KNM | 21 | SOUTH AFRICA | 8
42281913-00985 | Tube, sterilization. Flat sterilizing reels: with a gusset. Heat sealable reels of paper and plastic film. Quality of paper shall comply with SANS 50868 parts 1, 3, 4 and 5 and DIN 50953-6 to test for the bacterial barrier. Seams to peel open without linting and/or tearing film. Sterilization process indicators for steam and ethylene oxide shall be printed at equal distances throughout the roll. Suitable for packaging medical instruments, which have to be sterilised in steam or ethylene oxide. Size: 100mm x 200m Roll | Roll | National | MEDI-CORE TECHNOLOGIES (PTY) LTD | ROLL(100m) | 192.11 | 192.11 | KNM | 21 | SOUTH AFRICA | 6
42281913-00986 | Tube, sterilization. Flat sterilizing reels: with a gusset. Heat sealable reels of paper and plastic film. Quality of paper shall comply with SANS 50868 parts 1, 3, 4 and 5 and DIN 50953-6 to test for the bacterial barrier. Seams to peel open without linting and/or tearing film. Sterilization process indicators for steam and ethylene oxide shall be printed at equal distances throughout the roll. Suitable for packaging medical instruments, which have to be sterilised in steam or ethylene oxide. Size: 150mm x 200m Roll | Roll | National | MEDI-CORE TECHNOLOGIES (PTY) LTD | ROLL(100m) | 280.72 | 280.72 | KNM | 21 | SOUTH AFRICA | 4
42281913-00987 | Tube, sterilization. Flat sterilizing reels: with a gusset. Heat sealable reels of paper and plastic film. Quality of paper shall comply with SANS 50868 parts 1, 3, 4 and 5 and DIN 50953-6 to test for the bacterial barrier. Seams to peel open without linting and/or tearing film. Sterilization process indicators for steam and ethylene oxide shall be printed at equal distances throughout the roll. Suitable for packaging medical instruments, which have to be sterilised in steam or ethylene oxide. Size: 200mm x 200m Roll | Roll | National | MEDI-CORE TECHNOLOGIES (PTY) LTD | ROLL(100m) | 360.07 | 360.07 | KNM | 21 | SOUTH AFRICA | 4
42281913-00988 | Tube, sterilization. Flat sterilizing reels: with a gusset. Heat sealable reels of paper and plastic film. Quality of paper shall comply with SANS 50868 parts 1, 3, 4 and 5 and DIN 50953-6 to test for the bacterial barrier. Seams to peel open without linting and/or tearing film. Sterilization process indicators for steam and ethylene oxide shall be printed at equal distances throughout the roll. Suitable for packaging medical instruments, which have to be sterilised in steam or ethylene oxide. Size: 250mm x 200m Roll | Roll | National | MEDI-CORE TECHNOLOGIES (PTY) LTD | ROLL(100m) | 443.21 | 443.21 | KNM | 21 | SOUTH AFRICA | 2
42281913-00989 | Tube, sterilization. Flat sterilizing reels: with a gusset. Heat sealable reels of paper and plastic film. Quality of paper shall comply with SANS 50868 parts 1, 3, 4 and 5 and DIN 50953-6 to test for the bacterial barrier. Seams to peel open without linting and/or tearing film. Sterilization process indicators for steam and ethylene oxide shall be printed at equal distances throughout the roll. Suitable for packaging medical instruments, which have to be sterilised in steam or ethylene oxide. Size: 300mm x 200m Roll | Roll | National | MEDI-CORE TECHNOLOGIES (PTY) LTD | ROLL(100m) | 516.8 | 516.8 | KNM | 21 | SOUTH AFRICA | 2
42281528-00011 | Tracking Labels for labelling machine Tracking Labels 37 x 19MM | Roll | National | Mlungisi Health Care (pty)ltd | STEAM Documentation Label 700 pcs of Roll | 160 | 150 | STERISTAR | 7 days | TURKEY | 10
42281528-00012 | Labelling device for use with steam and gas and low themperature sterilization processess Labelling device must be print on a double adhesive layer label Must be able to print at least 5 different data information on the label device must have a alphanumeric print head Supplier is responsible to maintain the device at no extra cost during contract period on all movable parts of the device Each Item 53, 54, 55 and 56 must be compatible | Roll | National | Mlungisi Health Care (pty)ltd | 3 Lines Handlabler | 3500 | 3450 | STERISTAR | 7 days | TURKEY | 1
42281806-00005 | Ethylene Oxide (EO) Chemical Indicator Strip is a paper strip 1,5 cm wide by 20 cm long printed with a chemical indicator ink that turns from red to green when exposed to the critical parameters of the EO sterilization process (i.e., gas concentration, RH, time and temperature). It is designed to indicate whether EO sterilization conditions have been met at the point of placement of the strip, which should be placed in the area determined to be the least accessible to EO penetration. Each strip is perforated at the center if a shorter internal chemical indicator is preferred. An internal chemical indicator should be used inside each package to be sterilized. Pack of 240 strips | Each | National | Mlungisi Health Care (pty)ltd | Each | 0.55 | 0.5 | Steristar | 7 days | Turkey | 240
49111-00000 | Peracetic acid generating wipes for surface disinfection and cleaning of non-invasive medical devices Single Kit | Millimetres | NATIONAL | Mr First Aid (Pty) Ltd | Pack | 110 | 110 | Clinell | Ex-Stock / 4-8 weeks | UK | Case of 24 packs
49111-00000 | Peracetic acid generating wipes for surface disinfection and cleaning of non-invasive medical devices Pack of 25 wipes | Millimetres | NATIONAL | Mr First Aid (Pty) Ltd | Pack | 6.2 | 155 | Clinell | Ex-Stock / 4-8 weeks | UK | Case of 6 packs
49111-00001 - OFFER 1 | Antimicrobial wipes containing biocide, benalkonium chloride 0.45%, dodecyl ammonium chloride 0.40% and 2% chlorhexidine gluconate or surface disinfection and cleaning of non-invasive medical devices. Pack of 200 wipes | Packs | NATIONAL | Mr First Aid (Pty) Ltd | Pack | 0.75 | 150 | Clinell | Ex-Stock / 4-8 weeks | UK | Case of 6 packs
49111-00001 - OFFER 2 | Antimicrobial wipes containing biocide, benalkonium chloride 0.45%, dodecyl ammonium chloride 0.40% and 2% chlorhexidine gluconate or surface disinfection and cleaning of non-invasive medical devices. Pack of 50 wipes | Packs | NATIONAL | Mr First Aid (Pty) Ltd | Pack | 1 | 50 | Clinell | Ex-Stock / 4-8 weeks | UK | Case of 24 packs
49111-00001 - OFFER 3 | Antimicrobial wipes containing biocide, benalkonium chloride 0.45%, dodecyl ammonium chloride 0.40% and 2% chlorhexidine gluconate or surface disinfection and cleaning of non-invasive medical devices. Bucket 225 wipes | Packs | NATIONAL | Mr First Aid (Pty) Ltd | Pack | 0.91 | 205 | Clinell | Ex-Stock / 4-8 weeks | UK | Case of 4 packs
49111-00001 - OFFER 4 | Antimicrobial wipes containing biocide, benalkonium chloride 0.45%, dodecyl ammonium chloride 0.40% and 2% chlorhexidine gluconate or surface disinfection and cleaning of non-invasive medical devices. Pack of 8 wipes | Packs | NATIONAL | Mr First Aid (Pty) Ltd | Pack | 6.88 | 55 | Clinell | Ex-Stock / 4-8 weeks | UK | Case of 48 packs
42281807-00003 | Tape, autoclave, indicator with adhesive Length per roll: 50m To comply with the latest issue of CKS 224 Width 12mm Roll | millimetres | National | NFR MEDICAL SUPPLIERS CC | ROLL | 18.8 | 17.45 | JIANGMEN | 7 | CHINA | 72
42281806-00006 | Biological Indicator (brown cap) is designed for monitoring steam sterilization processes. Designed for reliable monitoring of steam sterilization processes when used in conjunction with the Auto‑reader . The presence of Geobacillus stearothermophilus spores is detected by a visual color change (media turns yellow). The yellow color change indicates a sterilization process failure. The final readout of a negative result (media remains purple) is made after 48 hours of incubation Pack of 100 vials (Must be compatible with item 42281806-00010) | Pack of 50vials | National | PMS Medical Pty Ltd | 50 | 16.14 | 807 | 3M | Ex stock 6-8 weeks | USA | R10 000
42281806-00006 | Biological Indicator (brown cap) is designed for monitoring steam sterilization processes. Designed for reliable monitoring of steam sterilization processes when used in conjunction with the Auto‑reader . The presence of Geobacillus stearothermophilus spores is detected by a visual color change (media turns yellow). The yellow color change indicates a sterilization process failure. The final readout of a negative result (media remains purple) is made after 48 hours of incubation Pack of 100 vials (Must be compatible with item 42281806-00010) | Pack of 50vials | National | PMS Medical Pty Ltd | 50 | 22.82 | 1141 | 3M | Ex stock 6-8 weeks | USA | R10 000
42281806-00007 | Biological Indicator (green cap) is designed for monitoring of ethylene oxide (E0) sterilization processes. The presence of Bacillus atrophaeus spores is detected by a visual color change (media turns yellow). The yellow color change indicates a sterilization process failure. The final readout of a negative result (media remains green) is made after 48 hours of incubation. Pack of 50 vials | Pack of 50 vials | National | PMS Medical Pty Ltd | 50 | 26.34 | 1317 | 3M | Ex stock 6-8 weeks | USA | R10 000
42281528-00002 | Low termperature sterilisation H2O2: Chemical Indicator Strip to place inside packs Gas H2O2 Chem Indicator Strip | Roll | National | SafMed | Pack of 200 | 3.53 | 690 | Celerity H202 Chemical Indicator | 14 | UK | 1 pack of 200 indicators
42281806-00003 | Indicator for use in determining whether the sterilization process conditions are met inside each pack. Can be used in all 121-135°C sterilization cycles. An internal pack monitor, offers immediate, accurate and easy to read monitoring of the sterilization process conditions. It can be used in all steam sterilizers. Moving front ink technology provides easy to read 'Accept or Reject' result. Conforms to ANSI/AAMI/ISO 11140-1:2005 Type 5 Integrating Pack of 100 strips | Pack of 100 | National | SafMed | 250 | 2.38 | 582 | Browne Type 5 Integrating Indicator | 14 | UK | 1 x bag of 250
42281806-00017 | Multi-variable indicators for Ethylene Oxide sterilization Conforms to ISO 11140-1, Type 4. Designed to react to critical parameters of Time, Temperature, Relative Humidity and EO concentration in all current Ethylene Oxide sterilization processes. Contains non-toxic lead free ink. Colour change from bright orange (unprocessed) to vivid red (pass). Pack Size: 250 | Pack | National | SafMed | 250 | 1 | 246 | Browne Type 4 MVI EO Indicator | 14 | UK | 1 x pack of 250 strips
42281902-000342 | Documentation Envolopes A4-size envolpe to record all relevant information/data to the sterilization process Relevant field must in cludes: Date, Cycle number, Cycle type, Supervisor's name, Number of items in load and processed load control results, Bowie Dick check box for pass or fail and Biological result check box for pass or fail. Must have space to record at least 17 cycles per day Large enough to hold tests, graphs and printouts of the day Pack of 100 envelopes | Pack of 100 | National | SafMed | Pack of 100 | 2.75 | 269 | SafMed Documentation System Envelopes | 14 | South Africa | 1 x Pack of 100 envelopes
42281902-00042 | Wrap, Double, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Mid-Weight Size: 1400mm x 1830mm Pack of 120 Sheets | 120 Sheets | National | SafMed | 100 Interleaved sheets (50 blue/50 green) | 9.71 | 950 | SafMed Tandem 2 Interleaved Sequential Wrap | 14 | South Africa | 1 x pack of 100 Interleaved sheets (50 blue/50 green)
42281902-00046 | Wrap, Double, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Heavy duty Size: 1400mm x 1400mm Pack of 120 Sheets | 120 Sheets | National | SafMed | 100 Interleaved sheets (50 blue/50 green) | 8.13 | 795 | SafMed Tandem 2 Interleaved Sequential Wrap | 14 | South Africa | 1 x pack of 100 Interleaved sheets (50 blue/50 green)
42281902-00047 | Wrap, Double, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Heavy duty Size: 1400mm x 1830mm Pack of 120 Sheets | 120 Sheets | National | SafMed | 100 Interleaved sheets (50 blue/50 green) | 9.71 | 950 | SafMed Tandem 2 Interleaved Sequential Wrap | 14 | South Africa | 1 x pack of 100 Interleaved sheets (50 blue/50 green)
42281528-00011 | Tracking Labels for labelling machine Tracking Labels 37 x 19MM | Roll | National | Supra Healthcare Johannesburg Pty Ltd | Roll | 130.0341 | 130.0341 | Printex | Initially 14 days, thereafter 3 days | Italy | 1 Roll
42281528-00012 | Labelling device for use with steam and gas and low themperature sterilization processess Labelling device must be print on a double adhesive layer label Must be able to print at least 5 different data information on the label device must have a alphanumeric print head Supplier is responsible to maintain the device at no extra cost during contract period on all movable parts of the device Each Item 53, 54, 55 and 56 must be compatible | Roll | National | Supra Healthcare Johannesburg Pty Ltd | 1 Unit | 3628.839 | 3628.839 | Printex | Initially 14 days, thereafter 3 days | Italy | 1 Unit
42281806-00018 | Cycle Verification (emulating) indicator for unwrapped Flash steam cycles Conforms to ISO 11140-1, Type 6. Designed to monitor all critical parameters of Time, Steam and Temperature for use in Sterilizers without vacuum, including bench top models. Indicators are available for 134C for 3.5 minutes cycle. Colour changes from yellow (unprocessed) to blue/purple (pass). Product independently certified by British Standards Institute (BSI) and has been awarded a quality Kitemark. Pack Size: 200 |  | National | Supra Healthcare Johannesburg Pty Ltd | 200 | 1.095 | 219 | Terragene | Initially 21 days, thereafter 7 days | Argentina | 1 Pack
42281916-00015 | BAG, PAPER, MEDICAL, FOR STEAM STERILIZATION SIZE 2 To comply with the latest issue of CKS 595 (SANS 50868 Parts 1 and 3) and proof of compliance must be submitted DIMENSIONS 90mm (width) x 230mm (length), Guess 50mm Bottom closure according to 2.2.4(c) of CKS 595 PRINTING ON BAG FRONT: Do not use if wrapper or seal is damaged, Indicator pattern/band and final colour of indicator ink PRINTING ON BAG BACK: Manufacturer`s, name or trade mark, Size, Designation, Batch number To comply with the latest issue of the relevant parts of SANS 50868 PACKAGING: Box/Bale of 1 000 bags, Packed in a suitable rigid cardboard box/bale SAMPLE ARE REQUIRED | Box of 1000 bags | National | Supra Healthcare Johannesburg Pty Ltd | 1000 | 0.31 | 310 | Avacare | Initially 21 days, thereafter 7 days | China | 1 Box
42281916-00021 | BAG PAPER MEDICAL FOR STEAM STERILIZATION SIZE 8 To comply with the latest issue of CKS 595 (SANS 50868 Parts 1 and 3) and proof of compliance must be submitted. DIMENSION: 65mm (width) x 480 mm (length) Gusset: 30 mm Bottom closure according to CKS 595, par. 2.2.4 (c) PRINTING ON BAG FRONT SIDE: Do not use if wrapper or seal is damaged, Indicator pattern/band and final colour of indicator ink BACK SIDE: Manufacturers name or trade mark, Size of bag, Designation, batch number ADDITIONAL PRINTING REQUIRED ON BACK OF BAG CONTENT: Date of autoclaving, Signature of packer, Expiry date, PACKAGING: bale/box of 1 000 bags, Packed in a suitable rigid cardboard box/bale SAMPLES MUST BE SUBMITTED | Box of 1000 bags | National | Supra Healthcare Johannesburg Pty Ltd | 1000 | 0.933 | 933 | Avacare | Initially 21 days, thereafter 7 days | China | 1 Box
42281916-00025 | BAG PAPER MEDICAL FOR STEAM STERILIZATION SIZE 1020 To comply with the latest issue of CKS 595 (SANS 50868 Parts 1 and 3) and proof of compliance must be submitted. DIMENSION: 65mm (width) x 200mm (length) Gusset: 35 mm Bottom closure according to CKS 595, par. 2.2.4 (c) PRINTING ON BAG FRONT SIDE: Do not use if wrapper or seal is damaged, Indicator pattern/band and final colour of indicator ink BACK SIDE: Manufacturers name or trade mark, Size of bag, Designation, batch number ADDITIONAL PRINTING REQUIRED ON BACK OF BAG CONTENT: Date of autoclaving, Signature of packer, Expiry date, PACKAGING: bale/box of 1 000 bags, Packed in a suitable rigid cardboard box/bale SAMPLES MUST BE SUBMITTED | Box of 1000 bags | National | Supra Healthcare Johannesburg Pty Ltd | 1000 | 0.394 | 394 | Avacare | Initially 21 days, thereafter 7 days | China | 1 Box
42281902-00033 | Wrap, Double, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Regular Size: 600 x 600mm Pack of 240 Sheets | 240 sheets | National | Surgi Plus Medical | 480 | 1.41 | 676.8 | Surgi Plus | 1-3 Working Days | China | 1 box
42281902-00034 | Wrap,Double, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Regular Size: 900 x 900mm Pack of 240 Sheets | 240 sheets | National | Surgi Plus Medical | 288 | 2.91 | 838.08 | Surgi Plus | 1-3 Working Days | China | 1 box
42281902-00036 | Wrap, Double, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Regular Size: 1400 x 1400mm Pack of 120 Sheets | 120 Sheets | National | Surgi Plus Medical | 96 | 7.28 | 698.88 | Surgi Plus | 1-3 Working Days | China | 1 box
42281902-00037 | Wrap, Double, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Regular Size: 1400 x 1830mm Pack of 120 Sheets | 120 Sheets | National | Surgi Plus Medical | 96 | 9.25 | 888 | Surgi Plus | 1-3 Working Days | China | 1 box
42281902-00038 | Wrap, Double, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Mid-Weight Size: 600mm x 600mm Pack of 120 Sheets | 120 Sheets | National | Surgi Plus Medical | 480 | 1.41 | 676.8 | Surgi Plus | 1-3 Working Days | China | 1 box
42281902-00039 | Wrap, Double, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Mid-Weight Size: 900mm x 900mm Pack of 120 Sheets | 120 Sheets | National | Surgi Plus Medical | 288 | 2.91 | 838.08 | Surgi Plus | 1-3 Working Days | China | 1 box
42281902-00040 | Wrap, Double, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Mid-Weight Size: 1200mm x 1200mm Pack of 120 Sheets | 120 Sheets | National | Surgi Plus Medical | 96 | 5.68 | 545.28 | Surgi Plus | 1-3 Working Days | China | 1 box
42281902-00041 | Wrap, Double, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Mid-Weight Size: 1400mm x 1400mm Pack of 120 Sheets | 120 Sheets | National | Surgi Plus Medical | 96 | 7.28 | 698.88 | Surgi Plus | 1-3 Working Days | China | 1 box
42281902-00042 | Wrap, Double, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Mid-Weight Size: 1400mm x 1830mm Pack of 120 Sheets | 120 Sheets | National | Surgi Plus Medical | 96 | 9.25 | 888 | Surgi Plus | 1-3 Working Days | China | 1 box
42281902-00043 | Wrap, Double, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Heavy duty Size: 600mm x 600mm Pack of 120 Sheets | 120 Sheets | National | Surgi Plus Medical | 480 | 1.41 | 676.8 | Surgi Plus | 1-3 Working Days | China | 1 box
42281902-00044 | Wrap, Double, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Heavy duty Size: 900mm x 900mm Pack of 120 Sheets | 120 Sheets | National | Surgi Plus Medical | 288 | 2.91 | 838.08 | Surgi Plus | 1-3 Working Days | China | 1 box
42281902-00045 | Wrap, Double, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Heavy duty Size: 1200mm x 1200mm Pack of 120 Sheets | 120 Sheets | National | Surgi Plus Medical | 96 | 5.68 | 545.28 | Surgi Plus | 1-3 Working Days | China | 1 box
42281902-00046 | Wrap, Double, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Heavy duty Size: 1400mm x 1400mm Pack of 120 Sheets | 120 Sheets | National | Surgi Plus Medical | 96 | 7.28 | 698.88 | Surgi Plus | 1-3 Working Days | China | 1 box
42281902-00047 | Wrap, Double, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Heavy duty Size: 1400mm x 1830mm Pack of 120 Sheets | 120 Sheets | National | Surgi Plus Medical | 96 | 9.25 | 888 | Surgi Plus | 1-3 Working Days | China | 1 box
42281807-00004 | Tape, autoclave, indicator with adhesive Length per roll: 50m To comply with the latest issue of CKS 224 Width 24mm Roll | millimetres | National | SURGICARE MEDICAL | millimetres | 28.85 | 28 | PAKION | 21 | CHINA
42281808-00006 | Paper, sterilization, crêped, white / Blue / Green Suitable for use as a wrapping material for sterilization of dressings, instruments, etc. Paper, mass not less than 57g/m2, moisture repellent and resistant to air and fluid borne barrier. Must comply with the latest issue of SANS 50868-2 and DIN 59953-6 Size: 600mm x 600mm Box of 100 | Box of 100 | National | UNITRADE 1032 CC | 100 | 0.89 | 89 | STERTEC | 7-14 DAYS | ROC | 10 BALES
42281808-00007 | Paper, sterilization, crêped, white / Blue / Green Suitable for use as a wrapping material for sterilization of dressings, instruments, etc. Paper, mass not less than 57g/m2, moisture repellent and resistant to air and fluid borne barrier. Must comply with the latest issue of SANS 50868-2 and DIN 59953-6 Size: 900mm x 900mm Box of 100 | Box of 100 | National | UNITRADE 1032 CC | 100 | 1.94 | 186.24 | STERTEC | 7-14 DAYS | ROC | 10 BALES
42281808-00008 | Paper, sterilization, crêped, white / Blue / Green Suitable for use as a wrapping material for sterilization of dressings, instruments, etc. Paper, mass not less than 57g/m2, moisture repellent and resistant to air and fluid borne barrier. Must comply with the latest issue of SANS 50868-2 and DIN 59953-6 Size: 1000mm x 1400mm Box of 100 | Box of 100 | National | UNITRADE 1032 CC | 100 | 3.27 | 319.5 | STERTEC | 7-14 DAYS | ROC | 10 BALES
42281808-00011 | Paper, sterilization, crêped, white / Blue / Green Suitable for use as a wrapping material for sterilization of dressings, instruments, etc. Paper, mass not less than 57g/m2, moisture repellent and resistant to air and fluid borne barrier. Must comply with the latest issue of SANS 50868-2 and DIN 59953-6 Size: 1800mm x 1800mm Box of 100 | Box of 100 | National | UNITRADE 1032 CC | 100 | 8.67 | 858 | STERTEC | 7-14 DAYS | ROC | 10 BALES
42281902-000333 | Wrap, sterilization, medical, non-woven Must be compatible to be use with steam, ethylene oxide, formaldehyde and Hydrogen peroxide gas sterilization processes Spunbond-Meltblown-Meltblown-Meltblown-Spunbond (SMMMS) To comply with the latest issue of SANS 50868-2 DIN 58953-6, SANS 11607-1 and/or EN868-2 Size: 900 x 1200mm | 100 SHEETS | National | UNITRADE 1032 CC | 100 SHEETS | 3.48 | 339.5 | ECOSTERPLUS | 7-14 DAYS | RSA | 10 BALES
42281902-000334 | Wrap, sterilization, medical, non-woven Must be compatible to be use with steam, ethylene oxide, formaldehyde and Hydrogen peroxide gas sterilization processes Spunbond-Meltblown-Meltblown-Meltblown-Spunbond (SMMMS) To comply with the latest issue of SANS 50868-2 DIN 58953-6, SANS 11607-1 and/or EN868-2 Size: 900 x 1500mm | 100 SHEETS | National | UNITRADE 1032 CC | 100 SHEETS | 4.31 | 422.5 | ECOSTERPLUS | 7-14 DAYS | RSA | 10 BALES
42281902-000335 | Wrap, sterilization, medical, non-woven Must be compatible to be use with steam, ethylene oxide, formaldehyde and Hydrogen peroxide gas sterilization processes Spunbond-Meltblown-Meltblown-Meltblown-Spunbond (SMMMS) To comply with the latest issue of SANS 50868-2 DIN 58953-6, SANS 11607-1 and/or EN868-2 Size: 1200 x 1200mm | 100 SHEETS | National | UNITRADE 1032 CC | 100 SHEETS | 4.8 | 471.5 | ECOSTER PLUS | 7-14 DAYS | RSA | 10 BALES
42281902-000336 | Wrap, sterilization, medical, non-woven Must be compatible to be use with steam, ethylene oxide, formaldehyde and Hydrogen peroxide gas sterilization processes Spunbond-Meltblown-Meltblown-Meltblown-Spunbond (SMMMS) To comply with the latest issue of SANS 50868-2 DIN 58953-6, SANS 11607-1 and/or EN868-2 Size: 1200 x 1400mm | 100 SHEETS | National | UNITRADE 1032 CC | 100 SHEETS | 5.68 | 559.8 | ECOSTERPLUS | 7-14 DAYS | RSA | 10 BALES
42281902-000337 | Wrap, sterilization, medical, non-woven Must be compatible to be use with steam, ethylene oxide, formaldehyde and Hydrogen peroxide gas sterilization processes Spunbond-Meltblown-Meltblown-Meltblown-Spunbond (SMMMS) To comply with the latest issue of SANS 50868-2 DIN 58953-6, SANS 11607-1 and/or EN868-2 Size: 1200 x 1700mm | 100 SHEETS | National | UNITRADE 1032 CC | 100 SHEETS | 6.41 | 635 | ECOSTER PLUS | 7-14 DAYS | RSA | 10 BALES
42281902-000342 | Documentation Envolopes A4-size envolpe to record all relevant information/data to the sterilization process Relevant field must in cludes: Date, Cycle number, Cycle type, Supervisor's name, Number of items in load and processed load control results, Bowie Dick check box for pass or fail and Biological result check box for pass or fail. Must have space to record at least 17 cycles per day Large enough to hold tests, graphs and printouts of the day Pack of 100 envelopes | Pack of 100 | National | UNITRADE 1032 CC | 100 | 3.55 | 348.5 | GLOBAL | 7-14 DAYS | RSA | 10 PACKS
42281902-00035 | Wrap, Double, sterilization, medical, non-woven Spunbond-Meltblown-Spunbond (SMS) To comply with the latest issue of SANS 50868-2 Regular Size: 1200 x 1200mm Pack of 120 Sheets | 120 Sheets | National | UNITRADE 1032 CC | 120 SHEETS | 5.49 | 650.8 | ECOSTERREG | 7-14 DAYS | RSA | 10 BALES
471111-44455 | Instrument Processing, Enzymatic cleaner for surgical instruments containing amylase and protease enzymes. Multipurpose pre-soak and cleaner for manual and automated cleaning and ultrasonic washers. Suitable for endoscopes. Neutral pH. Able to remove all organic soil and debris containing protein, lipids and starches. Concentrate, use dilution to be stated. 2.5-5 L. Must be registered with the National Regulator for Compulsory Specification (NRCS) compliance certificate to be included and manufacture’s ISO 9001 Certificate | Litres | National | VURHENA HEALTH SERVICES | 5 Litres | 36.8 | 180 | ODORITE(BLUE) | 1 -3 DAYS | SOUTH AFRICA | 4
471111-44456 | Instrument Processing, Enzymatic cleaner for surgical instruments containing amylase, lipase and protease enzymes, endoscopes. Neutral Ph. Concentrate, use dilution to be stated. 2.5-5 L. Must be registered with the National Regulator for Compulsory Specification (NRCS) compliance certificate to be included and manufacture’s ISO 9001 Certificate | Litres | National | VURHENA HEALTH SERVICES | 5 litres | 39.6 | 194 | ODORITE(GREEN) | 1-3 DAYS | SOUTH AFRICA | 4
471111-44456 | Instrument Processing, Enzymatic cleaner for surgical instruments containing amylase, lipase and protease enzymes, endoscopes. Neutral Ph. Concentrate, use dilution to be stated. 2.5-5 L. Must be registered with the National Regulator for Compulsory Specification (NRCS) compliance certificate to be included and manufacture’s ISO 9001 Certificate | Litres | National | Vital Life Medical Distributors (PTY) LTD | 5 Litres | 113.85 | 554.3 | SteriTech | 7-14 days | South Africa | 16
471111-44457 | Instrument Processing, Rust and stain remover for surgical instruments for the removal of water mineral staining, rust and corrosion from stainless steel surgical instruments, trays and basins. Non-corrosive. Concentrate, Use dilution to be stated. 2.5-5L To submit manufacturer’s ISO 9001certificate. 93/42/EEC medical device directive | Litres | National | Vital Life Medical Distributors (PTY) LTD | 5 Litres | 73.6 | 356.5 | PrimeSafe | 7-14 days | South Africa | 24
471111-44458 | Instrument Lubricant and cleaner for surgical instruments, compatible with stainless steel titanium, tungsten carbide and aluminium. Neutral pH. Conce ntrate, use dilution to be stated. 2.5- 5L. To submit: manufacturer’s ISO 9001 certificate | Litres | National | Vital Life Medical Distributors (PTY) LTD | 5 Litres | 119.6 | 584.2 | PrimeSafe | 7-14 days | South Africa | 16
471111-44459 | Instrument Lubricant descaler and rust remover. For the removal of scale and mineral deposits in automated washes and autoclaves. Neutral pH. Concentrate, use dilution to be stated. 2.5- 5L. To submit: manufacturer’s ISO 9001 certificate | Litres | National | Vital Life Medical Distributors (PTY) LTD | 5 Litres | 67.85 | 330.05 | PrimeSafe | 7-14 days | South Africa | 24
471111-44460 | 14 Day High Level disinfectant. A 0.60% Ortho-Phthaldehyde solution that can be used in reprocessing heat sensitive semi critical medical devices for which sterilization is not suitable. Otho-Phthaldalhyde Solution Neutral Ph. Concentrate, use dilution to be stated. 2.5-5 L. Must be registered with the National Regulator for Compulsory Specification (NRCS) compliance certificate to be included and manufacture’s ISO 9001 Certificate | Litres | National | Vital Life Medical Distributors (PTY) LTD | 5 Litres | 90.85 | 439.3 | PrimeSafe | 7-14 days | South Africa | 24
471111-44465 | Broad spectrum disinfectant to ensure bacterial cidal, fungicidal, virucidal, sporicidal and mycobacterialcidal efficacy. Should be non-corrosive, non-toxic and biogradable. Applicable for soaking or under pressure cleaning whilst providing simultaneous terminal disinfection. 5 Litres, 10 Litres Products must comply with the following Standards (Latest edition): ISO/EN/SANS 13485 – 2018 | Litres | National | Vital Life Medical Distributors (PTY) LTD | 10 Litres | 71.875 | 697.751 | SteriTech | 7-14 days | South Africa | 12
42281528-00006 | Low termperature sterilisation packaging roll , Transparent and spunbonded olefin backing H2O2 Packing150mmx70m roll | Roll | National | SURGICARE MEDICAL | ROLL | 767.39 | 766.29 | UGAIYA | 21 | CHINA | 4 ROLLS
42281528-00010 | Low termperature sterilisation packaging roll , Transparent and spunbonded olefin backing H2O2 Packing75mmx70m roll | Roll | National | SURGICARE MEDICAL | ROLL | 280.68 | 280.68 | UGAIYA | 21 | CHINA | 8 ROLLS
42281806-00003 | Indicator for use in determining whether the sterilization process conditions are met inside each pack. Can be used in all 121-135°C sterilization cycles. An internal pack monitor, offers immediate, accurate and easy to read monitoring of the sterilization process conditions. It can be used in all steam sterilizers. Moving front ink technology provides easy to read 'Accept or Reject' result. Conforms to ANSI/AAMI/ISO 11140-1:2005 Type 5 Integrating Pack of 100 strips | Pack of 100 | National | SURGICARE MEDICAL | 100 STRIPS | 2.32 | 232 | UGIAYIA | 21 | CHINA | 200 PER BOX
42281806-00004 | Chemical indicator is a paper strip 1,5 cm wide by 20 cm long printed with a chemical indicator ink that turns from off-white to dark brown/black when exposed to the steam sterilization process. It is designed to indicate whether steam has penetrated to the point of placement of the strip, usually the center of a pack. Each strip is perforated at the center if a shorter internal chemical indicator is preferred. An internal chemical indicator should be used inside each pack to be sterilized. Pack of 240 strips | Pack of 240 strips | National | SURGICARE MEDICAL | 240 STRIPS | 0.36 | 86.3 | UGIAYIA | 21 | CHINA | 200 PER BOX
42281807-00004 | Tape, autoclave, indicator with adhesive Length per roll: 50m To comply with the latest issue of CKS 224 Width 24mm Roll | millimetres | National | SURGICARE MEDICAL | ROLL | 28.85 | 28 | PAKION | 21 | CHINA | 100 ROLLS
471111-44461 | 21 Day High Leve disinfectant. A 0.60% Ortho-Phthaldehyde solution that can be used in reprocessing heat sensitive semi critical medical devices for which sterilization is not suitable. Neutral Ph. Concentrate, use dilution to be stated. 2.5-5 L. Must be registered with the National Regulator for Compulsory Specification (NRCS) compliance certificate to be included and manufacture’s ISO 9001 Certificate | Litres | National | SANICHEM | 5 Litre | 219.65 | 897.6 | SaniCide OPA 21 Days | 7-10 Days | RSA | 1 Case
471111-44462 | 30 Day High Leve disinfectant. A 0.60% Ortho-Phthaldehyde solution that can be used in reprocessing heat sensitive semi critical medical devices for which sterilization is not suitable. Neutral Ph. Concentrate, use dilution to be stated. 2.5-5 L. Must be registered with the National Regulator for Compulsory Specification (NRCS) compliance certificate to be included and manufacture’s ISO 9001 Certificate | Litres | National | SANICHEM | 5 Litre | 219.65 | 897.6 | SaniCide OPA 30 Days | 7-10 Days | RSA | 1 Case
471111-44464 | Broad spectrum disinfectant to ensure bacterial cidal, fungicidal, virucidal, sporicidal and mycobacterialcidal efficacy. Should be non-corrosive, non-toxic and biogradable. Applicable for soaking or under pressure cleaning whilst providing simultaneous terminal disinfection. 5 Litres, 10 Litres Products must comply with the following Standards (Latest edition): ISO/EN/SANS 13485 – 2018 | Litres | National | SANICHEM | 10 Litres | 69 | 276 | SaniQuad | 7-10 Days | RSA | 1 Case