## CONSOLIDATED PRICING
CONTRACT NUMBER: RT29-2024
RT29-2024: THE APPOINTMENT OF SERVICE PROVIDERS FOR AUDIT AND TOKEN IDENTIFIER (TID) CONVERSION OF EXISTING PREPAYMENT METERS AND THE SUPPLY, DELIVERY, INSTALLATION, MANAGEMENT, AND MAINTENANCE OF SMART METERING SOLUTION TO THE STATE FOR THE PERIOD 1 JUNE 2024 TO 31 MAY 2027
ITEM # | CATEGORY # | CATEGORY NAME | SERVICE/ ITEM DESCRIPTION | UNIT OF MEASURE | NAME OF BIDDER | FINAL PRICE OFFERED INCL. VAT | BRAND NAME
RT29-01-001 | RT29-001SM | TID compliance and readiness | Audit and TID conversion of existing electricity or water prepayment meter and submission of a detailed audit report, per meter | Per Meter | African Metering Solution | 120 | AMS
RT29-01-001 | RT29-001SM | TID compliance and readiness | Audit and TID conversion of existing electricity or water prepayment meter and submission of a detailed audit report, per meter | Per Meter | MTN | 120 | MTN
RT29-01-001 | RT29-001SM | TID compliance and readiness | Audit and TID conversion of existing electricity or water prepayment meter and submission of a detailed audit report, per meter | Per Meter | Vodacom SA | 138 | Ontec
RT29-01-001 | RT29-001SM | TID compliance and readiness | Audit and TID conversion of existing electricity or water prepayment meter and submission of a detailed audit report, per meter | Per Meter | Conlog | 265.94 | Conlog -Utility App
RT29-01-001 | RT29-001SM | TID compliance and readiness | Audit and TID conversion of existing electricity or water prepayment meter and submission of a detailed audit report, per meter | Per Meter | Landis+Gyr (Pty) Ltd | 298 | N/A
RT29-01-001 | RT29-001SM | TID compliance and readiness | Audit and TID conversion of existing electricity or water prepayment meter and submission of a detailed audit report, per meter | Per Meter | Cigicell-UW JV | 316.25 | Cigicel
RT29-01-002 | RT29-001SM | TID compliance and readiness | Create a third party TID vending change token with no physical site audit, price per TID conversion token issued | Per Meter | Landis+Gyr (Pty) Ltd | 1.15 | Suprima
RT29-01-002 | RT29-001SM | TID compliance and readiness | Create a third party TID vending change token with no physical site audit, price per TID conversion token issued | Per Meter | Vodacom SA | 5 | Ontec
RT29-01-002 | RT29-001SM | TID compliance and readiness | Create a third party TID vending change token with no physical site audit, price per TID conversion token issued | Per Meter | Conlog | 5.06 | Conlog -TID Services
RT29-01-002 | RT29-001SM | TID compliance and readiness | Create a third party TID vending change token with no physical site audit, price per TID conversion token issued | Per Meter | MTN | 5.85 | MTN
RT29-01-002 | RT29-001SM | TID compliance and readiness | Create a third party TID vending change token with no physical site audit, price per TID conversion token issued | Per Meter | African Metering Solution | 6 | AMS
RT29-01-002 | RT29-001SM | TID compliance and readiness | Create a third party TID vending change token with no physical site audit, price per TID conversion token issued | Per Meter | Cigicell-UW JV | Offered at no charge | Cigicel
RT29-01-003 | RT29-001SM | TID compliance and readiness | Create a USSD platform for a customer self-help service, price per TID token issued | Per Meter | Cigicell-UW JV | 1.15 | Cigicel
RT29-01-003 | RT29-001SM | TID compliance and readiness | Create a USSD platform for a customer self-help service, price per TID token issued | Per Meter | Landis+Gyr (Pty) Ltd | 1.15 | N/A
RT29-01-003 | RT29-001SM | TID compliance and readiness | Create a USSD platform for a customer self-help service, price per TID token issued | Per Meter | Vodacom SA | 5 | Ontec
RT29-01-003 | RT29-001SM | TID compliance and readiness | Create a USSD platform for a customer self-help service, price per TID token issued | Per Meter | Conlog | 5.06 | Conlog -TID Services
RT29-01-003 | RT29-001SM | TID compliance and readiness | Create a USSD platform for a customer self-help service, price per TID token issued | Per Meter | MTN | 5.85 | MTN
RT29-01-003 | RT29-001SM | TID compliance and readiness | Create a USSD platform for a customer self-help service, price per TID token issued | Per Meter | African Metering Solution | 6 | AMS
RT29-01-004 | RT29-001SM | TID compliance and readiness | Create a TID customer self-help web page on the existing service provider’s official web site, with direct links to a customer self-help USSD platform and direct access to the existing service providers vending platform | Per web platform | Landis+Gyr (Pty) Ltd | 44230.77 | N/A
RT29-01-004 | RT29-001SM | TID compliance and readiness | Create a TID customer self-help web page on the existing service provider’s official web site, with direct links to a customer self-help USSD platform and direct access to the existing service providers vending platform | Per web platform | Vodacom SA | 57500 | Ontec
RT29-01-004 | RT29-001SM | TID compliance and readiness | Create a TID customer self-help web page on the existing service provider’s official web site, with direct links to a customer self-help USSD platform and direct access to the existing service providers vending platform | Per web platform | MTN | 98400 | MTN
RT29-01-004 | RT29-001SM | TID compliance and readiness | Create a TID customer self-help web page on the existing service provider’s official web site, with direct links to a customer self-help USSD platform and direct access to the existing service providers vending platform | Per web platform | African Metering Solution | 100000 | AMS
RT29-01-004 | RT29-001SM | TID compliance and readiness | Create a TID customer self-help web page on the existing service provider’s official web site, with direct links to a customer self-help USSD platform and direct access to the existing service providers vending platform | Per web platform | Conlog | 206540 | Conlog -TID Services
RT29-01-004 | RT29-001SM | TID compliance and readiness | Create a TID customer self-help web page on the existing service provider’s official web site, with direct links to a customer self-help USSD platform and direct access to the existing service providers vending platform | Per web platform | Cigicell-UW JV | Offered at no charge | Conlog
RT29-01-006 | RT29-001SM | TID compliance and readiness | Price to upgrade Supply Authority vending systems to STS Edition 2, per vending point software upgrade | Per vending point | Vodacom SA | 57.5 | Ontec
RT29-01-006 | RT29-001SM | TID compliance and readiness | Price to upgrade Supply Authority vending systems to STS Edition 2, per vending point software upgrade | Per vending point | Landis+Gyr (Pty) Ltd | 3450 | Suprima
RT29-01-006 | RT29-001SM | TID compliance and readiness | Price to upgrade Supply Authority vending systems to STS Edition 2, per vending point software upgrade | Per vending point | Conlog | 55545 | Conlog -Ultimaplus
RT29-01-006 | RT29-001SM | TID compliance and readiness | Price to upgrade Supply Authority vending systems to STS Edition 2, per vending point software upgrade | Per vending point | African Metering Solution | 100000 | AMS
RT29-01-006 | RT29-001SM | TID compliance and readiness | Price to upgrade Supply Authority vending systems to STS Edition 2, per vending point software upgrade | Per vending point | MTN | 100000 | MTN
RT29-01-006 | RT29-001SM | TID compliance and readiness | Price to upgrade Supply Authority vending systems to STS Edition 2, per vending point software upgrade | Per vending point | Cigicell-UW JV | Offered at no charge | Conlog
RT29-01-007 | RT29-001SM | TID compliance and readiness | Third-party vending services cost only per vending point software upgrade | Per vending point | Vodacom SA | 57.5 | Ontec
RT29-01-007 | RT29-001SM | TID compliance and readiness | Third-party vending services cost only per vending point software upgrade | Per vending point | Conlog | 9343.75 | Conlog - POWERpos
RT29-01-007 | RT29-001SM | TID compliance and readiness | Third-party vending services cost only per vending point software upgrade | Per vending sotware point | African Metering Solution | 50000 | AMS
RT29-01-007 | RT29-001SM | TID compliance and readiness | Third-party vending services cost only per vending point software upgrade | Per vending sotware point | MTN | 50000 | MTN
RT29-01-007 | RT29-001SM | TID compliance and readiness | Third-party vending services cost only per vending point software upgrade | Per vending point | Cigicell-UW JV | Offered at no charge | Cigicel
RT29-01-007 | RT29-001SM | TID compliance and readiness | Third-party vending services cost only per vending point software upgrade | Per vending point | Landis+Gyr (Pty) Ltd | Offered at no charge | N/A
RT29-02-001 | RT29-002SM | Smart meter solution | Network Densification – Sigfox Base stations | Per base station | Isandiso Pipelines | 2200 | Conlog
RT29-02-001 | RT29-002SM | Smart meter solution | Network Densification – Sigfox Base stations | Per base station | Conlog | 28750 | Conlog-wData Concentrator Unit(09)/Boxed
RT29-02-001 | RT29-002SM | Smart meter solution | Network Densification – Sigfox Base stations | Per base station | MTN | 35000 | MTN
RT29-02-001 | RT29-002SM | Smart meter solution | Network Densification – Sigfox Base stations | Per base station | Cigicell-UW JV | 40250 | Sigfox
RT29-02-001 | RT29-002SM | Smart meter solution | Network Densification – Sigfox Base stations | Per base station | African Metering Solution | Offered at no charge | AMS
RT29-02-001 | RT29-002SM | Smart meter solution | Network Densification – Sigfox Base stations | Per base station | Landis+Gyr (Pty) Ltd | Offered at no charge | SigFox/LoRA
RT29-02-001 | RT29-002SM | Smart meter solution | Network Densification – Sigfox Base stations | Per base station | Vodacom SA | Offered at no charge | Sigfox SA
RT29-02-002 | RT29-002SM | Smart meter solution | Supply, Setup, Installation, Commissioning, Data Migration, and Configuration inclusive of Web Portal as detailed in the Scope of Services, over a period of three (3) years | Once off cost per meter | Isandiso Pipelines | 9.6 | Conlog
RT29-02-002 | RT29-002SM | Smart meter solution | Supply, Setup, Installation, Commissioning, Data Migration, and Configuration inclusive of Web Portal as detailed in the Scope of Services, over a period of three (3) years | Once off cost per meter | Conlog | 20.13 | Conlog POWERnova
RT29-02-002 | RT29-002SM | Smart meter solution | Supply, Setup, Installation, Commissioning, Data Migration, and Configuration inclusive of Web Portal as detailed in the Scope of Services, over a period of three (3) years | Cost per meter per month | Cigicell-UW JV | 24.16 | Conlog
RT29-02-002 | RT29-002SM | Smart meter solution | Supply, Setup, Installation, Commissioning, Data Migration, and Configuration inclusive of Web Portal as detailed in the Scope of Services, over a period of three (3) years | Once-off cost (Total cost for unlimited number of meters) | Landis+Gyr (Pty) Ltd | 172327.5 | N/A
RT29-02-002 | RT29-002SM | Smart meter solution | Supply, Setup, Installation, Commissioning, Data Migration, and Configuration inclusive of Web Portal as detailed in the Scope of Services, over a period of three (3) years | Once off cost per meter | African Metering Solution | Offered at no charge | AMS
RT29-02-002 | RT29-002SM | Smart meter solution | Supply, Setup, Installation, Commissioning, Data Migration, and Configuration inclusive of Web Portal as detailed in the Scope of Services, over a period of three (3) years | Once off cost per meter | MTN | Offered at no charge | MTN
RT29-02-002 | RT29-002SM | Smart meter solution | Supply, Setup, Installation, Commissioning, Data Migration, and Configuration inclusive of Web Portal as detailed in the Scope of Services, over a period of three (3) years | Once off cost per meter | Vodacom SA | Offered at no charge | Macrocomm/Ontec
RT29-02-003 | RT29-002SM | Smart meter solution | Smart Metering Licenses | Once-off annual fee per meter | Vodacom SA | 13.8 | Macrocomm/Ontec
RT29-02-003 | RT29-002SM | Smart meter solution | Smart Metering Licenses | Once-off annual fee per meter | Isandiso Pipelines | 90 | Conlog
RT29-02-003 | RT29-002SM | Smart meter solution | Smart Metering Licenses - Water Meters | Once-off annual fee per meter | Cigicell-UW JV | 173 | Conlog
RT29-02-003 | RT29-002SM | Smart meter solution | Smart Metering Licenses | Once-off annual fee per meter | Conlog | 193.2 | N/A
RT29-02-003 | RT29-002SM | Smart meter solution | Smart Metering Licenses - Water Meters | Once-off annual fee per meter | Landis+Gyr (Pty) Ltd | 229.2 | AIM
RT29-02-003 | RT29-002SM | Smart meter solution | Smart Metering Licenses: Electricity Meters | Once-off annual fee per meter | Landis+Gyr (Pty) Ltd | 240 | AIM
RT29-02-003 | RT29-002SM | Smart meter solution | Smart Metering Licenses | Once-off annual fee per meter | African Metering Solution | Offered at no charge | AMS
RT29-02-003 | RT29-002SM | Smart meter solution | Smart Metering Licenses: Electricity Meters | Once-off annual fee per meter | Cigicell-UW JV | Offered at no charge | Conlog
RT29-02-003 | RT29-002SM | Smart meter solution | Smart Metering Licenses | Once-off annual fee per meter | MTN | Offered at no charge | MTN
RT29-02-005 | RT29-002SM | Smart meter solution | Project Management for supply, installation, and configuration ONLY, for the duration of the project | Per month per project | Vodacom SA | 1150 | Macrocomm/Ontec
RT29-02-005 | RT29-002SM | Smart meter solution | Project Management for supply, installation, and configuration ONLY, for the duration of the project | Per month per project | Isandiso Pipelines | 29166.6667 | Conlog
RT29-02-005 | RT29-002SM | Smart meter solution | Project Management for supply, installation, and configuration ONLY, for the duration of the project | Per month per project | Conlog | 69000 | Conlog Managed Services
RT29-02-005 | RT29-002SM | Smart meter solution | Project Management for supply, installation, and configuration ONLY, for the duration of the project | Per month per project | Landis+Gyr (Pty) Ltd | 89700 | N/A
RT29-02-005 | RT29-002SM | Smart meter solution | Project Management for supply, installation, and configuration ONLY, for the duration of the project | Per month per project | Cigicell-UW JV | 145250 | Conlog
RT29-02-005 | RT29-002SM | Smart meter solution | Project Management for supply, installation, and configuration ONLY, for the duration of the project | Per month per project | African Metering Solution | Offered at no charge | AMS
RT29-02-005 | RT29-002SM | Smart meter solution | Project Management for supply, installation, and configuration ONLY, for the duration of the project | Per month per project | MTN | Offered at no charge | MTN
RT29-02-006 | RT29-002SM | Smart meter solution | Training of functional users (estimated at 50 users) | Per training per person | African Metering Solution | 4000 | AMS
RT29-02-006 | RT29-002SM | Smart meter solution | Training of functional users (estimated at 50 users) | Per training session | Vodacom SA | 5000.0045 | Macrocomm/Ontec
RT29-02-006 | RT29-002SM | Smart meter solution | Training of functional users (estimated at 50 users) | Per training session per person | Isandiso Pipelines | 6500 | Conlog
RT29-02-006 | RT29-002SM | Smart meter solution | Training of functional users (estimated at 50 users) | Per training session | MTN | 7200 | MTN
RT29-02-006 | RT29-002SM | Smart meter solution | Training of functional users (estimated at 50 users) | Per training session per 10 users | Landis+Gyr (Pty) Ltd | 13800 | N/A
RT29-02-006 | RT29-002SM | Smart meter solution | Training of functional users (estimated at 50 users) | Per training session of 50 users | Cigicell-UW JV | 53000 | Conlog
RT29-02-006 | RT29-002SM | Smart meter solution | Training of functional users (estimated at 50 users) | Per training session of 50 users | Conlog | 138000 | Conlog Managed Services
RT29-02-007 | RT29-002SM | Smart meter solution | Provision of training and transfer of skills to ICT staff (Estimated at 15 staff members) | Per training per person | African Metering Solution | 4000 | AMS
RT29-02-007 | RT29-002SM | Smart meter solution | Provision of training and transfer of skills to ICT staff (Estimated at 15 staff members) | Per training session | Vodacom SA | 5000.0045 | Macrocomm/Ontec
RT29-02-007 | RT29-002SM | Smart meter solution | Provision of training and transfer of skills to ICT staff (Estimated at 15 staff members) | Per training session per person | Isandiso Pipelines | 6500 | Conlog
RT29-02-007 | RT29-002SM | Smart meter solution | Provision of training and transfer of skills to ICT staff (Estimated at 15 staff members) | Per training session | MTN | 7200 | MTN
RT29-02-007 | RT29-002SM | Smart meter solution | Provision of training and transfer of skills to ICT staff (Estimated at 15 staff members) | Per training session per 5 ICT staff | Landis+Gyr (Pty) Ltd | 20700 | N/A
RT29-02-007 | RT29-002SM | Smart meter solution | Provision of training and transfer of skills to ICT staff (Estimated at 15 staff members) | Per training session of 15 ICT Staff | Cigicell-UW JV | 40250 | Conlog
RT29-02-007 | RT29-002SM | Smart meter solution | Provision of training and transfer of skills to ICT staff (Estimated at 15 staff members) | Per training session of 15 ICT Staff | Conlog | 69000 | Conlog Managed Services
RT29-02-010 | RT29-002SM | Smart meter solution | Price to supply a single phase smart “split type meter” with communication module | Per meter | African Metering Solution | 1892 | AMS
RT29-02-010 | RT29-002SM | Smart meter solution | Price to supply a single phase smart “split type meter” with communication module | Per meter | MTN | 2083 | MTN
RT29-02-010 | RT29-002SM | Smart meter solution | Price to supply a single phase smart “split type meter” with communication module | Per meter | Conlog | 2203.2 | Conlog-APEX1 IDM Meter + IDM CIU (BUZZER) F/A
RT29-02-010 | RT29-002SM | Smart meter solution | Price to supply a single phase smart “split type meter” with communication module | Per meter | Cigicell-UW JV | 2685 | Conlog
RT29-02-010 | RT29-002SM | Smart meter solution | Price to supply a single phase smart “split type meter” with communication module | Per meter | Vodacom SA | 2980 | Hexing
RT29-02-010 | RT29-002SM | Smart meter solution | Price to supply a single phase smart “split type meter” with communication module | Per meter | Isandiso Pipelines | 3491 | Conlog
RT29-02-010 | RT29-002SM | Smart meter solution | Price to supply a single phase smart “split type meter” with communication module | Per meter | Landis+Gyr (Pty) Ltd | 4983.99 | E460
RT29-02-011 | RT29-002SM | Smart meter solution | Price to supply Customer Interface Unit as a replacement to a faulty interface unit | Per interface unit | MTN | 356 | MTN
RT29-02-011 | RT29-002SM | Smart meter solution | Price to supply Customer Interface Unit as a replacement to a faulty interface unit | Per interface unit | Conlog | 394.45 | Conlog-iDM.CIU
RT29-02-011 | RT29-002SM | Smart meter solution | Price to supply Customer Interface Unit as a replacement to a faulty interface unit | Per interface unit | African Metering Solution | 400 | AMS
RT29-02-011 | RT29-002SM | Smart meter solution | Price to supply Customer Interface Unit as a replacement to a faulty interface unit | Per interface unit | Vodacom SA | 465 | Hexing
RT29-02-011 | RT29-002SM | Smart meter solution | Price to supply Customer Interface Unit as a replacement to a faulty interface unit | Per interface unit | Cigicell-UW JV | 483 | Conlog
RT29-02-011 | RT29-002SM | Smart meter solution | Price to supply Customer Interface Unit as a replacement to a faulty interface unit | Per interface unit | Isandiso Pipelines | 520 | Conlog
RT29-02-011 | RT29-002SM | Smart meter solution | Price to supply Customer Interface Unit as a replacement to a faulty interface unit | Per interface unit | Landis+Gyr (Pty) Ltd | 901.6 | E460
RT29-02-012 | RT29-002SM | Smart meter solution | Price to supply and install a single-phase smart “split type”, electricity meter, and customer interface unit and provide a detailed commissioning report and the associated guaranteed monthly billing for a period of three years, post smart meter installation, per smart meter, by making use of cellular communication. | Price per meter | Conlog | 769.0625 | Conlog Managed Services
RT29-02-012 | RT29-002SM | Smart meter solution | Price to supply install a single-phase smart “split type”, electricity meter, customer interface unit and provide a detailed commissioning report and the associated guaranteed monthly billing for a period of three years, post smart meter installation, per smart meter, by making use of cellular communication. | Price per meter | Cigicell-UW JV | 955 | Conlog
RT29-02-012 | RT29-002SM | Smart meter solution | Price to supply and install a single-phase smart “split type”, electricity meter, customer interface unit and provide a detailed commissioning report and the associated guaranteed monthly billing for a period of three years, post smart meter installation, per smart meter, by making use of cellular communication. | Price per meter | Landis+Gyr (Pty) Ltd | 1035 | N/A
RT29-02-012 | RT29-002SM | Smart meter solution | Price to supply and install a single-phase smart “split type”, electricity meter, customer interface unit and provide a detailed commissioning report and the associated guaranteed monthly billing for a period of three years, post smart meter installation, per smart meter, by making use of cellular communication. | Price per meter | Isandiso Pipelines | 1334 | Conlog
RT29-02-012 | RT29-002SM | Smart meter solution | Price to supply and install a single-phase smart “split type”, electricity meter, customer interface unit and provide a detailed commissioning report and the associated guaranteed monthly billing for a period of three years, post smart meter installation, per smart meter, by making use of cellular communication. | Price per meter | MTN | 2760 | MTN
RT29-02-012 | RT29-002SM | Smart meter solution | Price to supply and install a single-phase smart “split type”, electricity meter, customer interface unit and provide a detailed commissioning report and the AMR and MDM billing for a period of three years, post smart meter installation, per smart meter, by making use of cellular communication. | Price per meter | African Metering Solution | 2800 | AMS
RT29-02-012 | RT29-002SM | Smart meter solution | Price to supply and install a single-phase smart “split type”, electricity meter, customer interface unit and provide a detailed commissioning report and the associated guaranteed monthly billing for a period of three years, post smart meter installation, per smart meter, by making use of cellular communication. | Price per meter | Vodacom SA | 3269 | Macrocomm/Ontec
RT29-02-013 | RT29-002SM | Smart meter solution | Price to supply a single-phase smart “split type meter” for communication to Concentrator Unit | Per meter | MTN | 736 | MTN
RT29-02-013 | RT29-002SM | Smart meter solution | Price to supply a single-phase smart “split type meter” for communication to Concentrator Unit | Per meter | African Metering Solution | 800 | AMS
RT29-02-013 | RT29-002SM | Smart meter solution | Price to supply a single-phase smart “split type meter” for communication to Concentrator Unit | Per meter | Conlog | 819.17 | Conlog wBECnano+wCIU (BUZZER) F/A
RT29-02-013 | RT29-002SM | Smart meter solution | Price to supply a single-phase smart “split type meter” for communication to Concentrator Unit | Per meter | Cigicell-UW JV | 1025 | Conlog
RT29-02-013 | RT29-002SM | Smart meter solution | Price to supply a single-phase smart “split type meter” for communication to Concentrator Unit | Per meter | Isandiso Pipelines | 1332.25 | Conlog
RT29-02-013 | RT29-002SM | Smart meter solution | Price to supply a single-phase smart “split type meter” for communication to Concentrator Unit | Per meter | Vodacom SA | 1769.85 | Hexing
RT29-02-013 | RT29-002SM | Smart meter solution | Price to supply a single-phase smart “split type meter” for communication to Concentrator Unit | Per meter | Landis+Gyr (Pty) Ltd | 2296.44 | E460
RT29-02-014 | RT29-002SM | Smart meter solution | Price to supply Data Concentrator Unit | Per data concentrator | African Metering Solution | 9660 | AMS
RT29-02-014 | RT29-002SM | Smart meter solution | Price to supply Data Concentrator Unit | Per data concentrator | MTN | 9660 | MTN
RT29-02-014 | RT29-002SM | Smart meter solution | Price to supply Data Concentrator Unit | Per data concentrator | Vodacom SA | 12536.44 | Hexing
RT29-02-014 | RT29-002SM | Smart meter solution | Price to supply Data Concentrator Unit | Per data concentrator | Conlog | 17250 | Conlog wDCU or RDC
RT29-02-014 | RT29-002SM | Smart meter solution | Price to supply Data Concentrator Unit | Per data concentrator | Landis+Gyr (Pty) Ltd | 20576.84 | E460
RT29-02-014 | RT29-002SM | Smart meter solution | Price to supply Data Concentrator Unit | Per data concentrator | Cigicell-UW JV | 20700 | Conlog
RT29-02-014 | RT29-002SM | Smart meter solution | Price to supply Data Concentrator Unit | Per data concentrator | Isandiso Pipelines | 25000 | Conlog
RT29-02-015 | RT29-002SM | Smart meter solution | Price to supply and install a single-phase smart “split type”, electricity meter and customer interface and provide a detailed commissioning report and the associated guaranteed monthly billing for a period of three years, post smart meter installation, per smart meter, by making use of a smart metering device and cellular communication between the data concentrator at each local transformer position and the main data collector | Per meter | Conlog | 891.25 | Conlog Managed Services
RT29-02-015 | RT29-002SM | Smart meter solution | Price to supply and install a single-phase smart “split type”, electricity meter and customer interface and provide a detailed commissioning report and the associated guaranteed monthly billing for a period of three years, post smart meter installation, per smart meter, by making use of a smart metering device and cellular communication between the data concentrator at each local transformer position and the main data collector | Per meter | Cigicell-UW JV | 955 | Conlog
RT29-02-015 | RT29-002SM | Smart meter solution | Price to supply and install a single-phase smart “split type”, electricity meter and customer interface and provide a detailed commissioning report and the associated guaranteed monthly billing for a period of three years, post smart meter installation, per smart meter, by making use of a smart metering device and cellular communication between the data concentrator at each local transformer position and the main data collector | Per meter | Landis+Gyr (Pty) Ltd | 1035 | N/A
RT29-02-015 | RT29-002SM | Smart meter solution | Price to supply and install a single-phase smart “split type”, electricity meter and customer interface and provide a detailed commissioning report and the associated guaranteed monthly billing for a period of three years, post smart meter installation, per smart meter, by making use of a smart metering device and cellular communication between the data concentrator at each local transformer position and the main data collector | Per meter | Isandiso Pipelines | 1900 | Conlog
RT29-02-015 | RT29-002SM | Smart meter solution | Price to supply and install a single-phase smart “split type”, electricity meter and customer interface and provide a detailed commissioning report and the associated guaranteed monthly billing for a period of three years, post smart meter installation, per smart meter, by making use of a smart metering device and cellular communication between the data concentrator at each local transformer position and the main data collector | Per meter | MTN | 2760 | MTN
RT29-02-015 | RT29-002SM | Smart meter solution | Price to supply and install a single-phase smart “split type”, electricity meter and customer interface and provide a detailed commissioning report and the associated guaranteed monthly billing for a period of three years, post smart meter installation, per smart meter, by making use of a smart metering device and cellular communication between the data concentrator at each local transformer position and the main data collector | Per Meter | African Metering Solution | 2800 | AMS
RT29-02-015 | RT29-002SM | Smart meter solution | Price to supply and install a single-phase smart “split type”, electricity meter and customer interface and provide a detailed commissioning report and the associated guaranteed monthly billing for a period of three years, post smart meter installation, per smart meter, by making use of a smart metering device and cellular communication between the data concentrator at each local transformer position and the main data collector | Per meter | Vodacom SA | 3260 | Macrocomm/Ontec
RT29-02-016 | RT29-002SM | Smart meter solution | Price to supply and install a three-phase smart “ split type meter” with a communication module and sim card | Per meter | African Metering Solution | 2900 | AMS
RT29-02-016 | RT29-002SM | Smart meter solution | Price to supply a three-phase smart “ split type meter” with a communication module and sim card | Per meter | MTN | 3047 | MTN
RT29-02-016 | RT29-002SM | Smart meter solution | Price to supply a three-phase smart “ split type meter” with a communication module and sim card | Per meter | Conlog | 3459.89 | Conlog -APEX3+IDM CIU (BUZZER) F/A
RT29-02-016 | RT29-002SM | Smart meter solution | Price to supply a three-phase smart “ split type meter” with a communication module and sim card | Per meter | Cigicell-UW JV | 4250 | Conlog
RT29-02-016 | RT29-002SM | Smart meter solution | Price to supply a three-phase smart “ split type meter” with a communication module and sim card | Per meter | Isandiso Pipelines | 4500 | Conlog
RT29-02-016 | RT29-002SM | Smart meter solution | Price to supply a three-phase smart “ split type meter” with a communication module and sim card | Per meter | Vodacom SA | 4704.08 | Hexing
RT29-02-016 | RT29-002SM | Smart meter solution | Price to supply a three-phase smart “ split type meter” with a communication module and sim card | Per meter | Landis+Gyr (Pty) Ltd | 5520.4 | E460
RT29-02-017 | RT29-002SM | Smart meter solution | Price to supply and install a three-phase smart “split type”, electricity meter, customer interface unit and provide a detailed commissioning report and the associated guaranteed monthly billing for a period of three years, post smart meter installation, per smart meter, by making use of cellular communication. | Per meter | Cigicell-UW JV | 1140 | Conlog
RT29-02-017 | RT29-002SM | Smart meter solution | Price to supply and install a three-phase smart “split type”, electricity meter, customer interface unit and provide a detailed commissioning report and the associated guaranteed monthly billing for a period of three years, post smart meter installation, per smart meter, by making use of cellular communication. | Per meter | Landis+Gyr (Pty) Ltd | 1596.73 | N/A
RT29-02-017 | RT29-002SM | Smart meter solution | Price to install a three-phase smart “split type”, electricity meter, customer interface unit and provide a detailed commissioning report and the associated guaranteed monthly billing for a period of three years, post smart meter installation, per smart meter, by making use of cellular communication. | Per meter | Isandiso Pipelines | 2500 | Conlog
RT29-02-017 | RT29-002SM | Smart meter solution | Price to install a three-phase smart “split type”, electricity meter, customer interface unit and provide a detailed commissioning report and the associated guaranteed monthly billing for a period of three years, post smart meter installation, per smart meter, by making use of cellular communication. | Per meter | African Metering Solution | 4082 | AMS
RT29-02-017 | RT29-002SM | Smart meter solution | Price to supply and install a three-phase smart “split type”, electricity meter, customer interface unit and provide a detailed commissioning report and the associated guaranteed monthly billing for a period of three years, post smart meter installation, per smart meter, by making use of cellular communication. | Per meter | MTN | 4082 | MTN
RT29-02-017 | RT29-002SM | Smart meter solution | Price to install a three-phase smart “split type”, electricity meter, customer interface unit and provide a detailed commissioning report and the associated guaranteed monthly billing for a period of three years, post smart meter installation, per smart meter, by making use of cellular communication. | Per meter | Vodacom SA | 4595 | Macrocomm/Ontec
RT29-02-017 | RT29-002SM | Smart meter solution | Price to supply and install a three-phase smart “split type”, electricity meter, customer interface unit and provide a detailed commissioning report and the associated guaranteed monthly billing for a period of three years, post smart meter installation, per smart meter, by making use of cellular communication. | Per meter | Conlog | 4959.375 | Conlog Managed Services
RT29-02-018 | RT29-002SM | Smart meter solution | Price to supply a three-phase smart “split type meter” for communication to Concentrator Unit | Per Meter | African Metering Solution | 2656 | AMS
RT29-02-018 | RT29-002SM | Smart meter solution | Price to supply a three-phase smart “split type meter” for communication to Concentrator Unit | Per Meter | MTN | 2656 | MTN
RT29-02-018 | RT29-002SM | Smart meter solution | Price to supply a three-phase smart “split type meter” for communication to Concentrator Unit | Per Meter | Conlog | 2823.25 | Conlog -wBEC62(09)+WUIU F/A
RT29-02-018 | RT29-002SM | Smart meter solution | Price to supply a three-phase smart “split type meter” for communication to Concentrator Unit | Per Meter | Landis+Gyr (Pty) Ltd | 3111.44 | E460
RT29-02-018 | RT29-002SM | Smart meter solution | Price to supply a three-phase smart “split type meter” for communication to Concentrator Unit | Per Meter | Cigicell-UW JV | 3340 | Conlog
RT29-02-018 | RT29-002SM | Smart meter solution | Price to supply a three-phase smart “split type meter” for communication to Concentrator Unit | Per Meter | Vodacom SA | 3406.94 | Hexing
RT29-02-018 | RT29-002SM | Smart meter solution | Price to supply a three-phase smart “split type meter” for communication to Concentrator Unit | Per Meter | Isandiso Pipelines | 4500 | Conlog
RT29-02-019 | RT29-002SM | Smart meter solution | Price to supply and install a three-phase smart “split type”, electricity meter and customer interface and provide a detailed commissioning report and the associated guaranteed monthly billing for a period of three years, post smart meter installation, per smart meter, by making use of a smart metering device and cellular communication between the data concentrator at each local transformer position and the main data collector | Per Meter | Cigicell-UW JV | 1140 | Conlog
RT29-02-019 | RT29-002SM | Smart meter solution | Price to supply and install a three-phase smart “split type”, electricity meter and customer interface and provide a detailed commissioning report and the associated guaranteed monthly billing for a period of three years, post smart meter installation, per smart meter, by making use of a smart metering device and cellular communication between the data concentrator at each local transformer position and the main data collector | Per Meter | Landis+Gyr (Pty) Ltd | 1596.73 | N/A
RT29-02-019 | RT29-002SM | Smart meter solution | Price to supply and install a three-phase smart “split type”, electricity meter and customer interface and provide a detailed commissioning report and the associated guaranteed monthly billing for a period of three years, post smart meter installation, per smart meter, by making use of a smart metering device and cellular communication between the data concentrator at each local transformer position and the main data collector | Per Meter | Isandiso Pipelines | 2000 | Conlog
RT29-02-019 | RT29-002SM | Smart meter solution | Price to supply and install a three-phase smart “split type”, electricity meter and customer interface and provide a detailed commissioning report and the associated guaranteed monthly billing for a period of three years, post smart meter installation, per smart meter, by making use of a smart metering device and cellular communication between the data concentrator at each local transformer position and the main data collector | Per Meter | MTN | 3690 | MTN
RT29-02-019 | RT29-002SM | Smart meter solution | Price to install a three-phase smart “split type”, electricity meter and customer interface and provide a detailed commissioning report and the associated guaranteed monthly billing for a period of three years, post smart meter installation, per smart meter, by making use of a smart metering device and cellular communication between the data concentrator at each local transformer position and the main data collector | Per Meter | African Metering Solution | 4082 | AMS
RT29-02-019 | RT29-002SM | Smart meter solution | Price to supply and a three-phase smart “split type”, electricity meter and customer interface and provide a detailed commissioning report and the associated guaranteed monthly billing for a period of three years, post smart meter installation, per smart meter, by making use of a smart metering device and cellular communication between the data concentrator at each local transformer position and the main data collector | Per Meter | Vodacom SA | 4595 | Macrocomm/Ontec
RT29-02-019 | RT29-002SM | Smart meter solution | Price to supply and install a three-phase smart “split type”, electricity meter and customer interface and provide a detailed commissioning report and the associated guaranteed monthly billing for a period of three years, post smart meter installation, per smart meter, by making use of a smart metering device and cellular communication between the data concentrator at each local transformer position and the main data collector | Per Meter | Conlog | 4959.38 | Conlog Managed Services
RT29-02-020 | RT29-002SM | Smart meter solution | Price to supply a CT/VT smart 5A meter with communication module, | Per Meter | African Metering Solution | 4830 | AMS
RT29-02-020 | RT29-002SM | Smart meter solution | Price to supply a CT/VT smart 5A meter with communication module, | Per Meter | MTN | 4830 | MTN
RT29-02-020 | RT29-002SM | Smart meter solution | Price to supply a CT/VT smart 5A meter with communication module, | Per Meter | Vodacom SA | 6268 | Hexing
RT29-02-020 | RT29-002SM | Smart meter solution | Price to supply a CT/VT smart 5A meter with communication module, | Per Meter | Cigicell-UW JV | 6325 | Conlog
RT29-02-020 | RT29-002SM | Smart meter solution | Price to supply a CT/VT smart 5A meter with communication module, | Per Meter | Landis+Gyr (Pty) Ltd | 6681.96 | E650
RT29-02-020 | RT29-002SM | Smart meter solution | Price to supply a CT/VT smart 5A meter with communication module, | Per Meter | Conlog | 9867 | MetCOM ICG Meter+Modem Set
RT29-02-020 | RT29-002SM | Smart meter solution | Price to supply a CT/VT smart 5A meter with communication module, | Per Meter | Isandiso Pipelines | 11000 | Conlog
RT29-02-021 | RT29-002SM | Smart meter solution | Price to install a CT/VT smart meter, to include the hard wiring of the meter to the CT/VT metering panel but excludes the metering panel hard wiring | Per meter | MTN | 1050 | MTN
RT29-02-021 | RT29-002SM | Smart meter solution | Price to supply and install a CT/VT smart meter, to include the hard wiring of the meter to the CT/VT metering panel but excludes the metering panel hard wiring | Per meter | African Metering Solution | 1100 | AMS
RT29-02-021 | RT29-002SM | Smart meter solution | Price to supply and install a CT/VT smart meter, to include the hard wiring of the meter to the CT/VT metering panel but excludes the metering panel hard wiring | Per meter | Cigicell-UW JV | 1140 | Conlog
RT29-02-021 | RT29-002SM | Smart meter solution | Price to install a CT/VT smart meter, to include the hard wiring of the meter to the CT/VT metering panel but excludes the metering panel hard wiring | Per meter | Vodacom SA | 1725 | Macrocomm/Ontec
RT29-02-021 | RT29-002SM | Smart meter solution | Price to supply and install a CT/VT smart meter, to include the hard wiring of the meter to the CT/VT metering panel but excludes the metering panel hard wiring | Per meter | Landis+Gyr (Pty) Ltd | 5175 | N/A
RT29-02-021 | RT29-002SM | Smart meter solution | Price to supply and install a CT/VT smart meter, to include the hard wiring of the meter to the CT/VT metering panel but excludes the metering panel hard wiring | Per meter | Isandiso Pipelines | 7800 | Conlog
RT29-02-021 | RT29-002SM | Smart meter solution | Price to supply and install a CT/VT smart meter, to include the hard wiring of the meter to the CT/VT metering panel but excludes the metering panel hard wiring | Per meter | Conlog | 9401.25 | Conlog Managed Services
RT29-02-022 | RT29-002SM | Smart meter solution | Price to supply ultrasonic smart water meter (20mm/25mm) | Per meter/device | Vodacom SA | 2466.75 | Kamstrup
RT29-02-022 | RT29-002SM | Smart meter solution | Price to supply ultrasonic smart water meter (20mm/25mm) | Per meter/device | Conlog | 2939.4 | HYDRUS 2.0 -Diehl Ultrasonic meter
RT29-02-022 | RT29-002SM | Smart meter solution | Price to supply ultrasonic smart water meter (20mm/25mm) | Per meter/device | African Metering Solution | 3552 | Laison Technology
RT29-02-022 | RT29-002SM | Smart meter solution | Price to supply ultrasonic smart water meter (20mm/25mm) | Per meter/device | MTN | 3552 | Laison Technology
RT29-02-022 | RT29-002SM | Smart meter solution | Price to supply ultrasonic smart water meter (20mm/25mm) | Per meter/device | Cigicell-UW JV | 3960 | Inzalo Aquaflow LXC
RT29-02-022 | RT29-002SM | Smart meter solution | Price to supply ultrasonic smart water meter (20mm/25mm) | Per meter/device | Isandiso Pipelines | 6000 | HYDRUS 171 -Diehl Ultrasonic meter
RT29-02-023 | RT29-002SM | Smart meter solution | Price to supply Sigfox or LoRA enabled pulse device | Per device | Isandiso Pipelines | 170 | Conlog
RT29-02-023 | RT29-002SM | Smart meter solution | Price to supply Sigfox or LoRA enabled pulse device | Per device | Vodacom SA | 776.25 | MacrocommRTS
RT29-02-023 | RT29-002SM | Smart meter solution | Price to supply Sigfox or LoRA enabled pulse device | Per device | Conlog | 1552.5 | IZARext Comms Unit
RT29-02-023 | RT29-002SM | Smart meter solution | Price to supply Sigfox or LoRA enabled pulse device | Per device | Landis+Gyr (Pty) Ltd | 1592.31 | LoRA Pulse Module
RT29-02-023 | RT29-002SM | Smart meter solution | Price to supply Sigfox or LoRA enabled pulse device | Per device | African Metering Solution | 1610 | Rictron
RT29-02-023 | RT29-002SM | Smart meter solution | Price to supply Sigfox or LoRA enabled pulse device | Per device | MTN | 1610 | MTN
RT29-02-023 | RT29-002SM | Smart meter solution | Price to supply Sigfox or LoRA enabled pulse device | Per device | Cigicell-UW JV | 1800 | Conlog
RT29-02-024 | RT29-002SM | Smart meter solution | Price to re-program a new electricity tariff into an installed electricity smart meter in either prepayment or post-paid mode | Per meter | Cigicell-UW JV | 28.75 | Conlog
RT29-02-024 | RT29-002SM | Smart meter solution | Price to re-program a new electricity tariff into an installed electricity smart meter in either prepayment or post-paid mode | Per meter | Landis+Gyr (Pty) Ltd | 230 | N/A
RT29-02-024 | RT29-002SM | Smart meter solution | Price to re-program a new electricity tariff into an installed electricity smart meter in either prepayment or post-paid mode | Per meter | Vodacom SA | 258 | Macrocomm/Ontec
RT29-02-024 | RT29-002SM | Smart meter solution | Price to re-program a new electricity tariff into an installed electricity smart meter in either prepayment or post-paid mode | Per meter | African Metering Solution | 400 | AMS
RT29-02-024 | RT29-002SM | Smart meter solution | Price to re-program a new electricity tariff into an installed electricity smart meter in either prepayment or post-paid mode | Per meter | MTN | 425 | MTN
RT29-02-024 | RT29-002SM | Smart meter solution | Price to re-program a new electricity tariff into an installed electricity smart meter in either prepayment or post-paid mode | Per meter | Isandiso Pipelines | 800 | Conlog
RT29-02-024 | RT29-002SM | Smart meter solution | Price to re-program a new electricity tariff into an installed electricity smart meter in either prepayment or post-paid mode | Per meter | Conlog | 1897.5 | Conlog Managed Services
RT29-02-025 | RT29-002SM | Smart meter solution | Install smart water meter or similar device and provide a detailed commissioning report and the associated guaranteed monthly billing for a period of three years, post installation, per meter | Per meter | Cigicell-UW JV | 1401.56 | Cigicell-UW JV
RT29-02-025 | RT29-002SM | Smart meter solution | Install smart water meter or similar device and provide a detailed commissioning report and the associated guaranteed monthly billing for a period of three years, post installation, per meter | Per meter | Isandiso Pipelines | 2000 | Isandiso IPE
RT29-02-025 | RT29-002SM | Smart meter solution | Install smart water meter or similar device and provide a detailed commissioning report and the associated guaranteed monthly billing for a period of three years, post installation, per meter | Per meter | Vodacom SA | 3338.3 | Macrocomm/Ontec
RT29-02-025 | RT29-002SM | Smart meter solution | Install smart water meter or similar device and provide a detailed commissioning report and the associated guaranteed monthly billing for a period of three years, post installation, per meter | Per meter | African Metering Solution | 4700 | AMS
RT29-02-025 | RT29-002SM | Smart meter solution | Install smart water meter or similar device and provide a detailed commissioning report and the associated guaranteed monthly billing for a period of three years, post installation, per meter | Per meter | MTN | 4715 | MTN
RT29-02-025 | RT29-002SM | Smart meter solution | Install smart water meter or similar device and provide a detailed commissioning report and the associated guaranteed monthly billing for a period of three years, post installation, per meter | Per meter | Conlog | 4959.38 | Conlog Managed Services
RT29-02-027 | RT29-002SM | Smart meter solution | Fixed price to integrate smart metering system to existing SCADA network for DEMAND load control application, per Supply authority site SCADA location | Per software interface development between SCADA and the smart metering system | Isandiso Pipelines | 11000 | Conlog
RT29-02-027 | RT29-002SM | Smart meter solution | Fixed price to integrate smart metering system to existing SCADA network for DEMAND load control application, per Supply authority site SCADA location | Per software interface development between SCADA and the smart metering system | MTN | 23750 | MTN
RT29-02-027 | RT29-002SM | Smart meter solution | Fixed price to integrate smart metering system to existing SCADA network for DEMAND load control application, per Supply authority site SCADA location | Per software interface development between SCADA and the smart metering system | African Metering Solution | 25000 | AMS
RT29-02-027 | RT29-002SM | Smart meter solution | Fixed price to integrate smart metering system to existing SCADA network for DEMAND load control application, per Supply authority site SCADA location | Per software interface development between SCADA and the smart metering system | Cigicell-UW JV | 250000 | Conlog
RT29-02-027 | RT29-002SM | Smart meter solution | Fixed price to integrate smart metering system to existing SCADA network for DEMAND load control application, per Supply authority site SCADA location | Per software interface development between SCADA and the smart metering system | Conlog | 287500 | Conlog Managed Services
RT29-02-027 | RT29-002SM | Smart meter solution | Fixed price to integrate smart metering system to existing SCADA network for DEMAND load control application, per Supply authority site SCADA location | Per software interface development between SCADA and the smart metering system | Landis+Gyr (Pty) Ltd | 775945.93 | N/A
RT29-02-027 | RT29-002SM | Smart meter solution | Fixed price to integrate smart metering system to existing SCADA network for DEMAND load control application, per Supply authority site SCADA location | Per software interface development between SCADA and the smart metering system | Vodacom SA | Offered at no charge | Macrocomm/Ontec
RT29-02-028 | RT29-002SM | Smart meter solution | Price to perform a smart metering integrity inspection and to re-commision a new smart meter to replace a faulty smart meter where the fault does not fall under the warranty conditions | Per new smart meter installation | African Metering Solution | 600 | AMS
RT29-02-028 | RT29-002SM | Smart meter solution | Price to perform a smart metering integrity inspection and to re-commision a new smart meter to replace a faulty smart meter where the fault does not fall under the warranty conditions | Per new smart meter installation | MTN | 620 | MTN
RT29-02-028 | RT29-002SM | Smart meter solution | Price to perform a smart metering integrity inspection and to re-commision a new smart meter to replace a faulty smart meter where the fault does not fall under the warranty conditions | Per new smart meter installation | Cigicell-UW JV | 1150 | Conlog
RT29-02-028 | RT29-002SM | Smart meter solution | Price to perform a smart metering integrity inspection and to re-commision a new smart meter to replace a faulty smart meter where the fault does not fall under the warranty conditions | Per new smart meter installation | Vodacom SA | 1380 | Macrocomm/Ontec
RT29-02-028 | RT29-002SM | Smart meter solution | Price to perform a smart metering integrity inspection and to re-commision a new smart meter to replace a faulty smart meter where the fault does not fall under the warranty conditions | Per new smart meter installation | Isandiso Pipelines | 850 | Conlog
RT29-02-028 | RT29-002SM | Smart meter solution | Price to perform a smart metering integrity inspection and to re-commision a new smart meter to replace a faulty smart meter where the fault does not fall under the warranty conditions | Per new smart meter installation | Conlog | TBC | Conlog Managed Services
RT29-02-028 | RT29-002SM | Smart meter solution | Price to perform a smart metering integrity inspection and to re-commision a new smart meter to replace a faulty smart meter where the fault does not fall under the warranty conditions | Per new smart meter installation | Landis+Gyr (Pty) Ltd | TBC | N/A
RT29-02-030 | RT29-002SM | Smart meter solution | Price for on-site management engineer to oversee project completion, per Engineer required, per month | Per Engineer required, per month | Vodacom SA | 30000.004 | Macrocomm/Ontec
RT29-02-030 | RT29-002SM | Smart meter solution | Price for on-site management engineer to oversee project completion, per Engineer required, per month | Per Engineer required, per month | MTN | 67000 | MTN
RT29-02-030 | RT29-002SM | Smart meter solution | Price for on-site management engineer to oversee project completion, per Engineer required, per month | Per Engineer required, per month | African Metering Solution | 70000 | AMS
RT29-02-030 | RT29-002SM | Smart meter solution | Price for on-site management engineer to oversee project completion, per Engineer required, per month | Per Engineer required, per month | Isandiso Pipelines | 75000 | Conlog
RT29-02-030 | RT29-002SM | Smart meter solution | Price for on-site management engineer to oversee project completion, per Engineer required, per month | Per Engineer required, per month | Conlog | 79062.5 | Conlog Managed Services
RT29-02-030 | RT29-002SM | Smart meter solution | Price for on-site management engineer to oversee project completion, per Engineer required, per month | Per Engineer required, per month | Landis+Gyr (Pty) Ltd | 102615.39 | N/A
RT29-02-030 | RT29-002SM | Smart meter solution | Price for on-site management engineer to oversee project completion, per Engineer required, per month | Per Engineer required, per month | Cigicell-UW JV | 140000 | Conlog
RT29-02-031 | RT29-002SM | Smart meter solution | Price for one on-site maintenance electrician to maintain the installed smart metering equipment, post 20000 smart meter/device installations, per electrician required, per month. | Per electrician required, per month. | Conlog | 25875 | Conlog Managed Services
RT29-02-031 | RT29-002SM | Smart meter solution | Price for one on-site maintenance electrician to maintain the installed smart metering equipment, post 20000 smart meter/device installations, per electrician required, per month | Per electrician required, per month. | Vodacom SA | 30000.004 | Macrocomm/Ontec
RT29-02-031 | RT29-002SM | Smart meter solution | Price for one on-site maintenance electrician to maintain the installed smart metering equipment, post 20000 smart meter/device installations, per electrician required, per month. | Per electrician required, per month. | MTN | 33800 | MTN
RT29-02-031 | RT29-002SM | Smart meter solution | Price for one on-site maintenance electrician to maintain the installed smart metering equipment, post 20000 smart meter/device installations, per electrician required, per month. | Per electrician required, per month. | African Metering Solution | 34250 | AMS
RT29-02-031 | RT29-002SM | Smart meter solution | Price for one on-site maintenance electrician to maintain the installed smart metering equipment, post 20000 smart meter/device installations, per electrician required, per month. | Per electrician required, per month. | Isandiso Pipelines | 48000 | Conlog
RT29-02-031 | RT29-002SM | Smart meter solution | Price for one on-site maintenance electrician to maintain the installed smart metering equipment, post 20000 smart meter/device installations, per electrician required, per month. | Per electrician required, per month. | Landis+Gyr (Pty) Ltd | 49538.46 | N/A
RT29-02-031 | RT29-002SM | Smart meter solution | Price for one on-site maintenance electrician to maintain the installed smart metering equipment, post 20000 smart meter/device installations, per electrician required, per month. | Per electrician required, per month. | Cigicell-UW JV | 85000 | Conlog
RT29-02-032 | RT29-002SM | Smart meter solution | Price to supply and install a 60-inch TV monitor in a control room set up to manage, display and manage smart meter alarm signals and to display a dashboard of all installed smart meters. Dashboard to include, but not limited to: A. Graphical representation of installed smart meters with GPS location. B. Number of smart meters installed. C. Colour coding of correct functioning smart meters D. Different colour coding of non-functioning smart meters and respective reasons E. Colour coding of demand-managed smart meters and respective limited amperage | Price per monitor | African Metering Solution | 9000 | AMS
RT29-02-032 | RT29-002SM | Smart meter solution | Price to supply and install a 60-inch TV monitor in a control room set up to manage, display and manage smart meter alarm signals and to display a dashboard of all installed smart meters. Dashboard to include, but not limited to: A. Graphical representation of installed smart meters with GPS location. B. Number of smart meters installed. C. Colour coding of correct functioning smart meters D. Different colour coding of non-functioning smart meters and respective reasons E. Colour coding of demand-managed smart meters and respective limited amperage | Price per monitor | MTN | 9000 | MTN
RT29-02-032 | RT29-002SM | Smart meter solution | Price to supply and install a 60-inch TV monitor in a control room set up to manage, display and manage smart meter alarm signals and to display a dashboard of all installed smart meters. Dashboard to include, but not limited to: A. Graphical representation of installed smart meters with GPS location. B. Number of smart meters installed. C. Colour coding of correct functioning smart meters D. Different colour coding of non-functioning smart meters and respective reasons E. Colour coding of demand-managed smart meters and respective limited amperage | Price per monitor | Isandiso Pipelines | 9500 | Conlog
RT29-02-032 | RT29-002SM | Smart meter solution | Price to supply and install a 60-inch TV monitor in a control room set up to manage, display and manage smart meter alarm signals and to display a dashboard of all installed smart meters. Dashboard to include, but not limited to: A. Graphical representation of installed smart meters with GPS location. B. Number of smart meters installed. C. Colour coding of correct functioning smart meters D. Different colour coding of non-functioning smart meters and respective reasons E. Colour coding of demand-managed smart meters and respective limited amperage | Price per monitor | Cigicell-UW JV | 15812.5 | Samsung
RT29-02-032 | RT29-002SM | Smart meter solution | Price to supply and install a 60-inch TV monitor in a control room set up to manage, display and manage smart meter alarm signals and to display a dashboard of all installed smart meters. Dashboard to include, but not limited to: A. Graphical representation of installed smart meters with GPS location. B. Number of smart meters installed. C. Colour coding of correct functioning smart meters D. Different colour coding of non-functioning smart meters and respective reasons E. Colour coding of demand-managed smart meters and respective limited amperage | Price per monitor | Conlog | 21562.5 | Conlog Managed Services
RT29-02-032 | RT29-002SM | Smart meter solution | Price to supply and install a 60-inch TV monitor in a control room set up to manage, display and manage smart meter alarm signals and to display a dashboard of all installed smart meters. Dashboard to include, but not limited to: A. Graphical representation of installed smart meters with GPS location. B. Number of smart meters installed. C. Colour coding of correct functioning smart meters D. Different colour coding of non-functioning smart meters and respective reasons E. Colour coding of demand-managed smart meters and respective limited amperage | Price per monitor | Vodacom SA | 30435.7935 | Macrocomm/Ontec
RT29-02-032 | RT29-002SM | Smart meter solution | Price to supply and install a 60-inch TV monitor in a control room set up to manage, display and manage smart meter alarm signals and to display a dashboard of all installed smart meters. Dashboard to include, but not limited to: A. Graphical representation of installed smart meters with GPS location. B. Number of smart meters installed. C. Colour coding of correct functioning smart meters D. Different colour coding of non-functioning smart meters and respective reasons E. Colour coding of demand-managed smart meters and respective limited amperage | Price per monitor | Landis+Gyr (Pty) Ltd | 71875 | N/A
RT29-03-001 | RT29-003SM | Smart Load Management Solution | Smart Load Management Solution | Per meter per month | African Metering Solution | 6 | AMS
RT29-03-001 | RT29-003SM | Smart Load Management Solution | Smart Load Management Solution | Per meter per month | MTN | 6 | MTN
RT29-03-001 | RT29-003SM | Smart Load Management Solution | Smart Load Management Solution | Per meter per month | Cigicell-UW JV | 27.8 | N/A
RT29-03-001 | RT29-003SM | Smart Load Management Solution | Smart Load Management Solution | Per meter per month | Isandiso Pipelines | 30 | Conlog
RT29-03-001 | RT29-003SM | Smart Load Management Solution | Smart Load Management Solution | Per meter per month | Conlog | Offered at no charge | N/A
RT29-03-001 | RT29-003SM | Smart Load Management Solution | Smart Load Management Solution | Per meter per month | Landis+Gyr (Pty) Ltd | Offered at no charge
RT29-03-001 | RT29-003SM | Smart Load Management Solution | Smart Load Management Solution | Per meter per month | Vodacom SA | Offered at no charge | Macrocomm/Ontec
RT29-03-002 | RT29-003SM | Smart Load Management Solution | Project Public Participation/Awareness | Per advertising campaign | African Metering Solution | 100000 | AMS
RT29-03-002 | RT29-003SM | Smart Load Management Solution | Project Public Participation/Awareness | Per advertising campaign | MTN | 100000 | MTN
RT29-03-002 | RT29-003SM | Smart Load Management Solution | Project Public Participation/Awareness | Per advertising campaign | Cigicell-UW JV | 405822.22 | Cigicell-UW JV
RT29-03-002 | RT29-003SM | Smart Load Management Solution | Project Public Participation/Awareness | Per advertising campaign | Isandiso Pipelines | 450000 | Conlog
RT29-03-002 | RT29-003SM | Smart Load Management Solution | Project Public Participation/Awareness | Per advertising campaign | Landis+Gyr (Pty) Ltd | 543352.89 | Landis+Gyr
RT29-03-002 | RT29-003SM | Smart Load Management Solution | Project Public Participation/Awareness | Per advertising campaign | Conlog | 862500 | Conlog Managed Services
RT29-03-002 | RT29-003SM | Smart Load Management Solution | Project Public Participation/Awareness | Per advertising campaign | Vodacom SA | Offered at no charge | Vodacom
RT29-03-003 | RT29-003SM | Smart Load Management Solution | Project Management for supply, installation, and configuration ONLY, for the duration of the project | Per meter, per month | Conlog | 280.3125 | Conlog Managed Services
RT29-03-003 | RT29-003SM | Smart Load Management Solution | Project Management for supply, installation, and configuration ONLY, for the duration of the project | Per meter, per month | Vodacom SA | 517.5 | Macrocomm/Ontec
RT29-03-003 | RT29-003SM | Smart Load Management Solution | Project Management for supply, installation, and configuration ONLY, for the duration of the project | Total fee per month (no limit in terms of number of meters) | Landis+Gyr (Pty) Ltd | 89700 | N/A
RT29-03-003 | RT29-003SM | Smart Load Management Solution | Project Management for supply, installation, and configuration ONLY, for the duration of the project | Total cost per month | Cigicell-UW JV | 105250 | N/A
RT29-03-003 | RT29-003SM | Smart Load Management Solution | Project Management for supply, installation, and configuration ONLY, for the duration of the project | Total cost per month | Isandiso Pipelines | 150000 | Conlog
RT29-03-003 | RT29-003SM | Smart Load Management Solution | Project Management for supply, installation, and configuration ONLY, for the duration of the project | Per meter, per month | African Metering Solution | Offered at no charge | AMS
RT29-03-003 | RT29-003SM | Smart Load Management Solution | Project Management for supply, installation, and configuration ONLY, for the duration of the project | Per meter, per month | MTN | Offered at no charge | MTN
RT29-03-004 | RT29-003SM | Smart Load Management Solution | Training of functional users (estimated at 50 users) | Per training per person | Vodacom SA | 5000.0045 | Macrocomm/Ontec
RT29-03-004 | RT29-003SM | Smart Load Management Solution | Training of functional users (estimated at 50 users) | Per training per person | Isandiso Pipelines | 6500 | Conlog
RT29-03-004 | RT29-003SM | Smart Load Management Solution | Training of functional users (estimated at 50 users) | Per training per person | MTN | 7050 | MTN
RT29-03-004 | RT29-003SM | Smart Load Management Solution | Training of functional users (estimated at 50 users) | Per training session per 10 users | Landis+Gyr (Pty) Ltd | 13800 | N/A
RT29-03-004 | RT29-003SM | Smart Load Management Solution | Training of functional users (estimated at 50 users) | Per training session | Cigicell-UW JV | 53000 | N/A
RT29-03-004 | RT29-003SM | Smart Load Management Solution | Training of functional users (estimated at 50 users) | Per training session | Conlog | 69000 | Conlog Managed Services
RT29-03-004 | RT29-003SM | Smart Load Management Solution | Training of functional users (estimated at 50 users) | Per training session | African Metering Solution | 150000 | AMS
RT29-03-005 | RT29-003SM | Smart Load Management Solution | Provision of training and transfer of skills to ICT staff (Estimated at 15 staff members) | Per training per person | Vodacom SA | 5000.0045 | Macrocomm/Ontec
RT29-03-005 | RT29-003SM | Smart Load Management Solution | Provision of training and transfer of skills to ICT staff (Estimated at 15 staff members) | Per training per person | Isandiso Pipelines | 6500 | Conlog
RT29-03-005 | RT29-003SM | Smart Load Management Solution | Provision of training and transfer of skills to ICT staff (Estimated at 15 staff members) | Per training per person | MTN | 7050 | MTN
RT29-03-005 | RT29-003SM | Smart Load Management Solution | Provision of training and transfer of skills to ICT staff (Estimated at 15 staff members) | Per training session per 5 ICT staff | Landis+Gyr (Pty) Ltd | 20700 | N/A
RT29-03-005 | RT29-003SM | Smart Load Management Solution | Provision of training and transfer of skills to ICT staff (Estimated at 15 staff members) | Per training session | Cigicell-UW JV | 40250 | N/A
RT29-03-005 | RT29-003SM | Smart Load Management Solution | Provision of training and transfer of skills to ICT staff (Estimated at 15 staff members) | Per training session | African Metering Solution | 80000 | AMS
RT29-03-005 | RT29-003SM | Smart Load Management Solution | Provision of training and transfer of skills to ICT staff (Estimated at 15 staff members) | Per training session | Conlog | 138000 | Conlog Managed Services
RT29-03-007 | RT29-003SM | Smart Load Management Solution | Price to supply a load management device for geysers integrated to the smart metering system functionality (whereby this load can be disconnected from the municipal grid at any given time) . | Per Device | African Metering Solution | 690 | Voltex
RT29-03-007 | RT29-003SM | Smart Load Management Solution | Price to supply a load management device for geysers integrated to the smart metering system functionality (whereby this load can be disconnected from the municipal grid at any given time) . | Per Device | MTN | 690 | MTN
RT29-03-007 | RT29-003SM | Smart Load Management Solution | Price to supply a load management device for geysers integrated to the smart metering system functionality (whereby this load can be disconnected from the municipal grid at any given time) | Per Device | Vodacom SA | 1380 | MacrocommRTS
RT29-03-007 | RT29-003SM | Smart Load Management Solution | Price to supply a load management device for geysers integrated to the smart metering system functionality (whereby this load can be disconnected from the municipal grid at any given time) . | Per Device | Isandiso Pipelines | 1500 | Conlog
RT29-03-007 | RT29-003SM | Smart Load Management Solution | Price to supply a load management device for geysers integrated to the smart metering system functionality (whereby this load can be disconnected from the municipal grid at any given time) . | Per Device | Landis+Gyr (Pty) Ltd | 1515.7 | E460
RT29-03-007 | RT29-003SM | Smart Load Management Solution | Price to supply a load management device for geysers integrated to the smart metering system functionality (whereby this load can be disconnected from the municipal grid at any given time) . | Per Device | Conlog | 1868.75 | Conlog Managed Services
RT29-03-007 | RT29-003SM | Smart Load Management Solution | Price to supply a load management device for geysers integrated to the smart metering system functionality (whereby this load can be disconnected from the municipal grid at any given time) . | Per Device | Cigicell-UW JV | 4450 | N/A
RT29-03-008 | RT29-003SM | Smart Load Management Solution | Fixed price to integrate smart metering system to existing SCADA network software for DEMAND load control application, per Supply authority site SCADA location (NB - The intent is to limit installed capacity from a60 A supply to a 40/30/20/10 A supply for each installed smart meter) | Once off price per meter type | Vodacom SA | 360 | Macrocomm/Ontec
RT29-03-008 | RT29-003SM | Smart Load Management Solution | Fixed price to integrate smart metering system to existing SCADA network software for DEMAND load control application, per Supply authority site SCADA location (NB - The intent is to limit installed capacity from a60 A supply to a 40/30/20/10 A supply for each installed smart meter) | Once off price per meter type | Isandiso Pipelines | 11000 | Conlog
RT29-03-008 | RT29-003SM | Smart Load Management Solution | Fixed price to integrate smart metering system to existing SCADA network software for DEMAND load control application, per Supply authority site SCADA location (NB - The intent is to limit installed capacity from a60 A supply to a 40/30/20/10 A supply for each installed smart meter) | Once off price per meter type | MTN | 28000 | MTN
RT29-03-008 | RT29-003SM | Smart Load Management Solution | Fixed price to integrate smart metering system to existing SCADA network software for DEMAND load control application, per Supply authority site SCADA location (NB - The intent is to limit installed capacity from a60 A supply to a 40/30/20/10 A supply for each installed smart meter) | Once off price per meter type | African Metering Solution | 30000 | AMS
RT29-03-008 | RT29-003SM | Smart Load Management Solution | Fixed price to integrate smart metering system to existing SCADA network software for DEMAND load control application, per Supply authority site SCADA location (NB - The intent is to limit installed capacity from a60 A supply to a 40/30/20/10 A supply for each installed smart meter) | Once off price per meter type | Cigicell-UW JV | 250000 | N/A
RT29-03-008 | RT29-003SM | Smart Load Management Solution | Fixed price to integrate smart metering system to existing SCADA network software for DEMAND load control application, per Supply authority site SCADA location (NB - The intent is to limit installed capacity from a60 A supply to a 40/30/20/10 A supply for each installed smart meter) | Once off price per meter type | Conlog | 287500 | Conlog Managed Services
RT29-03-008 | RT29-003SM | Smart Load Management Solution | Fixed price to integrate smart metering system to existing SCADA network software for DEMAND load control application, per Supply authority site SCADA location (NB - The intent is to limit installed capacity from a60 A supply to a 40/30/20/10 A supply for each installed smart meter) | Once off price per meter type | Landis+Gyr (Pty) Ltd | 775945.93 | N/A
RT29-03-010 | RT29-003SM | Smart Load Management Solution | Price for on-site management engineer to oversee project completion, per Engineer required, per month | Per Engineer required, per month | Vodacom SA | 30000.004 | Macrocomm/Ontec
RT29-03-010 | RT29-003SM | Smart Load Management Solution | Price for on-site management engineer to oversee project completion, per Engineer required, per month | Per Engineer required, per month | African Metering Solution | 70000 | AMS
RT29-03-010 | RT29-003SM | Smart Load Management Solution | Price for on-site management engineer to oversee project completion, per Engineer required, per month | Per Engineer required, per month | MTN | 70000 | MTN
RT29-03-010 | RT29-003SM | Smart Load Management Solution | Price for on-site management engineer to oversee project completion, per Engineer required, per month | Per Engineer required, per month | Isandiso Pipelines | 75000 | Conlog
RT29-03-010 | RT29-003SM | Smart Load Management Solution | Price for on-site management engineer to oversee project completion, per Engineer required, per month | Per Engineer required, per month | Conlog | 79062.5 | Conlog Managed Services
RT29-03-010 | RT29-003SM | Smart Load Management Solution | Price for on-site management engineer to oversee project completion, per Engineer required, per month | Per Engineer required, per month | Landis+Gyr (Pty) Ltd | 102615.39 | N/A
RT29-03-010 | RT29-003SM | Smart Load Management Solution | Price for on-site management engineer to oversee project completion, per Engineer required, per month | Per Engineer required, per month | Cigicell-UW JV | 140000 | N/A
RT29-03-011 | RT29-003SM | Smart Load Management Solution | Price for one on-site maintenance electrician to maintain the installed smart metering equipment, post 20000 smart meter/device installations, per electrician required, per month. | Per electrician required, per month. | Conlog | 25875 | Conlog Managed Services
RT29-03-011 | RT29-003SM | Smart Load Management Solution | Price for one on-site maintenance electrician to maintain the installed smart metering equipment, post 20000 smart meter/device installations, per electrician required, per month | Per electrician required, per month. | Vodacom SA | 30000.004 | Macrocomm/Ontec
RT29-03-011 | RT29-003SM | Smart Load Management Solution | Price for one on-site maintenance electrician to maintain the installed smart metering equipment, post 20000 smart meter/device installations, per electrician required, per month. | Per electrician required, per month. | African Metering Solution | 35000 | AMS
RT29-03-011 | RT29-003SM | Smart Load Management Solution | Price for one on-site maintenance electrician to maintain the installed smart metering equipment, post 20000 smart meter/device installations, per electrician required, per month. | Per electrician required, per month. | MTN | 35000 | MTN
RT29-03-011 | RT29-003SM | Smart Load Management Solution | Price for one on-site maintenance electrician to maintain the installed smart metering equipment, post 20000 smart meter/device installations, per electrician required, per month. | Per electrician required, per month. | Isandiso Pipelines | 40000 | Conlog
RT29-03-011 | RT29-003SM | Smart Load Management Solution | Price for one on-site maintenance electrician to maintain the installed smart metering equipment, post 20000 smart meter/device installations, per electrician required, per month. | Per electrician required, per month. | Landis+Gyr (Pty) Ltd | 49538.46 | N/A
RT29-03-011 | RT29-003SM | Smart Load Management Solution | Price for one on-site maintenance electrician to maintain the installed smart metering equipment, post 20000 smart meter/device installations, per electrician required, per month. | Per electrician required, per month. | Cigicell-UW JV | 85000 | N/A
RT29-03-012 | RT29-003SM | Smart Load Management Solution | Price to supply and install a 60-inch TV monitor in a control room set up to manage, display and manage smart meter alarm signals and to display a dashboard of all installed smart meters. Dashboard to include, but not limited to: A. Graphical representation of installed smart meters with GPS location. B. Number of smart meters installed. C. Colour coding of correct functioning smart meters D. Different colour coding of non-functioning smart meters and respective reasons E. Colour coding of demand-managed smart meters and respective limited amperage | Price per monitor | African Metering Solution | 9000 | AMS
RT29-03-012 | RT29-003SM | Smart Load Management Solution | Price to supply and install a 60-inch TV monitor in a control room set up to manage, display and manage smart meter alarm signals and to display a dashboard of all installed smart meters. Dashboard to include, but not limited to: A. Graphical representation of installed smart meters with GPS location. B. Number of smart meters installed. C. Colour coding of correct functioning smart meters D. Different colour coding of non-functioning smart meters and respective reasons E. Colour coding of demand-managed smart meters and respective limited amperage | Price per monitor | MTN | 9000 | MTN
RT29-03-012 | RT29-003SM | Smart Load Management Solution | Price to supply and install a 60-inch TV monitor in a control room set up to manage, display and manage smart meter alarm signals and to display a dashboard of all installed smart meters. Dashboard to include, but not limited to: A. Graphical representation of installed smart meters with GPS location. B. Number of smart meters installed. C. Colour coding of correct functioning smart meters D. Different colour coding of non-functioning smart meters and respective reasons E. Colour coding of demand-managed smart meters and respective limited amperage | Price per monitor | Isandiso Pipelines | 9500 | Conlog
RT29-03-012 | RT29-003SM | Smart Load Management Solution | Price to supply and install a 60-inch TV monitor in a control room set up to manage, display and manage smart meter alarm signals and to display a dashboard of all installed smart meters. Dashboard to include, but not limited to: A. Graphical representation of installed smart meters with GPS location. B. Number of smart meters installed. C. Colour coding of correct functioning smart meters D. Different colour coding of non-functioning smart meters and respective reasons E. Colour coding of demand-managed smart meters and respective limited amperage | Price per monitor | Cigicell-UW JV | 15812.5 | N/A
RT29-03-012 | RT29-003SM | Smart Load Management Solution | Price to supply and install a 60-inch TV monitor in a control room set up to manage, display and manage smart meter alarm signals and to display a dashboard of all installed smart meters. Dashboard to include, but not limited to: A. Graphical representation of installed smart meters with GPS location. B. Number of smart meters installed. C. Colour coding of correct functioning smart meters D. Different colour coding of non-functioning smart meters and respective reasons E. Colour coding of demand-managed smart meters and respective limited amperage | Price per monitor | Conlog | 21562.5 | Conlog Managed Services
RT29-03-012 | RT29-003SM | Smart Load Management Solution | Price to supply and install a 60-inch TV monitor in a control room set up to manage, display and manage smart meter alarm signals and to display a dashboard of all installed smart meters. Dashboard to include, but not limited to: A. Graphical representation of installed smart meters with GPS location. B. Number of smart meters installed. C. Colour coding of correct functioning smart meters D. Different colour coding of non-functioning smart meters and respective reasons E. Colour coding of demand-managed smart meters and respective limited amperage | Price per monitor | Vodacom SA | 30435.79 | Macrocomm/Ontec
RT29-03-012 | RT29-003SM | Smart Load Management Solution | Price to supply and install a 60-inch TV monitor in a control room set up to manage, display and manage smart meter alarm signals and to display a dashboard of all installed smart meters. Dashboard to include, but not limited to: A. Graphical representation of installed smart meters with GPS location. B. Number of smart meters installed. C. Colour coding of correct functioning smart meters D. Different colour coding of non-functioning smart meters and respective reasons E. Colour coding of demand-managed smart meters and respective limited amperage | Price per monitor | Landis+Gyr (Pty) Ltd | 71875 | N/A

## TID Group
CONTRACT NUMBER: RT29-2024
RT29-2024: THE APPOINTMENT OF SERVICE PROVIDERS FOR AUDIT AND TOKEN IDENTIFIER (TID) CONVERSION OF EXISTING PREPAYMENT METERS AND THE SUPPLY, DELIVERY, INSTALLATION, MANAGEMENT, AND MAINTENANCE OF SMART METERING SOLUTION TO THE STATE FOR THE PERIOD 1 JUNE 2024 TO 31 MAY 2027
ITEM # | CATEGORY # | CATEGORY NAME | SERVICE/ ITEM DESCRIPTION | UNIT OF MEASURE | MTN | Africa Meters | Cigicell-UW JV | Vodacom SA | Landis+Gyr (Pty) Ltd | CONLOG
RT29-01-001 | RT29-001SM | TID compliance and readiness | Audit and TID conversion of existing electricity or water prepayment meter and submission of a detailed audit report, per meter | Per Meter | 120 | 120 | 316.25 | 138 | 298 | 265.94
RT29-01-002 | RT29-001SM | TID compliance and readiness | Create a third party TID vending change token with no physical site audit, price per TID conversion token issued | Per Meter | 5.85 | 6 | 0 | 5 | 1.15 | 5.06
RT29-01-003 | RT29-001SM | TID compliance and readiness | Create a USSD platform for a customer self-help service, price per TID token issued | Per Meter | 5.85 | 6 | 1.15 | 5 | 1.15 | 5.06
RT29-01-004 | RT29-001SM | TID compliance and readiness | Create a TID customer self-help web page on the existing service provider’s official web site, with direct links to a customer self-help USSD platform and direct access to the existing service providers vending platform | Per web platform | 98400 | 100000 | 0 | 57500 | 44230.77 | 206540
RT29-01-006 | RT29-001SM | TID compliance and readiness | Price to upgrade Supply Authority vending systems to STS Edition 2, per vending point software upgrade | Refer to each bidder UOM | 100000 | 100000 | 0 | 57.5 | 3450 | 55545
RT29-01-007 | RT29-001SM | TID compliance and readiness | Third-party vending services cost only per vending point software upgrade | Refer to each bidder UOM | 50000 | 50000 | 0 | 57.5 | 0 | 9343.75
TOTAL PRICE OFFERED ON A GROUP SERIES |  |  |  |  | 248531.7 | 250132 | 317.4 | 57763 | 47981.07 | 271704.81

## Smart Meters E&W
CONTRACT NUMBER: RT29-2024
RT29-2024: THE APPOINTMENT OF SERVICE PROVIDERS FOR AUDIT AND TOKEN IDENTIFIER (TID) CONVERSION OF EXISTING PREPAYMENT METERS AND THE SUPPLY, DELIVERY, INSTALLATION, MANAGEMENT, AND MAINTENANCE OF SMART METERING SOLUTION TO THE STATE FOR THE PERIOD 1 JUNE 2024 TO 31 MAY 2027
ITEM # | CATEGORY # | CATEGORY NAME | SERVICE/ ITEM DESCRIPTION | UNIT OF MEASURE | CONLOG | Vodacom SA | Isandiso Pipelines | Africa Meters | Landis+Gyr (Pty) Ltd | Cigicell-UW JV | MTN
RT29-02-001 | RT29-002SM | Smart meter solution | Network Densification – Sigfox Base stations | Per base station | 28750 | Offered at no charge | 2200 | Offered at no charge | Offered at no charge | 40250 | 35000
RT29-02-002 | RT29-002SM | Smart meter solution | Supply, Setup, Installation, Commissioning, Data Migration, and Configuration inclusive of Web Portal as detailed in the Scope of Services, over a period of three (3) years | Once off cost | 20.13 | Offered at no charge | 9.6 | Offered at no charge | 172327.5 | 24.16 | Offered at no charge
RT29-02-003 | RT29-002SM | Smart meter solution | Smart Metering Licenses | Once-off annual fee | 193.2 | 13.8 | 90 | Offered at no charge | 240 | Offered at no charge | Offered at no charge
RT29-02-003 | RT29-002SM | Smart meter solution | Smart Metering Licenses | Once-off annual fee | 193.2 | 13.8 | 90 | Offered at no charge | 229.2 | 173 | Offered at no charge
RT29-02-005 | RT29-002SM | Smart meter solution | Project Management for supply, installation, and configuration ONLY, for the duration of the project | Per month per project | 69000 | 1150 | 29166.6667 | Offered at no charge | 89700 | 145250 | Offered at no charge
RT29-02-006 | RT29-002SM | Smart meter solution | Training of functional users (estimated at 50 users) | Refer to each bidder UOM | 138000 | 5000.0045 | 6500 | 4000 | 13800 | 53000 | 7200
RT29-02-007 | RT29-002SM | Smart meter solution | Provision of training and transfer of skills to ICT staff (Estimated at 15 staff members) | Refer to each bidder UOM | 69000 | 5000.0045 | 6500 | 4000 | 20700 | 40250 | 7200
RT29-02-010 | RT29-002SM | Smart meter solution | Price to supply a single phase smart “split type meter” with communication module | Per meter | 2203.2 | 2980 | 3491 | 1892 | 4983.99 | 2685 | 2083
RT29-02-011 | RT29-002SM | Smart meter solution | Price to supply Customer Interface Unit as a replacement to a faulty interface unit | Per interface unit | 394.45 | 465 | 520 | 400 | 901.6 | 483 | 356
RT29-02-012 | RT29-002SM | Smart meter solution | Price to install a single-phase smart “split type”, electricity meter, customer interface unit and provide a detailed commissioning report and the associated guaranteed monthly billing for a period of three years, post smart meter installation, per smart meter, by making use of cellular communication. | Price per meter | 769.0625 | 3269 | 1334 | 2800 | 1035 | 955 | 2760
RT29-02-013 | RT29-002SM | Smart meter solution | Price to supply a single-phase smart “split type meter” for communication to Concentrator Unit | Per meter | 819.17 | 1769.85 | 1332.25 | 800 | 2296.44 | 1025 | 736
RT29-02-014 | RT29-002SM | Smart meter solution | Price to supply Data Concentrator Unit | Per data concentrator | 17250 | 12536.44 | 25000 | 9660 | 20576.84 | 20700 | 9660
RT29-02-015 | RT29-002SM | Smart meter solution | Price to install a single-phase smart “split type”, electricity meter and customer interface and provide a detailed commissioning report and the associated guaranteed monthly billing for a period of three years, post smart meter installation, per smart meter, by making use of a smart metering device and cellular communication between the data concentrator at each local transformer position and the main data collector | Per meter | 891.25 | 3260 | 1900 | 2800 | 1035 | 955 | 2760
RT29-02-016 | RT29-002SM | Smart meter solution | Price to supply a three-phase smart “ split type meter” with a communication module and sim card | Per meter | 3459.89 | 4704.08 | 4500 | 2900 | 5520.4 | 4250 | 3047
RT29-02-017 | RT29-002SM | Smart meter solution | Price to install a three-phase smart “split type”, electricity meter, customer interface unit and provide a detailed commissioning report and the associated guaranteed monthly billing for a period of three years, post smart meter installation, per smart meter, by making use of cellular communication. | Per meter | 4959.375 | 4595 | 2500 | 4082 | 1596.73 | 1140 | 4082
RT29-02-018 | RT29-002SM | Smart meter solution | Price to supply a three-phase smart “split type meter” for communication to Concentrator Unit | Per Meter | 2823.25 | 3406.94 | 4500 | 2656 | 3111.44 | 3340 | 2656
RT29-02-019 | RT29-002SM | Smart meter solution | Price to install a three-phase smart “split type”, electricity meter and customer interface and provide a detailed commissioning report and the associated guaranteed monthly billing for a period of three years, post smart meter installation, per smart meter, by making use of a smart metering device and cellular communication between the data concentrator at each local transformer position and the main data collector | Per Meter | 4959.38 | 4595 | 2000 | 4082 | 1596.73 | 1140 | 3690
RT29-02-020 | RT29-002SM | Smart meter solution | Price to supply a CT/VT smart 5A meter with communication module, | Per Meter | 9867 | 6268 | 11000 | 4830 | 6681.96 | 6325 | 4830
RT29-02-021 | RT29-002SM | Smart meter solution | Price to install a CT/VT smart meter, to include the hard wiring of the meter to the CT/VT metering panel but excludes the metering panel hard wiring | Per meter | 9401.25 | 1725 | 7800 | 1100 | 5175 | 1140 | 1050
RT29-02-022 | RT29-002SM | Smart meter solution | Price to supply ultrasonic smart water meter (20mm/25mm) | Per meter/device | 2939.4 | 2466.75 | 6000 | 3552 | 1713.5 | 3960 | 3552
RT29-02-023 | RT29-002SM | Smart meter solution | Price to supply Sigfox or LoRA enabled pulse device | Per device | 1552.5 | 776.25 | 170 | 1610 | 1592.31 | 1800 | 1610
RT29-02-024 | RT29-002SM | Smart meter solution | Price to re-program a new electricity tariff into an installed electricity smart meter in either prepayment or post-paid mode | Per meter | 1897.5 | 258 | 800 | 400 | 230 | 28.75 | 425
RT29-02-025 | RT29-002SM | Smart meter solution | Install smart water meter or similar device and provide a detailed commissioning report and the associated guaranteed monthly billing for a period of three years, post installation, per meter | Per meter | 4959.38 | 3338.3 | 2000 | 4700 | 2653.84 | 1401.56 | 4715
RT29-02-026 | RT29-002SM | Smart meter solution | Price to install smart water meter with 220V electrical mains connection to the municipal grid in compliance with SANS10142. All electrical equipment must be suitably rated to withstand the ingress of water. The 220V supply will be used to supply the smart water meter with a continuous electrical supply independent of the installed smart meter backup battery life span. Price to include all hard wiring, electrical equipment, and weatherproof enclosures for a connection to the municipal electricity grid | Per meter | 5893.75 | 3231.56 | 5000 | Product not offered | Product not offered | 977.5 | Product not offered
RT29-02-027 | RT29-002SM | Smart meter solution | Fixed price to integrate smart metering system to existing SCADA network for DEMAND load control application, per Supply authority site SCADA location | Per software interface development between SCADA and the smart metering system | 287500 | Offered at no charge | 11000 | 25000 | 775945.93 | 250000 | 23750
RT29-02-028 | RT29-002SM | Smart meter solution | Price to perform a smart metering integrity inspection and to re-commision a new smart meter to replace a faulty smart meter where the fault does not fall under the warranty conditions | Per new smart meter installation | TBC | 1380 | 850 | 600 | TBC | 1150 | 620
RT29-02-030 | RT29-002SM | Smart meter solution | Price for on-site management engineer to oversee project completion, per Engineer required, per month | Per Engineer required, per month | 79062.5 | 30000.004 | 75000 | 70000 | 102615.39 | 140000 | 67000
RT29-02-031 | RT29-002SM | Smart meter solution | Price for one on-site maintenance electrician to maintain the installed smart metering equipment, post 20000 smart meter/device installations, per electrician required, per month | Per electrician required, per month. | 25875 | 30000.004 | 48000 | 34250 | 49538.46 | 85000 | 33800
RT29-02-032 | RT29-002SM | Smart meter solution | Price to supply and install a 60-inch TV monitor in a control room set up to manage, display and manage smart meter alarm signals and to display a dashboard of all installed smart meters. Dashboard to include, but not limited to: A. Graphical representation of installed smart meters with GPS location. B. Number of smart meters installed. C. Colour coding of correct functioning smart meters D. Different colour coding of non-functioning smart meters and respective reasons E. Colour coding of demand-managed smart meters and respective limited amperage | Price per monitor | 21562.5 | 30435.7935 | 9500 | 9000 | 71875 | 15812.5 | 9000
TOTAL PRICE OFFERED ON A GROUP SERIES |  |  |  |  | 765446.3375 | 162638.5805 | 266553.5167 | 195114 | 1357672.26 | 782965.47 | 196582

## Load Management
CONTRACT NUMBER: RT29-2024
RT29-2024: THE APPOINTMENT OF SERVICE PROVIDERS FOR AUDIT AND TOKEN IDENTIFIER (TID) CONVERSION OF EXISTING PREPAYMENT METERS AND THE SUPPLY, DELIVERY, INSTALLATION, MANAGEMENT, AND MAINTENANCE OF SMART METERING SOLUTION TO THE STATE FOR THE PERIOD 1 JUNE 2024 TO 31 MAY 2027
ITEM # | CATEGORY # | CATEGORY NAME | SERVICE/ ITEM DESCRIPTION | UNIT OF MEASURE | Vodacom SA | Africa Meters | MTN | Cigicell-UW JV | CONLOG | Landis+Gyr (Pty) Ltd | Isandiso Pipelines
RT29-03-001 | RT29-003SM | Smart Load Management Solution | Smart Load Management Solution | Per meter per month | Offered at no charge | 6 | 6 | 27.8 | Offered at no charge | Offered at no charge | 30
RT29-03-002 | RT29-003SM | Smart Load Management Solution | Project Public Participation/Awareness | Per advertising campaign | Offered at no charge | 100000 | 100000 | 405822.22 | 862500 | 543352.89 | 450000
RT29-03-003 | RT29-003SM | Smart Load Management Solution | Project Management for supply, installation, and configuration ONLY, for the duration of the project | Refer to each bidder UOM | 517.5 | Offered at no charge | Offered at no charge | 105250 | 280.3125 | 89700 | 150000
RT29-03-004 | RT29-003SM | Smart Load Management Solution | Training of functional users (estimated at 50 users) | Refer to each bidder UOM | 5000.0045 | 150000 | 7050 | 53000 | 69000 | 13800 | 6500
RT29-03-005 | RT29-003SM | Smart Load Management Solution | Provision of training and transfer of skills to ICT staff (Estimated at 15 staff members) | Refer to each bidder UOM | 5000.0045 | 80000 | 7050 | 40250 | 138000 | 20700 | 6500
RT29-03-007 | RT29-003SM | Smart Load Management Solution | Price to supply a load management device for geysers integrated to the smart metering system functionality (whereby this load can be disconnected from the municipal grid at any given time) | Per Device | 1380 | 690 | 690 | 4450 | 1868.75 | 1515.7 | 1500
RT29-03-008 | RT29-003SM | Smart Load Management Solution | Fixed price to integrate smart metering system to existing SCADA network software for DEMAND load control application, per Supply authority site SCADA location (NB - The intent is to limit installed capacity from a60 A supply to a 40/30/20/10 A supply for each installed smart meter) | Refer to each bidder UOM | 360 | 30000 | 28000 | 250000 | 287500 | 775945.93 | 11000
RT29-03-010 | RT29-003SM | Smart Load Management Solution | Price for on-site management engineer to oversee project completion, per Engineer required, per month | Per Engineer required, per month | 30000.004 | 70000 | 70000 | 140000 | 79062.5 | 102615.39 | 75000
RT29-03-011 | RT29-003SM | Smart Load Management Solution | Price for one on-site maintenance electrician to maintain the installed smart metering equipment, post 20000 smart meter/device installations, per electrician required, per month | Per electrician required, per month. | 30000.004 | 35000 | 35000 | 85000 | 25875 | 49538.46 | 40000
RT29-03-012 | RT29-003SM | Smart Load Management Solution | Price to supply and install a 60-inch TV monitor in a control room set up to manage, display and manage smart meter alarm signals and to display a dashboard of all installed smart meters. Dashboard to include, but not limited to: A. Graphical representation of installed smart meters with GPS location. B. Number of smart meters installed. C. Colour coding of correct functioning smart meters D. Different colour coding of non-functioning smart meters and respective reasons E. Colour coding of demand-managed smart meters and respective limited amperage | Price per monitor | 30435.79 | 9000 | 9000 | 15812.5 | 21562.5 | 71875 | 9500
TOTAL PRICE OFFERED ON A GROUP SERIES |  |  |  |  | 102693.307 | 474696 | 256796 | 1099612.52 | 1485649.0625 | 1669043.37 | 750030

## Consumables
CONTRACT NUMBER: RT29-2024
RT29-2024: THE APPOINTMENT OF SERVICE PROVIDERS FOR AUDIT AND TOKEN IDENTIFIER (TID) CONVERSION OF EXISTING PREPAYMENT METERS AND THE SUPPLY, DELIVERY, INSTALLATION, MANAGEMENT, AND MAINTENANCE OF SMART METERING SOLUTION TO THE STATE FOR THE PERIOD 1 JUNE 2024 TO 31 MAY 2027
Line # | Supplier Code | BIDDERS NAME | ITEM DESCRIPTION | OFFERED PRICE IN ZAR (INCL. VAT) | UNIT OF MEASURE | BRAND | COUNTRY OF ORIGIN | MINIMUM ORDER QUANTITIES
1 | AMS-C-01-001 | Africa Metering Solutions | CIU cable with Plug | 85 | Per Unit | AMS | South Africa | 100 Units
2 | AMS-C-01-002 | Africa Metering Solutions | ER18505M Battery | 118 | Per Unit | AMS | China | 100 Units
3 | AMS-C-01-003 | Africa Metering Solutions | ER26500 Battery | 197 | Per Unit | AMS | China | 100 Units
4 | AMS-C-01-004 | Africa Metering Solutions | CIU Battery | 30 | Per Unit | AMS | South Africa | 100 Units
5 | AMS-C-01-005 | Africa Metering Solutions | Electrical meter batery | 80 | Per Unit | AMS | South Africa | 100 Units
6 | AMS-C-01-006 | Africa Metering Solutions | 4G Modem | 400 | Per Unit | AMS | China | 100 Units
7 | AMS-C-01-007 | Africa Metering Solutions | GPRS Modem | 412 | Per Unit | AMS | China | 100 Units
8 | AMS-C-01-008 | Africa Metering Solutions | 4G Antenna | 422 | Per Unit | AMS | China | 100 Units
9 | AMS-C-01-009 | Africa Metering Solutions | Probe with cable | 1750 | Per Unit | AMS | South Africa | 100 Units
10 | AMS-C-01-010 | Africa Metering Solutions | Terminal cover | 66.8 | Per Unit | AMS | South Africa | 100 Units
11 | AMS-C-01-011 | Africa Metering Solutions | Modem Cover | 39.5 | Per Unit | AMS | South Africa | 100 Units
12 | AMS-C-01-012 | Africa Metering Solutions | Terminal Screw | 0.8 | Per Unit | AMS | South Africa | 1000 Units
13 | Cigi-UW-01-001 | Cigicell-UW JV | CIU Plug | 45.5 | Each | N/I | N/I | TBC
14 | Cigi-UW-01-002 | Cigicell-UW JV | Meter Cover - Single Phase | 75.7 | Each | N/I | N/I | TBC
15 | Cigi-UW-01-003 | Cigicell-UW JV | Meter Cover - Three Phase | 95.3 | Each | N/I | N/I | TBC
16 | Cigi-UW-01-004 | Cigicell-UW JV | Terminal Screws | 2.5 | Each | N/I | N/I | TBC
17 | Cigi-UW-01-005 | Cigicell-UW JV | RTC/Display Batteries | 35 | Each | N/I | N/I | TBC
18 | Cigi-UW-01-006 | Cigicell-UW JV | CIU Batteries | 35 | Each | N/I | N/I | TBC
19 | Cigi-UW-01-007 | Cigicell-UW JV | Meter tails 16mm per meter | 170 | Each | N/I | N/I | TBC
20 | Cigi-UW-01-008 | Cigicell-UW JV | GP wiring 2mm per meter | 75 | Each | N/I | N/I | TBC
22 | Cigi-UW-01-009 | Cigicell-UW JV | Municipal Locks | 210 | Each | N/I | N/I | TBC
24 | Cigi-UW-01-010 | Cigicell-UW JV | Meter Security Seals | 5 | Each | N/I | N/I | TBC
26 | Landis+Gyr-01-001 | Landis+Gyr | 2.5mm GP wire Red (per meter) | 14.16 | Per 1 meter | Landis+Gyr | South Africa | TBC
27 | Landis+Gyr-01-002 | Landis+Gyr | 2.5mm GP wire White (per meter) | 14.16 | Per 1 meter | Landis+Gyr | South Africa | TBC
28 | Landis+Gyr-01-003 | Landis+Gyr | 2.5mm GP wire Blue (per meter) | 14.16 | Per 1 meter | Landis+Gyr | South Africa | TBC
29 | Landis+Gyr-01-004 | Landis+Gyr | 2.5mm Black wire GP (pwer meter) | 16.81 | Per 1 meter | Landis+Gyr | South Africa | TBC
30 | Landis+Gyr-01-005 | Landis+Gyr | Ferulles (each) | 17.69 | Each | Landis+Gyr | South Africa | TBC
31 | Landis+Gyr-01-006 | Landis+Gyr | Flexible Conduit (per 2 meter) | 123.84 | Per 2 meter | Landis+Gyr | South Africa | TBC
32 | Landis+Gyr-01-007 | Landis+Gyr | Cable ties (per 100) | 265.39 | Per box of 100 | Landis+Gyr | South Africa | TBC
33 | Landis+Gyr-01-008 | Landis+Gyr | Lugs (per 100) | 212.31 | Per box of 100 | Landis+Gyr | South Africa | TBC
34 | Landis+Gyr-01-009 | Landis+Gyr | Water meter upstand enclosure (each) | 1238.46 | Each | Landis+Gyr | South Africa | TBC
35 | Landis+Gyr-01-010 | Landis+Gyr | Water meter surface mount enclosure (each) | 1043.84 | Each | Landis+Gyr | South Africa | TBC
36 | Landis+Gyr-01-011 | Landis+Gyr | Pigtail adaptor cables (each) | 195.5 | Each | Landis+Gyr | South Africa | TBC
37 | M- AUS -01-001 | MTN | CIU Plug | 40.8 | Each | Agnostic | South Africa | TBC
38 | M- AUS -01-002 | MTN | Meter cover | 76.5 | Each | Agnostic | South Africa | TBC
39 | M- AUS -01-003 | MTN | Modem Cover | 45.9 | Each | Agnostic | South Africa | TBC
40 | M- AUS -01-004 | MTN | Terminal Screw | 1.275 | Each | Agnostic | South Africa | TBC
41 | M- AUS -01-005 | MTN | RTC/Display Battery | 51 | Each | Agnostic | South Africa | TBC
42 | M- AUS -01-006 | MTN | CIU Battery | 38.25 | Each | Agnostic | South Africa | TBC
43 | M- AUS -01-007 | MTN | 4G Modem | 879.75 | Each | Agnostic | China | TBC
44 | M- AUS -01-008 | MTN | Water meter Batery | 410.55 | Each | Agnostic | South Africa | TBC
45 | M- AUS -01-009 | MTN | 4G Antenna | 525.3 | Each | Agnostic | China | TBC
46 | M- AUS -01-010 | MTN | Probe | 2040 | Each | Agnostic | China | TBC
47 | Voda-01-001 | Vodacom | CIU Plug - HXCIU500 | 32 | Each | HEXING | South Africa | TBC
48 | Voda-01-002 | Vodacom | Meter Cover HXE130 - HX130MC | 46.6 | Each | HEXING | South Africa | TBC
49 | Voda-01-003 | Vodacom | Meter Cover HXE330 - HX330MC | 77.62 | Each | HEXING | South Africa | TBC
50 | Voda-01-004 | Vodacom | Meter Cover HXF300 - HX300MC | 77.62 | Each | HEXING | South Africa | TBC
51 | Voda-01-005 | Vodacom | Terminal Screws - HX1TS | 1.6 | Each | HEXING | South Africa | TBC
52 | Voda-01-006 | Vodacom | RTC/Display Batteries - HXRTCB | 32 | Each | HEXING | South Africa | TBC
53 | Voda-01-007 | Vodacom | CIU Batteries - HXCIUB | 32 | Each | HEXING | South Africa | TBC
54 | Voda-01-008 | Vodacom | Meter tails 16mm per meter | 170 | Per 1 meter | ARB | South Africa | TBC
55 | Voda-01-009 | Vodacom | GP wiring 2mm per meter | 75 | Per 2 meter | ARB | South Africa | TBC
56 | Conlog-01-001 | Conlog | Above Ground Box Include pipes and fitting and user ball valve (This is use to install item RT29-02-022) | 672.497 | Conlog | Conlog | South Africa | 1 unt
57 | Conlog-01-002 | Conlog | Wall Mount Box Include pipes and fitting and user ball valve (This is use to install item RT29-02-022) | 411.8265 | Conlog | Conlog | South Africa | 1 unt
58 | Conlog-01-003 | Conlog | Smart Prepaid Ultrasonic Water meter including Box, user ball valve and municipality valve + CIU | 5577.5 | Diehl and Conlog | Diehl and Conlog | Germany and South Africa; Ultrasonic meter is from Germany, the prepaid valve, box, pipes and user interface is made in South Africa | 1 unt
59 | Conlog-01-004 | Conlog | Smart Prepaid Volumetric Water meter including Box, user ball valve and municipality valve + CIU | 3047.5 | Diehl and Conlog | Diehl and Conlog | Germany and South Africa; Ultrasonic meter is from Germany, the prepaid valve, box, pipes and user interface is made in South Africa | 1 unt

## Value Add
PLEASE REFER TO ADDENDUM 7