## Sheet1
NATIONAL TREASURY: OFFICE OF THE CHIEF PROCUREMENT OFFICER: TRANSVERSAL CONTRACTING
Contact Person: Keatshotse Gouwe, Mobile: 066 290 0218 e-mail: Keatshotse.Gouwe@treasury.gov.za
RT42-2025: SUPPLY AND DELIVERY OF BANDAGES AND DRESSINGS TO THE STATE 1 NOVEMBER 2025 to 31 OCTOBER 2030
ITEM CODE | ITEM DESCRIPTION | END USER | SUPPLIER NAME | ORIGINAL BID PRICE | NEW PRICE WITH EFFECT 21 APRIL 2026 TO 31 MARCH 2027
RT31-01-001 | ADMINISTRATION SET standard, for adult use, Latex Free, With one needle Y-injection site ± 15cm from iv access, Accurate flow regulating roller clamp, The tube must be non-kinking at any site and all temperatures, Chamber: must be vented with bacterial protection, Drip volume: 20 drops/ml, Distal luer lock male adaptor. Retractable Rotating male luer slip lock adaptor, Total length: ± 180cm, Latex free: Latex free to be stated on package, Sterile fluid pathway, Individually packed, sterile, tamper proof, To comply with the latest issue of SANS 1775, Compliance certificate to be submitted with the bid, Each | NATIONAL | Biocor Hospital Supplies | 6.06 | 6.3313
RT31-01-004 | ADMINISTRATION SET standard, for paediatric use, Latex Free, With one needle Y-injection site ± 15cm from iv access Accurate flow regulating roller clamp. The tube must be non-kinking at any site and all temperatures. The drip chamber must be fitted with a drop needle to ensure uniformity of drop size. Drip volume: 60 drops/ml. Distal luer lock male adaptor. Retractable Rotating male luer slip lock adaptor Total length: ± 180cm Latex free: Latex free to be stated on package Sterile fluid pathway. Individually packed, sterile, tamper proof. To comply with the latest issue of SANS 1775. Compliance certificate to be submitted with the bid. EACH | NATIONAL | Biocor Hospital Supplies | 5.86 | 6.1223
RT31-01-007 | ADMINISTRATION SET standard, for adult use, Latex Free, With two needle Y-injection sites, one proximal and one distal with a non-return, anti-siphon valve for continuous flow. Accurate flow regulating roller clamp between the two Y-sites The tube must be non-kinking at any site and all temperatures. Drip volume: 20 drops/ml. Distal luer lock male adaptor Retractable Rotating male luer slip lock adaptor Total length: ± 180cm Latex free: Latex free to be stated on package. Sterile fluid pathway. Individually packed, sterile, tamper proof. To comply with the latest issue of SANS 1775. Compliance certificate to be submitted with the bid. EACH | NATIONAL | Biocor Hospital Supplies | 8.39 | 8.7656
RT31-01-010 | ADMINISTRATION SET standard, for adult use, Latex and DEHP Free, With one needle Y-injection site ± 15cm from iv access Accurate flow regulating roller clamp. The tube must be non-kinking at any site and all temperatures. Drip volume: 20 drops/ml. Distal luer lock male adaptor. Retractable Rotating male luer slip lock adaptor Total length: ± 180cm Latex and DEHP free: Latex and DEHP free to be stated on package. Sterile fluid pathway. Individually packed, sterile, tamper proof. To comply with the latest issue of SANS 1775. Compliance certificate to be submitted with the bid. EACH | NATIONAL | Biocor Hospital Supplies | 6.21 | 6.488
RT31-01-013 | ADMINISTRATION SET standard, for paediatric use, Latex and DEHP Free, With one needle Y-injection site ± 15cm from iv access Accurate flow regulating roller clamp. The tube must be non-kinking at any site and all temperatures. The drip chamber must be fitted with a drop needle to ensure uniformity of drop size. Drip volume: 60 drops/ml. Distal luer lock male adaptor. Retractable Rotating male luer slip lock adaptor Total length: ± 180cm Latex and DEHP free: Latex and DEHP free to be stated on package Sterile fluid pathway. Individually packed, sterile, tamper proof. To comply with the latest issue of SANS 1775. Compliance certificate to be submitted with the bid. EACH | NATIONAL | Biocor Hospital Supplies | 6.14 | 6.4149
RT31-01-016 | ADMINISTRATION SET standard, for adult use, Latex and DEHP Free, With two needle Y-injection sites, one proximal and one distal. Accurate flow regulating roller clamp between the two Y-sites. The tube must be non-kinking at any site and all temperatures. Drip volume: 20 drops/ml. Distal luer lock male adaptor Retractable Rotating male luer slip lock adaptor Total length: ± 180cm Latex and DEHP free: Latex and DEHP free to be stated on package. Sterile fluid pathway. Individually packed, sterile, tamper proof. To comply with the latest issue of SANS 1775. Compliance certificate to be submitted with the bid. EACH | NATIONAL | Biocor Hospital Supplies | 8.39 | 8.7656
RT31-02-008 | BLOOD ADMINISTRATION SET: Blood high capacity for adult use, Latex free, With double chamber Filter: 180-220 micron nylon fitted in the lower chamber Length of tubing: Total length of ± 150cm. The tube must be non-kinking at any site and all temperatures. Drip volume: 10 drops /ml Inner diameter (ID) of tubing: ± 4mm Distal luer lock male adaptor. Retractable Rotating male luer slip lock adaptor Accurate flow regulating roller clamp. The high capacity chamber to be below the flow regulating roller clamp. Sterile fluid pathway Latex free: Latex free to be stated on package Individually packed, sterile, tamper proof. To comply with the latest issue of SANS 1775 Compliance certificate to be submitted with the bid. EACH | NATIONAL | Biocor Hospital Supplies | 22.48 | 23.4864
RT31-02-012 | BLOOD ADMINISTRATION SET: Blood and other blood products for paediatric use, Latex and DEHP free, With single chamber and filter. Drip chamber Length: minimum of 7cm. Filter: 180-220 micron nylon. Length of tubing: Total length ±150cm. The tube must be non-kinking at any site and all temperatures. Drip Chamber: Non-Vented Drip volume: 20 drops /ml Distal luer lock male adaptor. Retractable Rotating male luer slip lock adaptor Accurate flow regulating roller clamp. Sterile fluid pathway Latex and DEHP free: Latex and DEHP free to be stated on package Individually packed, sterile, tamper proof. To comply with the latest issue of SANS 1775 Compliance certificate to be submitted with the bid. EACH | NATIONAL | Biocor Hospital Supplies | 8.1 | 8.4626
RT31-03-001 | ADMINISTRATION SET for use with a mini-bag container. (Secondary Infusion Set), Latex free, Accurate flow regulating roller clamp. The tube must be non-kinking at any site and all temperatures. Drip Chamber: Vented Drip volume: 20 drops/ml. Distal luer lock male adaptor. Retractable Rotating male luer slip lock adaptor Length of tubing: 65 – 75cm. With hanger for primary container. Latex free: Latex free to be stated on package. Sterile fluid pathway. Individually packed, sterile, tamper proof. To comply with the latest issue of SANS 1775. Compliance certificate to be submitted with the bid. EACH | NATIONAL | Biocor Hospital Supplies | 6.44 | 6.7283
RT31-03-002 | ADMINISTRATION SET for use with a mini-bag container. (Secondary Infusion Set), Latex and DEHP free Accurate flow regulating roller clamp. The tube must be non-kinking at any site and all temperatures. Chamber: Vented Drip volume: 20 drops/ml. Distal luer lock male adaptor. Retractable Rotating male luer slip lock adaptor Length of tubing: 0.65 – 0.75m. With hanger for primary container. Latex and DEHP free: Latex and DEHP free to be stated on package. Sterile fluid pathway. Individually packed, sterile, tamper proof. To comply with the latest issue of SANS 1775. Compliance certificate to be submitted with the bid. EACH | NATIONAL | Biocor Hospital Supplies | 7.06 | 7.3761
RT31-10-001 | RECONSTITUTION DEVICE- Suitable for the reconstitution of powder for injection and the aseptic transfer of the resulting solution into the mini-bag type of container Individually packed, sterile, tamper proof. EACH | NATIONAL | Biocor Hospital Supplies | 2.35 | 2.4552
RT31-11-002 | THREE WAY STOPCOCK with 5cm extension tube, Latex Free, Tap must rotate 360° Extension tube with male luer connector/rotating security lock Two female fully threaded luer lock ports Transparent base and legs Flow indicator on tap position of handle indicating open ports Colour coding for arterial and venous identification No dead space in base of stopcock Minimal dead space in ports Leak proof at 600kPa for 30 seconds Flow rate in excess of 250ml/min Latex free: Latex free to be stated on package Individually packed, sterile, tamper proof. EACH | NATIONAL | Biocor Hospital Supplies | 4.86 | 5.0776
RT31-11-003 | THREE WAY STOPCOCK with 10cm extension tube, Latex Free , Tap must rotate 360° Extension tube with male luer connector/rotating security lock Two female fully threaded luer lock ports Transparent base and legs Flow indicator on tap position of handle indicating open ports Colour coding for arterial and venous identification No dead space in base of stopcock Minimal dead space in ports Leak proof at 600kPa for 30 seconds Flow rate in excess of 250ml/min Latex free: Latex free to be stated on package Individually packed, sterile, tamper proof. EACH | NATIONAL | Biocor Hospital Supplies | 4.99 | 5.2134
RT31-11-004 | THREE WAY STOPCOCK with 50cm extension tube, Latex Free, Tap must rotate 360° Extension tube with male luer connector/rotating security lock Two female fully threaded luer lock ports Transparent base and legs Flow indicator on tap position of handle indicating open ports Colour coding for arterial and venous identification No dead space in base of stopcock Minimal dead space in ports Leak proof at 600kPa for 30 seconds Flow rate in excess of 250ml/min Latex free: Latex free to be stated on package Individually packed, sterile, tamper proof. EACH | NATIONAL | Biocor Hospital Supplies | 5.68 | 5.9343
RT31-11-005 | THREE WAY STOPCOCK with 5cm extension tube, Latex and DEHP Free, Tap must rotate 360° Extension tube with male luer connector/rotating security lock Two female fully threaded luer lock ports Transparent base and legs Flow indicator on tap position of handle indicating open ports Colour coding for arterial and venous identification No dead space in base of stopcock Minimal dead space in ports Leak proof at 600kPa for 30 seconds Flow rate in excess of 250ml/min Latex and DEHP free: Latex and DEHP free to be stated on package Individually packed, sterile, tamper proof. EACH | NATIONAL | Biocor Hospital Supplies | 5.01 | 5.2343
RT31-11-006 | THREE WAY STOPCOCK with 10cm extension tube, Latex and DEHP Free- Tap must rotate 360° Extension tube with male luer connector/rotating security lock Two female fully threaded luer lock ports Transparent base and legs Flow indicator on tap position of handle indicating open ports Colour coding for arterial and venous identification No dead space in base of stopcock Minimal dead space in ports Leak proof at 600kPa for 30 seconds Flow rate in excess of 250ml/min Latex and DEHP free: Latex and DEHP free to be stated on package Individually packed, sterile, tamper proof. EACH | NATIONAL | Biocor Hospital Supplies | 5.14 | 5.3701
RT31-11-007 | THREE WAY STOPCOCK with 50cm extension tube, Latex and DEHP Free- Tap must rotate 360° Extension tube with male luer connector/rotating security lock Two female fully threaded luer lock ports Transparent base and legs Flow indicator on tap position of handle indicating open ports Colour coding for arterial and venous identification No dead space in base of stopcock Minimal dead space in ports Leak proof at 600kPa for 30 seconds Flow rate in excess of 250ml/min Latex and DEHP free: Latex and DEHP free to be stated on package Individually packed, sterile, tamper proof. EACH | NATIONAL | Biocor Hospital Supplies | 5.91 | 6.1746
RT31-13-001 | Driver for intraosseous vascular access- The drill should be: *Sealed unit which is waterproof *Hand-held *Must give protection against electric shocks *Powered by a non-replacable lithium battery *Able to be used in electomagnetic enviroments *Have indicater and alert LED lights *Have a shelf life of ±10 years or approximately 500 insertions Drill should be able to be sterilized by a Sterrad system when needed to be sterile. Canvas bag must be included for storage of drill and other assessories Supplier should give inservice training per purchase and continuous support for the duration of the contract Each Item 1 must be compatible with 2 or 3 or 4 | NATIONAL | Teleflx | 3507.5 | 3931.0465
RT31-13-002 | Needle and stabilizer kits-Intraosseous needle: Size: 15G X 15mm- The kit should includes the following items *Intraosseous needle: Size: 15G X 15mm *Stabilizer *Extention set *Dressing *Wrists band *1-Port sharps block Sterile and peel packed Each Item 1 and 2 will be considered as a series | NATIONAL | Teleflx | 917.7 | 951.175
RT31-13-003 | Needle and stabilizer kits-Intraosseous needle: Size: 15G X 25mm- The kit should includes the following items *Intraosseous needle: Size: 15G X 25mm *Stabilizer *Extention set *Dressing *Wrists band *1-Port sharps block Sterile and peel packed Each Item 1, and 3 will be considered as a series | NATIONAL | Teleflx | 917.7 | 951.175
RT31-13-004 | Needle and stabilizer kits-Intraosseous needle: Size: 15G X 45mm- The kit should includes the following items *Intraosseous needle: Size: 15G X 45mm *Stabilizer *Extention set *Dressing *Wrists band *1-Port sharps block Sterile and peel packed Each Item 1 and 4 will be considered as a series | NATIONAL | Teleflx | 917.7 | 951.175