## RT31-2024
CONTRACT RT31-2024: SUPPLY AND DELIVERY OF MEDICAL ADMINISTRATION SETS TO THE STATE FOR THE PERIOD OF 36 MONTHS
# | ITEM NUMBER | ITEM DESCRIPTION | OFFER # | UOM | BIDDER'S NAME | PRICE OFFERED | PREFERENCE POINTS (90) | HDI POINTS | FEMALE POINTS | LOCAL CONTENT AND PRODUCTION POINTS | TOTAL POINTS | BRAND NAME | COUNTRY OF ORIGIN
1 | RT31-01-001 | ADMINISTRATION SET standard, for adult use, Latex Free, With one needle Y-injection site ± 15cm from iv access, Accurate flow regulating roller clamp, The tube must be non-kinking at any site and all temperatures, Chamber: must be vented with bacterial protection, Drip volume: 20 drops/ml, Distal luer lock male adaptor. Retractable Rotating male luer slip lock adaptor, Total length: ± 180cm, Latex free: Latex free to be stated on package, Sterile fluid pathway, Individually packed, sterile, tamper proof, To comply with the latest issue of SANS 1775, Compliance certificate to be submitted with the bid, Each | Offer 1 | Each | Biocor Hospital Supplies | 6.06 | 90 | 0.04 | 0.01 | 0.0075 | 90.0575 | Technomed | South Africa
2 | RT31-01-001 | ADMINISTRATION SET standard, for adult use, Latex Free, With one needle Y-injection site ± 15cm from iv access, Accurate flow regulating roller clamp, The tube must be non-kinking at any site and all temperatures, Chamber: must be vented with bacterial protection, Drip volume: 20 drops/ml, Distal luer lock male adaptor. Retractable Rotating male luer slip lock adaptor, Total length: ± 180cm, Latex free: Latex free to be stated on package, Sterile fluid pathway, Individually packed, sterile, tamper proof, To comply with the latest issue of SANS 1775, Compliance certificate to be submitted with the bid, Each | Offer 1 | Each | Supra Healthcare | 6.4444 | 80.9406 | 0.020488 | 0.003109 | 0.0305 | 80.9947 | Avacare | South Africa
3 | RT31-01-001 | ADMINISTRATION SET standard, for adult use, Latex Free, With one needle Y-injection site ± 15cm from iv access, Accurate flow regulating roller clamp, The tube must be non-kinking at any site and all temperatures, Chamber: must be vented with bacterial protection, Drip volume: 20 drops/ml, Distal luer lock male adaptor. Retractable Rotating male luer slip lock adaptor, Total length: ± 180cm, Latex free: Latex free to be stated on package, Sterile fluid pathway, Individually packed, sterile, tamper proof, To comply with the latest issue of SANS 1775, Compliance certificate to be submitted with the bid, Each | Offer 1 | Each | B.Braun Medical | 8.34 | 55.6931 | 0 | 0 | 0 | 55.6931 | B.Braun | China
4 | RT31-01-002 | ADMINISTRATION SET standard, for adult use, Latex Free, With one needle Y-injection site± 15cm from iv access with a non-return, anti-siphon valve for continuous flow. Accurate flow regulating roller clamp. The tube must be non-kinking at any site and all temperatures. Drip volume: 20 drops/ml. Distal luer lock male adaptor. Retractable Rotating male luer slip lock adaptor Total length: ± 180cm Latex free: Latex free to be stated on package. Sterile fluid pathway. Individually packed, sterile, tamper proof. To comply with the latest issue of SANS 1775. Compliance certificate to be submitted with the bid. | Offer 1 | Each | Supra Healthcare | 12.4444 | 90 | 0.020488 | 0.003109 | 0.0305 | 90.0541 | Avacare | South Africa
5 | RT31-01-003 | ADMINISTRATION SET standard, for adult use, Latex Free, With needle free Y-injection site ± 15cm from iv access Accurate flow regulating roller clamp. The tube must be non-kinking at any site and all temperatures. Drip volume: 20 drops/ml. Distal luer lock male adaptor. Retractable Rotating male luer slip lock adaptor Total length: minimum of ± 180cm Latex free: Latex free to be stated on package. Sterile fluid pathway. Individually packed, sterile, tamper proof. To comply with the latest issue of SANS 1775. Compliance certificate to be submitted with the bid. EACH | Offer 1 | Each | Becton Dickinson | 14.71 | 90 | 0 | 0 | 0 | 90 | BD | South Africa
6 | RT31-01-003 | ADMINISTRATION SET standard, for adult use, Latex Free, With needle free Y-injection site ± 15cm from iv access Accurate flow regulating roller clamp. The tube must be non-kinking at any site and all temperatures. Drip volume: 20 drops/ml. Distal luer lock male adaptor. Retractable Rotating male luer slip lock adaptor Total length: minimum of ± 180cm Latex free: Latex free to be stated on package. Sterile fluid pathway. Individually packed, sterile, tamper proof. To comply with the latest issue of SANS 1775. Compliance certificate to be submitted with the bid. EACH | Offer 2 | Each | Supra Healthcare | 18.63 | 70.5405 | 0.020488 | 0.003109 | 0 | 70.5641 | Polymed | India
7 | RT31-01-003 | ADMINISTRATION SET standard, for adult use, Latex Free, With needle free Y-injection site ± 15cm from iv access Accurate flow regulating roller clamp. The tube must be non-kinking at any site and all temperatures. Drip volume: 20 drops/ml. Distal luer lock male adaptor. Retractable Rotating male luer slip lock adaptor Total length: minimum of ± 180cm Latex free: Latex free to be stated on package. Sterile fluid pathway. Individually packed, sterile, tamper proof. To comply with the latest issue of SANS 1775. Compliance certificate to be submitted with the bid. EACH | Offer 1 | Each | B.Braun Medical | 19.71 | 61.8449 | 0 | 0 | 0.02 | 61.8649 | B.Braun | South Africa
8 | RT31-01-004 | ADMINISTRATION SET standard, for paediatric use, Latex Free, With one needle Y-injection site ± 15cm from iv access Accurate flow regulating roller clamp. The tube must be non-kinking at any site and all temperatures. The drip chamber must be fitted with a drop needle to ensure uniformity of drop size. Drip volume: 60 drops/ml. Distal luer lock male adaptor. Retractable Rotating male luer slip lock adaptor Total length: ± 180cm Latex free: Latex free to be stated on package Sterile fluid pathway. Individually packed, sterile, tamper proof. To comply with the latest issue of SANS 1775. Compliance certificate to be submitted with the bid. EACH | Offer 1 | Each | Biocor Hospital Supplies | 5.86 | 90 | 0.04 | 0.01 | 0.0075 | 90.0575 | Technomed | South Africa
9 | RT31-01-005 | ADMINISTRATION SET standard, for paediatric use, Latex Free, With one needle Y-injection site± 15cm from iv access with a non-return, anti-siphon valve for continuous flow. Accurate flow regulating roller clamp. The tube must be non-kinking at any site and all temperatures. The drip chamber must be fitted with a drop needle to ensure uniformity of drop size. Drip volume: 60 drops/ml. Distal luer lock male adaptor. Retractable Rotating male luer slip lock adaptor Total length: ± 180cm Latex free: Latex free to be stated on package Sterile fluid pathway. Individually packed, sterile, tamper proof. To comply with the latest issue of SANS 1775. Compliance certificate to be submitted with the bid. EACH | Offer 1 | Each | Supra Healthcare | 13.1111 | 90 | 0.020488 | 0.003109 | 0.0305 | 90.0541 | Avacare | South Africa
10 | RT31-01-006 | ADMINISTRATION SET standard, for paediatric use,Latex Free, With needle free Y-injection site ± 15cm from iv access Accurate flow regulating roller clamp. The tube must be non-kinking at any site and all temperatures. The drip chamber must be fitted with a drop needle to ensure uniformity of drop size. Drip volume: 60 drops/ml. Distal luer lock male adaptor. Retractable Rotating male luer slip lock adaptor Total length: ± 180cm Latex free: Latex free to be stated on package Sterile fluid pathway. Individually packed, sterile, tamper proof. To comply with the latest issue of SANS 1775. Compliance certificate to be submitted with the bid. EACH | Offer 1 | Each | B.Braun Medical | 20.33 | 90 | 0 | 0 | 0.02 | 90.02 | B.Braun | South Africa
11 | RT31-01-007 | ADMINISTRATION SET standard, for adult use, Latex Free, With two needle Y-injection sites, one proximal and one distal with a non-return, anti-siphon valve for continuous flow. Accurate flow regulating roller clamp between the two Y-sites The tube must be non-kinking at any site and all temperatures. Drip volume: 20 drops/ml. Distal luer lock male adaptor Retractable Rotating male luer slip lock adaptor Total length: ± 180cm Latex free: Latex free to be stated on package. Sterile fluid pathway. Individually packed, sterile, tamper proof. To comply with the latest issue of SANS 1775. Compliance certificate to be submitted with the bid. EACH | Offer 1 | Each | Biocor Hospital Supplies | 8.39 | 90 | 0.04 | 0.01 | 0.0075 | 90.0575 | Technomed | South Africa
12 | RT31-01-009 | ADMINISTRATION SET standard, for paediatric use, Latex Free, With two needle Y-injection sites, one proximal and one distal with a non-return, anti-siphon valve for continuous flow. Accurate flow regulating roller clamp between the two Y-sites. The tube must be non-kinking at any site and all temperatures. The drip chamber must be fitted with a drop needle to ensure uniformity of drop size. Drip volume: 60 drops/ml. Distal luer lock male adaptor. Retractable Rotating male luer slip lock adaptor Total length: ± 180cm? Latex free: Latex free to be stated on package Sterile fluid pathway. Individually packed, sterile, tamper proof. To comply with the latest issue of SANS 1775. Compliance certificate to be submitted with the bid. EACH | Offer 1 | Each | Supra Healthcare | 13.6667 | 90 | 0.020488 | 0.003109 | 0.0305 | 90.0541 | Avacare | South Africa
13 | RT31-01-010 | ADMINISTRATION SET standard, for adult use, Latex and DEHP Free, With one needle Y-injection site ± 15cm from iv access Accurate flow regulating roller clamp. The tube must be non-kinking at any site and all temperatures. Drip volume: 20 drops/ml. Distal luer lock male adaptor. Retractable Rotating male luer slip lock adaptor Total length: ± 180cm Latex and DEHP free: Latex and DEHP free to be stated on package. Sterile fluid pathway. Individually packed, sterile, tamper proof. To comply with the latest issue of SANS 1775. Compliance certificate to be submitted with the bid. EACH | Offer 1 | Each | Biocor Hospital Supplies | 6.21 | 90 | 0.04 | 0.01 | 0.0075 | 90.0575 | Technomed | South Africa
14 | RT31-01-010 | ADMINISTRATION SET standard, for adult use, Latex and DEHP Free, With one needle Y-injection site ± 15cm from iv access Accurate flow regulating roller clamp. The tube must be non-kinking at any site and all temperatures. Drip volume: 20 drops/ml. Distal luer lock male adaptor. Retractable Rotating male luer slip lock adaptor Total length: ± 180cm Latex and DEHP free: Latex and DEHP free to be stated on package. Sterile fluid pathway. Individually packed, sterile, tamper proof. To comply with the latest issue of SANS 1775. Compliance certificate to be submitted with the bid. EACH | Offer 1 | Each | Supra Healthcare | 6.4444 | 83.3333 | 0.020488 | 0.003109 | 0.0305 | 83.3874 | Avacare | South Africa
15 | RT31-01-010 | ADMINISTRATION SET standard, for adult use, Latex and DEHP Free, With one needle Y-injection site ± 15cm from iv access Accurate flow regulating roller clamp. The tube must be non-kinking at any site and all temperatures. Drip volume: 20 drops/ml. Distal luer lock male adaptor. Retractable Rotating male luer slip lock adaptor Total length: ± 180cm Latex and DEHP free: Latex and DEHP free to be stated on package. Sterile fluid pathway. Individually packed, sterile, tamper proof. To comply with the latest issue of SANS 1775. Compliance certificate to be submitted with the bid. EACH | Offer 1 | Each | B.Braun Medical | 8.34 | 58.6957 | 0 | 0 | 0 | 58.6957 | B.Braun | China
16 | RT31-01-011 | ADMINISTRATION SET standard, for adult use, Latex and DEHP Free, With one needle Y-injection site± 15cm from iv access with a non-return, anti-siphon valve for continuous flow. Accurate flow regulating roller clamp. The tube must be non-kinking at any site and all temperatures. Drip volume: 20 drops/ml. Distal luer lock male adaptor. Retractable Rotating male luer slip lock adaptor Total length: ± 180cm Latex and DEHP free: Latex and DEHP free to be stated on package. Sterile fluid pathway. Individually packed, sterile, tamper proof. To comply with the latest issue of SANS 1775. Compliance certificate to be submitted with the bid. EACH | Offer 1 | Each | Supra Healthcare | 12.42 | 90 | 0.020488 | 0.003109 | 0.0305 | 90.0541 | Avacare | South Africa
17 | RT31-01-012 | ADMINISTRATION SET standard, for adult use, Latex and DEHP Free, With needle free Y-injection site ± 15cm from iv access Accurate flow regulating roller clamp. The tube must be non-kinking at any site and all temperatures. Drip volume: 20 drops/ml. Distal luer lock male adaptor. Retractable Rotating male luer slip lock adaptor Total length: ± 180cm Latex and DEHP free: Latex and DEHP free to be stated on package. Sterile fluid pathway. Individually packed, sterile, tamper proof. To comply with the latest issue of SANS 1775. Compliance certificate to be submitted with the bid. EACH | Offer 1 | Each | B.Braun Medical | 19.71 | 90 | 0 | 0 | 0.02 | 90.02 | B.Braun | South Africa
18 | RT31-01-013 | ADMINISTRATION SET standard, for paediatric use, Latex and DEHP Free, With one needle Y-injection site ± 15cm from iv access Accurate flow regulating roller clamp. The tube must be non-kinking at any site and all temperatures. The drip chamber must be fitted with a drop needle to ensure uniformity of drop size. Drip volume: 60 drops/ml. Distal luer lock male adaptor. Retractable Rotating male luer slip lock adaptor Total length: ± 180cm Latex and DEHP free: Latex and DEHP free to be stated on package Sterile fluid pathway. Individually packed, sterile, tamper proof. To comply with the latest issue of SANS 1775. Compliance certificate to be submitted with the bid. EACH | Offer 1 | Each | Biocor Hospital Supplies | 6.14 | 90 | 0.04 | 0.01 | 0.0075 | 90.0575 | Technomed | South Africa
20 | RT31-01-014 | ADMINISTRATION SET standard, for paediatric use, Latex and DEHP Free, With one needle Y-injection site± 15cm from iv access with a non-return, anti-siphon valve for continuous flow. Accurate flow regulating roller clamp. The tube must be non-kinking at any site and all temperatures. The drip chamber must be fitted with a drop needle to ensure uniformity of drop size. Drip volume: 60 drops/ml. Distal luer lock male adaptor. Retractable Rotating male luer slip lock adaptor Total length: ± 180cm? Latex and DEHP free: Latex and DEHP free to be stated on package Sterile fluid pathway. Individually packed, sterile, tamper proof. To comply with the latest issue of SANS 1775. Compliance certificate to be submitted with the bid. EACH | Offer 1 | Each | Supra Healthcare | 14.3333 | 90 | 0.020488 | 0.003109 | 0.0305 | 90.0541 | Avacare | South Africa
21 | RT31-01-015 | ADMINISTRATION SET standard, for paediatric use, Latex and DEHP Free, With needle free Y-injection site ± 15cm from iv access Accurate flow regulating roller clamp. The tube must be non-kinking at any site and all temperatures. The drip chamber must be fitted with a drop needle to ensure uniformity of drop size. Drip volume: 60 drops/ml. Distal luer lock male adaptor. Retractable Rotating male luer slip lock adaptor Total length: ± 180cm? Latex and DEHP free: Latex and DEHP free to be stated on package Sterile fluid pathway. Individually packed, sterile, tamper proof. To comply with the latest issue of SANS 1775. Compliance certificate to be submitted with the bid. EACH | Offer 1 | Each | B.Braun Medical | 20.33 | 90 | 0 | 0 | 0.02 | 90.02 | B.Braun | South Africa
22 | RT31-01-016 | ADMINISTRATION SET standard, for adult use, Latex and DEHP Free, With two needle Y-injection sites, one proximal and one distal. Accurate flow regulating roller clamp between the two Y-sites. The tube must be non-kinking at any site and all temperatures. Drip volume: 20 drops/ml. Distal luer lock male adaptor Retractable Rotating male luer slip lock adaptor Total length: ± 180cm Latex and DEHP free: Latex and DEHP free to be stated on package. Sterile fluid pathway. Individually packed, sterile, tamper proof. To comply with the latest issue of SANS 1775. Compliance certificate to be submitted with the bid. EACH | Offer 1 | Each | Supra Healthcare | 7 | 90 | 0.020488 | 0.003109 | 0.0305 | 90.0541 | Avacare | South Africa
23 | RT31-01-016 | ADMINISTRATION SET standard, for adult use, Latex and DEHP Free, With two needle Y-injection sites, one proximal and one distal. Accurate flow regulating roller clamp between the two Y-sites. The tube must be non-kinking at any site and all temperatures. Drip volume: 20 drops/ml. Distal luer lock male adaptor Retractable Rotating male luer slip lock adaptor Total length: ± 180cm Latex and DEHP free: Latex and DEHP free to be stated on package. Sterile fluid pathway. Individually packed, sterile, tamper proof. To comply with the latest issue of SANS 1775. Compliance certificate to be submitted with the bid. EACH | Offer 1 | Each | Biocor Hospital Supplies | 8.39 | 75.8483 | 0.04 | 0.01 | 0.0075 | 75.9058 | Technomed | South Africa
25 | RT31-01-017 | ADMINISTRATION SET standard, for adult use, Latex and DEHP Free, With two needles Y-injection sites, one proximal and one distal with a non-return, anti-siphon valve for continuous flow. Accurate flow regulating roller clamp between the two Y-sites. The tube must be non-kinking at any site and all temperatures. Drip volume: 20 drops/ml. Distal luer lock male adaptor. Retractable Rotating male luer slip lock adaptor Total length: ± 180cm Latex and DEHP free: Latex and DEHP free to be stated on package. Sterile fluid pathway. Individually packed, sterile, tamper proof. To comply with the latest issue of SANS 1775. Compliance certificate to be submitted with the bid. EACH | Offer 1 | Each | B.Braun Medical | 29.22 | 90 | 0 | 0 | 0.02 | 90.02 | B.Braun | South Africa
26 | RT31-01-019 | ADMINISTRATION SET standard, for paediatric use, Latex and DEHP Free, With two needles Y-injection sites, one proximal and one distal with a non-return, anti-siphon valve for continuous flow. Accurate flow regulating roller clamp between the two Y-sites. The tube must be non-kinking at any site and all temperatures. The drip chamber must be fitted with a drop needle to ensure uniformity of drop size. Drip volume: 60 drops/ml. Distal luer lock male adaptor. Retractable Rotating male luer slip lock adaptor Total length: ± 180cm Latex and DEHP free: Latex and DEHP free to be stated on package Sterile fluid pathway. Individually packed, sterile, tamper proof. To comply with the latest issue of SANS 1775. Compliance certificate to be submitted with the bid. EACH | Offer 1 | Each | Supra Healthcare | 23.3333 | 90 | 0.020488 | 0.003109 | 0.0305 | 90.0541 | Avacare | South Africa
27 | RT31-02-008 | BLOOD ADMINISTRATION SET: Blood high capacity for adult use, Latex free, With double chamber Filter: 180-220 micron nylon fitted in the lower chamber Length of tubing: Total length of ± 150cm. The tube must be non-kinking at any site and all temperatures. Drip volume: 10 drops /ml Inner diameter (ID) of tubing: ± 4mm Distal luer lock male adaptor. Retractable Rotating male luer slip lock adaptor Accurate flow regulating roller clamp. The high capacity chamber to be below the flow regulating roller clamp. Sterile fluid pathway Latex free: Latex free to be stated on package Individually packed, sterile, tamper proof. To comply with the latest issue of SANS 1775 Compliance certificate to be submitted with the bid. EACH | Offer 1 | Each | Biocor Hospital Supplies | 22.48 | 90 | 0.04 | 0.01 | 0.0075 | 90.0575 | Technomed | South Africa
28 | RT31-02-012 | BLOOD ADMINISTRATION SET: Blood and other blood products for paediatric use, Latex and DEHP free, With single chamber and filter. Drip chamber Length: minimum of 7cm. Filter: 180-220 micron nylon. Length of tubing: Total length ±150cm. The tube must be non-kinking at any site and all temperatures. Drip Chamber: Non-Vented Drip volume: 20 drops /ml Distal luer lock male adaptor. Retractable Rotating male luer slip lock adaptor Accurate flow regulating roller clamp. Sterile fluid pathway Latex and DEHP free: Latex and DEHP free to be stated on package Individually packed, sterile, tamper proof. To comply with the latest issue of SANS 1775 Compliance certificate to be submitted with the bid. EACH | Offer 1 | Each | Biocor Hospital Supplies | 8.1 | 90 | 0.04 | 0.01 | 0.0075 | 90.0575 | Technomed | South Africa
29 | RT31-03-001 | ADMINISTRATION SET for use with a mini-bag container. (Secondary Infusion Set), Latex free, Accurate flow regulating roller clamp. The tube must be non-kinking at any site and all temperatures. Drip Chamber: Vented Drip volume: 20 drops/ml. Distal luer lock male adaptor. Retractable Rotating male luer slip lock adaptor Length of tubing: 65 – 75cm. With hanger for primary container. Latex free: Latex free to be stated on package. Sterile fluid pathway. Individually packed, sterile, tamper proof. To comply with the latest issue of SANS 1775. Compliance certificate to be submitted with the bid. EACH | Offer 1 | Each | Biocor Hospital Supplies | 6.44 | 90 | 0.04 | 0.01 | 0.0075 | 90.0575 | Technomed | South Africa
30 | RT31-03-002 | ADMINISTRATION SET for use with a mini-bag container. (Secondary Infusion Set), Latex and DEHP free Accurate flow regulating roller clamp. The tube must be non-kinking at any site and all temperatures. Chamber: Vented Drip volume: 20 drops/ml. Distal luer lock male adaptor. Retractable Rotating male luer slip lock adaptor Length of tubing: 0.65 – 0.75m. With hanger for primary container. Latex and DEHP free: Latex and DEHP free to be stated on package. Sterile fluid pathway. Individually packed, sterile, tamper proof. To comply with the latest issue of SANS 1775. Compliance certificate to be submitted with the bid. EACH | Offer 1 | Each | Biocor Hospital Supplies | 7.06 | 90 | 0.04 | 0.01 | 0.0075 | 90.0575 | Technomed | South Africa
31 | RT31-06-002 | EXTENSION SETS: Latex Free, Suitable for use with administration set and an infusion pump. Minimal residual volume Tube length: ±1.5m Inner diameter (ID) of tubing: 1 to 2mm Supplied with one male and one female luer lock connector The tube must be non-kinking at any site and all temperatures. PVC material Sterile fluid pathway Latex free: Latex free to be stated on package. Individually packed, sterile, tamper proof. To comply with the latest issue of SANS 1775 Compliance certificate to be submitted with the bid. EACH | Offer 1 | Each | Emergency Hospital | 12.5 | 90 | 0.016 | 0.01 | 0.0475 | 90.0735 | VIVA Line | SOUTH AFRICA
32 | RT31-06-022 | EXTENSION SETS: Double Lumen Latex Free, Suitable to be used with infusion pump. Minimal priming volume Proximal end female luer lock connector attached on a short tubing with a sliding clamp Distal end branches into two tubes 10 – 15 cm each with a sliding clamp. Each of above tubes ends with a non-return, anti-siphon valve on a needle free connector. Sterile fluid pathway Latex free: Latex free to be stated on package Individually packed, sterile, tamper proof. To comply with the latest issue of SANS 1775 Compliance certificate to be submitted with the bid. EACH | Offer 2 | Each | Supra Healthcare | 45.4 | 90 | 0.020488 | 0.003109 | 0 | 90.0236 | ICU | United States of America
33 | RT31-06-025 | TRIPLE LUMEN EXTENSION SET (Trifurcation Set), Latex free Suitable to be used with infusion pump. Minimal priming volume Proximal end female luer lock connector attached on a short tubing with a sliding clamp Distal end branches into three tubes 10 – 15 cm each with a sliding clamp. Each of above tubes ends with a non-return, anti-siphon valve on a needle free connector. Sterile fluid pathway Latex free: Latex free to be stated on package Individually packed, sterile, tamper proof. To comply with the latest issue of SANS 1775 Compliance certificate to be submitted with the bid. EACH | Offer 2 | Each | Supra Healthcare | 37 | 90 | 0.020488 | 0.003109 | 0 | 90.0236 | ICU | United States of America
34 | RT31-07-001 | INFUSION SET, CONTINUOUS, WINGED, Latex free-Needle size: 0,6mm (23G) x 20mm Extension tube: 20-37,5cm Adaptor on extension tube must be female luer with a suitable cover Wings: Flexible colour coded to international standards Latex free: Latex free to be stated on package Individually packed, sterile, tamper proof. Comply with the latest issue of SANS 305 Compliance certificate to be submitted with the bid. EACH | Offer 1 | Each | Lechoba Medical | 1.98 | -33.2609 | 0.04 | 0.01 | 0 | -33.2109 | Chiraflex | Slovak Republic
35 | RT31-07-002 | INFUSION SET, CONTINUOUS, WINGED, Latex free Needle size: 0,8mm (21G) x 20mm Extension tube: 20-37,5cm Adaptor on extension tube must be female luer with a suitable cover Wings: Flexible colour coded to international standards Latex free: Latex free to be stated on package Individually packed, sterile, tamper proof. To comply with the latest issue of SANS 305. Compliance certificate to be submitted with the bid. EACH | Offer 1 | Each | Lechoba Medical | 1.98 | -33.2609 | 0.04 | 0.01 | 0 | -33.2109 | Chiraflex | Slovak Republic
36 | RT31-08-001 | INJECTION CAP-Overall length of unit: 2.5 - 3.5cm, Latex Free, Consisting of a clear PVC type cylinder with a fixed needle free injection port, swappable at one end and a fixed male luer lock on the opposite end Overall length of unit: 2.5 - 3.5cm Latex free: Latex free to be stated on package Individually packed, sterile, tamper proof. EACH | Offer 1 | Each | SSEM Mthembu | 1.8401 | 90 | 0.01798 | 0.004218 | 0 | 90.0222 | Polymed | India
37 | RT31-08-001 | INJECTION CAP-Overall length of unit: 2.5 - 3.5cm, Latex Free, Consisting of a clear PVC type cylinder with a fixed needle free injection port, swappable at one end and a fixed male luer lock on the opposite end Overall length of unit: 2.5 - 3.5cm Latex free: Latex free to be stated on package Individually packed, sterile, tamper proof. EACH | Offer 1 | Each | Supra Healthcare | 4.7778 | -41.6346 | 0.020488 | 0.003109 | 0.0305 | -41.5805 | Avacare | South Africa
39 | RT31-08-002 | INJECTION CAP-Overall length of unit: 2.5 - 3.5cm- Consisting of a clear PVC type cylinder with a fixed non-coring latex injection port swappable, at one end and a fixed male luer lock on the opposite end Overall length of unit: 2.5 - 3.5cm Individually packed, sterile, tamper proof. EACH | Offer 1 | Each | Supra Healthcare | 1.4444 | 90 | 0.020488 | 0.003109 | 0.0305 | 90.0541 | Avacare | South Africa
40 | RT31-08-002 | INJECTION CAP-Overall length of unit: 2.5 - 3.5cm- Consisting of a clear PVC type cylinder with a fixed non-coring latex injection port swappable, at one end and a fixed male luer lock on the opposite end Overall length of unit: 2.5 - 3.5cm Individually packed, sterile, tamper proof. EACH | Offer 1 | Each | B.Braun Medical | 4.14 | -68.4 | 0 | 0 | 0 | -68.4 | B.Braun | Germany
41 | RT31-08-002 | INJECTION CAP-Overall length of unit: 2.5 - 3.5cm- Consisting of a clear PVC type cylinder with a fixed non-coring latex injection port swappable, at one end and a fixed male luer lock on the opposite end Overall length of unit: 2.5 - 3.5cm Individually packed, sterile, tamper proof. EACH | Offer 1 | Each | Zwanga TOR | 4.17 | -70.2 | 0 | 0 | 0 | -70.2 | Ulife | China
42 | RT31-08-003 | INJECTION CAP-Overall length of unit: 2.0cm, Latex Free- Consisting of a clear PVC type cylinder with a fixed needle free injection port, swappable at one end and a fixed male luer lock on the opposite end Overall length of unit: 2.0cm Latex free: Latex free to be stated on package Individually packed, sterile, tamper proof. EACH | Offer 1 | Each | SSEM Mthembu | 1.8401 | 90 | 0.01798 | 0.004218 | 0 | 90.0222 | Polymed | India
43 | RT31-08-003 | INJECTION CAP-Overall length of unit: 2.0cm, Latex Free- Consisting of a clear PVC type cylinder with a fixed needle free injection port, swappable at one end and a fixed male luer lock on the opposite end Overall length of unit: 2.0cm Latex free: Latex free to be stated on package Individually packed, sterile, tamper proof. EACH | Offer 2 | Each | Supra Healthcare | 4.6 | -25.9635 | 0.020488 | 0.003109 | 0 | -25.9399 | ICU | United States of America
44 | RT31-08-003 | INJECTION CAP-Overall length of unit: 2.0cm, Latex Free- Consisting of a clear PVC type cylinder with a fixed needle free injection port, swappable at one end and a fixed male luer lock on the opposite end Overall length of unit: 2.0cm Latex free: Latex free to be stated on package Individually packed, sterile, tamper proof. EACH | Offer 1 | Each | Becton Dickinson | 5.4648 | -74.8798 | 0 | 0 | 0 | -74.8798 | BD | South Africa
45 | RT31-08-004 | INJECTION CAP-Overall length of unit: 2.0cm, Latex free- Consisting of a clear PVC type cylinder with a fixed non-coring injection port, swappable at one end and a fixed male luer lock on the opposite end Overall length of unit: 2.0cm Individually packed, sterile, tamper proof. EACH | Offer 1 | Each | SSEM Mthembu | 1.8401 | 90 | 0.01798 | 0.004218 | 0 | 90.0222 | Polymed | India
46 | RT31-08-004 | INJECTION CAP-Overall length of unit: 2.0cm, Latex free- Consisting of a clear PVC type cylinder with a fixed non-coring injection port, swappable at one end and a fixed male luer lock on the opposite end Overall length of unit: 2.0cm Individually packed, sterile, tamper proof. EACH | Offer 1 | Each | Supra Healthcare | 3.4444 | 20.1544 | 0.020488 | 0.003109 | 0.0305 | 20.2085 | Avacare | South Africa
47 | RT31-08-004 | INJECTION CAP-Overall length of unit: 2.0cm, Latex free- Consisting of a clear PVC type cylinder with a fixed non-coring injection port, swappable at one end and a fixed male luer lock on the opposite end Overall length of unit: 2.0cm Individually packed, sterile, tamper proof. EACH | Offer 1 | Each | Becton Dickinson | 5.4648 | -74.8798 | 0 | 0 | 0 | -74.8798 | BD | South Africa
48 | RT31-10-001 | RECONSTITUTION DEVICE- Suitable for the reconstitution of powder for injection and the aseptic transfer of the resulting solution into the mini-bag type of container Individually packed, sterile, tamper proof. EACH | Offer 1 | Each | Biocor Hospital Supplies | 2.35 | 90 | 0.04 | 0.01 | 0.0075 | 90.0575 | Technomed | South Africa
49 | RT31-11-001 | THREE WAY STOPCOCK with three inlet/outlet ports, Latex Free, Tap must rotate 360° Two female fully threaded luer lock ports One male luer fitting with rotating security lock Transparent base and legs Flow indicator on tap position of handle indicating open ports Colour coding for arterial and venous identification No dead space in base of stopcock Minimal dead space in ports Leak proof at 600kPa for 30 seconds Flow rate in excess of 250ml/min Latex free: Latex free to be stated on package Individually packed, sterile, tamper proof | Offer 1 | Each | Zwanga TOR | 2.63 | 90 | 0 | 0 | 0 | 90 | Ulife | China
50 | RT31-11-001 | THREE WAY STOPCOCK with three inlet/outlet ports, Latex Free, Tap must rotate 360° Two female fully threaded luer lock ports One male luer fitting with rotating security lock Transparent base and legs Flow indicator on tap position of handle indicating open ports Colour coding for arterial and venous identification No dead space in base of stopcock Minimal dead space in ports Leak proof at 600kPa for 30 seconds Flow rate in excess of 250ml/min Latex free: Latex free to be stated on package Individually packed, sterile, tamper proof | Offer 1 | Each | Emergency Hospital | 3 | 77.3384 | 0.016 | 0.01 | 0 | 77.3644 | EHS | INDIA
51 | RT31-11-001 | THREE WAY STOPCOCK with three inlet/outlet ports, Latex Free, Tap must rotate 360° Two female fully threaded luer lock ports One male luer fitting with rotating security lock Transparent base and legs Flow indicator on tap position of handle indicating open ports Colour coding for arterial and venous identification No dead space in base of stopcock Minimal dead space in ports Leak proof at 600kPa for 30 seconds Flow rate in excess of 250ml/min Latex free: Latex free to be stated on package Individually packed, sterile, tamper proof | Offer 1 | Each | SSEM Mthembu | 3.5355 | 47.7202 | 0.01798 | 0.004218 | 0 | 47.7424 | Polymed | India
52 | RT31-11-002 | THREE WAY STOPCOCK with 5cm extension tube, Latex Free, Tap must rotate 360° Extension tube with male luer connector/rotating security lock Two female fully threaded luer lock ports Transparent base and legs Flow indicator on tap position of handle indicating open ports Colour coding for arterial and venous identification No dead space in base of stopcock Minimal dead space in ports Leak proof at 600kPa for 30 seconds Flow rate in excess of 250ml/min Latex free: Latex free to be stated on package Individually packed, sterile, tamper proof. EACH | Offer 1 | Each | Zwanga TOR | 3.17 | 90 | 0 | 0 | 0 | 90 | Ulife | China
53 | RT31-11-002 | THREE WAY STOPCOCK with 5cm extension tube, Latex Free, Tap must rotate 360° Extension tube with male luer connector/rotating security lock Two female fully threaded luer lock ports Transparent base and legs Flow indicator on tap position of handle indicating open ports Colour coding for arterial and venous identification No dead space in base of stopcock Minimal dead space in ports Leak proof at 600kPa for 30 seconds Flow rate in excess of 250ml/min Latex free: Latex free to be stated on package Individually packed, sterile, tamper proof. EACH | Offer 1 | Each | Emergency Hospital | 3.62 | 77.224 | 0.016 | 0.01 | 0 | 77.25 | EHS | INDIA
54 | RT31-11-002 | THREE WAY STOPCOCK with 5cm extension tube, Latex Free, Tap must rotate 360° Extension tube with male luer connector/rotating security lock Two female fully threaded luer lock ports Transparent base and legs Flow indicator on tap position of handle indicating open ports Colour coding for arterial and venous identification No dead space in base of stopcock Minimal dead space in ports Leak proof at 600kPa for 30 seconds Flow rate in excess of 250ml/min Latex free: Latex free to be stated on package Individually packed, sterile, tamper proof. EACH | Offer 1 | Each | Biocor Hospital Supplies | 4.86 | 42.0189 | 0.04 | 0.01 | 0.0075 | 42.0764 | Technomed | South Africa
55 | RT31-11-003 | THREE WAY STOPCOCK with 10cm extension tube, Latex Free , Tap must rotate 360° Extension tube with male luer connector/rotating security lock Two female fully threaded luer lock ports Transparent base and legs Flow indicator on tap position of handle indicating open ports Colour coding for arterial and venous identification No dead space in base of stopcock Minimal dead space in ports Leak proof at 600kPa for 30 seconds Flow rate in excess of 250ml/min Latex free: Latex free to be stated on package Individually packed, sterile, tamper proof. EACH | Offer 1 | Each | Zwanga TOR | 3.17 | 90 | 0 | 0 | 0 | 90 | Ulife | China
56 | RT31-11-003 | THREE WAY STOPCOCK with 10cm extension tube, Latex Free , Tap must rotate 360° Extension tube with male luer connector/rotating security lock Two female fully threaded luer lock ports Transparent base and legs Flow indicator on tap position of handle indicating open ports Colour coding for arterial and venous identification No dead space in base of stopcock Minimal dead space in ports Leak proof at 600kPa for 30 seconds Flow rate in excess of 250ml/min Latex free: Latex free to be stated on package Individually packed, sterile, tamper proof. EACH | Offer 1 | Each | Emergency Hospital | 3.91 | 68.9905 | 0.016 | 0.01 | 0 | 69.0165 | EHS | INDIA
57 | RT31-11-003 | THREE WAY STOPCOCK with 10cm extension tube, Latex Free , Tap must rotate 360° Extension tube with male luer connector/rotating security lock Two female fully threaded luer lock ports Transparent base and legs Flow indicator on tap position of handle indicating open ports Colour coding for arterial and venous identification No dead space in base of stopcock Minimal dead space in ports Leak proof at 600kPa for 30 seconds Flow rate in excess of 250ml/min Latex free: Latex free to be stated on package Individually packed, sterile, tamper proof. EACH | Offer 1 | Each | Biocor Hospital Supplies | 4.99 | 38.3281 | 0.04 | 0.01 | 0.0075 | 38.3856 | Technomed | South Africa
58 | RT31-11-004 | THREE WAY STOPCOCK with 50cm extension tube, Latex Free, Tap must rotate 360° Extension tube with male luer connector/rotating security lock Two female fully threaded luer lock ports Transparent base and legs Flow indicator on tap position of handle indicating open ports Colour coding for arterial and venous identification No dead space in base of stopcock Minimal dead space in ports Leak proof at 600kPa for 30 seconds Flow rate in excess of 250ml/min Latex free: Latex free to be stated on package Individually packed, sterile, tamper proof. EACH | Offer 1 | Each | Zwanga TOR | 3.38 | 90 | 0 | 0 | 0 | 90 | Ulife | China
59 | RT31-11-004 | THREE WAY STOPCOCK with 50cm extension tube, Latex Free, Tap must rotate 360° Extension tube with male luer connector/rotating security lock Two female fully threaded luer lock ports Transparent base and legs Flow indicator on tap position of handle indicating open ports Colour coding for arterial and venous identification No dead space in base of stopcock Minimal dead space in ports Leak proof at 600kPa for 30 seconds Flow rate in excess of 250ml/min Latex free: Latex free to be stated on package Individually packed, sterile, tamper proof. EACH | Offer 1 | Each | Emergency Hospital | 5.09 | 44.4675 | 0.016 | 0.01 | 0 | 44.4935 | EHS | INDIA
60 | RT31-11-004 | THREE WAY STOPCOCK with 50cm extension tube, Latex Free, Tap must rotate 360° Extension tube with male luer connector/rotating security lock Two female fully threaded luer lock ports Transparent base and legs Flow indicator on tap position of handle indicating open ports Colour coding for arterial and venous identification No dead space in base of stopcock Minimal dead space in ports Leak proof at 600kPa for 30 seconds Flow rate in excess of 250ml/min Latex free: Latex free to be stated on package Individually packed, sterile, tamper proof. EACH | Offer 1 | Each | Biocor Hospital Supplies | 5.68 | 28.7574 | 0.04 | 0.01 | 0.0075 | 28.8149 | Technomed | South Africa
61 | RT31-11-005 | THREE WAY STOPCOCK with 5cm extension tube, Latex and DEHP Free, Tap must rotate 360° Extension tube with male luer connector/rotating security lock Two female fully threaded luer lock ports Transparent base and legs Flow indicator on tap position of handle indicating open ports Colour coding for arterial and venous identification No dead space in base of stopcock Minimal dead space in ports Leak proof at 600kPa for 30 seconds Flow rate in excess of 250ml/min Latex and DEHP free: Latex and DEHP free to be stated on package Individually packed, sterile, tamper proof. EACH | Offer 1 | Each | Zwanga TOR | 3.38 | 90 | 0 | 0 | 0 | 90 | Ulife | China
62 | RT31-11-005 | THREE WAY STOPCOCK with 5cm extension tube, Latex and DEHP Free, Tap must rotate 360° Extension tube with male luer connector/rotating security lock Two female fully threaded luer lock ports Transparent base and legs Flow indicator on tap position of handle indicating open ports Colour coding for arterial and venous identification No dead space in base of stopcock Minimal dead space in ports Leak proof at 600kPa for 30 seconds Flow rate in excess of 250ml/min Latex and DEHP free: Latex and DEHP free to be stated on package Individually packed, sterile, tamper proof. EACH | Offer 1 | Each | Biocor Hospital Supplies | 5.01 | 46.5976 | 0.04 | 0.01 | 0.0075 | 46.6551 | Technomed | South Africa
63 | RT31-11-005 | THREE WAY STOPCOCK with 5cm extension tube, Latex and DEHP Free, Tap must rotate 360° Extension tube with male luer connector/rotating security lock Two female fully threaded luer lock ports Transparent base and legs Flow indicator on tap position of handle indicating open ports Colour coding for arterial and venous identification No dead space in base of stopcock Minimal dead space in ports Leak proof at 600kPa for 30 seconds Flow rate in excess of 250ml/min Latex and DEHP free: Latex and DEHP free to be stated on package Individually packed, sterile, tamper proof. EACH | Offer 1 | Each | Supra Healthcare | 5.4444 | 29.8225 | 0.020488 | 0.003109 | 0.0305 | 29.8766 | Avacare | South Africa
64 | RT31-11-006 | THREE WAY STOPCOCK with 10cm extension tube, Latex and DEHP Free- Tap must rotate 360° Extension tube with male luer connector/rotating security lock Two female fully threaded luer lock ports Transparent base and legs Flow indicator on tap position of handle indicating open ports Colour coding for arterial and venous identification No dead space in base of stopcock Minimal dead space in ports Leak proof at 600kPa for 30 seconds Flow rate in excess of 250ml/min Latex and DEHP free: Latex and DEHP free to be stated on package Individually packed, sterile, tamper proof. EACH | Offer 1 | Each | Zwanga TOR | 3.38 | 90 | 0 | 0 | 0 | 90 | Ulife | China
65 | RT31-11-006 | THREE WAY STOPCOCK with 10cm extension tube, Latex and DEHP Free- Tap must rotate 360° Extension tube with male luer connector/rotating security lock Two female fully threaded luer lock ports Transparent base and legs Flow indicator on tap position of handle indicating open ports Colour coding for arterial and venous identification No dead space in base of stopcock Minimal dead space in ports Leak proof at 600kPa for 30 seconds Flow rate in excess of 250ml/min Latex and DEHP free: Latex and DEHP free to be stated on package Individually packed, sterile, tamper proof. EACH | Offer 1 | Each | Biocor Hospital Supplies | 5.14 | 43.1361 | 0.04 | 0.01 | 0.0075 | 43.1936 | Technomed | South Africa
66 | RT31-11-006 | THREE WAY STOPCOCK with 10cm extension tube, Latex and DEHP Free- Tap must rotate 360° Extension tube with male luer connector/rotating security lock Two female fully threaded luer lock ports Transparent base and legs Flow indicator on tap position of handle indicating open ports Colour coding for arterial and venous identification No dead space in base of stopcock Minimal dead space in ports Leak proof at 600kPa for 30 seconds Flow rate in excess of 250ml/min Latex and DEHP free: Latex and DEHP free to be stated on package Individually packed, sterile, tamper proof. EACH | Offer 1 | Each | Supra Healthcare | 5.6667 | 23.6982 | 0.020488 | 0.003109 | 0.0305 | 23.7523 | Avacare | South Africa
67 | RT31-11-007 | THREE WAY STOPCOCK with 50cm extension tube, Latex and DEHP Free- Tap must rotate 360° Extension tube with male luer connector/rotating security lock Two female fully threaded luer lock ports Transparent base and legs Flow indicator on tap position of handle indicating open ports Colour coding for arterial and venous identification No dead space in base of stopcock Minimal dead space in ports Leak proof at 600kPa for 30 seconds Flow rate in excess of 250ml/min Latex and DEHP free: Latex and DEHP free to be stated on package Individually packed, sterile, tamper proof. EACH | Offer 1 | Each | Biocor Hospital Supplies | 5.91 | 90 | 0.04 | 0.01 | 0.0075 | 90.0575 | Technomed | South Africa
68 | RT31-11-007 | THREE WAY STOPCOCK with 50cm extension tube, Latex and DEHP Free- Tap must rotate 360° Extension tube with male luer connector/rotating security lock Two female fully threaded luer lock ports Transparent base and legs Flow indicator on tap position of handle indicating open ports Colour coding for arterial and venous identification No dead space in base of stopcock Minimal dead space in ports Leak proof at 600kPa for 30 seconds Flow rate in excess of 250ml/min Latex and DEHP free: Latex and DEHP free to be stated on package Individually packed, sterile, tamper proof. EACH | Offer 1 | Each | Supra Healthcare | 6 | 85.4315 | 0.04 | 0.003109 | 0.0305 | 85.5051 | Avacare | South Africa
69 | RT31-13-001 | Driver for intraosseous vascular access- The drill should be: *Sealed unit which is waterproof *Hand-held *Must give protection against electric shocks *Powered by a non-replacable lithium battery *Able to be used in electomagnetic enviroments *Have indicater and alert LED lights *Have a shelf life of ±10 years or approximately 500 insertions Drill should be able to be sterilized by a Sterrad system when needed to be sterile. Canvas bag must be included for storage of drill and other assessories Supplier should give inservice training per purchase and continuous support for the duration of the contract Each Item 1 must be compatible with 2 or 3 or 4 | Offer 1 | Each | Teleflx | 3507.5 | 90 | 0 | 0 | 0 | 90 | Arrow | United States of America
70 | RT31-13-002 | Needle and stabilizer kits-Intraosseous needle: Size: 15G X 15mm- The kit should includes the following items *Intraosseous needle: Size: 15G X 15mm *Stabilizer *Extention set *Dressing *Wrists band *1-Port sharps block Sterile and peel packed Each Item 1 and 2 will be considered as a series | Offer 1 | Each | Teleflx | 917.7 | 90 | 0 | 0 | 0 | 90 | Arrow | United States of America
71 | RT31-13-003 | Needle and stabilizer kits-Intraosseous needle: Size: 15G X 25mm- The kit should includes the following items *Intraosseous needle: Size: 15G X 25mm *Stabilizer *Extention set *Dressing *Wrists band *1-Port sharps block Sterile and peel packed Each Item 1, and 3 will be considered as a series | Offer 1 | Each | Teleflx | 917.7 | 90 | 0 | 0 | 0 | 90 | Arrow | United States of America
72 | RT31-13-004 | Needle and stabilizer kits-Intraosseous needle: Size: 15G X 45mm- The kit should includes the following items *Intraosseous needle: Size: 15G X 45mm *Stabilizer *Extention set *Dressing *Wrists band *1-Port sharps block Sterile and peel packed Each Item 1 and 4 will be considered as a series | Offer 1 | Each | Teleflx | 917.7 | 90 | 0 | 0 | 0 | 90 | Arrow | United States of America
73 | RT31-11-007 | THREE WAY STOPCOCK with 50cm extension tube, Latex and DEHP Free- Tap must rotate 360° Extension tube with male luer connector/rotating security lock Two female fully threaded luer lock ports Transparent base and legs Flow indicator on tap position of handle indicating open ports Colour coding for arterial and venous identification No dead space in base of stopcock Minimal dead space in ports Leak proof at 600kPa for 30 seconds Flow rate in excess of 250ml/min Latex and DEHP free: Latex and DEHP free to be stated on package Individually packed, sterile, tamper proof. EACH | Offer 1 | Each | Diverse Pharmaceuticals | 8.4 | 52.0812 | 0.04 | 0 | 0 | -71.96 | Goerge Phillips | INDIA