## Sheet1
NATIONAL TREASURY: OFFICE OF THE CHIEF PROCUREMENT OFFICER: TRANSVERSAL CONTRACTING
Contact Person: Keatshotse Gouwe, Mobile: 066 290 0218 e-mail: Keatshotse.Gouwe@treasury.gov.za
RT42-2025: SUPPLY AND DELIVERY OF BANDAGES AND DRESSINGS TO THE STATE 1 NOVEMBER 2025 to 31 OCTOBER 2030
ITEM CODE | ITEM DESCRIPTION | END USER | SUPPLIER NAME | ORIGINAL BID PRICE | NEW PRICE WITH EFFECT 21 APRIL 2026 TO 31 MARCH 2027
RT42-01-001 | Dressing, burn, first aid non-adherent, each Sterile dressing for emergency or primary application to list 1st, 2nd, 3rd degree burns and scalds Size: 10cm x 10cm Properties of dressing: water based, absorb and dissipate heat, reduce burn progression, limit skin damage, inhibit fluid loss Properties of Gel: colourless to white, non-oily, contain 90 - 98% water, non-toxic, hypo-allergenic, low irritant, even to eyes, viscosity: 15 000 to 30 000 cPs pH: 5.5 to 7.0 Each | NATIONAL | Unitrade 1032 CC | 11.6 | 11.9579
RT42-01-001 | Dressing, burn, first aid non-adherent, each Sterile dressing for emergency or primary application to list 1st, 2nd, 3rd degree burns and scalds Size: 10cm x 10cm Properties of dressing: water based, absorb and dissipate heat, reduce burn progression, limit skin damage, inhibit fluid loss Properties of Gel: colourless to white, non-oily, contain 90 - 98% water, non-toxic, hypo-allergenic, low irritant, even to eyes, viscosity: 15 000 to 30 000 cPs pH: 5.5 to 7.0 Each | NATIONAL | Surgemed Health Care (Pty) Ltd | 12.5 | 12.8791
RT42-01-002 | Dressing, burn, first aid, non-adherent, each Sterile dressing for emergency or primary application to list 1st, 2nd, 3rd degree burns and scalds Size: 20cm x 20cm Properties of dressing: water based, absorb and dissipate heat reduce burn progression, limit skin damage, inhibit fluid loss Properties of Gel: colourless to white, non-oily, contain 90-98% water, non-toxic, hypo-allergenic, low irritant, even to eyes, bacteriostatic viscosity: 15 000 - 30 000 cPs pH: 5.5 to 7.0 Label to state bacteriostatic Each | NATIONAL | Unitrade 1032 CC | 24.15 | 24.8951
RT42-01-002 | Dressing, burn, first aid, non-adherent, each Sterile dressing for emergency or primary application to list 1st, 2nd, 3rd degree burns and scalds Size: 20cm x 20cm Properties of dressing: water based, absorb and dissipate heat reduce burn progression, limit skin damage, inhibit fluid loss Properties of Gel: colourless to white, non-oily, contain 90-98% water, non-toxic, hypo-allergenic, low irritant, even to eyes, bacteriostatic viscosity: 15 000 - 30 000 cPs pH: 5.5 to 7.0 Label to state bacteriostatic Each | NATIONAL | Surgemed Health Care (Pty) Ltd | 26.15 | 26.9431
RT42-01-003 | Dressing, burn, first aid, non-adherent, each Sterile dressing for emergency or primary application to list 1st, 2nd, 3rd degree burns and scalds Size: 60cm x 40cm Properties of dressing: water based, absorb and dissipate heat, reduce burn progression, limit skin damage, inhibit fluid loss Properties of Gel: colourless to white, non-oily, contain 90-98% water, non-toxic, hypo-allergenic, low irritant, even to eyes, viscosity: 15 000 - 30 000 cPs pH: 5.5 to 7.0 Each | NATIONAL | Unitrade 1032 CC | 122 | 125.7643
RT42-01-003 | Dressing, burn, first aid, non-adherent, each Sterile dressing for emergency or primary application to list 1st, 2nd, 3rd degree burns and scalds Size: 60cm x 40cm Properties of dressing: water based, absorb and dissipate heat, reduce burn progression, limit skin damage, inhibit fluid loss Properties of Gel: colourless to white, non-oily, contain 90-98% water, non-toxic, hypo-allergenic, low irritant, even to eyes, viscosity: 15 000 - 30 000 cPs pH: 5.5 to 7.0 Each | NATIONAL | Surgemed Health Care (Pty) Ltd | 131.76 | 135.7561
RT42-01-004 | Dressing, burn, first aid, multiple kit, Sterile dressing for pre-medical application to 1st, 2nd and 3rd degree burns and scalds Kit = 6 dressing: 2 x 100mm x 100mm 2 x 200mm x 200mm 2 x 600mm x 400mm Properties of dressing: water based, absorb and dissipate heat, reduce burn progression, limit skin damage, inhibit fluid loss Properties of Gel: colourless to white, non-oily, contain 96% water, non-toxic, hypo-allergenic, low irritant, even to eyes, viscosity: 15 000 - 30 000 cPs pH: 5.5 to 7.0 Kit | NATIONAL | Unitrade 1032 CC | 265.5 | 273.692
RT42-01-004 | Dressing, burn, first aid, multiple kit, Sterile dressing for pre-medical application to 1st, 2nd and 3rd degree burns and scalds Kit = 6 dressing: 2 x 100mm x 100mm 2 x 200mm x 200mm 2 x 600mm x 400mm Properties of dressing: water based, absorb and dissipate heat, reduce burn progression, limit skin damage, inhibit fluid loss Properties of Gel: colourless to white, non-oily, contain 96% water, non-toxic, hypo-allergenic, low irritant, even to eyes, viscosity: 15 000 - 30 000 cPs pH: 5.5 to 7.0 Kit | NATIONAL | Surgemed Health Care (Pty) Ltd | 286.74 | 295.4365
RT42-01-006 | Dressing, burn, first aid non-adherent, each Sterile dressing for emergency or primary application to list 1st, 2nd, 3rd degree burns and scalds Size: 5cm x15cm Properties of dressing: water based, absorb and dissipate heat, reduce burn progression, limit skin damage, inhibit fluid loss Properties of Gel: colourless to white, non-oily, contain 90-98% water, non-toxic, hypo-allergenic, low irritant, even to eyes vesscosity: 15 000 to 30 000 cPs pH: 5.5 to 7.0 Each | NATIONAL | Unitrade 1032 CC | 10.9 | 11.2363
RT42-01-006 | Dressing, burn, first aid non-adherent, each Sterile dressing for emergency or primary application to list 1st, 2nd, 3rd degree burns and scalds Size: 5cm x15cm Properties of dressing: water based, absorb and dissipate heat, reduce burn progression, limit skin damage, inhibit fluid loss Properties of Gel: colourless to white, non-oily, contain 90-98% water, non-toxic, hypo-allergenic, low irritant, even to eyes vesscosity: 15 000 to 30 000 cPs pH: 5.5 to 7.0 Each | NATIONAL | Surgemed Health Care (Pty) Ltd | 11.9 | 12.2609
RT42-01-007 | Dressing, burn, first aid non-adherent, each Sterile dressing for emergency or primary application to list 1st, 2nd, 3rd degree burns and scalds Size: 10cm x 40cm Properties of dressing: water based, absorb and dissipate heat, reduce burn progression, limit skin damage, inhibit fluid loss Properties of Gel: colourless to white, non-oily, contain 90-98% water, non-toxic, hypo-allergenic, low irritant, even to eyes, viscosity: 15 000 to 30 000 cPs pH: 5.5 to 7.0 Each | NATIONAL | Unitrade 1032 CC | 40.2 | 41.4404
RT42-01-007 | Dressing, burn, first aid non-adherent, each Sterile dressing for emergency or primary application to list 1st, 2nd, 3rd degree burns and scalds Size: 10cm x 40cm Properties of dressing: water based, absorb and dissipate heat, reduce burn progression, limit skin damage, inhibit fluid loss Properties of Gel: colourless to white, non-oily, contain 90-98% water, non-toxic, hypo-allergenic, low irritant, even to eyes, viscosity: 15 000 to 30 000 cPs pH: 5.5 to 7.0 Each | NATIONAL | Surgemed Health Care (Pty) Ltd | 43.42 | 44.7369
RT42-01-008 | Dressing, burn, first aid non-adherent, each Sterile dressing for emergency or primary application to list 1st, 2nd, 3rd degree burns and scalds Size: 20cm x 45cm Properties of dressing: water based, absorb and dissipate heat, reduce burn progression, limit skin damage, inhibit fluid loss Properties of Gel: colourless to white, non-oily, contain 90-98% water, non-toxic, hypo-allergenic, low irritant, even to eyes, viscosity: 15 000 to 30 000 cPs pH: 5.5 to 7.0 Each | NATIONAL | Unitrade 1032 CC | 54.8 | 56.4909
RT42-01-008 | Dressing, burn, first aid non-adherent, each Sterile dressing for emergency or primary application to list 1st, 2nd, 3rd degree burns and scalds Size: 20cm x 45cm Properties of dressing: water based, absorb and dissipate heat, reduce burn progression, limit skin damage, inhibit fluid loss Properties of Gel: colourless to white, non-oily, contain 90-98% water, non-toxic, hypo-allergenic, low irritant, even to eyes, viscosity: 15 000 to 30 000 cPs pH: 5.5 to 7.0 Each | NATIONAL | Surgemed Health Care (Pty) Ltd | 59.18 | 60.9749
RT42-01-009 | Dressing, burn, first aid non-adherent, each Sterile dressing for emergency or primary application to list 1st, 2nd, 3rd degree burns and scalds Size: 20cm x 55cm (hand dressing) Properties of dressing: water based, absorb and dissipate heat, reduce burn progression, limit skin damage, inhibit fluid loss Properties of Gel: colourless to white, non-oily, contain 90-98% water, non-toxic, hypo-allergenic, low irritant, even to eyes, viscosity: 15 000 to 30 000 cPs pH: 5.5 to 7.0 Each | NATIONAL | Meddreg Technology CC | 76.54 | 78.7242
RT42-01-009 | Dressing, burn, first aid non-adherent, each Sterile dressing for emergency or primary application to list 1st, 2nd, 3rd degree burns and scalds Size: 20cm x 55cm (hand dressing) Properties of dressing: water based, absorb and dissipate heat, reduce burn progression, limit skin damage, inhibit fluid loss Properties of Gel: colourless to white, non-oily, contain 90-98% water, non-toxic, hypo-allergenic, low irritant, even to eyes, viscosity: 15 000 to 30 000 cPs pH: 5.5 to 7.0 Each | NATIONAL | Surgemed Health Care (Pty) Ltd | 80.11 | 82.5396
RT42-01-010 | Dressing, burn, first aid non-adherent, each Sterile dressing for emergency or primary application to list 1st, 2nd, 3rd degree burns and scalds Size: 30cm x 40cm (face mask) Properties of dressing: water based, absorb and dissipate heat, reduce burn progression, limit skin damage, inhibit fluid loss Properties of Gel: colourless to white, non-oily, contain 90-98% water, non-toxic, hypo-allergenic, low irritant, even to eyes, viscosity: 15 000 to 30 000 cPs pH: 5.5 to 7.0 Each | NATIONAL | Meddreg Technology CC | 50.2 | 51.6326
RT42-01-026 | Dressing, absorbent gauze, type 1, bleached, 100 dressings Non sterile, autoclavable Size: 225mm x 225mm x 16ply To comply with the latest issue of SANS 446 Compliance certificate to be submitted with bid Packet | NATIONAL | Unitrade 1032 CC | 232.5 | 239.6738
RT42-01-027 | Dressing, paraffin gauze, B.P., 10 dressings in a tray Size: 100mm x 100mm Tray | NATIONAL | Unitrade 1032 CC | 29.7 | 30.6164
RT42-01-028 | Dressing, paraffin gauze, B.P., in a tray Size: 100mm x 7m One dressing per tray Tray | NATIONAL | Unitrade 1032 CC | 67 | 69.0673
RT42-01-029 | Dressing, paraffin gauze, B.P., 10 dressings Size: 100mm x 100mm Sterile individually peel packed Box | NATIONAL | Meddreg Technology CC | 28.5 | 29.3133
RT42-01-029 | Dressing, paraffin gauze, B.P., 10 dressings Size: 100mm x 100mm Sterile individually peel packed Box | NATIONAL | Surgemed Health Care (Pty) Ltd | 36.45 | 37.5555
RT42-01-030 | Dressing, paraffin gauze B.P. 10 dressings Size: 100mm x 400mm Sterile, individuallly peel packed Box | NATIONAL | Meddreg Technology CC | 63.8 | 65.6207
RT42-01-035 | Dressing, gauze, non-woven, with haemostatic properties trauma pad Size: 100mm X 100mm Individually packed Sterile Box of 10 dressings | NATIONAL | Hartmann-Vitamed (Pty) Ltd | 5.79 | 5.8399
RT42-01-065 | Dressing Wound, absorbent, self-adherent Highly absorbent centre layer to accommodate large volume exudate and odour, layer of dressing to be waterproof. Outer layer waterproof, tapered borders to prevent leakage. Non-adherent wound contact layer. Sterile, individually peel packed Size of Dressing: 75mm x 75mm Each | NATIONAL | Kunene Health care (Pty) Ltd | 1.35 | 1.3617
RT42-01-066 | Dressing Wound, absorbent, self-adherent Highly absorbent centre layer to accommodate large volume exudate and odour, layer of dressing to be waterproof. Outer layer waterproof, tapered borders to prevent leakage. Non-adherent wound contact layer.. Sterile, individually peel packed Size of Dressing: 100mm x 100mm Each | NATIONAL | Kunene Health care (Pty) Ltd | 1.95 | 1.9669
RT42-01-081 | Dressing, wound Non-adherent dressing polypropylene/polythylene wound contact layer Size: 100mm x 100mm x 4ply Sterile, individually peel packed Each | NATIONAL | Hartmann-Vitamed (Pty) Ltd | 0.58 | 0.58499
RT42-01-126 | Dressing wound, hydrokinetic, super absorbent, layered mechanically modified cellulose and gel forming polymerdressing to assist in the removal of exudate, bacteria and dead tissue, be non-adherent to wound surface, sterile, individually peel packed, size dressing:10cm x 10cm. Each | NATIONAL | Hartmann-Vitamed (Pty) Ltd | 9.6 | 9.6827
RT42-01-127 | Dressing wound, hydrokinetic, super absorbent, layered mechanically modified cellulose and gel forming polymerdressing to assist in the removal of exudate, bacteria and dead tissue, be non-adherent to wound surface, sterile, individually peel packed, size dressing: 20cm x 10cm. Each | NATIONAL | Hartmann-Vitamed (Pty) Ltd | 14.01 | 14.1306
RT42-01-136 | Dressing wound, negative pressure wound therapy system. Kit must include: *Dressing consist of a patented four layer dressing or sponge with a size: 10cm x 20cm *Pocket sized pump battery powered pump which must last for a maximum of 7 days Individually packed Single use Sterile Kit | NATIONAL | Augustine Medical SA (Pty) Ltd | 4230.45 | 4353.6968
RT42-01-137 | Dressing wound, negative pressure wound therapy system. Kit must include: *Dressing consist of a patented four layer dressing or sponge with a size: 10cm x 30cm *Pocket sized pump battery powered pump which must last for a maximum of 7 days Individually packed Single use Sterile Kit | NATIONAL | Augustine Medical SA (Pty) Ltd | 4600 | 4734.013
RT42-01-138 | Dressing wound,negative pressure wound therapy system. Kit must include: *Dressing consist of a patented four layer dressing or sponge with a size: 10cm x 40cm *Pocket sized pump battery powered pump which must last for a maximum of 7 days Individually packed Single use Sterile Kit | NATIONAL | Augustine Medical SA (Pty) Ltd | 5784.85 | 5953.3816
RT42-01-139 | Dressing wound, Single use negative pressure wound therapy system. Kit must include: *Dressing consist of a patented four layer dressing or sponge with a size: 15cm x 15cm *Pocket sized pump battery powered pump which must last for a maximum of 7 days Individually packed Single use Sterile Kit | NATIONAL | Augustine Medical SA (Pty) Ltd | 2131.53 | 2193.6284
RT42-01-145 - Op.1 | Negative pressure wound therapy system Small Dressing kit Sterile, Peel packed Each This item must be compatible with item RT42-01-144 and be the same brand offered on RT42-01-144 by the same bidder. | NATIONAL | Augustine Medical SA (Pty) Ltd | 390.3 | 401.6707
RT42-01-145 - Op.2 | Negative pressure wound therapy system Small Dressing kit Sterile, Peel packed Each This item must be compatible with item RT42-01-144 and be the same brand offered on RT42-01-144 by the same bidder. | NATIONAL | Augustine Medical SA (Pty) Ltd | 463.57 | 477.0753
RT42-01-145 - Op.3 | Negative pressure wound therapy system Small Dressing kit Sterile, Peel packed Each This item must be compatible with item RT42-01-144 and be the same brand offered on RT42-01-144 by the same bidder. | NATIONAL | Augustine Medical SA (Pty) Ltd | 836.36 | 860.7259
RT42-01-146 - Op.1 | Negative pressure wound therapy system Medium Dressing kit Sterile, Peel packed Each This item must be compatible with item RT42-01-144 and be the same brand offered on RT42-01-144 by the same bidder. | NATIONAL | Augustine Medical SA (Pty) Ltd | 446.06 | 459.0552
RT42-01-146 - Op.2 | Negative pressure wound therapy system Medium Dressing kit Sterile, Peel packed Each This item must be compatible with item RT42-01-144 and be the same brand offered on RT42-01-144 by the same bidder. | NATIONAL | Augustine Medical SA (Pty) Ltd | 975.76 | 1004.1871
RT42-01-146 - Op.3 | Negative pressure wound therapy system Medium Dressing kit Sterile, Peel packed Each This item must be compatible with item RT42-01-144 and be the same brand offered on RT42-01-144 by the same bidder. | NATIONAL | Augustine Medical SA (Pty) Ltd | 975.76 | 1004.1871
RT42-01-146 - Op.4 | Negative pressure wound therapy system Medium Dressing kit Sterile, Peel packed Each This item must be compatible with item RT42-01-144 and be the same brand offered on RT42-01-144 by the same bidder. | NATIONAL | Augustine Medical SA (Pty) Ltd | 1867.88 | 1922.2974
RT42-01-147 - Op.1 | Negative pressure wound therapy system Large Dressing kit Sterile, Peel packed Each This item must be compatible with item RT42-01-144 and be the same brand offered on RT42-01-144 by the same bidder. | NATIONAL | Augustine Medical SA (Pty) Ltd | 501.82 | 516.4397
RT42-01-147 - Op.2 | Negative pressure wound therapy system Large Dressing kit Sterile, Peel packed Each This item must be compatible with item RT42-01-144 and be the same brand offered on RT42-01-144 by the same bidder. | NATIONAL | Augustine Medical SA (Pty) Ltd | 1254.55 | 1291.0991
RT42-01-147 - Op.3 | Negative pressure wound therapy system Large Dressing kit Sterile, Peel packed Each This item must be compatible with item RT42-01-144 and be the same brand offered on RT42-01-144 by the same bidder. | NATIONAL | Augustine Medical SA (Pty) Ltd | 1338.18 | 1377.1655
RT42-01-147 - Op.4 | Negative pressure wound therapy system Large Dressing kit Sterile, Peel packed Each This item must be compatible with item RT42-01-144 and be the same brand offered on RT42-01-144 by the same bidder. | NATIONAL | Augustine Medical SA (Pty) Ltd | 2787.88 | 2869.1
RT42-01-148 | Negative pressure wound therapy system X-Large Dressing kit Sterile, Peel packed Each This item must be compatible with item RT42-01-144 and be the same brand offered on RT42-01-144 by the same bidder. | NATIONAL | Augustine Medical SA (Pty) Ltd | 752.73 | 774.6595
RT42-01-149 | Negative pressure wound therapy system XX-Large Dressing kit Sterile, Peel packed Each This item must be compatible with item RT42-01-144 and be the same brand offered on RT42-01-144 by the same bidder. | NATIONAL | Augustine Medical SA (Pty) Ltd | 2787.88 | 2869.1
RT42-01-150 | Negative pressure wound therapy system - canister Size: 500ml Each This item must be compatible with item RT42-01-144 and be the same brand offered on RT42-01-144 by the same bidder. | NATIONAL | Augustine Medical SA (Pty) Ltd | 362.42 | 372.9785
RT42-01-151 | Negative pressure wound therapy system - canister Size: 1000ml Each This item must be compatible with item RT42-01-144 and be the same brand offered on RT42-01-144 by the same bidder. | NATIONAL | Augustine Medical SA (Pty) Ltd | 418.18 | 430.3629
RT42-01-190 | Dressing, Silver Meshed Non-woven, porous, contains Silver Sulphate , sterile. Sterile, individually peel packed Size of Dressing: 100mm x 200mm Each | NATIONAL | Hartmann-Vitamed (Pty) Ltd | 48.38 | 48.7965
RT42-01-217 | Dressing Pack: Surgical: Tray must be packed as follows 2x hand towels 1x red plastic bag 1x Pair of latex free gloves, size Medium, non powdered 2x Disposable soft drape 90cmx90cm Cleansing Swabs 30mm - 1 bundle of 5 balls 10 X Plain gauze 100mm x 100mm 8ply 2x Disposable forceps Sterile, peel packed , Comply with the latest SANS 446 Each | NATIONAL | Unitrade 1032 CC | 14.9 | 15.3597
RT42-01-218 | Dressing Pack: Maternity Tray must be packed as follows: 2x hand towels 1x red plastic bag 1x Pair of latex free gloves, size Medium, non powdered Cleansing Swabs 65mm - 1 bundle of 5 balls 10 X Plain gauze 100mm x 100mm 8ply 2 x Maternity sanitary towels loops Sterile, peel packed , Comply with the latest SANS 446 Each | NATIONAL | Unitrade 1032 CC | 17 | 17.5245
RT42-01-227 | Dressing pad, absorbent, acetate fabric with antimicrobial hydrophobic coating that physically binds and removes bacteria, size 100mm x 100mm, packaging individually wrapped, sterile. Each | NATIONAL | Hartmann-Vitamed (Pty) Ltd | 9.6 | 9.6827
RT42-01-228 | Dressing pad, absorbent, acetate fabric with antimicrobial hydrophobic coating that physically binds and removes bacteria, size 100mm x 200mm, packaging individually wrapped, sterile. Each | NATIONAL | Hartmann-Vitamed (Pty) Ltd | 14.01 | 14.1306
RT42-01-243 | Dressing, Wound, Ceramics. Non-adhesive pad .Non-woven sachet filled with micro-porous ceramic. Sterile, individually peel packed Size: 5cmx5cm Box of 10 dressings. | NATIONAL | Cerdak Healthcare (Pty) Ltd | 201.24 | 207.6033
RT42-01-244 | Dressing, Wound, Ceramics. Non-adhesive pad Non-woven sachet filled with micro-porous ceramic. Sterile, individually peel packed Size: 5cmx10cm. Box of 10 dressings. | NATIONAL | Cerdak Healthcare (Pty) Ltd | 286.51 | 295.5696
RT42-01-245 | Dressing, Wound, Ceramics. Non-adhesive pad Non-woven sachet filled with micro-porous ceramic. Sterile, individually peel packed Size: 5cmx15cm. Box of 10 dressings. | NATIONAL | Cerdak Healthcare (Pty) Ltd | 362.25 | 373.7045
RT42-01-246 | Dressing, Wound, Ceramics. Non-adhesive pad Non-woven sachet filled with micro-porous ceramic. Sterile, individually peel packed Size: 5cmx20cm. Box of 10 dressings. | NATIONAL | Cerdak Healthcare (Pty) Ltd | 420.77 | 434.0749
RT42-01-247 | Dressing, Wound, Ceramics. Non-adhesive pad .Non-woven sachet filled with micro-porous ceramic. Sterile, individually peel packed Size: 5cmx30cm. Box of 10 dressings. | NATIONAL | Cerdak Healthcare (Pty) Ltd | 596.22 | 615.0727
RT42-01-248 | Dressing, Wound, Ceramics. Non-adhesive pad . Non-woven sachet filled with micro-porous ceramic. Sterile, individually peel packed Size: 10cmx10cm. Box of 10 dressings. | NATIONAL | Cerdak Healthcare (Pty) Ltd | 440.25 | 454.1709
RT42-01-249 | Dressing, Wound, Ceramics. Non-adhesive pad . Non-woven sachet filled with micro-porous ceramic. Sterile, individually peel packed Size: 10cmx15cm. Box of 10 dressings. | NATIONAL | Cerdak Healthcare (Pty) Ltd | 595.4 | 614.2268
RT42-01-250 | Dressing, Wound, Ceramics. Non-adhesive pad. Non-woven sachet filled with micro-porous ceramic. Sterile, individually peel packed Size: 10cmx75cm. Box of 2 dressings. | NATIONAL | Cerdak Healthcare (Pty) Ltd | 443.96 | 457.9982
RT42-01-251 | Dressing, Wound, Ceramics. Non-adhesive pad . Non-woven sachet filled with micro-porous ceramic. Sterile, individually peel packed Size: 21cmx30cm. Box of 2 dressings. | NATIONAL | Cerdak Healthcare (Pty) Ltd | 371.23 | 382.9685
RT42-01-252 | Dressing, Wound, Ceramics. Pad mounted on cloth adhesive. Non-woven sachet filled with micro-porous ceramic. Sterile, individually peel packed Dressing Size: 10cmx10cm Pad Size: 5cmx5cm. Box of 10 dressings. | NATIONAL | Cerdak Healthcare (Pty) Ltd | 357.56 | 368.8662
RT42-01-253 | Dressing, Wound, Ceramics. Pad mounted on cloth adhesive. Non-woven sachet filled with micro-porous ceramic. Sterile, individually peel packed Dressing Size: 10cmx16cm Pad Size: 5cmx10cm. Box of 10 dressings. | NATIONAL | Cerdak Healthcare (Pty) Ltd | 498.3 | 514.0565
RT42-01-254 | Dressing, Wound, Ceramics. Pad mounted on cloth adhesive. Non-woven sachet filled with micro-porous ceramic. Sterile, individually peel packed Dressing Size: 10cmx21cm Pad Size: 5cmx15cm. Box of 10 dressings. | NATIONAL | Cerdak Healthcare (Pty) Ltd | 563 | 580.8023
RT42-01-255 | Dressing, Wound, Ceramics. Pad mounted on cloth adhesive . Non-woven sachet filled with micro-porous ceramic. Sterile, individually peel packed Dressing Size: 10cmx26cm Pad Size: 5cmx20cm. Box of 10 dressings. | NATIONAL | Cerdak Healthcare (Pty) Ltd | 687.5 | 709.239
RT42-01-256 | Dressing, Wound, Ceramics. Pad mounted on water resistant adhesive . Non-woven sachet filled with micro-porous ceramic. Sterile, individually peel packed Dressing Size: 10cmx10cm Pad Size: 5cmx5cm. Box of 10 dressings. | NATIONAL | Cerdak Healthcare (Pty) Ltd | 399.41 | 412.0395
RT42-01-257 | Dressing, Wound, Ceramics. Pad mounted on water resistant adhesive . Non-woven sachet filled with micro-porous ceramic. Sterile, individually peel packed Dressing Size: 10cmx16cm Pad Size: 5cmx10cm. Box of 10 dressings. | NATIONAL | Cerdak Healthcare (Pty) Ltd | 536.35 | 553.3096
RT42-01-258 | Dressing, Wound, Ceramics. Pad mounted on water resistant adhesive . Non-woven sachet filled with micro-porous ceramic. Sterile, individually peel packed Dressing Size: 10cmx21cm Pad Size: 5cmx15cm. Box of 10 dressings. | NATIONAL | Cerdak Healthcare (Pty) Ltd | 601.04 | 620.0451
RT42-01-259 | Dressing, Wound, Ceramics. Pad mounted on water resistant adhesive . Non-woven sachet filled with micro-porous ceramic. Sterile, individually peel packed Dressing Size: 10cmx26cm Pad Size: 5cmx20cm. Box of 10 dressings. | NATIONAL | Cerdak Healthcare (Pty) Ltd | 733.1 | 756.2809
RT42-01-260 | Dressing, Wound, Ceramics. Pad mounted on water resistant adhesive . Non-woven sachet filled with micro-porous ceramic. Sterile, individually peel packed Dressing Size: 10cmx35cm Pad Size: 5cmx30cm. Box of 10 dressings. | NATIONAL | Cerdak Healthcare (Pty) Ltd | 865.34 | 892.7024
RT42-01-261 | Dressing, Finger, Ceramics. Non-woven sachet filled with micro-porous ceramic. Sachets to conform to the shape of finger and toe digits. Cloth adhisive to assist application. Sterile, individually peel packed . Box of 5 dressings. | NATIONAL | Cerdak Healthcare (Pty) Ltd | 523 | 539.5375
RT42-01-262 | Dressing, Cavity wound, Ceramics. Non-adhesive pad .Non-woven sachet filled with micro-porous ceramic. Used as cavity dressing with high absorbing capacity. Sterile, individually peel packed Size: 10cmx10cm. Box of 5 dressings. | NATIONAL | Cerdak Healthcare (Pty) Ltd | 364.16 | 375.6749
RT42-01-263 | Dressing, Cavity wound, Ceramics. Non-adhesive pad .Non-woven sachet filled with micro-porous ceramic. Used as cavity dressing with high absorbing capacity. Sterile, individually peel packed Size: 10cmx15cm. Box of 5 dressings. | NATIONAL | Cerdak Healthcare (Pty) Ltd | 455.2 | 469.5936
RT42-01-264 | Dressing, Tracheostomy Wound, Ceramics. . Non-woven sachet filled with micro-porous ceramic shaped to facilitate tracheostomy tube. Sterile, individually peel packed Size: 7cmx7cm. Box of 5 dressings. | NATIONAL | Cerdak Healthcare (Pty) Ltd | 386.2 | 398.4118
RT42-02-042 | Bandage, heavy support/ compression, cotton crepe type 1 Size: 75mm x not less than 4.5m stretched Individually wrapped To comply with the latest issue of SANS 945, part 1 Compliance certificate to be submitted with bid Roll | NATIONAL | Unitrade 1032 CC | 4.89 | 5.0409
RT42-02-043 | Bandage, heavy support/ compression, cotton type, type 1 Size: 100mm x not less than 4.5m stretched Individually wrapped To comply with the latest issue of SANS 945, part 1 Compliance certificate to be submitted with bid Roll | NATIONAL | Unitrade 1032 CC | 5 | 5.1543
RT42-02-044 | Bandage, light support, cotton crepe type 2, autoclavable Size: 50mm x not less than 4.5m stretched Individually wrapped To comply with the latest issue of SANS 945, Part 1 Compliance certificate to be submitted with bid Roll | NATIONAL | Unitrade 1032 CC | 3.95 | 4.07
RT42-02-045 | Bandage, light support, cotton crepe type 2, autoclavable Size: 75mm x not less than 4.5m stretched Individually wrapped To comply with the latest issue of SANS 945, Part 1 Compliance certificate to be submitted with bid Roll | NATIONAL | Unitrade 1032 CC | 4.6 | 4.7419
RT42-02-046 | Bandage, light support, cotton crepe type 2, autoclavable Size: 100mm x not less than 4.5m stretched Individually wrapped To comply with the latest issue of SANS 945, Part 1 Compliance certificate to be submitted with bid Roll | NATIONAL | Unitrade 1032 CC | 5.3 | 5.4635
RT42-02-047 | Bandage, light support, cotton crepe type 2, autoclavable Size: 150mm x not less than 4.5m stretched Individually wrapped To comply with the latest issue of SANS 945, Part 1 Compliance certificate to be submitted with bid Roll | NATIONAL | Unitrade 1032 CC | 7.75 | 7.9891
RT42-02-073 | Bandage, compression, 3-layer, to treat complicated venous leg ulcers, mixed ulcers and arterial insufficiency ulcers, the system must consist of the following components: • 1 x short stretch, zinc paste bandage: 100mm x 5000mm stretched • 1 x viscose padding bandage: 150mm x 3000mm • 1 x cotton cohesive bandage: 100mm x 5000mm • Components must be individually packed in a suitable labelled box Pack size: Kit | NATIONAL | Unitrade 1032 CC | 87 | 89.6844
RT42-03-005 | Cotton wool, absorbent balls, type 2, autoclavable, white, sterile, 5 balls per pouch, peel packed Size: Medium 1g To comply with the latest issue of SANS 149 Compliance certificate to be submitted with bid Pouch | NATIONAL | Biocor Hospital Supplies Pty Ltd | 2.18 | 2.2427
RT42-03-007 | Cotton wool, absorbent balls, type 2, autoclavable, white, sterile, 5 balls per pouch, peel packed Size: Maternity 2g To comply with the latest issue of SANS 149 Compliance certificate to be submitted with bid Pouch | NATIONAL | Biocor Hospital Supplies Pty Ltd | 2.95 | 3.0348
RT42-04-003 | Swab, abdominal, surgical, cotton, X-ray detectable, sterile, 8g, 6-ply Size: 170mm x 200mm Pack size: Pouch of 5 swabs Scope • Swabs for single use, all layers consist of white woven bandage cloth, to comply with the latest ;issue of SANS 443, type 3 Construction • Edges: All cut edges of the material to be folded in and stitched, leaving no frayed edges Cotton tape • Length of tape: 400mm • Width of tape: 12mm • The cotton tape must be embedded in a 50mm packet i.e. 100mm in length of tape folder double to 50mm stitched into the corner of the swab leaving a 300mm length of cotton tape clear • Breaking strength of tape – minimum 7.95kg X-Ray detectable material • X-Ray detectable material thread shall be woven in/impregnated Packaging • The swab shall be bound in bundles of five by means of either a paper band consisting of one piece secured by autoclavable glue (and not by a separate adhesive tape) or by means of an acceptable tying material which can withstand autoclaving. • The swabs shall be suitable wrapped so as to be adequately protected against soiling and contamination • Only swabs of the same size shall be packed together in a bulk container. • Packing shall comply with the relevant requirements of the latest issue of SANS 228- double swab • Swabs shall be packed in a red plastic bag  Size 280mm x 400mm, thickness at least 19micron, colour: red, Marking • The following information shall appear in legible and indelible marking on each package:  Manufacture’s name or trade mark or both  Type of swabs  Size of swabs  Quantity of swabs Bulk containers • The following information shall appear in legible and indelible marking on the outside of each bulk container. Base – Peel pouches • Clear PVC film, not less than 90u Lidding – Peel pouches / tray • Peel cover type (heat seal grid), 60g/m² medical Kraft paper lacquered with 11u adhesive Sterility indicator • Pack to contain tamperproof sterility indicator on the tray or pack, confirm sterility, bidder to indicate the type of indicator used Sterile Peel packed in bundles of 5 Pack size: Each | NATIONAL | Biocor Hospital Supplies Pty Ltd | 20.61 | 21.2028
RT42-04-006 | Swab, abdominal, surgical, cotton, X-ray detectable, sterile, 36g, 6-ply Size: 370mm x 450mm Pack size: Pouch of 5 swabs Scope • Swabs for single use, all layers consist of white woven bandage cloth, to comply with the latest issue of SANS 443, type 3 Construction • Edges: All cut edges of the material to be folded in and stitched, leaving no frayed edges Cotton tape • Length of tape: 400mm • Width of tape: 12mm • The cotton tape must be embedded in a 50mm packet i.e. 100mm in length of tape folder double to 50mm stitched into the corner of the swab leaving a 300mm length of cotton tape clear • Breaking strength of tape – minimum 7.95kg X-Ray detectable material • X-Ray detectable material thread shall be woven in/impregnated Packaging • The swab shall be bound in bundles of five by means of either a paper band consisting of one piece secured by autoclavable glue (and not by a separate adhesive tape) or by means of an acceptable tying material which can withstand autoclaving. • The swabs shall be suitable wrapped so as to be adequately protected against soiling and contamination • Only swabs of the same size shall be packed together in a bulk container. • Packing shall comply with the relevant requirements of the latest issue of SANS 228- double swab • Swabs shall be packed in a red plastic bag  Size 280mm x 400mm, thickness at least 19micron, colour: red, Marking • The following information shall appear in legible and indelible marking on each package:  Manufacture’s name or trade mark or both  Type of swabs  Size of swabs  Quantity of swabs Bulk containers • The following information shall appear in legible and indelible marking on the outside of each bulk container. Base – Peel pouches • Clear PVC film, not less than 90u Lidding – Peel pouches / tray • Peel cover type (heat seal grid), 60g/m² medical Kraft paper lacquered with 11u adhesive Sterility indicator • Pack to contain tamperproof sterility indicator on the tray or pack, confirm sterility, bidder to indicate the type of indicator used Sterile Peel packed in bundles of 5 Pack size: Each | NATIONAL | Biocor Hospital Supplies Pty Ltd | 46.5 | 47.8374
RT42-04-006 | Swab, abdominal, surgical, cotton, X-ray detectable, sterile, 36g, 6-ply Size: 370mm x 450mm Pack size: Pouch of 5 swabs Scope • Swabs for single use, all layers consist of white woven bandage cloth, to comply with the latest issue of SANS 443, type 3 Construction • Edges: All cut edges of the material to be folded in and stitched, leaving no frayed edges Cotton tape • Length of tape: 400mm • Width of tape: 12mm • The cotton tape must be embedded in a 50mm packet i.e. 100mm in length of tape folder double to 50mm stitched into the corner of the swab leaving a 300mm length of cotton tape clear • Breaking strength of tape – minimum 7.95kg X-Ray detectable material • X-Ray detectable material thread shall be woven in/impregnated Packaging • The swab shall be bound in bundles of five by means of either a paper band consisting of one piece secured by autoclavable glue (and not by a separate adhesive tape) or by means of an acceptable tying material which can withstand autoclaving. • The swabs shall be suitable wrapped so as to be adequately protected against soiling and contamination • Only swabs of the same size shall be packed together in a bulk container. • Packing shall comply with the relevant requirements of the latest issue of SANS 228- double swab • Swabs shall be packed in a red plastic bag  Size 280mm x 400mm, thickness at least 19micron, colour: red, Marking • The following information shall appear in legible and indelible marking on each package:  Manufacture’s name or trade mark or both  Type of swabs  Size of swabs  Quantity of swabs Bulk containers • The following information shall appear in legible and indelible marking on the outside of each bulk container. Base – Peel pouches • Clear PVC film, not less than 90u Lidding – Peel pouches / tray • Peel cover type (heat seal grid), 60g/m² medical Kraft paper lacquered with 11u adhesive Sterility indicator • Pack to contain tamperproof sterility indicator on the tray or pack, confirm sterility, bidder to indicate the type of indicator used Sterile Peel packed in bundles of 5 Pack size: Each | NATIONAL | Unitrade 1032 CC | 30.5 | 31.4411
RT42-04-008 | Swab, abdominal, surgical, cotton, X-ray detectable, Non sterile, 36g, 6-ply Size: 370mm x 450mm Pack size: Pouch of 5 swabs Scope • Swabs for single use, all layers consist of white woven bandage cloth, to comply with the latest issue of SANS 443, type 3 Construction • Edges: All cut edges of the material to be folded in and stitched, leaving no frayed edges Cotton tape • Length of tape: 400mm • Width of tape: 12mm • The cotton tape must be embedded in a 50mm packet i.e. 100mm in length of tape folder double to 50mm stitched into the corner of the swab leaving a 300mm length of cotton tape clear • Breaking strength of tape – minimum 7.95kg X-Ray detectable material • X-Ray detectable material thread shall be woven in/impregnated Packaging • The swab shall be bound in bundles of five by means of either a paper band consisting of one piece secured by autoclavable glue (and not by a separate adhesive tape) or by means of an acceptable tying material which can withstand autoclaving. • The swabs shall be suitable wrapped so as to be adequately protected against soiling and contamination • Only swabs of the same size shall be packed together in a bulk container. • Packing shall comply with the relevant requirements of the latest issue of SANS 228- double swab • Swabs shall be packed in a red plastic bag  Size 280mm x 400mm, thickness at least 19micron, colour: red, Marking • The following information shall appear in legible and indelible marking on each package:  Manufacture’s name or trade mark or both  Type of swabs  Size of swabs  Quantity of swabs Bulk containers • The following information shall appear in legible and indelible marking on the outside of each bulk container. Base – Peel pouches • Clear PVC film, not less than 90u Lidding – Peel pouches / tray • Peel cover type (heat seal grid), 60g/m² medical Kraft paper lacquered with 11u adhesive Sterility indicator • Pack to contain tamperproof sterility indicator on the tray or pack, confirm sterility, bidder to indicate the type of indicator used Sterile Peel packed in bundles of 5 Pack size: Each | NATIONAL | Unitrade 1032 CC | 28.7 | 29.5855
RT42-04-009 | Swabs, cleansing, Type 3, 100 swabs (Balls) Diameter: 30mm Materials: Absorbent cotton wool to comply to SANS 228-1st Grade Absorbent gauze to comply to SANS 446 Compliance certificate to be submitted with bid Diameter: 30mm Construction: The cotton wool shall be packed in single layer of gauze covering material. The covering material shall be secured with cotton thread to prevent cotton wool from spilling out of the outer covering. The swabs shall be loosely stitched together in bundles of five by means of an easy to break cotton thread. Packet/Bag | NATIONAL | Unitrade 1032 CC | 37.7 | 38.8632
RT42-04-010 | Swabs, cleansing, Type 3 100 swabs (balls) Diameter: 65mm Materials: Absorbent cotton wool as per latest issue SANS 228-1st Grade Absorbent gauze as per latest issue of SANS 446 Compliance certificate to be submitted with bid Construction: The cotton wool shall be packed in single layer of gauze covering material. The covering material shall be secured with cotton thread to prevent cotton wool from spilling out of the outer covering. The swabs shall be loosely stitched together in bundles of five by means of an easy to break cotton thread. Packet/Bag | NATIONAL | Unitrade 1032 CC | 48.45 | 49.9449
RT42-04-011 | Swabs, surgical, dissecting, Type 1, X-Ray detectable, 100 swabs Size: 10mm Materials: Outer layer The outer layer shall be gauze as per the latest issue of SANS 446 Cotton wool The cotton wool shall be cotton wool Grade 2 as per the latest issue of SANS 228 Compliance certificate to be submitted with bid Construction: The cotton wool shall be packed in single layer of gauze X-ray detectable material of size 5mm x 5mm to be placed between the cotton wool and the outer layer of gauze so as to be visible from the outside. The gauze must be secured with cotton thread of acceptable quality. The swabs shall be loosely stitched together in bundles of five by means of an uneasy to break cotton thread. Packet/bag | NATIONAL | Unitrade 1032 CC | 73 | 75.2524
RT42-04-012 | Swabs, gauze, absorbent, type 3, bleached, 8 ply, 100 swabs Size: 100mm x 100mm Non sterile To comply with the latest issue of SANS 446 Compliance certificate to be submitted with bid Packet | NATIONAL | Unitrade 1032 CC | 15.6 | 16.0813
RT42-04-013 | Swabs, gauze, absorbent, type 3, bleached, 12 ply, 100 swabs Size: 75mm x 75mm Non sterile To comply with the latest issue of SANS 446 Compliance certificate to be submitted with bid Packet | NATIONAL | Unitrade 1032 CC | 18.7 | 19.277
RT42-04-015 | Swabs, gauze, absorbent, type 3, bleached, sterile, 8 ply, 1x 5 swabs Size: 100mm x 100mm Sterile peel packed To comply with the latest issue of SANS 446 Compliance certificate to be submitted with bid Packet | NATIONAL | Biocor Hospital Supplies Pty Ltd | 2.72 | 2.7982
RT42-04-015 | Swabs, gauze, absorbent, type 3, bleached, sterile, 8 ply, 1x 5 swabs Size: 100mm x 100mm Sterile peel packed To comply with the latest issue of SANS 446 Compliance certificate to be submitted with bid Packet | NATIONAL | Unitrade 1032 CC | 2.1 | 2.1648
RT42-04-016 | Swabs, gauze, absorbent, type 3, bleached, sterile, 12 ply, 1 x 5 swabs Size: 75mm x 75mm Sterile peel packed To comply with the latest issue of SANS 446 Compliance certificate to be submitted with bid Packet | NATIONAL | Unitrade 1032 CC | 1.98 | 2.0411
RT42-04-018 | Swabs, gauze, absorbent, type 3, bleached, sterile, X-Ray detectable, 8 ply, 5 swabs Size: 100mm x 100mm Sterile peel packed To comply with the latest issue of SANS 446 Compliance certificate to be submitted with bid Packet | NATIONAL | Biocor Hospital Supplies Pty Ltd | 2.82 | 2.9011
RT42-04-018 | Swabs, gauze, absorbent, type 3, bleached, sterile, X-Ray detectable, 8 ply, 5 swabs Size: 100mm x 100mm Sterile peel packed To comply with the latest issue of SANS 446 Compliance certificate to be submitted with bid Packet | NATIONAL | Unitrade 1032 CC | 2.55 | 2.6287
RT42-04-021 | Swabs, gauze, absorbent, type 3, X-Ray detectable, 12 ply, 5 swabs Size: 75mm x 75mm Sterile, autoclavable To comply with the latest issue of SANS 446 Compliance certificate to be submitted with bid Packet | NATIONAL | Biocor Hospital Supplies Pty Ltd | 3.01 | 3.0966
RT42-05-006 | Gauze, absorbent cotton, type 1, roll Size: 0.9m x 5m Individually packed Non-sterile To comply with the latest issue of SANS 446 Compliance certificate to be submitted with bid Each | NATIONAL | Unitrade 1032 CC | 12 | 12.3703
RT42-06-003 | Pad, surgical, absorbent, sterile Rayon filler with a non-woven fabric sleeve Size: 100mm x 100mm Sterile, individually peel packed To comply with the latest issue of SANS 8840 Compliance certificate to be submitted with bid Each | NATIONAL | Unitrade 1032 CC | 2.85 | 2.9379
RT42-06-004 | Pad, surgical, absorbent, sterile Rayon filler with a non-woven fabric sleeve Size: 100mm x 200mm Sterile, individually peel packed To comply with the latest issue of SANS 8840 Compliance certificate to be submitted with bid Each | NATIONAL | Unitrade 1032 CC | 3.75 | 3.8657
RT42-06-005 | Pad, surgical, autoclavable non-woven, type B For wound and swabbing Mass: 57g per 10 pads Size: 100mm x 200mm To comply with the latest issue of SANS 8840 Compliance certificate to be submitted with bid Each | NATIONAL | Unitrade 1032 CC | 1.27 | 1.3092
RT42-06-006 | Pad, surgical, autoclavable non-woven, type B For wound and swabbing Mass: 109g per 10 pads Size: 200mm x 200mm To comply with the latest issue of SANS 8840 Compliance certificate to be submitted with bid Each | NATIONAL | Unitrade 1032 CC | 1.65 | 1.7009
RT42-07-001 | Drape, surgical, adhesive, U-slot aperture, 1 x Wrap Drape: Size: 1200mm x 1300mm Pear-shaped split with incise Poly Reinforcement Material, adhesive and handles as per Drape surgical incise adhesive above Each | NATIONAL | Vertice Healthcare (Pty) Ltd | 64.98 | 66.2818
RT42-07-002 | Drape, surgical, adhesive, body split, 1 x Wrap Drape: Size: 1910mm x 2950mm Split: 254mm x 635 mm Absorbent Reinforcement: 1016mm x 1118mm Pear-shaped split with incise Poly Reinforcement Material, adhesive and handles as per Drape surgical incise adhesive above Each | NATIONAL | Vertice Healthcare (Pty) Ltd | 132.36 | 134.4738
RT42-07-003 | Drape, surgical, chest/breast with fluid control pouch, 1 x Wrap Drape: Size: 1960mm x 3050mm Fenestration Pear Shaped Poly Reinforcement Tube holders Each | NATIONAL | Vertice Healthcare (Pty) Ltd | 132.36 | 134.5521
RT42-07-004 | Drape, surgical, adhesive patch with circle aperture centrally situated, Size: 400mm x 400mm Adhesive area: 100mm x 125mm Circle aperture: 60mm diameter Material, adhesive and handles as per Drape surgical incise adhesive above Each | NATIONAL | Vertice Healthcare (Pty) Ltd | 24.32 | 24.558
RT42-07-005 | Drape, surgical, adhesive patch with oval aperture situated off-centre, Size: 800mm x 1300mm Adhesive area: 100mm x 125mm Oval aperture: 70mm x 50mm Material, adhesive and handles as per Drape surgical incise adhesive above Each | NATIONAL | Vertice Healthcare (Pty) Ltd | 55.78 | 57.1565
RT42-07-006 | Drape, surgical, adhesive patch with oval aperture, drainage pouch as part of drape, Size: 230mm x 450mm Adhesive area: 230mm x 250mm Oval aperture: 80mm x 100mm Material, adhesive and handles as per Drape surgical incise adhesive above Each | NATIONAL | Vertice Healthcare (Pty) Ltd | 56.35 | 56.9743
RT42-07-007 | Drape, disposable, with double instrument pouch compartments Overall size: 180cm (width) x 300cm (length) 2 x adhesive strips 5cm x 18cm Sterile Individually peel packed with description on outer pack Pack size: each | NATIONAL | Vertice Healthcare (Pty) Ltd | 27.6 | 28.5215
RT42-07-021 | Drape, disposable, craniotomy, reinforced, absorbent material around fenestration filtering into a fluid collection pouch, integrated adhesive incise, wire attached to pouch to keep shape and allow for effective fluid control, filter inside pouch to catch bone chips and minimize blockage, drainage port attached to pouch, gutters of excess fluid control, full patient drape Fluid collection pouch: 600mm x 600mm; Reinforced area: 1600mm x 2000mm; Fenestration size: 250mm in diameter; Overall size: 230cm (width) x 320cm (length) Each | NATIONAL | Vertice Healthcare (Pty) Ltd | 224.25 | 228.9466
RT42-07-022 | Drape craniotomy, incise film. Size:550mm x 550mm overall size 300cm x 250cm With adhesive strip, 50mm wide with fluid collection pouch and drainage tap. Each | NATIONAL | Vertice Healthcare (Pty) Ltd | 138 | 140.8902
RT42-07-023 | Drape, cardiovascular bilateral split sheet with incise film, Size: 230mm x 320mm overall size 225cm x 300cm Each | NATIONAL | Vertice Healthcare (Pty) Ltd | 649.75 | 665.4735
RT42-07-024 | Drape, cardiovascular bilateral split sheet with incise film, Size: 368mm x 214mm overall size 200cm x 300cm Each | NATIONAL | Vertice Healthcare (Pty) Ltd | 649.75 | 665.4735
RT42-07-026 | Drape surgical, under buttock with drainage pouch. Size: 850mm x 1050mm. For obstetric and gynecological procedures. Drainage pouch fitted with drainage tap and pliable to secure for fluid control. Materials must be waterproof. Sterile, individual peelpacked with description on outer pack. Each | NATIONAL | Vertice Healthcare (Pty) Ltd | 80.5 | 83.1934
RT42-07-027 | Drape disposable surgical, under buttocks pouch, with hand cuffs to position the drape in a sterile setting. 2 towels (800mm x1200mm) materila treated to be hydrophobic, soft and comfortable to drape over patients legs. 1 absorbent sheet (800mm x 1000mm) material highly absorbent and laminated to insure impervious nature. Sterile, peel packed with description on outer pack. Each | NATIONAL | Vertice Healthcare (Pty) Ltd | 118.45 | 120.3374
RT42-07-028 | Drape, disposable, C-section with clear incise pouch and drainage outlet. Size: 1960mm x 3100mm Adhesiv: 300mm x 300mm 1X dry wipe ( wipe paper toweling) 1x mayo table cover 75cmx140cm (blue plastic with laminated reinforcing) 1xtrolley cover 160cmx205cm with leminated reinforcing 60cmx80cm 1x baby towel All towel drapes are reinforced with laminated spunbond and be absorbable around the critical area Sterile, peelpacked with description on outer pack. Pack | NATIONAL | Vertice Healthcare (Pty) Ltd | 181.7 | 185.2908
RT42-07-029 | Drape, disposable, C-section with clear incise pouch and drainage outlet.Size: 1960mm x 3100mm Adhesiv: 300mm x 300mm Sterile, individual peelpacked with description on outer pack. Each | NATIONAL | Vertice Healthcare (Pty) Ltd | 132.25 | 134.5184
RT42-07-030 | Drape, knee arthroscopy bilateral, with a fluid collection pouch and drainable tap, perforated at the end so the surgeon can tie the drape around his back if he prefers, Overall size: 2290mm (width) x 3200mm (length) with fenestration 100mm x 100mm Barrier material to be: Tear resistant, able to stretch and regain in any direction transparent, able to conform to irregular surfaces, matt finish, antistatic, permeable to oxygen and water vapour, waterproof and antistatic. Critical area to be absorbable Sterile, individual peelpacked with description on outer pack. Each | NATIONAL | Vertice Healthcare (Pty) Ltd | 304.75 | 314.9627
RT42-07-031 | Drape, disposable, knee, with a fluid pouch, pouch has a wire strip attached to keep its shape so as to control fluid effectively, is reinforce area under the leg to ensure no risk for strikethrough, the drape is perforated at the end so the surgeon can tie the drape around his back if he prefers, Aperture size: 80mm Overall size: 2290mm (width) x 3200mm (length) Critical area to be absorbable Sterile, individual peelpacked with description on outer pack. Each | NATIONAL | Vertice Healthcare (Pty) Ltd | 212.75 | 218.6414
RT42-07-032 | Drape, disposable, shoulder, with a fluid pouch, 3 adhesive strips, to be use on both shoulders, the pouch has a wire strip attached to keep its shape so as to control fluid effectively, Velcro cable holders attached on either side of the pouch for effective cable management Adhesive strip size: 100mm x 500mm Overall size: 220cm (width) x 410cm (length) Critical area to be absorbable Each | NATIONAL | Vertice Healthcare (Pty) Ltd | 270.25 | 276.6503
RT42-07-033 | Drape, disposable, ophthalmic, double pouch with wire strips to keep them open and handle fluid effectively, additional wire strip place over nose area so as to lift material off patient’s nose thus allowing for easy breathing Adhesive size: 125mm x 125mm Overall size: 150cm (width) x 275cm (length) Sterile, Individually peel packed with description on outer pack Critical area to be absorbable Each | NATIONAL | Vertice Healthcare (Pty) Ltd | 87.4 | 89.557
RT42-07-034 | Drape, hip sheet: Size: 2200mm x 3200mm with two dislocation pouches. Critical area to be absorbable Each | NATIONAL | Vertice Healthcare (Pty) Ltd | 264.5 | 271.1797
RT42-07-035 | Drape, disposable, spinal, fenestrated, with loose long instrument pouch, dry wipe, 2 x integrated cable holders, 3 layers around critical area – impervious and hydrophilic Instrument pouch size: 260mm x 480mm Adhesive incise: 295mm x 395mm Overall size: 210cm (width) x 300cm (length) Critical area to be absorbable Each | NATIONAL | Vertice Healthcare (Pty) Ltd | 218.5 | 220.7361
RT42-07-036 | Drape, disposable, surgical, X-Ray, Lap incise sheet, non-woven, water repellent, low linting, pore size allowing air but preventing bacteria passage through fabric, integrated cord holders, separated instrument pouch, 2 pouches to be indicated Overall size: 2100mm (width) x 3200mm (length) Incise adhesive film fenestration: size 270mm x 270mm Sterile Individually peel packed with description on outer pack Critical area to be absorbable Each | NATIONAL | Vertice Healthcare (Pty) Ltd | 178.25 | 180.4315
RT42-07-037 | Drape, disposable, surgical, X-Ray, C-arm, 4 adhesive patches, 2 plastic strips for securing drape Overall size: 1650mm (width) x 1060mm (length) Each | NATIONAL | Vertice Healthcare (Pty) Ltd | 88.55 | 91.6077
RT42-07-038 | Drape, extremity. Size: 2280mm (width) x 3000mm (length), Flexable aperture 60mm x 80mm Each | NATIONAL | Vertice Healthcare (Pty) Ltd | 132.25 | 134.9249
RT42-07-039 | Drape, extremity sheet with fluid collction pouch with tiebacks. Size: 2280mm (width) x 3040mm (length) Each | NATIONAL | Vertice Healthcare (Pty) Ltd | 232.3 | 238.745
RT42-07-040 | Drape, disposable, sterile, sheet, extremity, water repellant, non-woven fabric, that allows air but prevent bacteria passage through fabric with hinge and cord holders Reinforce at key points,critical area to be absorbable Expandable fenestration Overall size: 1830mm (width) x 3020mm (length) Sterile Individually peel packed with description on outer pack Each | NATIONAL | Vertice Healthcare (Pty) Ltd | 132.25 | 134.9249
RT42-07-042 | Drape, disposable, for minor procedures, with positioning tape and integrated cable holder, 3-layers around critical area – impervious and hydrophilic adhesive must be latex free, ideal for multiple procedures Aperture size: 80mm x 80mm Fenestration: 150mm x 150mm Overall size: 2000mm (width) x 3200mm (length critical area to be absorbable Each | NATIONAL | Vertice Healthcare (Pty) Ltd | 105.8 | 109.0821
RT42-07-043 | Drape, disposable, basic pack, consisting of the following: 1 x large drape towel: 160cm x 220cm with adhesive tape 1 x medium drape towel: 160cm x 180cm with adhesive tape 2 x small drape sheet: 90cm x 80cm with adhesive tape 1 x dry wipe (white paper toweling) 1 x Mayo table cover 75cm x 140cm (blue plastic with laminated reinforcing) 1 x trolley cover: 160cm x 205cm with laminated reinforcing 60cm x 80cm 1 x suture bag (clear plastic with adhesive tape) 1 x luxfab: 90cm x 90cm (blue crepe paper) 1 x adhesive strip with adhesive backing All towels drapes are reinforced / absorbable with laminated spunbond around the critical area Pack | NATIONAL | Unitrade 1032 CC | 126.5 | 130.4032
RT42-07-043 | Drape, disposable, basic pack, consisting of the following: 1 x large drape towel: 160cm x 220cm with adhesive tape 1 x medium drape towel: 160cm x 180cm with adhesive tape 2 x small drape sheet: 90cm x 80cm with adhesive tape 1 x dry wipe (white paper toweling) 1 x Mayo table cover 75cm x 140cm (blue plastic with laminated reinforcing) 1 x trolley cover: 160cm x 205cm with laminated reinforcing 60cm x 80cm 1 x suture bag (clear plastic with adhesive tape) 1 x luxfab: 90cm x 90cm (blue crepe paper) 1 x adhesive strip with adhesive backing All towels drapes are reinforced / absorbable with laminated spunbond around the critical area Pack | NATIONAL | Vertice Healthcare (Pty) Ltd | 155.25 | 158.4621
RT42-07-044 | Drape, disposable, angiography, consisting of the following: 1 x angiography drape: 230cm x 320cm absorbent, adhesive incise, LDPE 1 x back table cover: 160cm x 210cm reinforced 1 x dry wipe (white paper towel) 2 x cathlab cover small round (clear LDPE plastic) 1 x cathlab cover: 105cm x 75cm (clear LDPE plastic) Full patient drape, blue absorbent material around femoral area with integrated gutter, adhesive incise for both legs Drape trimmed with clear plastic to cover control panel alongside bed disposable, for minor procedures, with positioning tape and integrated cable holder, 3-layers around critical area – impervious and hydrophilic adhesive must be latex free, ideal for multiple procedures Aperture size: 80mm x 80mm Fenestration: 150mm x 150mm Overall size: 2000mm (width) x 3200mm (length critical area to be absorbable Pack | NATIONAL | Vertice Healthcare (Pty) Ltd | 224.25 | 228.0074
RT42-07-045 | Drape, disposable, angiography, Brachial: Size 1120mm x 1450mm one central aperture, surrounded by adhesive strip. Barrier material to be: tear resistant, able to stretch and regain in any direction, transparent able to conform to irregular surfaces, matt finish, antistatic, impermeable to bacteria permeable to oxygen and water vapour, waterproof. Adhesive: low irritant, hypo-allergenic, to adhere firmly during prolonged operations, also on cut edges covered with silicone treated paper Handles: backing firm enough to guide adhesive area into proper positioning Sterile, individually peel packed with description on outer pack Critical area to be absorbable Each | NATIONAL | Vertice Healthcare (Pty) Ltd | 82.8 | 85.098
RT42-07-046 | Drape, disposable, angiography, Femoral: Size 3250mm x 2030mm Two self adhesive apertures 60mm x 90mm. Barrier material to be: tear resistant, able to stretch and regain in any direction, transparent able to conform to irregular surfaces, matt finish, antistatic, impermeable to bacteria permeable to oxygen and water vapour, waterproof. Adhesive: low irritant, hypo-allergenic, to adhere firmly during prolonged operations, also on cut edges covered with silicone treated paper Handles: backing firm enough to guide adhesive area into proper positioning Sterile, individually peel packed with description on outer pack Critical area to be absorbable Each | NATIONAL | Vertice Healthcare (Pty) Ltd | 160.43 | 162.5542
RT42-07-047 | Drape, disposable, utility set, consisting of 4 towel drapes 42cm x 30cm with adhesive tape Barrier material must be: • Fluid repellant • Impermeable to bacteria • Permeable to oxygen and water vapor Sterile Individually peel packed Set | NATIONAL | Vertice Healthcare (Pty) Ltd | 69 | 71.2294
RT42-07-048 | Drape disposable surgical, under buttocks, with fluid control pouch 1 x Wrap Drape: Absorbent Reinforcement: 178 mm x 508mm and 254mm x 508mm Overall size: 940mm x 1040mm Sterile, peel packed with description on outer pack. Critical area to be absorbable Each | NATIONAL | Vertice Healthcare (Pty) Ltd | 80.5 | 83.1934
RT42-07-049 | Drape disposable surgical, under buttocks, with fluid control pouch 1 x Wrap Drape: Adhesive Overall size: 990mm x 1120mm Sterile, peel packed with description on outer pack. Critical area to be absorbable Each | NATIONAL | Vertice Healthcare (Pty) Ltd | 80.5 | 83.1934
RT42-07-050 | Drape, disposable.Laparoscopic Assisted Vaginal Hysterectomy with fluid control pouch, Tube holders Absorbent Reinforcements Instrument Pad: 254mm x 445mm overall size to be 200ccm x 220cm Sterile, peel packed with description on outer pack. Each | NATIONAL | Vertice Healthcare (Pty) Ltd | 224.25 | 230.0291
RT42-07-051 | Drape disposable surgical, under buttocks 1 x Wrap Drape: Under buttock drape with Absorbent Reinforcement Overall size: 890 x 1240mm Sterile, peel packed with description on outer pack. Each | NATIONAL | Vertice Healthcare (Pty) Ltd | 80.5 | 83.1934
RT42-07-052 | Drape, disposable, knee arthroscopy, with a fluid control pouch, tube holders 1 x Wrap Drape: Fenestration Absorbent Reinforcement size: 890mm x 1194mm Overall size: 2870mm (width) x 2920mm (length) Sterile, individual peelpacked with description on outer pack. Each | NATIONAL | Vertice Healthcare (Pty) Ltd | 212.75 | 218.6414
RT42-07-053 | Drape, disposable, surgical, Laparascopy/Cholecystectomy, 1 x Wrap Drape: Absorbent Reinforcement: 1041mm x 1422mm Instrument Pad: 254mm x 457mm Pouches Adhesive Overall size: 2690mm x 3100mm Sterile Individually peel packed with description on outer pack Each | NATIONAL | Vertice Healthcare (Pty) Ltd | 195.5 | 198.8724
RT42-07-054 | Drape, disposable, surgical, Laparascopy T-Drape with armboard covers, 1 x Wrap Absorbent Reinforcement Fenestration: 152mm x 203mm Fenestration: 76mm x 152mm Pouches Tube Holders Adhesive Overall size: 2460mm x 2590mm Sterile Individually peel packed with description on outer pack Each | NATIONAL | Vertice Healthcare (Pty) Ltd | 178.25 | 181.3248
RT42-07-055 | Drape, disposable, shoulder, with a fluid control pouch and tube holders 1 x Wrap Drape: Fenestration Pear Shaped Poly Reinforcement Overall size: 1570mm (width) x 2540 (length) Sterile, Individually peel packed with description on outer pack Each | NATIONAL | Vertice Healthcare (Pty) Ltd | 270.25 | 276.6503
RT42-07-057 | Drape, disposable, shoulder split with fluid pouch 1 x Wrap Drape: Split size: 152mm x 940 Fluid Control Pouch with Malleable Wire Overall size: 2290mm (width) x 2540mm (length) Sterile, Individually peel packed with description on outer pack Each | NATIONAL | Vertice Healthcare (Pty) Ltd | 304.75 | 311.9673
RT42-07-058 | Drape, disposable, beach chair shoulder with fluid control pouch 1 x Wrap Drape: Fenestration Pear Shaped Poly Reinforcement Velcro Tabs Fluid Control Pouch Overall size: 2590mm (width) x 4110mm (length) Sterile, Individually peel packed with description on outer pack EacH | NATIONAL | Vertice Healthcare (Pty) Ltd | 270.25 | 276.9197
RT42-07-059 | Drape, disposable, ophthalmic, incise with fluid control pouches, 1 x Wrap . Drape: Icise size: 102mm x 114mm Overall size: 1780mm (width) x 2540(length) Sterile, Individually peel packed with description on outer pack Each | NATIONAL | Vertice Healthcare (Pty) Ltd | 86.25 | 88.3786
RT42-07-060 | Drape, disposable, ophthalmic,with fluid collection saddlebag pouch and 1 x Wrap Drape: Tube holders. Fenestration size: 102mm x 127mm Absorbent Reinforcement size: 279mm x 457mm Overall size: 1220mm (width) x 1700(length) Sterile, Individually peel packed with description on outer pack Each | NATIONAL | Vertice Healthcare (Pty) Ltd | 86.25 | 88.3786
RT42-07-061 | Drape, disposable, hip 1 x Wrap Drape: Tube holders. Teardrop Fenestration Absorbent Reinforcement Overall size: 2950mm (width) x 3330(length) Sterile, Individually peel packed with description on outer pack Each | NATIONAL | Vertice Healthcare (Pty) Ltd | 197.8 | 200.7446
RT42-07-062 | Drape, disposable, hip with fluid control pouch 1 x Wrap Drape: Tube holders. Circular Fenestration Absorbent Reinforcement: 558mm x 1372mm Overall size: 2820mm (width) x 3380(length) Sterile, Individually peel packed with description on outer pack Each | NATIONAL | Vertice Healthcare (Pty) Ltd | 264.5 | 271.1797
RT42-07-063 | Drape, disposable, angiography: Size 1910mm x 3180mm 1 x Wrap 1 x Heavy Duty Absorbent Pad 914mm x 3175mm Circular Fenestration Each | NATIONAL | Vertice Healthcare (Pty) Ltd | 159.85 | 161.9666
RT42-07-064 | Drape, disposable camera cover size 1400mm (width) x 2500mm (length), drape camera/arm drape adhesive poly strap to hold in place adhesive strip at base clear poly film sterile. individually peel packed, description on outer pack. Sterile, Individually peel packed with description on outer pack Each | NATIONAL | Vertice Healthcare (Pty) Ltd | 33.35 | 34.4976
RT42-07-069 | Sheet, Flat, disposable, 25-40gsm spunbonded (hydrophobic), water repellent, non-woven fabric, low linting, pore size that allows air but prevent bacteria passage through the fabric, hypo-allergenic and latex free, with adhesive tabs, individually packed, Size: 200cm x 156cm Pack size: Each Mass to comply with SANS 79 Diimensions to comply with SANS 81 $ 83 Box of 50 Sheet,Flat | NATIONAL | Unitrade 1032 CC | 9 | 9.2777
RT42-08-017 | Tape, retention, design to secure dressings and bandage to the body, use for wide area fixation, tape is constracted from non-woven polyester which is coated with polyacrylate adhesive and must have a protective laminated paper unsterile. Size: 50mm x 10m Each | NATIONAL | Hartmann-Vitamed (Pty) Ltd | 31.8 | 32.0738
RT42-14-006 | Padding, orthopaedic, synthetic cast, type 4 or type 5 Size: 50mm x 3m To comply with the latest issue of SANS 196 Compliance certificate to be submitted Roll | NATIONAL | Unitrade 1032 CC | 3.95 | 4.0719
RT42-14-007 | Padding, orthopaedic, synthetic cast, type 4 or type 5 Size: 75mm x 3m To comply with the latest issue of SANS 196 Compliance certificate to be submitted Roll | NATIONAL | Unitrade 1032 CC | 4.8 | 4.9481
RT42-14-008 | Padding, orthopaedic, synthetic cast, type 4 or type 5 Size: 100mm x 3m To comply with the latest issue of SANS 196 Compliance certificate to be submitted Roll | NATIONAL | Unitrade 1032 CC | 5.7 | 5.8759
RT42-14-009 | Padding, orthopaedic, synthetic cast, type 4 or type 5 Size: 150mm x 3m To comply with the latest issue of SANS 196 Compliance certificate to be submitted Roll | NATIONAL | Unitrade 1032 CC | 8.55 | 8.8138
RT42-15-001 | Skin traction kit Size: Children Composed of extension plaster B.P. with a square plastic spreader in the centre on the adhesive side and covered with soft foam padding 10mm thick, the rest of the adhesive being covered by a flexible plastic protector. The spreader should have holes through which traction cord can be threaded. To be supplied with a cotton crepe bandage, type 1, to comply with the latest issue of SANS 945 Compliance certificate to be submitted Kit: Components with the following dimensions: Extension plaster: 1.8m long x 50 mm wide, Foam padding: 360mm long x ±50mm wide, Plastic spreader: 50mm square Traction cord: 1.65m long Cotton crepe bandage: not less than 4.5m x 50mm wide Packed in suitable labelled boxes Kit (Each) | NATIONAL | Unitrade 1032 CC | 54 | 55.6662
RT42-15-002 | Skin traction kit Size: Adult Composed of extension plaster B.P with a square plastic spreader in the centre on adhesive side and covered with soft foam padding 10mm thick, the rest of the adhesive being covered by a flexible plastic protector. The spreader should have holes through which traction cord can be threaded. To be supplied with a cotton crepe bandage, type 1, to comply with the latest issue of SANS 945 Compliance certificate to be submitted Kit: Components with the following dimensions: Extension plaster: 1.8m long x 75 mm wide, Foam padding: 1.8 m long x 90 mm wide Plastic spreader: 75mm square Traction cord: 1.65m long Cotton crepe bandage: not less than 4.5m x 75mm wide Packed in suitable labelled boxes Each (Kit) | NATIONAL | Unitrade 1032 CC | 69 | 71.129